Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Monica Neubauer

School policy for use adopted in place? *Yes No N/A*

Brand of AED? Phillips Heart Smart Model # M5066A-ABA

Name of Medical Director? The device was purchased through the Hutchinson Medical Clinic. It is assumed the Medical Director of the clinic would serve in that capacity.

Year device was placed into use? 2006

Location(s) of devices:

|  |  |  |  |
| --- | --- | --- | --- |
| Building Name | Location in Building | Expiration date of pads? | Expiration date of batteries? |
| West Elementary | Foyer above fire extinguisher | Adult 5/2015  Child 7/2015 | 6/2016 |
| Park Elementary | Hall by main office near water fountain | Adults 5/2015  Child 7/2015 | 11/2016 |
| Middle School | (1)Hall by office/(2) Auditorium | (1) Adult 5/2015 - Child 7/2015  (2) Adult 7/2015 – Child 5/2015 | (1)7/2016  (2) 12/2016 |
| High School | (1)Foyer/ (2)wrestling room | (1) Adult 5/2015 – Child 7/2015  (2) Adult 6/2015 – Child 7/2015 | 1. 12/2016 2. 7/2016 |

Have all software updates been installed? *Yes No N/A*

Date of update installation*: Winter 2007-2008*

Has staff been trained on operation of the device? Yes, all school nurses and Emergency responders are trained biannually.

* Most recent date of training: 2012

*(date*

* Provider of training: Monica Neubauer

Location of operators manual: School nurse office and one at each building

Are battery checks documented? Yes, a check list is available at each AED station

Notes: The AED’s were purchased by the local medical clinic. The effort was coordinated between the PTO and the clinic.