Checklist of E/OHS Activities for Community Right-to-Know

Program Contact Person: 	Brian Mohr

Is the Community Right-to-Know Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Are quantities of stored and used designated hazardous materials documented and verified?  Yes No N/A

Where are the documents stored? District Building and Grounds Office

Have the State Emergency Response Commission and local fire department been notified of hazardous materials on school grounds?  Yes No N/A

Note: Brian M. typically delivers the notification by hand to the local fire department.

When were they notified? 02/28/2013

(date)

Has training been provided?  Yes No N/A

Date: N/A

Presenter: N/A

Website Access is:

http://minnesota.idsimaps.com/submit/T2_Menu.asp

User Name: BrianMohr

Pass Word: iuytrewq

Inventory Form

Client: Hutchinson Public Schools

| Contact Person: Brian Mohr |  |  | Date: 2/28/2013 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hazardous Material | Quantity | Location |  | Reported on Tier Two | Installation Date(s) |  |  |
| Gasoline | 01 | Green Storage Shed SE of High School |  | YES |  |  |  |
| #2 Diesel Fuel | 01 | Green Storage Shed SE of High School |  | YES |  |  |  |