Checklist of E/OHS Activities for Hazardous Waste Management

Program Contact Person(s)	Brian Mohr

Primary Contact Person:	Brian Mohr

Secondary Contact Person: 	Jim Benton

Is the Hazardous Waste Management program in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Did this school generate ten gallons of waste per year? Yes  No

Note: In Greater Minnesota, schools generating ten gallons of waste per year or less do not need a license.

Did this school generate 220 pounds or less per month hazardous waste (about ½ drum or less liquid)? Yes No

Note: Wastes that do not count include antifreeze, cathode ray tubes, fluorescent lamps, lead acid batteries, pcb ballasts, photo fixer reclaimed on site, used oil and oil filters.

Training for VSQG’s do not have training requirements however MPCA strongly recommends persons handling wastes be given training on best handling and safety risks associated.

Has training been provided for affected persons?  Yes  No  N/A

Date Conducted: N/A

Date Scheduled:	N/A

Has annual report and license application sent in? Yes  No  N/A

Note: A survey of toxic wastes generated in spring of 2005 by MPCA Field Technician, Kathy Gedde, determined the school to be a “minimum waste generator” ending the need to continue licensing with the State of Minnesota. See Activities Manual for report.

| Evaluation of Hazardous Waste Generating Locations (complete form for each facility) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Area | N/A | Type | Quantity/Month | Disposal Method |
| Chemistry/Biology Note: All lab chemicals are neutralized and sewered. |  | Acetone |  | N/A |
|  |  | Acids |  | N/A |
|  |  | Bases |  | N/A |
|  |  | Precipitated heavy metals |  | N/A |
| Graphic Arts, Scene Shops, etc. |  | Paints |  | N/A |
|  |  | Thinners |  | N/A |
| Photography | X | Film/Paper |  |  |
|  |  | Fixer |  | N/A |
| Art |  | Printing Fluids |  | N/A |
| Grounds and Maintenance | X | Pesticides |  | N/A |
| Custodial |  | PCB Oil Ballast |  | Retrofit |
|  |  | Bulbs |  | Retrofit |
|  |  | Paint Stripper |  | Recycled |
|  |  | Boiler Treatments |  | N/A |
|  |  | Asbestos |  | WM Waste Management |
| Automotive-related Repairs |  | Crankcase Oil | 25 gal | Recycled |
|  |  | Lead-balancing Weights | varies | Recycled |
|  |  | Used Batteries | 2/month | Recycled |
|  |  | Paint | 1 gal. | Meeker County Recycling |
|  |  | Paint Thinners |  |  |
|  |  | Filters | 4 ea. |  |
|  |  | Antifreeze | 4 gal. | N/A |
| Metal Shop Wood Shop Ag Shop |  | Parts Washer |  | Recycled |
|  |  | Degreaser |  | N/A |
|  |  | Used Batteries |  | N/A |
|  |  | Paint |  | Recycled with county |
|  |  | Paint Thinners |  | Recycled |
|  |  | Filters |  | N/A |
|  |  | Paint Strippers |  | N/A |

Note: Middle school garage is the central collection point. Computer components are stored in large green shed behind HS. Retrofit provides recycling services.