Checklist of E/OHS Activities for Hearing Conservation

Program Contact Person: Brian Mohr

Is the Hearing Conservation Plan in place? *Yes No*

Is the Plan current? *Yes No*

Has the Plan been reviewed this school year? *Yes No*

Has the program been approved by the School Board for the current school year?

*Yes No*

Has the school been surveyed for noise hazards? *Yes No*

Have sound level measurements been collected? *Yes No*

Have the results been documented? *Yes No*

 Location: Activities Manual

Has training been scheduled or completed for affected individuals this school year?

*Yes No N/A*

 Date: *N/A*

 Presenter: *N/A*

Have regulatory changes occurred that may affect this program? No

*Note: While this program area does not meet the requirements for a full hearing protection program for employees, the employer voluntarily provides its employees access to various hearing protection devices for use. Hearing protection PPE is located at the custodial offices in each building.*

*Sound surveys are taken from time to time.*

**Sound Level Monitoring**

**Client:** Hutchinson Public Schools

|  |  |
| --- | --- |
| **Measuring Device: Center 325 Sound Level Meter** | **Calibration:**  Pre\_\_\_\_\_\_\_\_\_\_\_ Post\_\_\_\_\_\_\_\_\_\_\_ |
| **Reason for Testing: General Survey** |
| **Affected Personnel: Band Custodial, Maintenance, Shop** |
| **Building** | **Specific Area** | **Results** | **Recommendations** |
| High School | Dishwashing  | 77-80dBA | Protection not required |
| High School | HS Boiler Room | 86-87 dBA | Provide protection |
| Park Elementary | Boiler Room | 80-82 dBA | Protection not required |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Completed by Lee Carlson** **Date** 3-31-2009