Checklist of E/OHS Activities for Lead-in-Water Management

Program Contact Person: Brian Mohr

Is the Lead-in-Water Management Plan in place? *Yes No*

Is the Plan current?  *Yes No*

Has the Plan been reviewed this school year? *Yes No*

This school completed testing of water supply taps 11-12-2002

*(date)*

Is a map of all potable water taps available for review? *Yes No N/A*

Checklist of E/OHS Activities for Lead-in-Paint Management

Program Contact Person: Brian Mohr

Is the Lead-in-Paint Management Plan in place? *Yes No*

Is the Plan current?  *Yes No*

Has the Plan been reviewed this school year? *Yes No*

Testing for lead in paint on playground equipment: Note: All playground equipment has been replace with lead free.

*Date completed: N/A*

*Yet to be tested: N/A*

Results of evaluation for paint condition in rooms K-1:

*Building constructed post-1978; facility not applicable*

*Building constructed prior to 1978; paint determined to be in \_\_\_\_good\_\_\_\_\_\_\_\_\_\_ condition.*

*Note: Testing conducted in 3-10-1994 indicated lead paint present in some painted areas. The lead paint has been covered with lead free paint.*