| PLAN REVIEW |
| --- |
| Reviewer | Date |

ASBESTOS MANAGEMENT

Purpose

The purpose of this program is to establish guidelines and procedures in the operations and maintenance of Asbestos Containing Material (ACM) at Hutchinson Public Schools to protect all employees, contractors, visitors, and vendors from potential health hazards of asbestos-related diseases.

This Program applies to all buildings and structures owned by Hutchinson Public Schools, to all employees and sub contractors of Hutchinson Public Schools, to occupants Hutchinson Public Schools buildings, and to external organizations who may come into contact with or disturb ACM in Hutchinson Public Schools buildings. The Program applies to routine work during which an employee might encounter asbestos as well as work undertaken to repair or remove ACM.

Policy

It is the policy of Hutchinson Public Schools that only qualified employees shall be involved in any asbestos repairs, maintenance, or removal. All unqualified employees shall be protected from exposure to asbestos fibers by isolating and controlling access to all affected areas during asbestos work. All tasks involving the disturbance of ACM will be conducted only after appropriate work controls have been identified and implemented. A qualified supervisor shall be available at asbestos-controlled work sites during all activities. Proper personal protective equipment, vacuums, and HEPA filters shall be used and properly maintained. If outside contractors are used, the Hutchinson Public Schools shall ensure all contractor employees have been properly trained and have been issued proper equipment and protective gear.

Responsibilities

Management

- Ensure all ACM is identified and labeled

- Ensure training is effective for authorized employees

- Conduct medical surveillance of affected employees

- Establish engineering controls for all work with ACM

- Provide adequate and proper equipment and personal protective gear

- Ensure proper disposal of all ACM

- Ensure that annual notifications are published

Supervisors

- Qualified supervisors shall provide effective on-site management during work with ACM.

- Supervisors will notify Asbestos Contact Person immediately upon discovering damaged asbestos material.

Employees

- Qualified employees must follow the exact procedures for repair or removal of ACM, including proper use of containment equipment, clean up equipment, and personal protective gear.

- Unqualified employees are to stay clear of all asbestos work areas and report any damaged ACM to their supervisor.

Hazards

Asbestos is a common, naturally occurring group of fibrous minerals. Asbestos fibers have been used in a variety of building materials; however, the Hutchinson Public Schools takes an aggressive effort to use non-asbestos containing materials in new construction and renovation projects. Generally, most asbestos is found in pipe insulation, doors, textured paints and plasters, structural fireproofing, and floor tiles. Friable asbestos (that is, material that contains more than 0.1% asbestos by weight and can be crumbled by hand) is a potential hazard because it can release fibers into the air if damaged.  Long-term exposure to airborne asbestos is necessary for chronic lung disease. Significant and long-term

exposure to asbestos from activities that directly disturb ACM (such as asbestos mining) can lead to a variety of respiratory diseases, including asbestosis and mesothelioma (cancer of the lung lining). Asbestosis is a non-malignant, irreversible disease resulting in fibrosis of the lung. Asbestos-related cancers tend also to result from substantial long-term exposure; however, mesothelioma may result from much smaller exposures to asbestos.

Hazard Control

Engineering Controls

Engineering controls include the use of enclosures such as monitoring equipment, glove bags, tenting, negative pressure work areas, HEPA filters, controlled vacuums, water misters, and other equipment to ensure containment and clean up of asbestos work areas.

Administrative Controls

All qualified workers shall be issued proper personal protective equipment, such as respirators, disposable coveralls, gloves, etc. Written procedures and management authorizations are required for all work involving ACM.

Training Controls

All qualified employees, supervisors, and managers shall receive the proper level of training, as outlined in this program.

Definitions

Asbestos is a generic term describing a family of naturally occurring fibrous silicate minerals. As a group, the minerals are noncombustible, do not conduct heat or electricity, and are resistant to many chemicals. Although there are several other varieties that have been used commercially, the most common asbestos mineral types likely to be encountered in District buildings are chrysotile (white asbestos), amosite (brown asbestos), and crocidolite (blue asbestos). Among these, white asbestos is by far the most common asbestos mineral present in District buildings.

Friable Asbestos means finely divided asbestos or ACM or any ACM that can be crumbled, pulverized, or powdered by hand pressure. Individual fibers in friable ACM can potentially become airborne and can then present a health hazard. Three types of friable material commonly used in buildings are sprayed fibrous fireproofing, decorative or acoustic texture coatings, and thermal insulation.

Non-friable Asbestos includes a range of products in which asbestos fiber is effectively bound in a solid matrix from which asbestos fiber cannot normally escape. Non-friable asbestos includes a variety of products including asbestos cement tiles and boards and asbestos-reinforced vinyl floor tiles. Cutting, braking, sanding, drilling, or similar activities can release asbestos fiber from even non-friable asbestos materials.

Asbestos Work Categories

Category 1 work includes the installation or removal of non-friable asbestos in which the asbestos fiber is locked in a binder such as cement, vinyl, or asphalt that holds the material together.

Category 2 work involves work with friable asbestos that is of short duration in situations which create low levels of airborne asbestos. Examples of category 2 work are enclosure of friable asbestos; application of tape or sealant to asbestos-containing pipe insulation; minor removal of friable asbestos; and minor installation, maintenance, or repair work above false ceilings where sprayed asbestos fireproofing is present on beams.

Category 3 Work involves possible exposure to friable asbestos over long periods of time or work that generates high levels of asbestos. Included in category 3 work are removal projects where relatively large amounts of asbestos are removed from a building (including removal of friable asbestos from structural material), and cleaning or removal of heating or air handling equipment that has been insulated with asbestos. Also included in category 3 work are cutting or grinding of ACM using power tools.

Rules

General Rules

- When in doubt, treat all material as containing asbestos and comply with all applicable rules and regulations and protective measures.

- Certified and licensed asbestos abatement personnel will handle all ACM. The friability of the ACM will dictate the type of removal/maintenance required.

- Employees who are uncertified and unlicensed will not handle any ACM >1%. This will include encapsulation projects, renovation/removal, and/or demolition of any type of structure. This will prevent the potential for accidental exposure from the mishandling of any ACM.

- When an uncertified, unlicensed employee questions whether he/she may be handling suspect ACM, the employee will immediately contact his/her supervisor.  The employee shall not resume working at the site until the area has been checked to verify the material is not ACM.

- Uncertified, unlicensed employees will not cross over a barrier/containment area where asbestos projects are in progress.

- Any employee who discovers ACM or suspect ACM in damaged or poor condition should report it to his/her supervisor so the identified material is repaired.

Rules Regarding Medical Examinations

- Employees assigned to asbestos removal will be given medical examinations at the District’s expense in compliance with 29 CFR 1926.1101 and 40 CFR 763 - Subpart G:

- Within 30 days of first employment or assignment to a job exposing the employee to asbestos containing material,

- Annually, and

C.	Within 30 days of termination of employment.

- Medical examination for employees assigned to asbestos removal will include:

- Medical and work history with special emphasis directed to symptoms of the respiratory system, cardiovascular system, and digestive tract;

- Medical questionnaire contained in 29 CFR 1926.1101; and

C.	A physical examination including a chest roentgenogram and pulmonary function test that includes measurement of the employee's forced vital capacity and expiratory volume.

- No employee shall be assigned to tasks requiring the use of respirators if an examining physician determines the employee will be unable to function normally while using it or that the employee might otherwise be impaired.

- Records of all physical examinations performed for work-related asbestos activities will be maintained permanently by the District.

Rules Regarding Asbestos Inventory

- The District has conducted surveys and prepared a written inventory of the type and locations of ACM to:

- Allow for periodic condition inspections, and

- Allow for maintenance and repair of damaged asbestos.

- For each building the inventory contains the following information:

- Type of ACM (sprayed fireproofing, texture coating, or thermal insulation);

- The location of the material; and

- When is has been sampled, the type and percentage of asbestos present.

- Also included in the survey information are sampling results showing the absence of asbestos in material that might be mistaken for an ACM.

Asbestos Identification

An asbestos identification system is used to alert people to the presence of asbestos. Asbestos is identified by tags, stickers, pipe labels, signs, and other high visibility means. Where feasible, stickers indicate the presence of asbestos in thermal insulation, in asbestos board and tiles, and in other locations. Warnings may also be placed near the entrances of rooms, particularly mechanical rooms where unusually large amounts of asbestos may be present.

Inspection

Inspection of the condition of friable asbestos is integrated into the Maintenance Department routine inspection program. Periodic inspections and reports on the status of facilities and equipment in District buildings are produced to note damage to asbestos that might result in release of asbestos. When damaged ACM is discovered a work order will be issued to initiate the assessment/remediation as required.

Access Control

Access to mechanical and electrical rooms, service shafts, tunnels, and other locations is to be restricted where asbestos may be present in unusually large amounts and where other hazards may also be present. Such areas are locked and accessible only to authorized personnel. Where sprayed asbestos-containing fireproofing is present in a building above a false ceiling, access to the space is restricted to Maintenance Department employees, Communications Services, or authorized contractors.

Repair and Maintenance of ACM

Should an employee or a contractor encounter material that is not identified and is not listed in the Asbestos Inventory and which might reasonably be expected to be asbestos, the person will stop any work that could create airborne asbestos and report the discovery to a supervisor. Where it is determined that friable ACM is in a condition that could likely lead to inhalation exposure, the supervisor will immediately limit access to the location and initiate repairs, removal, or encapsulation. Where there is reasonable doubt about the composition of a friable material, it will be treated as asbestos until testing demonstrates that asbestos is present at levels below 1%.  Cleanup and repair of asbestos-containing material will only be carried out by the appropriate clean-up procedure by employees or contractors who have been properly trained.

When routine work is to take place in an area where asbestos is present or when the work might disturb friable asbestos, employees will be informed of the potential for exposure through a notation on the work order. If upon reviewing the work situation, the employee believes that normal work practices do not provide an adequate measure of safety, the employee will report these concerns to the supervisor. The supervisor will review the work situation and authorize any required additional precautions. All employees, visitors, vendors, and contractors will be notified in advance when work involving asbestos is to be carried out in any area of District buildings that they occupy.

Training

All District Hutchinson Public Schools who remove, repair, or work around friable asbestos and those whose work might disturb friable ACM will be trained to carry out their work without endangering themselves, their coworkers, or other building occupants.

Level 1 Training

All affected Maintenance Department employees who do not receive levels 2 or 3 training will receive Level 1 training which will acquaint them with:

- The types, properties, and uses of asbestos;

- Ways to recognize asbestos;

- The hazards of asbestos fiber inhalation;

- Types of activities which could release asbestos fibers; and

- The District Asbestos Inventory and Asbestos Identification State and Federal regulations regarding work with asbestos and disposal of asbestos-containing waste.

Refresher training will be provided every second year. Only those with Level 1 training will be allowed to carry out or supervise Category 1 asbestos work.

Level 2 Training

All District employees who conduct or may be expected to conduct Category 2 or 3 work will receive training in:

- All Level 1 topics;

- Ways to recognize and avoid damage to ACM;

- The use, fitting, limitations, care, and disposal of protective equipment;

- Asbestos containment and ventilation during removal; and

- Wet and dry clean up procedures.

Refresher training will be provided every second year. Except for actual asbestos removal, only those with Level 2 training will be allowed to carry out or supervise Category 2 asbestos work.

Level 3 Training

Level 3 training will be provided for insulators and others who are authorized to remove friable asbestos and for those who supervise asbestos removal work that is performed by either District Employees or external contractors. Level 3 training provides practical hands-on experience in all phases of small and medium scale asbestos removal. Those who will carry out small-scale asbestos removal work will receive additional on-the-job training working with experienced asbestos workers.

Contracted Work

Asbestos Removal Work

Major asbestos removal is normally contracted to external firms who specialize in asbestos removal work. The District requires that all such work be carried out in accord with the requirements established by State and Federal regulations. At all such projects the contractor will ensure that cleanup is properly completed and that all asbestos and asbestos-contaminated material is collected and disposed of in accord with the EPA regulations. The contractor will be required to submit air-testing results to demonstrate that the cleanup has been carried out properly and the area can be reoccupied safely.

Other Work

The District often employs contractors to service equipment such as elevators, telephones, refrigeration, and air conditioning equipment, and to carry out other construction and renovation projects. When contractors are required to work in areas where asbestos is present or there is a possibility of disrupting friable asbestos, the District will provide:

- Notification of the known locations and types of asbestos present (or suspected to be present) in the area where the contractor will work, and

- Information on District asbestos labeling system. The District requires that contractors carrying out tasks which could potentially create asbestos-containing dust:

- Follow work practices that reduce to the extent practical the creation of airborne asbestos dust and which meet the asbestos safety standards set by State and Federal regulations.

- Immediately report to the asbestos program manager when damage occurs to ACM, and

- Employ only workers who have been trained in asbestos safety.

Asbestos Work Procedures

Discovering Damaged Asbestos

When asbestos is discovered the following steps describe the actions to be taken by trade Employees and their supervisors. The steps comply with District Asbestos Policy, which states the long-term goal is to remove all asbestos and the short-term goal is to manage asbestos to minimize exposure to airborne asbestos. It is important to note that all asbestos is to be logged in the inventory, regardless of its state of repair.

- Complete the Asbestos Inventory Form - The employee is to complete the first section of the Asbestos Inventory Form and submit it to his/her Supervisor.

- Sampling - The Supervisor will determine if samples are required to confirm the existence of asbestos. Checking the inventory to see if asbestos in that location has already been tested will do this. If necessary, the Supervisor will close off an area (mechanical spaces) or shut down equipment (air handling units) pending test results and remedial action.

- Repair/Removal and Cleanup - If the asbestos is damaged, it is certain a clean up will be required. The clean up and repair should happen together. The repair and clean up will be charged to a work order and the number recorded on the Inventory Form. If removal is required, the supervisor will determine whether the removal will be carried out by a contractor or by District Employees. The work order number must be logged on the Inventory Form.

- Labeling - All known ACM should be labeled. For asbestos containing pipe insulation, yellow paint will be applied directly to the insulation. In areas where asbestos is present in multiple locations it will be sufficient to provide warning signage at each entry point into a room. Blue paint will be applied to any new insulation that is not readily obvious to be asbestos free.

- Logging in Database - After completing the Asbestos Inventory Form, it will be given to the District asbestos program manager for logging into the Asbestos Inventory.

Clean up of ACM

Asbestos only poses a health hazard when it becomes airborne and people inhale the fiber. When asbestos-containing material has been disturbed, effective clean up will ensure that asbestos does not present a health hazard. Clean up of dust that might contain traces of asbestos, such as a custodian might encounter in routine cleaning in buildings where asbestos is present, will not require special precautions. To ensure that clean up of significant quantities of asbestos will not cause a health hazard, the following procedure will be followed:

- Clean up of significant amounts of ACM will be only be done by Employees who have been trained and who are wearing appropriate protective clothing and a fitted, air-purifying respirator.

- Dry sweeping of asbestos-containing waste and other clean up activities that will create airborne dust are not permitted.

- Large pieces of ACM will be collected by hand and properly bagged in accord with the disposal procedure.

- When ever possible, asbestos dust will be thoroughly wetted and clean up with a wet mop or a HEPA type vacuum. Contaminated water will be discharged to a sewer. Containers, mops and other equipment that might be contaminated with asbestos will be rinsed with water and the rinse water discharged to a sewer.

If additional clean up is need it will be carried out using a vacuum equipped with a HEPA filter. Within Maintenance Department there is one vacuum assigned for asbestos clean up.

Non-friable ACM Work

Asbestos that is effectively bonded in a non-asbestos matrix cannot easily become airborne. As such, provided the material is not broken or abraded, there is little risk of inhalation exposure to asbestos. To ensure that minor work involving non-friable asbestos (including vinyl asbestos tile, asbestos asphalt roofing, and asbestos ceiling and wall tile) the following procedure will be followed:

- Before beginning the work the worker will carefully inspect the ACM to ensure that the planned work will not create airborne asbestos dust.

- Where dust that might contain asbestos fiber is present, the worker will clean the material using a wet method or a HEPA filtered vacuum.

- Following completion of the task the worker will carry out any required clean wet methods or a HEPA filtered vacuum and will then carefully bag for disposal all asbestos-containing waste.

Note: Cutting, drilling, sanding or breaking the material are likely to create airborne asbestos dusts and will require additional precautions.

Work Above False Ceilings

Only workers who have successfully completed Level 2 Asbestos Safety Training and who are authorized to do so by the asbestos program manager may move ceiling tiles or perform work above the dropped ceilings where asbestos insulation is present on building structure. The following procedure shall be used whenever minor work (such as installation of telephone or computer lines, or servicing of ventilation or lighting system components) requires work above the suspended ceiling:

- Before removing a ceiling tile, the area around the tile shall be isolated by creating an enclosure of 4-mil or heavier polyethylene sheeting. The sheeting shall be taped to the ceiling t-bar and the floor using duct tape.

- Those working within the enclosure shall wear a pair of coveralls and a properly fitted, air-purifying respirator equipped with a particulate filter designed to remove asbestos fibers from inhaled air.

- Air supply or return grills located within the enclosure shall be sealed with 4-mil or thicker polyethylene sheeting to prevent contamination of the ventilation system.

- The ceiling tile shall be carefully removed and the upper surface vacuumed with a vacuum fitted with a HEPA filter.

- The worker shall then carefully vacuum the upper surface of surrounding tiles before carrying out the assigned task.

- Following completion of the above-the-ceiling work, the removed ceiling tile shall be replaced and the interior of the enclosure carefully cleaned using wet cleaning techniques or a HEPA filtered vacuum.

Note: Additional precautions may be required depending upon the specific tasks to be undertaken. Any task that is likely to disrupt the sprayed-on insulation will require additional precautions.

Repairs to ACM

Where asbestos is known or believed to be present in damaged insulation, repairs or removal are needed to prevent asbestos fiber from becoming airborne. Only workers who have successfully completed Level 3 Asbestos Safety training and who are authorized to do so may undertake such repairs or removal. The following procedure will be used whenever minor repairs to asbestos containing insulation is undertaken:

- Access to areas where minor repair is to be carried out will be restricted to authorized people only. When necessary, signs will be posted advising of access restrictions.

- Workers repairing asbestos-containing insulation will wear coveralls and a properly fitted, air-purifying respirator equipped with a particulate filter designed to remove asbestos fibers from inhaled air.

- Before beginning the repair, the area will be carefully cleaned using the Clean-up of Asbestos-Containing Material Procedure.

- When feasible a drop cloth shall then be placed beneath the insulation to be repaired.

- Before beginning the repair, all feasible steps (wetting with amended water, encapsulating adjacent asbestos-containing material, etc.) will be taken to prevent the release of asbestos fibers.

- Following the repair the worker will carefully bag for disposal all asbestos- containing waste and clean the surrounding area using wet cleaning techniques or a HEPA filtered vacuum.

Single-Use Glove Bag Procedure

The following procedure will be followed when single-use asbestos removal glove bags are used. The procedure may only be used on tasks that are small enough to be completely enclosed in the glove bag and which do not leave exposed asbestos in place when the bag is removed.

Preparation:

Only a Employee who has completed level 3 training and who is wearing appropriate coveralls and an air-purifying respirator (3M 6000 Series with a purple, 6240 particulate filter or equivalent) will carry out glove bag removal of asbestos.

Before beginning removal work, access to the area will be restricted. If the work site is located in areas where other Maintenance Department Employees might be exposed to asbestos, and in all work sites located in publicly accessible areas, warning notices will be posted.

Steps will be taken to prevent accidental movement, contact with heat, cold or electricity, or release of chemicals.

The work area will be cleaned using a HEPA filtered vacuum or wet cleaning to remove asbestos-containing material contaminating the immediate work area. Where possible a plastic sheet will then be placed beneath the pipe or fitting from which the asbestos is to be removed.

Steps will be taken to prevent exposure where damage to the insulation might allow release of fibers. Steps include making temporary repairs using duck tape or wetting the exposed fiber using amended water.

Glove Bag Removal:

The asbestos-containing material will be thoroughly wetted using amended water.

With tools in bag, the single-use bag will be positioned and secured using adhesive and tape as necessary.

Working through the gloves, the asbestos will be removed exercising care to avoid puncturing the bag.

When removal is compete or bag is full, sprayer (containing amended water) will be inserted into the bag and the pipe or fitting, tools and the bag interior will be washed.

Tools will then be placed in an inverted glove withdrawn from bag and the glove sealed from the bag using duct tape.

The tools will then be removed by cutting through the duct tape ensuring that both the bag and the glove remain sealed.

The tools will then be submerged in water and the glove opened. Tools will be cleaned under water.

The glove bag will then be carefully removed, sealed and placed in a sealed container pending packaging for disposal.

Clean Up:

The surface of the pipe or fitting will be carefully wet wiped and treated with sealer.

The plastic sheet will then be carefully wet wiped and rolled up.

All solid waste created during removal jobs including glove bags, disposable coveralls, wipe rags and plastic sheeting will be treated as asbestos containing waste and handled as detailed in the disposal procedure.

Multiple-Use Glove Bag Procedure

This procedure describes the use of multiple use glove bags. It may be used on tasks that require the bag to be repositioned to complete the entire job.

Preparation:

Only a Employee who has completed level 3 training and who is wearing appropriate coverall and an air purifying respirator (3M 6000 Series with a purple, 6240 particulate filter or equivalent) will carry out glove bag removal of asbestos.

Before beginning removal work, access to the area will be restricted. If the work site is located in areas where other Maintenance Department Employees might be exposed to asbestos and in all work sites located in publicly accessible areas, warning notices will be posted.

Steps will be taken to prevent accidental movement, contact with heat, cold or electricity, or release of chemicals.

The work area will be cleaned using a HEPA filtered vacuum or wet cleaning to remove asbestos-containing material contaminating the immediate work area. Where possible a plastic sheet will then be placed beneath the pipe or fitting from which the asbestos is to be removed.

Steps will be taken to prevent exposure where damage to the insulation might allow release of fibers. Steps include making temporary repairs using duck tape or wetting the exposed fiber using amended water.

Glove Bag Removal:

The asbestos containing material will be thoroughly wetted using amended water.

With tools in bag, the bag will be positioned and secured using adhesive and tape as necessary.

Working through the gloves, the asbestos will be removed exercising care to avoid puncturing the bag.

When removal is compete or bag is full, sprayer (containing amended water) will be connected to the valve and the pipe or fitting, tools and the bag interior will be washed. If the bag is repositioned to remove additional asbestos, remaining exposed ends of asbestos will be thoroughly damped.

Tools will then be placed in an inverted glove withdrawn from bag and the glove sealed from the bag using duct tape.

The tools will then be removed by cutting through the duct tape ensuring that both the bag and the glove remain sealed.

The tools will then be submerged in water and the glove opened. Tools will be cleaned under water.

The glove bag will then be removed and placed in a sealed container pending packaging for disposal.

Clean Up:

The surface of the pipe or fitting will be carefully wet wiped and treated with sealer.

The plastic sheet will then be carefully wet wiped and rolled up.

All solid waste created during removal jobs including glove bags, disposable coveralls, wipe rags and plastic sheeting will be treated as asbestos containing waste and handled as detailed in the disposal procedure.

Modified Enclosure Procedure

The following Modified Enclosure Method may be used for removal of asbestos from ceilings, walls, beams, pipes, or other equipment providing that the job is small enough that it can be completed within one shift without the need for repeated entry into the work area.

The method may not be used for jobs involving:

Amosite, 	Crocidolite, or Friable asbestos of any type.

Additional precautions will be required if the exhaust air cannot be discharged outdoors. Modified enclosure removals may only be undertaken by Employees who have completed level three training and who have received modified enclosure removal training.

Preparation:

If dust that might contain asbestos is present, pre clean the work site using wet cleaning or HEPA vacuum cleaning.

Protect floor, walls equipment within the work area that might be damaged by water.

Ensure that steps are taken to protect workers from any energized equipment or systems located within the work area.

Post signs and restrict access to work area.

Seal area to prevent air leakage into adjacent areas or air handling system using framing as necessary, 150 mil plastic sheeting, tape, sealants and caulking as required. Construct an overlapping, double curtained entrance to work area.

Install HEPA filtered negative air unit in work area. Unit must provide 4 air changes per hour while maintaining a pressure difference of -0.02 inches of water. Direct filtered exhaust air outdoors.

Removal:

Employees entering the work are shall wear a disposable Tyvek type suit including a head cover and an air purifying respirator (3M 6000 Series with a purple, 6240 particulate filter or equivalent).

With the area sealed and negative air unit in operation, saturate asbestos- containing material with amended water using airless sprayer.

Remove asbestos using additional amended water as needed being careful not to create airborne dust.

Brush the area from which asbestos has been removed and then wet wipe or vacuum to remove final traces of asbestos. Following removal of asbestos, treat the area with slow dry sealer.

Clean up:

Place all waste in specially marked heavy-duty asbestos waste disposal bags. Seal waste bags securely using duct tape before removing from the enclosure. Wipe all tools with a damp cloth to remove traces of asbestos contamination before removing them from the enclosure.

Wet wipe or vacuum (using the designated shop vac marked ASBESTOS ONLY) all areas within the enclosure not covered by plastic to remove traces of asbestos.  If a HEPA filtered shop vac was used, it shall be wiped with a damp cloth and the hose end covered with tape before being removed from the enclosure. If the vac is to be opened to change a filter or bag, the work will be carried out in an enclosure under negative pressure with HEPA filtered air exhausted outdoors.

Wet wipe the interior of plastic sheeting used to form the enclosure. Remove plastic by rolling, wet wiping any visible particulate matter that make be visible. Wet wipe the disposable Tyvek suit and remove. Place the plastic sheeting, the suit and the used respirator cartridges in an asbestos waste bag along with other remaining contaminated material.

Arrange for reconnection of any services running through the work area that were disconnected to accommodate removal work.

Dispose of waste as per waste disposal procedure.

Disposal of Asbestos-Containing Waste Materials

Handling and disposal of asbestos-containing waste is regulated by both State and Federal regulations. To ensure compliance with these regulations and to ensure that no one is exposed to asbestos the following procedure is to be followed:

Only an Employee who has completed Level 2 training and who is wearing appropriate air purifying respirator will package asbestos waste.

Waste asbestos will be thoroughly wetted and then placed in specially labeled 6 mil plastic bags. The bag will be securely sealed using duct tape. The bagged asbestos will then be placed in a second, labeled 6-mil plastic bag that is again taped closed.

Asbestos waste may be transported from the location where it was produced to an interim storage location if the bags are free from punctures or tears and if the outside of the bag is free of asbestos. Asbestos waste will be transported in an enclosed vehicle or beneath a secured tarpaulin. No other cargo may be carried while the waste asbestos is being moved. After the waste asbestos is moved to an interim storage site, the driver will, if necessary clean the vehicle to remove asbestos contamination.

Asbestos waste must be disposed of at a waste disposal site that is approved to receive asbestos by Environmental Protection Agency(EPA) or the state pollution control agency.

Shipment of waste asbestos must be coordinated with the waste disposal site that is to receive the waste. External contractors will normally carry out asbestos disposal.

Shipments for disposal must be done in accord with Minnesota and Federal DOT regulations and must be accompanied by a properly completed shipping document.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

Automatic External Defibrillator (AED)

Procedure Plan

Note: If AED is not immediately available, perform CPR until AED arrives on the scene. Use of the AED is authorized for emergency response personnel trained in CPR and use of the AED.

Purpose:

To provide trained employees of the school district with uniform guidelines to follow when responding to sudden cardiac arrest incidents and in intervening with an AED.

School Hours:

Staff members will:

- Assess scene safety. Rescuers are volunteers and are not expected to place

themselves at risk in order to provide aid to others, instead the scene or

environment around a victim must be made safe prior to attempts to assist.

- Determine unresponsiveness.

- Notify the office of the location of the victim.

  - High School: Dial____________________________________

  - Middle School:  Dial_______________________________

  - Elementary School: Dial________________________________

Office personnel will:

- Call 911, tell the EMT’s which school door to enter.

- Use of the staff radios to alert all in the building of the emergency.

- Call school nurse.

- Office staff will meet the attendance desk.

- Assign someone to retrieve the AED and meet first Response Team member at the scene.

- Make copy of Health record for EMT’s.

- Call parents/family of victim.

First Response Team will:

- Respond to the scene of the victim, assess the victim, and if needed, begin CPR

until the AED arrives.

  - Open the Airway – (A).

  - Check for Breathing – (B). If not breathing, or if breathing is ineffective, give two slow breaths. Observe Universal precautions using gloves and ventilation mask, if available. If breathing, place in the recovery position and monitor breathing closely.

  - Check for signs of Circulation – (C). Signs include: pulse, coughing, or movement.

d.  If no signs of circulation, apply AED immediately. If AED is not

immediately available, begin chest compressions and breathing (CPR) until AED arrives.

Note: if rescuer is alone and the victim is a child under   eight years old or 55 pounds and has no known cardiac condition, perform one minute of infant/child CPR prior to activating the emergency response system. If the child is age one to eight use the Child

AED electrodes as indicated by the teddy bear on the leads.

- Turn on AED.

- Apply electrode pads (according to the diagram on back of electrode pads) to victim’s bare chest:

  - Peel electrode pads one at a time, from the backing or liner.

  - Shave or clip hair if it is so excessive it prevents a good seal between electrode pads and skin.

  - Wipe chest clean and dry if victim’s chest is dirty or wet.

  - Press electrode pads firmly to skin.

- Stand clear of victim while machine evaluates victim’s heart rhythm.

- Refrain from using portable radios or cell phones within four feet of victim while AED is evaluating heart rhythm.

SHOCK ADVISED:

- Clear area, making sure no one is touching the victim.

- Push SHOCK button when prompted.

- Device will analyze the victim’s heart rhythm and shock up to three times.

- After three (3) shocks, device will prompt to check pulse (or for breathing and movement) and if absent, start CPR>

- If pulse or signs of circulation such as normal breathing and movement are absent, perform CPR for one minute.

- Device will countdown one minute of CPR and will automatically evaluate victim’s heart rhythm when CPR time is over.

NO SHOCK ADVISED:

- Device will prompt to check pulse (or breathing and movement) and if absent, start CPR.

- If pulse or signs of circulation such a normal breathing and movement are absent,  perform CPR for one minute.

- If pulse or signs of circulation are present, check for normal breathing.

- If victim is not breathing normally, give rescue breaths according to training.

- AED will automatically evaluate victim’s heart rhythm after one minute.

- If victim regains signs of circulation, such as breathing and movement, place them on their side, in the recovery position, and monitor their breathing closely.

- Continue cycles of heart rhythm evaluations, shocks (if advised) and CPR until professional (EMT) help arrives.

- Victim must be transported to hospital.

- Leave AED attached to victim until EMS arrives and disconnects AED.

10.  Turn over care of victim to EMS personnel. Once they have arrived,  follow the directions of the EMS personnel for further actions.

Teachers will:

- Keep students in their rooms until the “All Clear” is announced.

- Cover the First Response Team member’s students.

Principal or designee will:

- Come to the scene and perform crowd control.

- Assist with EMT arriving to proper site.

After school hours:

School supervisor-covered events:

- Determine unresponsiveness.

- Activate system:

  - Public or cellular phone, dial 911.

  - Alert supervising staff member of emergency by sending a runner.

- The supervisor, or designee, will retrieve AED.

- If a CPR and/or AED trained individual is available, CPR and AED procedures should be initiated until EMS arrives.

- Follow procedure outlined above. See School Hours section starting with First Response Team will.

Other non-school events:

- Determine unresponsiveness.

- Activate system:

  - Public or cellular phone, Dial 911.

- The non-school event supervisor, or a designee, will retrieve the AED.

- If a CPR and/or AED trained individual is available, CPR and AED procedures should be initiated until EMS arrives.

- Follow procedure outlined above. See School Hours section starting First Response Team will.

AFTER USE:

1.  A copy of the AED use information will be sent within 48 hours (weekdays) of the

emergency to:

  - AED coordinator

- The volunteer responder will document the events using the school district accident form and will forward a copy of completed form to AED Program Coordinator or designee on the next business day.

- AED will be wiped clean according to policy.

- Electrode pads and other items used shall be replaced in the unit (by----------).

- Critical Event Stress Debriefing will be conducted by school administration.

Authorizing Physicians

Signature: __________________________Date:____________

Print or type name: ______________________________________Phone:___________

| PLAN REVIEW |
| --- |
| Reviewer | Date |

AWAIR - A WORKPLACE

ACCIDENT AND INJURY REDUCTION PROGRAM

I. POLICY STATEMENT

The safety of our employees is the foremost consideration in the operations of Hutchinson Public Schools.  Accidents and injuries are not only costly to the school and the individual workers, but are often disastrous to the future of their families. Hutchinson Public Schools endeavors to provide our employees with a work place free of recognized health and safety hazards in an effort to conserve our human and financial resources. It is our school policy that everything within reason will be done to maintain a safe workplace for all employees. Hutchinson Public Schools supports the concept of returning injured employees to work in a productive position within our school at the earliest, medically possible opportunity. We believe that each employee has a place in our accident prevention program and is expected to cooperate fully in all measures taken to control and prevent losses.

II. SAFETY AND HEALTH PROGRAM DESCRIPTION

The objective of our health and safety program is to reduce employee accidents, injuries and illnesses through:

- Maintenance of safe and healthful working conditions.

- Insuring employee adherence to proper operating practices and procedures designed to prevent accidents, injuries and illnesses.

- Observing, applying and complying with all Federal, State and Local safety regulations. Including, but not limited to:

School Emergency Action Plan

Employee Right to Know Program

Personal Protective Equipment Standard

Lock out \ Tag Out Program

Confined Space Entry Program

Hearing Conservation Program

Blood borne Pathogen Program

Respirator Program

- Ensuring that each employee is properly trained and instructed in job procedures prior to job assignments.

- Providing regular safety meetings for all employees as a means of obtaining new and updated information and training.

- Conducting periodic safety and fire inspections to identify potential workplace hazards.

- Conducting accident investigations to determine the cause of accidents and what actions are necessary to prevent future reoccurrence.

- Implementing a management/labor safety committee.

III. RESPONSIBILITIES FOR WORKPLACE ACCIDENT AND INJURY CONTROL

Although safety is the responsibility of every employee, District management is responsible for the implementation, maintenance and enforcement of safety and health policies and procedures. These efforts will be in the form of employee education in safety and health practices, periodic safety inspections of the facilities and work sites and school safety meetings to review safety concerns and provide a forum for employee education. Specific responsibilities/accountabilities for safety are as follows:

The District has appointed «AWAIR» to be the school SAFETY COORDINATOR.

The Safety Coordinator will:

- Establish and maintain a health and safety reference library.

- Keep apprised of changes in health and safety regulations.

- Conduct accident investigations and safety inspections.

- File appropriate reports concerning accidents or illnesses.

- Provide safety-training programs to new and existing employees.

- Train managers and supervisors in their safety responsibilities.

- Accompany outside safety inspectors and consultants on tours of the facilities.

- Follow up on recommendations made by management, employees, the safety    committee, outside inspectors and consultants.

- Maintain the accident record keeping systems and the OSHA logs.

- Maintain safety-training records (date, topic, content, attendance).

- Audit school safety performance and the goals of the AWAIR program.

School Administration - Is responsible for the development, implementation and maintenance of the health and safety program. Managers will assign specific safety responsibilities and establish accountability measures. They will provide the resources needed to comply with all safety regulations and programs. Management will insure that accident investigations are conducted after every reported incident, regardless of whether an illness or injury occurred. These incident reports will be analyzed by managers to determine corrective measures for preventing reoccurrence.

Supervisors - are responsible for overall safety of the specific operations of the school.

Supervisors will consistently enforce all safety rules and ensure that safe practices are followed. In the event of an accident, supervisors will insure employees receive proper medical attention and that an accident report is completed. Supervisors will arrange for the correction of unsafe work conditions or procedures.

Employees - are responsible for day to day work activities and are responsible for complying with all safety regulations, school safety rules, following safe job procedures and notifying the lead worker or supervisor in the event of accident or unsafe work conditions.

IV. SAFETY COMMITTEE

The purpose of the safety committee is to assist in the detection and elimination of unsafe conditions and work procedures utilizing the following measures:

- «AWAIR» will oversee the committee and maintain records of committee activities. Copies of minutes shall be provided to:

      - Management

      - Committee members

      - Employees by posting on bulletin boards

- Management representatives from each work area ( i.e. office, warehouse, shop, etc.) should be present at each meeting. In the event they are unable to attend an alternate should attend.

- Employees shall select fellow workers from each work area to represent them on the committee.

- The terms for all committee members should be no more than one year (with the exception of the safety coordinator). Should a vacancy occur a new member from the represented area shall be selected.

- The frequency of meetings shall be determined by the committee, but shall not be less that once per month.

- The committee shall determine the date, hour and location of meetings.

- The length of each meeting shall not exceed one hour.

Scope of activities:

- Conduct safety inspections

- Assist in accident investigations to uncover trends

- Review accident reports to determine means of eliminating accidents

- Accept and evaluate employee suggestions and concerns

- Promote and publicize safety

- Monitor safety program effectiveness

- Review job procedures and recommend improvements

V. INSPECTIONS

Safety inspections of District facilities will occur on a continual basis and may be performed by the safety coordinator, managers, supervisors, consultants, insurance agents, government representatives and/or the safety committee.

These inspections will take the following form:

Departmental or work site analysis - inspections involve wall-to-wall inspection of a given department or work site and are normally performed in the presence of a departmental supervisor. These inspections will include:

- Art Facilities

- Dark Room

- Wood Shop

- Kitchen

- Metals shop

- Agricultural Shop

- Graphic Arts

- Maintenance/Custodial

- Grounds/garage

- Sciences

- Halls, gyms, etc.

Critical Items - involve the inspection of stationary and hand tools, processes, or areas, with a critical eye for possible sources of injury and methods of making these areas safer to employees.

Special Purpose - inspections will involve specialized tests or evaluations including, but not exclusive to:

Air quality

Noise

Ventilation

Ergonomics

VI. SCHOOL SAFETY RULES AND STANDARD OPERATING PROCEDURES

Each District employee is part of the safety team. Co-workers are dependent on each person correctly performing their assigned duties. The keys to preventing accidents are; following safety rules and procedures by all employees, the proper use of all machines, equipment and personal protective equipment. The following rules are provided to help employees perform their jobs safely and correctly. Compliance with these rules is required to help prevent injuries to individual employees or others and to prevent damage to property.

These rules apply throughout the school, although some departments, because of their specialized work, may have special, additional rules. Employees are required to read all safety rules, to know and follow them. A copy of the safety rules will be given to each employee and will be posted on school bulletin boards. New employees will receive a copy of the safety rules upon hire. Employees are asked to sign an acknowledgment form that states that they have read the safety rules and understand them. This form will be kept with the employees personnel file. Violations of safety rules or safety instructions may be followed by disciplinary action even though the particular violation did not result in an accident. These rules may not be completely detailed or all-inclusive, therefore, whenever unique or unusual problems arise or more specific information is necessary employees are to contact their supervisor.

SAFETY RULES

All Employees will:

- Observe all Hutchinson Public Schools safety and health rules and apply the principles of accident prevention in all day-to-day activities.

- Refrain from horseplay, throwing objects, scuffling, fooling around and/or distracting others in ways that may lead to injuries.

- Obey all posted rules, warning signs and no smoking areas.

- Read safety bulletins.

- Never report to work under the influence of alcoholic beverages or drugs nor shall any employee consume, purchase or possess these items while on school premises.

- Never climb upon, through, under or around racking, pallets, trucks, equipment, forklifts, rail cars or other obstructions.

- Not attempt to lift or push objects that may be too heavy for them. Ask for help when needed. Learn to use correct lifting techniques to avoid strains: bend knees, keep upper body erect, push with the legs.

- Advise fellow employees to work safely and warn workers who are working carelessly.

- Remove jewelry, rings, bracelets and chains as these items may get caught in machinery or cause accidents.

- Always use proper personal protective equipment for each assigned job.

- Report hazards to lead workers or supervisors immediately.

- Never wear frayed or loose clothing or unrestrained hair in areas where it may get caught in machinery.

- Check to make sure ladders are free from defects, broken rungs and have solid feet.

- Never use makeshift ladders, scaffolding or climb on boxes.

- Never tamper with electrical switches, extension cords or circuits unless authorized.

- Always shut down machines before cleaning, adjusting or repairing. Lock and tag the machine and switches.

- Never oil machines while in motion.

- Never use hands to remove obstructions from equipment unless equipment is shut off and locked and tagged.

- Never use defective hand tools.

- Never operate equipment for which you have not been properly trained and authorized. Observe safe operating procedures for equipment or processes.

- Always insure that they follow safe procedures and use all safety devices and equipment. Never operate machines when guards are not in place. Guards must never be removed except when necessary to make adjustments or repairs or when their use is impractical and they should be replaced immediately upon completion of work.

- Never alter equipment without prior authorization.

- Always wear respirators when there are heavy fumes or dust present. Insure that proper training in the use, care and cleaning of respirators has been received prior to use.

- Always wear appropriate footwear for each assigned task.

- Always keep work areas and floor clean. Put all oily and wet materials in proper containers. Put all rubbish in containers provided. Pick up all broken pallets and wrapping from floor.

- Keep doors, aisles, control switches, emergency equipment, fire extinguishers eyewashes, first aid kits and exits clear.

- Learn the location of firefighting equipment, safety exits and evacuation procedures for their department.

- Report all accidents, near misses and injuries to their supervisor immediately.

- Always find out the safe way to perform a task.

- Actively support and participate in the school's efforts to provide a workplace accident and injury reduction program.

VIII. ENFORCEMENT

The following procedures will be followed in dealing with safety infractions:

- Any employee observed committing an unsafe act, violation of safety rules or    causing an unsafe condition to exist will be stopped immediately and questioned.

- The reason for the violation will be determined.

- Instruction in the safe procedure will be given. When this instruction is given the following will be observed:

  - Tell the employee what is to be done.

  - Show the employee the correct way to do the job.

  - Test the employee, let them practice, observe and suggest improvements as needed.

  - Check the employee by following up after the employee has returned to work to see that the safety rules are being followed.

  - Unsafe conditions will be corrected at once. If unable to do so, all employees involved will be warned of the hazard. Prompt notification of those responsible for making the correction will be made.

  - Employees will be spot checked occasionally to see that they are following instructions.

ACTION REQUIRED FOR VIOLATION OF SCHOOL SAFETY RULES.

- Verbal warning - Employee will be given a verbal warning for a minor offense. A record of this warning should be placed in employees personnel file.

- Written warning - Employee will be given a written warning for relatively serious or repeat offenses. Copies of the written warning are filed in employees personnel file.

- Suspension - Employees may be suspended from duty without pay and with a written warning for continual repeated offenses or severe violations that result in injury to him/herself and /or others.

- Termination of employment - may occur for flagrant violations of school policies and procedures. Dismissal may also occur if employees persist in continued or repeated violations of school rules and/or their work, after repeated warnings, continues at an unacceptable level of performance.

IX. ACTION PLAN FOR IMPLEMENTATION

A. WRITTEN EMPLOYEE TRAINING PROGRAM

    - Communications - Each employee will receive a copy of this program for review and training. All new employees will receive this information through the new employee orientation process. Additionally, employees will be kept aware of changes and additions to the program through: notices on bulletin boards, signs, school newsletters, booklets and accident alert notices.

    - Supervisor training - All supervisors will receive copies of this AWAIR program and instructions on how to train their employees in this material. Supervisors will receive training in new processes and procedures, as these programs are developed and prior to the assignment of employees in these areas. School management, vendors or consultants will conduct this training. Refresher training will be provided as needed, but not less than annually.

    - New employee orientation - Orientation will begin the first day of employment for all new employees, rehires, and part-time employees. The orientation program will include school policies and rules and will provide a thorough safety briefing, as it relates to the job the employee will be performing. The orientation will include:

      - A tour of the facilities to acquaint employees with the scope of operations. This tour will identify: Emergency facilities, locations of emergency exits, telephones, warning sirens, first aid kits, supervisors offices, eye washes and other emergency equipment.

      - Explanation of how the employee’s job is important to the finished product or service.

      - Applicable training sections on:

        - School safety and health policy

        - Employee responsibilities

        - Safety rules and enforcement

        - School emergency action plan

        - Employee Right to Know

        - Blood borne pathogens

        - Lock out/tag out procedures

        - Confined space entry

        - Personal protective equipment

    - The employee’s immediate supervisor will thoroughly instruct the employee in the specific safety and health requirements of each job before assigning the employee. A safety orientation checklist must be completed by checking each item as it is covered, signed by the supervisor, the employee and placed in the employees personnel file.

    - Existing employee training will include:

      - Regular safety meetings

      - Training on new hazards or operations

      - Training prior to all work assignments, including specific hazards

      - Annual refreshers on all existing school safety programs

      - Specialized training would include, one time use of certain equipment, first aid training, emergency response training, etc.

B. HAZARD ASSESSMENT AND CONTROL

Hutchinson Public Schools will conduct safety surveys of all departments and work sites on a periodic basis to determine potential hazards that may be encountered in the normal course of duty.

Periodic follow-up surveys and/or environmental sampling may be conducted when it is believed employees may be exposed to hazardous materials in concentrations that may be above recognized OSHA standards. Qualified individuals retained by the school may conduct this sampling. Results of the sampling will be provided to employees on a timely basis.

Employees are encouraged to report potential hazards and unsafe conditions to their supervisor or lead worker. It will be the responsibility of the supervisor to verify whether or not a hazardous condition actually exists and to initiate corrective actions should they be necessary.

It will be the responsibility of the supervisor to report noted hazards to the safety coordinator who will document the identified hazard and the corrective actions taken. This documentation will be kept on file with the safety coordinator.

Once hazards are identified we will take measures either eliminate the hazards by removing them from our operations or work sites or to control those hazards through:

- Engineering controls - which would include replacing defective equipment, changing processes, utilizing different procedures or making additions or modifications to facilities, equipment or processes that would eliminate or control identified hazards.

- Administrative controls- that will be implemented after all practical engineering controls have been reviewed, include: new procedures, limits on employee exposures, written policies and training.

- Personal protective equipment - is the final method of controlling hazards and will be implemented upon review of engineering and administrative controls. Personal protective equipment will be provided for all tasks that present risks that cannot be reasonably controlled using the other two methods. The use of PPE will always require administrative controls in the form of written policies and formal training of the employees exposed to the identified hazard.

C. ACCIDENT INVESTIGATION

The school recognizes that accidents do not "just happen", rather they are caused by a series of actions, steps or failures. Once these steps are identified, they can be eliminated or controlled. The purpose of accident investigations is not to place blame, but rather to determine the cause of the accident or "near miss" and eliminate the causative factors. Accident investigations begin with prompt reporting of accidents by employees to supervisors. It is then the responsibility of the supervisor to insure that employees receive prompt medical attention as required. Basic information collected at the scene of the accident should be entered on the District accident report form. Supervisors have access to copies of these forms. Upon completion of the form it should be sent to the safety coordinator to review and corrective actions should be taken to prevent a reoccurrence.

The safety coordinator will monitor all workplace injuries and illnesses. These injuries and illnesses will be recorded on the OSHA 200 log which will be posted on school bulletin boards each February.

The safety coordinator, managers and insurance staff will be responsible for monitoring these records to identify trends that may indicate previously unidentified hazards or additional training that may be required.

D. ACCOUNTABILITY

All employees are responsible for safety; therefore safety will be one item that is included in every employee’s job description.

Safety attitude and participation will also be considered as part of all employee performance reviews.

For employees - accountability includes adherence to safety rules and procedures, using protective equipment as required, participation on the safety committee and prompt reporting of any hazard.

For Supervisors- accountabilities include training new and existing employees in safe practices, enforcement of safety rules and procedures, prompt reporting and correction of hazards, accident investigations, department safety inspections, positive reinforcement of safe behavior and timely employee communications.

For Managers - accountabilities include all of the areas required for supervisors with the addition of participation on the safety committee, reductions in injury rates and workers compensation costs, accident investigations, proactive elimination of hazards and demonstrated leadership in safety related matters.

E. ESTABLISHED GOALS

The number one goal of the Hutchinson Public Schools AWAIR program is to establish a safe work environment for all school employees. In order to measure the effectiveness of our program the school has established the following additional goals:

- Reduction in lost workday incidence rate (LWDIR) that is calculated using the following formula:

Number of lost time injuries/illnesses per year X 200,000

LWDIR = Total number of employee hours worked during the year

- Reduction in workers compensation premium.

- Reduction in accident reports filed.

- Reduction in near miss accidents.

- Actual documentation of hazards removed from the work place.

X. ANNUAL PROGRAM REVIEW

District safety and health efforts are ongoing and will be reviewed and updated annually or as often as necessary to help us meet our program goals.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

BLEACHER SAFETY PLAN

## PURPOSE

Recently, lawmakers from Minnesota asked the Consumer Products Safety Commission to issue guidelines to establish bleacher safety standards.  These guidelines would set the standards that companies would have to meet regarding the production, erection, and retrofitting of bleacher facilities, as well as inspection checklists to be sure that the bleachers are structurally sound.  Effective January 1, 2002, all bleachers will have to conform to the Uniform Building Code proposed in 2000.

## GOALS OF PLAN

- Reduce/Eliminate accidents on school bleacher facilities.

- Increase/Maintain the protection of the individuals using the facility.

- Provide checklists and training for staff to perform regular bleacher safety inspections.

- Maintain appropriate documentation of training, inspections, and accidents that may occur regarding the use of the bleacher facility.

## POLICY

It is the goal of the district to provide and maintain safe bleacher facilities for the public.  In order to meet this goal, the district has developed standard operating procedures to help maintain their facilities and protect the users.  These procedures will not necessarily eliminate all accidents and injuries, but it will make all attempts to reduce the possibility of them occurring.  District personnel will follow the following guidelines:

- Manufacturer’s specifications shall be followed when installing bleachers.

- Retrofitting bleachers will be done to meet the UBC guidelines for bleachers set forth in 2000.

- Trained employees will do all inspections, repairs, maintenance, and documentation.  These will all be done in accordance with current standards set forth by the C.P.S.C. and the U.B.C.

- Any accidents/injuries will be recorded.

## TRAINING

To ensure proper and consistent inspections and maintenance are done, specific school personnel will be trained and understand the current guidelines regarding properly maintained bleacher facilities.  Properly trained school personnel and/or professionals will handle any issues regarding the repairing or erection of a whole/part of the bleacher system.  Any handling of the bleacher facility will be documented by the school district and kept on file in the BLEACHER SAFETY PLAN.

## ACCIDENTS/INJURIES

The purpose of the Bleacher Safety Management Plan is to reduce/eliminate accidents and injuries and provides a safe bleacher facility.  When accidents or injuries occur, the school district sees that it is important to document the

accident or injury and to take corrective measures if necessary.  All accidents/injury reports will be kept in the BLEACHER SAFETY PLAN.

## AUDITS/INSPECTIONS

Audits and inspections are a vital part of the Bleacher Safety Management Plan.  In order to reduce/eliminate accidents and injuries, the district must thoroughly inspect the bleacher facilities based on UBC and CPSC guidelines and requirements.

- The safety audit is a one-time initial inspection to perform an in depth analysis of the entire bleacher facility.  It helps to recognize the need for repair, removal, or retrofitting of the bleacher system to meet the standards set forth by the Uniform Building Code (UBC), and the Consumer Product Safety Commission (CPSC).

- The safety inspections are routine inspections to be sure that the bleachers are maintained properly to provide maximum safety for its users.  A detailed checklist will be used for these inspections, and trained school personnel will keep documentation.

***  All audit and inspection forms will be kept in the BLEACHER SAFETY file or in the CUSTODIAL MANUAL.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

BLOODBORNE PATHOGENS

Purpose

The Hutchinson Public Schools Bloodborne Pathogens Control Plan is designed to eliminate or minimize employee exposure to blood or other potentially infectious materials (OPIM). This plan includes an exposure determination for this workplace, the schedule and methods of implementation, and the procedure for the evaluation of circumstances surrounding exposure incidents.

Exposure Determination

Below is a list of job classifications with occupational exposure. Specific tasks/procedures in which occupational exposure occurs are included.

Job Classification: School Nurse

Specific tasks/procedure in which employees have occupational exposure:

- First aid treatment

- Cleaning up blood or OPIM spills

- Disposing of waste contaminated with blood or OPIM

Job Classification: Custodian

Specific task/procedure in which employees have occupational exposure:

- Cleaning up blood or OPIM spills

- Disposing of waste contaminated with blood or OPIM

Job Classification: Secretary/Bus Driver/Coaches/Assistant Coaches/Trainers/

Physical Education Instructors/Paraprofessionals/Playground Supervisor

Specific task/procedure in which employee has occupational exposure:

- First aid treatment

- Cleaning up blood or OPIM spills

- Disposing of waste contaminated with blood or OPIM

Job Classification: Laundry Personnel

Specific task/procedure in which employee has occupational exposure:

- Laundering of waste contaminated with blood or OPIM

Job Classification: Specific Instructors—Art/Industrial Arts/Special Education

Specific task/procedure in which employees have occupational exposure:

- First aid treatment

- Cleaning up blood or OPIM spills

- Disposing of waste contaminated with blood or OPIM

Of course, all personnel may have some chance of exposure during emergency situations (i.e., teachers, instructors). It is our policy, however, that all employees, except those listed above, are prohibited from administering the elements of this plan.  Instead, the procedure is to contact one of the employees listed above for further action, specifically the school nurse or an alternate in their absence.

In emergency situations, however, where a breakdown occurs in this system, and an employee is exposed to blood or another OPIM, actions shall be taken in accordance with this plan.

Job Classification: Biology Staff

Biology curriculum does not currently include blood-typing, whereby students and instructors lance the skin to produce a drop of blood for analysis under a microscope. These affected employees will be included under this plan should the biology curriculum change to include blood-typing.

Methods of Compliance

General

Universal precautions shall be observed. When differentiation between body fluid types is difficult or impossible, all body fluids shall be considered potentially infectious material.

Engineering and Work Practice Controls

- Engineering controls shall be examined and maintained or replaced on a regular schedule to ensure their effectiveness.

- Hand washing facilities, which are readily accessible to employees, will also be provided.

- When provision of hand washing facilities is not feasible, an appropriate antiseptic hand cleanser in conjunction with clean cloth/paper towels or antiseptic towelettes will be provided. When antiseptic hand cleansers or towelettes are used, hands shall be washed with soap and running water as soon as feasible.

- Employees will wash their hands immediately or as soon as feasible after removal of gloves or other personal protective equipment.

- Employees shall wash hands and any other skin with soap and water, or flush mucous membranes with water immediately or as soon as feasible following the contact of such body areas with blood or other potentially infectious materials.

- Contaminated needles and other contaminated sharps shall not be bent, recapped, or removed. Shearing or breaking of contaminated needles is prohibited.

- Such recapping or needle removal must be accomplished through the use of a mechanical device or a one-handed technique.

- Immediately or as soon as possible after use, contaminated reusable sharps shall be placed in appropriate containers until properly processed. These containers shall be:

--	Puncture resistant,

--	Labeled or color-coded in accordance with this standard, and

--	Leak proof on the sides and bottom.

- Eating, drinking, smoking, applying cosmetics or lip balm, and handling contact lenses are prohibited in work areas where there is a reasonable likelihood of occupational exposure.

- Food and drink shall not be kept in refrigerators, freezers, shelves, and cabinets or on countertops or bench tops where blood or other potentially infectious materials are present.

- All procedures involving blood or other potentially infectious materials shall be performed in such a manner as to minimize splashing, spraying, spattering, and generation of droplets of these substances.

- Mouth pipetting/suctioning of blood or other potentially infectious materials is prohibited.

- Specimens of blood or other potentially infectious materials shall be placed in a container, which prevents leakage during collection, handling, processing, storage, transport, or shipping.

--	The container for storage, transport, or shipping shall be labeled or color-coded and closed prior to being stored, transported, or shipped. When a facility utilizes Universal Precautions in the handling of all specimens, the labeling/color-coding of specimens is not necessary provided containers are recognizable as containing specimens. This exemption only applies while such specimens/containers remain within the facility. Labeling or color-coding is required when such specimens/containers leave the facility.

--	If outside contamination of the primary container occurs, the primary container shall be placed within a second container which prevents leakage during handling, processing, storage, transport, or shipping and is labeled or color-coded according to the requirements of this standard.

--	If the specimen could puncture the primary container, the primary container shall be placed within a secondary container, which is puncture-resistant in addition to the above characteristics.

- Equipment that may become contaminated with blood or other potentially infectious materials shall be examined prior to servicing or shipping and shall be decontaminated as necessary, unless decontamination of such equipment or portions of such equipment is not feasible.

--	A readily observable label shall be attached to the equipment stating which portions remain contaminated.

--	This information will be conveyed to all affected employees, the servicing representative, and/or the manufacturer, as appropriate, prior to handling, servicing, or shipping so that appropriate precautions will be taken.

Personal Protective Equipment

- When there is occupational exposure, provisions shall be made, at no cost to the employee, appropriate personal protective equipment such as, but not limited to, gloves, gowns, laboratory coats, face shields, masks, eye protection, mouthpieces, resuscitation bags, pocket masks, or other ventilation devices. Personal protective equipment will be considered "appropriate" only if it does not permit blood or other potentially infectious materials to pass through to or reach the employee's work clothes, street clothes, undergarments, skin, eyes, mouth, or other mucous membranes under normal conditions of use and for the duration of time which the protective equipment will be used.

  - Use: The employee shall use appropriate personal protective equipment as determined by the employee's professional judgment that in a specific instance its use would have prevented the delivery of health care or public safety services or would have imposed an increased hazard to the safety of the worker or co-worker. When the employee makes this judgment, the circumstances shall be investigated and documented in order to determine whether changes can be instituted to prevent such occurrences in the future.

  - Accessibility: Appropriate personal protective equipment in the appropriate sizes will be readily accessible at the worksheet or be issued. Hypoallergenic gloves, glove liners, powerless gloves, or other similar alternative shall be readily accessible to those employees who are allergic to the gloves normally provided.

  - Cleaning, Laundering, and Disposal: The employer will clean, launder, and dispose of personal protective equipment required, at no cost to the employee.

  - Repair and Replacement: The employer will repair or replace personal protective equipment as needed to maintain its effectiveness, at no cost to the employee.

  - Gloves: Gloves shall be worn when it can be reasonably anticipated that the employee may have hand contact with blood, other potentially infectious materials, mucous membranes, and non-intact skin, and when handling or touching contaminated items or surfaces.

--	Disposable (single use) gloves such as surgical or examination gloves shall be replaced as soon as practical when contaminated or as soon as feasible if they are torn, punctured, or when their ability to function as a barrier has been compromised.

--	Disposable (single use) gloves shall not be washed or decontaminated for re-use.

--	Utility gloves may be decontaminated for re-use if the integrity of the glove is not compromised. However, they must be discarded if they are cracked, peeling, torn, punctured, or exhibit other signs of deterioration or when their ability to function as a barrier is compromised.

- Masks, Eye Protection, and Face Shields: Masks in combination with eye protection devices, such as goggles or glasses with solid side shields, or chin-length face shields, shall be worn whenever splashes, spray, spatter, or droplets or other potentially infectious materials may be generated and eye, nose, or mouth contamination can be reasonably anticipated.

- Gowns, Aprons, and Other Protective Body Clothing: Appropriate protective clothing such as, but not limited to, gowns, aprons, lab coats, clinic jackets, or similar outer garments shall be worn in occupational exposure situations. The type and characteristics will depend upon the task and degree of exposure anticipated.

- If blood or other potentially infectious materials penetrate a garment(s), the garment(s) shall be removed immediately or as soon as possible.

- All personal protective equipment shall be removed prior to leaving the work area.

- When personal protective equipment is removed it shall be placed in an appropriately designated area or container for storage, washing, decontamination, or disposal.

Protective Equipment by Job Classification

Hutchinson Public Schools has determined, in the “EXPOSURE DETERMINATION” section of this plan, that custodians, school nurse, secretaries, bus drivers, coaches, assistant coaches, trainers, physical education instructors, biology staff (when blood-typing), paraprofessionals, playground supervisors, laundry personnel, and specific instructors (art/industrial arts/special education) have been classified as having a potential exposure to blood or potentially infectious materials in our work place. Therefore, as a matter of policy, the school district shall provide and make available the following: Personal Protective Equipment:

1.	Gloves

2.	Gowns

3.	Lab Coats

4.	Face Shields (masks, eye protection, mouthpieces, etc.)

5.	Absorbent Toweling

6.	Antiseptic Towelettes

7.	Spray Disinfectant

8.	Container, bag within first barrier bag

9.	Secondary container, bag with color-coded markings

10.	Prepackaged Body Fluid Clean-Up Kits

11.	Prefabricated, commercially available Sharps Containers

Affected employees shall determine the extent of necessary Personal Protective Equipment on a case-by-case basis; however, it is a matter of policy for the school district to ensure that affected employees use the appropriate Personal Protective Equipment. Employee Training will assist in augmenting this policy.

Housekeeping

- The work area shall be maintained in a clean and sanitary condition. Written schedules for cleaning and method of decontamination based upon the location within the facility, type of surface to be cleaned, type of soil present, and tasks or procedures being performed in the area will be implemented.

- All equipment and environmental and working surfaces shall be cleaned and decontaminated after contact with blood or other potentially infectious materials.

A.	Contaminated work surfaces shall be decontaminated with an appropriate disinfectant after completion of procedures; immediately or as soon as feasible when surfaces are overtly contaminated or after any spill of blood or other potentially infectious materials; and at the end of the work shift if the surface may have been contaminated since the last cleaning.

B.	Protective coverings, such as plastic wrap, aluminum foil, or imperviously-backed absorbent paper used to cover equipment and environmental surfaces, shall be removed and replaced as soon as feasible when they become overtly contaminated or at the end of the work shift if they may have become contaminated during the shift.

C.	All bins, pails, cans, and similar receptacles intended for reuse which have a reasonable likelihood for becoming contaminated with blood or other potentially infectious materials shall be inspected and decontaminated on a regularly scheduled basis and cleaned and decontaminated immediately or as soon as feasible upon visible contaminated.

D.	Broken glassware, which may be contaminated, shall not be picked up directly with the hands. It shall be cleaned up using mechanical means such as a brush and dustpan, tongs, or forceps.

E.	Reusable sharps that are contaminated with blood or other potentially infectious materials shall not be stored or processed in a manner that requires employees to reach by hand into the containers where these sharps have been placed.

- Regulated Waste

A.	Contaminated Sharps Discarding and Containment

1.	Contaminated sharps shall be discarded immediately or as soon as feasible in containers that are:

a.	Collapsible,

b.	Puncture resistant,

c.	Leak proof on sides and bottom, and

d.	Labeled or color-coded.

2.	During use, containers for contaminated sharps shall be:

a.	Easily accessible to personnel and located as close as is feasible to the immediate area where sharps are used or can be reasonably anticipated to be found (e.g., laundries),

b.	Maintained upright throughout use, and

c.	Replaced routinely and not allowed to overfill.

3.	When moving containers or contaminated sharps from the area of use, the containers shall be:

a.	Closed immediately prior to removal or replacement to prevent spillage or protrusion of contents during handling, storage, transport, or shipping; and

b.	Placed in a secondary container if leakage is possible. The second container shall be:

i.	Collapsible;

ii.	Constructed to contain all contents and prevent leakage during handling, storage, transport, or shipping; and

iii.	Labeled or color-coded.

4.	Reusable containers shall not be opened, emptied, or cleaned manually or in any other manner that would expose employees to the risk of percutaneous injury.

B.	Other Regulated Waste Containment

1.	Regulated Waste shall be placed in containers that are:

a.	Collapsible;

b.	Constructed to contain all contents and prevent leakage of fluids during handling, storage, transport, or shipping;

- Labeled or color-coded; and

d.	Closed prior to removal to prevent spillage or protrusion of contents during handling, storage, transport, or shipping.

2.	Contaminated laundry shall be placed and transported in bags or containers labeled or color-coded. When a facility utilizes Universal Precautions in the handling of all soiled laundry, alternative labeling or color-coding is sufficient if it permits all employees to recognize the containers as requiring compliance with Universal Precautions.

a.	Whenever contaminated laundry is wet and presents a reasonable likelihood of soak-through of or leakage from the bag or container, the laundry shall be placed and transported in bags or containers that prevent soak-through and/or leakage of fluids to the exterior.

b.	The employer shall ensure that employees who have contact with contaminated laundry wear protective gloves and other appropriate personal protective equipment.

c.	When a facility ships contaminated laundry off-site to a second facility which does not utilize Universal Precautions in the handling of all laundry, the facility generating the contaminated laundry must place such laundry in bags or containers which are labeled or color-coded.

Hepatitis B Vaccination/Post-exposure Evaluation and Follow-up

- The Hepatitis B vaccine and vaccination series will be made available to all employees who have had occupational exposure, and post-exposure evaluation and follow-up will be made available to all employees who have had an exposure incident.

- All medical evaluations and procedures including the Hepatitis B vaccine and vaccination series and post-exposure evaluation follow up, including prophylactics, will be:

--	Made available at no cost to the employee,

--	Made available to the employee at a reasonable time and place,

--	Performed by or under the supervision of a licensed physician or by or under the supervision of another licensed healthcare professional,

--	Provided according to recommendations of the U.S. Public Health Service current at the time these evaluations and procedures take place, and

--	Conducted by an accredited laboratory at no cost to the employee.

Hepatitis B Vaccination

- Hepatitis B vaccination will be made available after the employee has received the training required.

- Participation in a pre-screening program is not a prerequisite for receiving Hepatitis B vaccination.

- If the employee initially declines Hepatitis B vaccination but at a later date, while still covered under the standard, decides to accept, it will be made available.

- Employees who decline to accept Hepatitis B vaccination offered by the employer will sign a statement of such intent.

- If the U.S. Public Health Service recommends a routine booster dose(s) of Hepatitis B vaccine at a future date, such booster dose(s) will be made available.

Post-exposure Evaluation and Follow-up

- Following a report of an exposure incident, the employer will make immediately available to the exposed employee a confidential medical evaluation and follow-up to include at a minimum the following elements:

A.	Documentation of the route(s) of exposure, and the circumstances under which the exposure incident occurred;

B.	Identification and documentation of the source individual, unless the employer can establish that identification is infeasible or prohibited by state or local law;

1.	The source individual's blood shall be tested as soon as feasible and after consent is obtained in order to determine HBV and HIV infectivity. If consent is not obtained, the employer shall establish that legally required consent cannot be obtained. When law does not require the source individual’s consent, the source individual's blood, if available, shall be tested and the results documented.

2.	When the source individual is already known to be infected with HBV or HIV, testing for the source individual's known HBV or HIV status need not be repeated.

3.	Results of the source individual's testing shall be made available to the exposed employee, and the employee will be informed of applicable laws and regulations concerning disclosure of the identify and infectious status of the source individual.

C.	Collection and testing of blood for HBV and HIV serological status;

1.	The exposed employee's blood shall be collected as soon as feasible and tested after consent is obtained.

2.	If the employee consents to baseline blood collection, but does not give consent at the time for HIV serologic testing, the sample shall be preserved for at least 90 days. If, within 90 days of the exposure incident, the employee elects to have the baseline sample tested, such testing shall be done as soon as possible.

D.	Post-exposure prophylaxis, when medically indicated, as recommended by the U.S. Public Health Service;

E.	Counseling; and

F.	Evaluation of reported illness.

Information provided to the Healthcare Professional

- The employer will ensure that the healthcare professional responsible for the employee's Hepatitis B vaccination is provided a copy of this regulation.

- The employer shall ensure that the healthcare professional evaluating an employee after an exposure incident is provided the following information:

A.	A copy of this regulation;

B.	A description of the exposed employee's duties as they relate to the exposure incident;

C.	Documentation of the route(s) of exposure and circumstances under which exposure occurred;

D.	Results of the source individual's blood testing, if available, and;

E.	All medical records relevant to the appropriate treatment of the employee, including vaccination status, which are the employer's responsibility to maintain.

Healthcare Professional's Written Opinion

- The employer will obtain and provide the employee with a copy of the evaluating healthcare professional's written opinion within 15 days of the completion of the evaluation.

A.	The healthcare professional's written opinion for Hepatitis B vaccination shall be limited to whether Hepatitis B vaccination is indicated for an employee, and if the employee has received such vaccination.

B.	The healthcare professional's written opinion for post-exposure evaluation and follow-up shall be limited to the following information:

    - That the employee has been informed of the results of the evaluation

2. That the employee has been told about any medical condition resulting from the exposure to blood or other potentially infectious materials which require further evaluation or treatment.  All other findings or diagnoses shall remain confidential and shall not be included in the written report.

Medical Recordkeeping

- Medical records required by this standard shall be maintained.

Information and Training

- Training shall be provided as follows:

A.	At the time of initial assignment to tasks where occupational exposure may take place,

B.	Within 90 days after the effective date of the standard, and

C.	At least annually thereafter.

- For employees who have received training on bloodborne pathogens in the year preceding the effective date of the standard, only training with respect to the provisions of the standard which were not included need be provided.

- Annual training for all employees shall be provided within one year of their previous training.

- Employers shall provide additional training when changes such as modification of tasks or procedures or institution of new tasks or procedures affect the employee's occupational exposure. The additional training may be limited to addressing the new exposures created.

- Material appropriate in content and vocabulary to educational level, literacy, and language of employees shall be used.

- The training program will contain at a minimum the following elements:

A.	An accessible copy of the regulatory text of this standard and an explanation of its contents;

B.	A general explanation of the epidemiology and symptoms of bloodborne diseases;

C.	An explanation of the modes of transmission of bloodborne pathogens;

D.	An explanation of the employer's exposure control plan and the means by which the employee can obtain a copy of the written plan;

E.	An explanation of the appropriate methods for recognizing tasks and other potentially infectious materials;

F.	An explanation of the use and limitations of methods that will prevent or reduce exposure including appropriate engineering controls, work practices, and personal protective equipment;

G.	Information on the types, proper uses, location, removal, handling, documentation, and disposal of personal protective equipment;

H.	An explanation of the basis for selection of personal protective equipment;

I.	Information on the Hepatitis B vaccination, including information on its efficacy, safety method of administration, and the benefits of being vaccinated and vaccination will be offered free of charge;

J.	Information on the appropriate actions to take and persons to contact in an emergency involving blood or other potentially infectious materials;

K.	An explanation of the procedure to follow if an exposure incident occurs, including the method of reporting the incident and the medical follow-up that will be made available;

L.	Information on the post-exposure evaluation and follow-up that the employer is required to provide for the employee following an exposure incident;

M.	An explanation of the signs and labels and/or color-coding; and

N.	An opportunity for interactive questions and answers with the person conducting the training session.

Record Keeping

Medical Records

- An accurate record will be maintained and established.

- This record shall include:

A.	The name and social security number of the employee;

B.	A copy of the employee’s Hepatitis B vaccination status including the dates of all the employee’s Hepatitis B vaccinations and any medical records relative to the employee's ability to receive vaccination;

C.	A copy of all results of examinations, medical testing, and follow-up procedures;

D.	The employer's copy of the healthcare professional's written opinion; and

E.	A copy of the information provided to the healthcare professional;

- Medical records will be:

A.	Kept confidential, and

B.	Not be disclosed or reported without the employee's express written consent to any person within or outside the workplace except as required by this section or as may be required by law.

- The employer will maintain the records required for at least the duration of employment plus 30 years.

Training Records

- Training records shall include the following information:

A.	The dates of training sessions,

B.	The contents or a summary of the training sessions,

C.	The names and qualifications of persons conducting the training, and

D.	The names and job titles of all persons attending the training sessions.

Availability

- All records required to be maintained by this section shall be made available upon request to the Assistant Secretary and the Director for examination and copying.

- Employee training records required by this paragraph will be provided upon request for examination and copying to the subject employee, to anyone having written consent of the subject employee, to the Director, and to the Administrative Secretary.

- Employee medical records required by this paragraph will be provided upon request for examination and copying to the subject employee, to anyone having written consent of the subject employee, to the Director, and to the Administrative Secretary.

Transfer of Records

- The employer shall comply with the requirements involving transfer of records set forth in 29 CFR 1910.20(b).

- If the employee ceases to do business and there is no successor employer to receive and retain the records for the prescribed period, the employer shall notify the Director at least three months prior to their disposal and transmit the records to the Director, if required by the Director to do so, within the three-month period.

Employer’s Audit

- An annual review of the Control Plan will be conducted.

Appendix

TRAINING OUTLINES

# AWAIR

*Safety Committee  (Members, chain of command)

*OSHA 300 Log  (Federal Govt. requirement)

*First Report of Injury (Fill out of injury if beyond first aid)

*Concerns (Safety)

# BLOODBORNE PATHOGENS

*Introduction

*At-Risk Employees (By job description)

*Exposure Control Plan

*Cleanup Procedures (Universal precautions)

*Disposal Procedures (Policy of school, red bag if saturated with blood – Biohazard)

*HBV Vaccination Policy (At risk- Paid by school district) District may offer to all

*Engineering Controls

*Post Exposure Procedures

# HAZARD COMMUNICATION/RTK

*Introduction

*OSHA (Occupational Safety and Health Admin.)

*Routes of Entry (Dermal, inhalation, ingestion,etc.)

*PPE (Personal Protective Equipment)-Gloves, etc.

*Labeling (All containers should be labeled)

*MSDS’s (Have one for each chemical, also have an inventory of chemicals)

*Disposal (Properly store and dispose of)

I.A.Q.

*IAQ Committee (Know who is on committee)

*Record keeping (Forms and procedures for addressing concerns)

*Management Plan

*IAQ issues/concerns (Know who the contact is)

Sharps Injury Log

Date: __________________________

Location: _____________________________________________

Engineering controls in use at the time of the incident: _________________________

_____________________________________________________________________

Work practices followed: ________________________________________________

_____________________________________________________________________

Description and brand name of the device in use: _____________________________

_____________________________________________________________________

Protective equipment or clothing that was used at the time of the exposure incident: __

_____________________________________________________________________

Procedure being performed when the incident occurred: ________________________

_____________________________________________________________________

Employee training: _____________________________________________________

The injured employee’s opinion about whether any other engineering, administrative, or work practice controls could have prevented the injury and the basis for that opinion. ______________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Form B

# BLOOD EXPOSSURE INCIDENT REPORT

# Complete items 1-9.  Items 10-14 should be filled out by the employer (school district representative).

# Employee’s Full Name: ____________________________________________________

# Employee’s Social Security Number: _________________________________________

# Person Completing Form: __________________________________________________

# Date of Incident: ______________________________________

# Time of Incident: ______________________________________

# Date and Time Incident Report: __________________________

# Incident Reported by: __________________________________

# The employee named above was involved in an exposure incident consisting of blood or other potentially infectious material (OPIM) involving the employee’s mouth, eyes, or other mucous membranes, open cuts, non-intact skin, or piercing of mucous membranes or skin.

# The following exposure incident information was obtained to help assist the Healthcare Professional in completing the medical evaluation of the employee.

# Exposure route to blood or OPIM.  Check the following:

# A.  _____ Eyes	_____ Mouth _____ Nose _____ Other mucous membrane

# (list): _____________________

# B.  _____ Needlestick	_____ Puncture	_____ Bite    _____ Scratch

# C.  _____ Non-intact skin

# D.  _____ Other (list):

# Comments: _____________________________________________________

# Type of body fluid or material

# _____ Blood

# _____ Other potentially infectious material (List): ______________________

# Comments: _____________________________________________________

# Estimated amount of body fluid or description of amount: ________________

# Severity of Exposure:

# A.	     _____ Mucous Membranes	______ Area covered

# _____ Exposure length (time)

# Comments: _____________________________________________________

# _____ Percutaneous (skin piercing)  _____ Injury depth

# _____ Yes	_____ No, was source fluid present at injury site:

# Comments: _____________________________________________________

# _____ Non-intact skin

# _____ Skin condition:	_____ Fresh cuts (<24 hrs)    _____ chapped

# _____ Dermatitis	           _____ Other

# Comments: _______________________________________________

# Job duties being performed during exposure: __________________________

# Did employee wash hands and/or flush the mucous membrane as soon as possible:

# _____ Yes	   _____ No

# Comments: _____________________________________________________

# Was employee using Person Protective Equipment (PPE)?

# _____ Yes    _____ No     If yes, what types: __________________________

# Comments: _____________________________________________________

# Was the Personal Protective Equipment (PPE) adversely affected:

# (examples: gloves torn or pierced)    _____ Yes    _____ No

# If yes, list: ______________________________________________________

# Comments: _____________________________________________________

# 9.	Was clothing contaminated:  _____ Yes    _____ No

# If yes, were procedures for disposal/laundering of contaminated materials adhered to:

# _____ Yes    _____ No

# Comments: _____________________________________________________

# If employee does not want his/her blood tested or a medical follow-up, then Form E should be completed by signing the Declination section for blood testing, and also Form G “Post-Exposure Declination of Medical Evaluation”.

# _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

# TO BE COMPLETED BY EMPLOYER-

# 10.	Has employee been referred to a healthcare professional for medical evaluation and follow-up?   _____ Yes    _____ No

# Name and location of professional/clinic (unless employee has made arrangements with his/her own physician.  If this is the case, obtain the name and address of the employee’s physician): ____________________________

# _______________________________________________________________

# 11.	Was the source’s blood tested? _____ Yes    _____ No

# If yes, are results being directly forwarded to Healthcare Professional? _____ Yes    _____ No

# If no, record the date of consent for testing source was declined: ___________

# If no, was source known?     _____ Yes    _____ NO

# Source is known to be infected with:

# _____ HIV    _____ HBV    _____ Not applicable

# Employee’s consent for blood collection (See Form E):

# _____ Employee consented to baseline blood collection

# Employee consented to the serologic testing for HBV:

# _____ Yes    _____ No

# Employee consented to serologic testing for HIV:

# _____ Yes

# _____ No, sample is preserved for 90 days.  Employee may elect to have test

# conducted within 90 days.

# Date: __________________________

# All required documents were provided to professional/clinic on the following date (See Form C):

# ____________________________________________

# 14.	Has employee had Hepatitis B vaccination?   ______ Yes    _____ No

# If the employee has indicated that no medical follow-up is to be done, please make sure that Form G is filled out and signed.

# Signature ______________________________	     Date _______________________

Hepatitis B Vaccination Declination Form

I understand that due to my occupational exposure to blood or other potentially infectious materials I may be at risk of acquiring hepatitis B virus (HBV) infection.

I have been given the opportunity to be vaccinated with hepatitis B vaccine at no charge to myself.

However, I decline hepatitis B vaccine at this time. I understand that by declining this vaccine, I continue to be at risk of acquiring hepatitis B, a serious disease.

If in the future I continue to have occupational exposure to blood and/or other potentially infectious materials and I want to be vaccinated with hepatitis B vaccine, I may receive the vaccination series at no charge to me.

Please Print:

Name	Date of Birth

Social Security or Visa #	Employee #

Department and Lab room #

Principal Investigator

Signature	Date

Contact your BBP Contact Person

if you have questions filling out this form

| PLAN REVIEW |
| --- |
| Reviewer | Date |

COMMUNITY RIGHT-TO-KNOW

Introduction

The Emergency Planning and Community Right to Know Act of 1986 established requirements for Federal, State, and local governments and industry regarding emergency planning and “Community Right-to-Know” reporting on hazardous and toxic chemicals. This was part of the Superfund Amendments and Reauthorization Act (SARA), the main purpose of which was to extend the Superfund for cleanup of hazardous waste sites throughout the United States. The law contained in its scope provisions on planning for hazardous chemical emergencies and to allow citizens the right to know about hazardous chemicals in their communities. These Community Right-to-Know provisions will help to increase the public’s knowledge and access to information on the presence of hazardous chemicals in their communities and releases of these chemicals into the environment.

The requirements of the law apply to any facility which stores hazardous substances in quantities equal to or greater than the regulated threshold planning quantity (TPQ) or other general limit which is applicable (500 pounds for extremely hazardous chemicals; 10,000 pounds for all other hazardous chemicals).

Applicability

Facilities Storing Extremely Hazardous Substances

If, at any time, Hutchinson Public Schools stores any of the 360+ extremely hazardous substances listed in SARA Title III above the threshold planning quantities (at any one time), the State Emergency Response Commission will be notified.

Emergency Notification

Hutchinson Public Schools will immediately notify the Local Emergency Planning Committees (LEPCs) and the State Emergency Response Commission (SERC) likely to be affected if there is a release into the environment of a hazardous substance that exceeds the reportable quantity for that substance. Substances subject6 to this requirement are those on the list of 356 extremely hazardous substances as published

in Federal Register (40 CFR 355) as well as the more than 700 hazardous substances subject to the emergency notification requirements under CERCLA Section 103 (a) (40CFR 302.4). Some chemicals are common to both lists. The CERCLA hazardous substances also require notification of releases to the National Response Center (NRC), which affect alerts federal responses.

Initial notification will be made by telephone. Emergency notification requirements involving transportation incidents will be met by dialing 911, or in the absence of a 911 emergency number, calling the operator.

This emergency notification will include:

- The chemical name;

- An indication of whether the substance is extremely hazardous;

- An estimate of the quantity released into the environment;

- The time and duration of the release;

- Whether the release occurred into the air, water, and/or land; any known or anticipated acute or chronic health risks associated with the emergency, and where necessary, advice regarding medical attention for the exposed individuals;

- Proper precautions, such as evacuations or sheltering in place; and,

- Name and telephone number of the Community Right-To-Know contact person.

Chemical Inventory Form

For all chemicals reported under Section 311, Hutchinson Public Schools will report the past year’s quantities to the Emergency Response Commission (MN Tier Two Report).

Regulatory Requirements

Community Right-To-Know Requirements

There are two Community Right-To-Know reporting requirements within the Emergency  Planning and Community Right-To-Know Act. Section 311 requires facilities that must prepare material safety data sheets (MSDS) under Occupational Safety and Health Administration (OSHA) regulations to submit either copies of their MSDSs or a list of MSDSs chemicals to:

- The LEPC,

- The SERC, and,

- The local fire department with jurisdiction over District facilities.

The initial step a facility coordinator should take in preparing for an emergency should be to inventory and quantify hazardous substances within the facility. The coordinator should begin by focusing on the list of extremely hazardous substances published in the Federal Register. This list is provided under the EHS title in the CHMP section of this program.

If an inventory of the facility’s chemicals indicates that a threshold planning quantity is reached, the District is then required to:

- Notify the Emergency Response Commission in writing within 60 days after acquiring any of the extremely hazardous substances above the threshold planning quantities, and

- Assign a Facility Emergency Coordinator.

Emergency Notification

Whenever a hazardous substance is released outside the control of the facility (air, sewer, land, or surface water), there are requirements to:

1.	Contact local emergency 911;

2.	Contact State Duty Officer (Metro 612-649-5451, outside Metro 1-800-422-0798);

3.	Contact National Response Center at 1-800-424-8802; and

4.	Submit an Emergency Release Follow-up Report to the Emergency Response Commission.

All spills and releases occurring in Minnesota that are outside the control of the facility should be reported to the State Duty Officer—regardless of whether or not the reportable quantity was reached. Minnesota has a “One Call” system that allows the State Duty Officer to make notification to all applicable state, county, and local agencies. If a spill or release occurs which has met or exceeded the reportable quantity, the caller is still responsible for notifying the 911 emergency system and the National Response Center.

The facility should contact local authorities to inform them of the need for emergency response. When contacting the state emergency response number, the facility should specify that the release is subject to Title III notification. The emergency notification must include:

- The chemical name or identification of any substance involved in the release;

- An indication as to whether the substance is on the list of extremely hazardous substances;

- An estimate of the quantity of any such substance that was released into the environment;

- The time and duration of the release;

- Whether the release occurred into air, water, and/or land;

- Any known or anticipated health risks (acute or chronic) and any advice regarding medical attention for exposed individuals;

- The proper precautions to be taken in the event of a release, including evacuation; and

- The name and telephone number of the person or persons to be contacted for further information.

As soon as practical after a release, an Emergency Release Follow-Up Report must be sent to the Emergency Response Commission, and must:

- Update information included in the initial notice and

- Provide information on:

  - Actual response actions taken and

b.	Advice regarding medical attention necessary for exposed individuals.

Chemical List

Any facility required to prepare or have available MSDSs under the Minnesota Employee Right to Know or the Hazard Communication Standard must report the following:

1.  Any extremely hazardous chemical that is stored in a quantity of 500 pounds or more or greater than the threshold planning quantity (TPQ). If so listed, look up on the list of extremely hazardous substances.

2.  Any hazardous chemical for which there is an MSDS and which is being stored in a quantity of 10,000 pounds or greater.

Under the reporting requirements, the law states that a list of MSDSs or a copy of the MSDS sheets themselves must be submitted for any of the extremely hazardous substances above the TPQ, or other hazardous chemicals in excess of 10,000 pounds. Minnesota provides a Hazardous Chemical Report Form that may be submitted in lieu of the MSDSs (in fact, a fee is charged if the Minnesota form is not used). This form is submitted one time and is only required to be updated if a new chemical is brought into the facility.

- The chemicals which would potentially be found in quantities greater than 10,000 pounds for “ordinary” hazardous chemicals in a school district would be fuel oil, propane, butane, or diesel fuel.

- The most commonly found extremely hazardous chemical in most schools is chlorine, which has a TPQ of 100 pounds. If liquefied chlorine in tanks is used for swimming pool chlorination, this limit would apply. Dry chlorine compounds, which may have 10% available chlorine, would also apply if stored in quantities greater than 1,000 pounds. This requirement is based on the actual weight of the specific hazardous chemical and not the total weight of a formulated product (e.g., 10% chlorine of 1,000 pounds total product equals 100 pounds of chlorine).

- This chemical report form must be submitted to both the State Emergency Response Commission and the local fire department with jurisdiction over your facility.

- Reporting requirements under Section 311 do not apply to:

--	Wood or wood products;

--	Tobacco or tobacco products;

--	Any food, additive, color, drug, or cosmetic regulated by the Food and Drug Administration; or

--	Any hazardous waste which is regulated by other regulations such as the Solid Waste Disposal Act;

--	Any fertilizer held by a retailer for resale;

--	Any solid substance in a manufacturer item which does not cause exposure under normal conditions of use;

--	Any substance to the extent that it is used for personal, family, or household purposes, or is present in the same form and concentration as a product packaged for distribution and use by the general public; and

--	Any substance to the extent it is used in a research laboratory, hospital, or other medical facility under the direct supervision of a technically qualified individual.

Chemical Inventory Form

- All facilities that have completed an initial Chemical Report Form are also required to submit an annual inventory by March 1, which covers the previous calendar year.

--	This report covers any chemical stored at any time during that year which exceeded the threshold planning quantity or the general limit (over 500 pounds of extremely hazardous chemical or 10,000 pounds of other hazardous chemical).

--	Effective with the 1963 reporting year, the Emergency Response Commission will be electronically scanning data received under this Section.

--	Facilities that are current reporters will receive a Section 312 Tier Two Turnaround Report from the Commission.

- Facilities reporting for the first time should request a new reporter package from the Commission. Tier Two forms will not be able to be supplied with this program because only originals from the Commission may be used.

- The purpose of the Tier Two form is to provide state and local officials and the public with specific information on hazardous chemicals present in your facility during the past year. The Tier Two form must be submitted by March 1 of every year for the previous year and must include:

--	Chemical name or common name as used on the MSDS,

--	An estimate of the maximum amount of the chemical present at any one time,

--	A brief description of the manner of storage of the chemical,

--	The location of the chemical, and

--	An indication of whether the administrator elects to withhold location information from disclosure to the public.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

COMPRESSED GAS SAFETY

Purpose

Assure that employees handling compressed gases are adequately trained in the inherent hazards of the cylinders and their contents, as well as proper handling, storage, and use according to OSHA  requirements.    Compressed gas cylinders can present a variety of hazards due to their pressure and /or contents. This chapter of the safety manual covers requirements that must be followed for the use of all compressed gases. In addition to the standard required work practices for inert gases, hazardous gases may require additional controls and work practices including, but not limited to, the use of gas cabinets, gas monitors, emergency shutoffs, proper equipment design, leak testing procedures, and the use of air supplying respirators for certain highly toxic gases.

Policy

It is the policy of Hutchinson Public Schools that all compressed gases be handled, stored, received and used in a safe manner consistent with this chapter.  Compressed air shall not be used for cleaning or blow-down activities unless air pressure is regulated to below 30 psig and areas have been isolated from pedestrian traffic.

Hazards

Numerous potential physical and health hazards are associated with compressed gases, including explosion, poisoning, impact by containers, fire, asphyxiation and exposure related illnesses.

Hazard Control

- Engineering Controls - each gas application will have it's own engineering controls depending on the types of hazards and application.  Examples of engineering controls are:

Fume hoods

Gas Cabinets

Ventilation systems

Smoke detectors

Sprinkler systems

Flow Restrictors

Scrubbers

Leak Monitors

Gas cylinder storage areas

- Administrative Controls - compressed gas program administrative controls include:

Employee training

Segregation of gas containers

Inspections and audits

Signs

Assignment and use of PPE

Identification of authorized employees

Procedures for receipt, use and storage

Compressed Gas Cylinders

- Inspection of compressed gas cylinders. Each employer shall determine that compressed gas cylinders under his control are in a safe condition to the extent that this can be determined by visual inspection. Visual and other inspections shall be conducted as prescribed in the Hazardous Materials Regulations of the Department of Transportation (49 CFR parts 171-179 and 14 CFR part 103).

Where those regulations are not applicable, visual and other inspections shall be conducted in accordance with Compressed Gas Association Pamphlets C-6-1968 and C-8-1962, which is incorporated by reference as specified in Sec. 1910.6.

- The in-plant handling, storage, and utilization of all compressed gases in cylinders, portable tanks, rail tank cars, or motor vehicle cargo tanks shall be in accordance with Compressed Gas Association Pamphlet P-1-1965

- Safety relief devices for compressed gas containers. Compressed gas cylinders, portable tanks, and cargo tanks shall have pressure relief devices installed and maintained in accordance with Compressed Gas Association Pamphlets S-1.1-1963 and 1965 addenda and S-1.2-1963

Compressed Gas Use Applications

Prior to use of any compressed gas, a review of the applicable requirement in the Engineering Controls and Work Practices and Procedures section must be conducted.

- Class 1 Application - Use of Inert Gases - Gases which are non-flammable and non-toxic, but which may cause asphyxiation due to displacement of oxygen in poorly ventilated spaces

- Class 2 Application - Use of Flammable, Low Toxicity - Gases which are  flammable (at a concentration in air of 13% by volume or have a flammable range wider than 13% by volume), but act as non-toxic, simple asphyxiants (e.g.hydrogen, methane)

- Class 3 Application - Use of Pyrophoric Gases and Liquids - Gases or liquids which spontaneously ignite on contact with air at a temperature of 130 F or below.

- Class 4 Application - Use of Corrosive, Toxic, and Highly Toxic Gases - Gases which may cause acute or chronic health effects at relatively low concentrations in air

- Class 5 Application - Use of Compressed Gases in Fume Hoods

Gas Use Requirements - Engineering Applicability

| Required Controls | Class 1 | Class 2 | Class 3 | Class 4 | Class 5 |
| --- | --- | --- | --- | --- | --- |
| Gas Cabinet | - | (1 | ( | ( | - |
| Interlocks | (2 | (2 | (2 | (2 | (2 |
| Emergency Off Button |  |  | ( | ( |  |
| Equipment Enclosed & Ventilated | - | (1 | ( | ( | ( |
| Smoke Detection | - | (2 | (2 | (2 | (2 |
| Sprinkler Protection | - | (3 | (3 | (3 | (3 |
| Emergency Power to Exhuast Ventilation | - | - | (4 | (4 | (4 |
| Pnuematic Shutoff Valve | - | (5 | ( | ( | ( |
| Scrubber | - | - | - | (2 | (2 |
| Vacuum Pump Purge & Interlock | - | - | ( | - | - |
| Flow Restricting Orifice | - | ( | ( | ( | ( |
| Ventilation Alarms | - | - | ( | ( | ( |
| Eyewash & Showers | - | - | - | (6 | (6 |
| Purge Panel | - | - | ( | ( | ( |
| Gas Monitor | - | - | (8 | (8 | (8 |
| Piping & Fittings | ( | ( | ( | ( | ( |
| Hardware | ( | ( | ( | ( | ( |

Gas Use Requirements - Administrative & Procedural Applicability

Notes

(1 	Not required if flow-restricting orifice is installed in a cylinder valve. May be required for semiconductor applications

(2 	Based on the outcome of hazard review

(3 	Required in lab and inside gas cabinet for new installations

(4 	For new installations

(5 	Typically not required, may be required for semiconductor applications

(6 	For corrosive gases

(7 	See Fume Hood Use

(8 	See Gas Monitoring for details

(9 	See Hazard Review

(10 	See Cryogenic Liquid

Engineering Controls / Design Considerations

This includes a listing of typical engineering controls, referenced in the matrix above. In some cases, Building Codes may require additional controls. Additional controls or deviations from the controls listed below may also be appropriate for the application such as those required by the OSHA Process Safety Management Program or EPA's Risk Management Program. The appropriate controls should be identified through the hazard review process.

- Gas Cabinets - With the exception of cylinders containing a non-toxic, flammable gas, and cylinders used in fume hood applications, hazardous gas cylinders must be housed in gas cylinder cabinets. These cabinets must be equipped with sprinkler protection, and must be constructed and ventilated according to State code requirements. These requirements include, but are not limited to, the need to provide 200 fpm airflow at the cabinet window.

- Interlocks - In addition to automatic shutoff of gas flow due to loss of power or ventilation (described below), it will often be appropriate for an automatic shutdown of gas flow due to  conditions such as high system pressure, high gas delivery pressure, loss of vacuum, loss of cooling, or other conditions identified through the hazard review process.

- Emergency Off - Where gases are used in gas cabinets, the emergency off buttons should be located at the lab doorway. Activation of this button will cause pneumatic valves to shut, stopping gas flow. Typically, this button should kill electrical power to hazardous lab equipment as well.

- Equipment Enclosures and Ventilation - Experimental apparatus using hazardous gases should be contained in an enclosed and exhausted tool enclosure. These enclosures must be connected to the exhaust ventilation system. Ventilation rates must be sized to allow for 100 fpm of airflow through the largest open enclosure door. Mass flow controllers carrying hazardous gases must be housed in a separate ventilated enclosure (or in an enclosed compartment of a larger tool enclosure) so that 100 fpm exhaust flow is available at the largest open door to the enclosure. All components should be readily accessible for maintenance.

- Smoke Detection - All labs using hazardous gases will have a smoke detector, which is connected to the building alarm system. In certain cases, it may be necessary to interlock smoke detector activation with the shutdown of hazardous gas flow.

- Sprinkler Protection - Where hazardous gases are contained in gas cabinets, sprinkler protection should be provided to the interior of the gas cabinet. In some cases, this protection is required by code. Sprinkler protection is recommended in all labs using hazardous materials.

- Emergency Power - Emergency power is recommended to power exhaust fans connected to hazardous gas enclosures. In certain cases, this protection is required.

- Pneumatic Shutoff Valves - All corrosive, toxic, flammable, and pyrophoric gases will contain a normally closed pneumatic shutoff valve, rated for at least full cylinder pressure, and located immediately downstream of the cylinder valve. This valve will shut in the event of power failure, remote actuation of an emergency off button (see this topic), or other appropriate conditions such as hazardous gas alarm activation.

- Scrubbers - When hazardous waste gases are generated, it is often advisable to treat/react these gases prior to exhaust from the building. This may involve the use of bubblers in a fume hood or sophisticated units for larger scale hazardous gas processes. Note that in some cases (e.g minimal volumes of hazardous gases produced) scrubbers may be not necessary or even unadvisable. Where scrubbers are used, they need to be carefully reviewed as part of the hazard review. Maintenance requirements and procedures need to be clearly understood and followed.

- Vacuum Pumps - Vacuum pumps used for hazardous gases need to be carefully selected. Depending on the gases being pumped, special precautions may be necessary. For processes where pyrophoric gases are used, pumps need to be continuously purged with nitrogen, with loss of nitrogen flow causing the pyrophoric gas supply valves to close. Pumps used for oxygen service will need to be prepared for this services that includes the elimination of hydrocarbon oils for use due to flammability concerns. In some cases, such as the use of highly toxic gases, vacuum pumps will need to be housed in a ventilated enclosure.

- Flow Restrictors - A means to limit hazardous gas flow rates to just over maximum flow needed must be installed immediately downstream of each hazardous gas cylinder. For small-scale experiments, such as fume hood use, a needle valve is sufficient. For large cylinders a flow restricting orifice, installed by the gas supplier in the cylinder valve or installed in the gas purge panel is required.

- Ventilation Alarms - All ducts connected to enclosures used to exhaust hazardous compressed gas cylinders or gas-carrying components must be connected to a ventilation alarm. Typically, activation of this alarm will cause pneumatic gas supply shutoff valves to close.

- Eyewash and Showers - A safety shower or eyewash with a wand is required to be present in areas where corrosive gases are used or stored.

- Purge Panels - Where corrosive, pyrophoric, or toxic gases are in use, the gas installation must include means to adequately purge the area between the cylinder valve and the regulator with an inert gas prior to breaking these connections for maintenance or cylinder change. Inert gases used for this purpose must be used solely for this purpose and not connected to other apparatus. Failure to adequately purge cylinders can result in lack of ability to close the cylinder valve or "regulator creep" which allows full cylinder pressure to be transferred to the low-pressure side of the regulator.

- Piping and Fittings - All gas piping must be compatible with the gases used and capable of withstanding full cylinder pressure. For example, tygon tubing should never be used with hazardous gases or low hazard gases unless one end is open to atmosphere. Fittings should be selected based on the service needs. Face seal or welding fittings should be used for hazardous gas service wherever possible. All gauges and components subject to leakages that carry hazardous gases must be contained in an exhausted enclosure.

- Hardware - Never lubricate, modify, force, or tamper with a cylinder valve. Use the appropriate regulator on each gas cylinder. Adaptors or homemade modifications can be dangerous. Assure all components of the experimental apparatus that can handle full cylinder pressure or are otherwise protected. Oil or grease on the high-pressure side of an oxygen, chlorine, or other cylinder of an oxidizing agent can lead to an explosion. Whenever back siphoning of chemicals into the cylinder might be a problem, use multiple traps or check valves.

Work Practices and Procedures

- Hazard Review - A hazard assessment is required for the following processes involving the use of hazardous gases:

  - New or relocated equipment using a toxic, corrosive, or pyrophoric gas.

  - New or relocated equipment using a flammable gas in a non-standard application    analytical equipment fuel gases, welding, cutting, brazing, and small scale use in fume hoods are considered standard applications.

  - Existing gas installations should be self-inspected by the work area supervisor against the requirements listed in this section.

  - Existing installations using hazardous gases that are considered to present a significant risk or show design deficiencies will have a hazard review conducted.

- Training - All persons handling or using cylinders must have basic training. Review of the information contained in this section, review of any additional information in the written safety plan for all work areas, and hands-on assistance by an experienced gas user will meet this minimum requirement. Additional compressed gas safety training can be obtained through the Safety Department.

- Hazard Information - The gas user must be thoroughly familiar with the properties of each gas they are using. A review of a good quality MSDS is necessary.

- Ordering - All gas cylinders used at the District may only be ordered and received through _______________. This allows for leak testing of highly toxic gases during the receipt process building.

- Receiving - Be sure the cylinder tag (don't rely on cylinder stenciling or color coding) indicates the gas you have ordered. Hazardous gases (flammable, pyrophoric, toxic, corrosive) must be transported directly from the shipper to the end use location. No staging of hazardous gases is permitted. Low hazard gases (e.g. inert gases, oxygen, freon) may be stored temporarily in designated locations that provide means for securing cylinders with chains or straps.

- Leak Testing - Toxic, corrosive, and pyrophoric gases must be leak tested at the following intervals; receiving, installation, disconnect/shipping. Highly toxic gases are leak tested by the Safety Department prior to delivery to the user. The end user is responsible for other leak test intervals. It is key that toxic gases be leak tested prior to removal from their exhausted enclosures and subsequent transport.

- Storage -- For short-term use of hazardous gases, always select the smallest returnable cylinder available. Non-returnable cylinders are strongly discouraged. If non-returnable cylinders must be used, you must have a way to treat the remaining contents of the cylinder so that the cylinder valve can be removed prior to disposal. In cases where the gas will be used over an extended period of time (several months to more than one year), you should order a gas quantity that will last for three to six months. Corrosive gases should be returned to the gas supplier within one year to avoid regulator and cylinder valve problems due to corrosion. In storage, restrain cylinders of all sizes by straps, chains, or a suitable stand to prevent them from falling. Segregate full cylinders of low hazard gases from "empty" cylinders awaiting return to the vendor. Assure hazardous gas cylinders are constantly stored in a suitable exhausted enclosure as described in Engineering Controls.

Do not expose cylinders to temperatures higher than about 50 C. Some small cylinders, such as lecture bottles and cylinders of highly toxic gases, are not fitted with rupture devices and may explode if exposed to high temperatures. Never place cylinders where they may become part of an electric circuit. Avoid areas that are damp or subject to other corrosive materials. Do not store flammables and oxidizers together. Keeps cylinders in storage upright, secure, and interlocked into a compact group. Protect cylinders stored outside from standing water by providing proper drainage. Where outdoors storage is necessary, an overhead cover is necessary to avoid sunlight and rain.

- Transporting Cylinders - Hazardous gas cylinders must be transported directly from the gas supplier to the end user storage location, unless an exhausted and approved "staging" area has been constructed. Cylinders must never be transported without valve protection caps in place. Never move a cylinder with a regulator attached!  Cylinders larger than lecture bottle size should be chained or strapped to a wheeled cart during transport to ensure stability. Transportation of cylinders must be done by trained personnel using approved trucks.

- Shipping - Promptly remove the regulators from empty cylinders, leak test hazardous gases, and replace the protective caps at once. Mark the cylinder "MT". Never bleed a cylinder completely empty. Leave a slight pressure to keep contaminants out. Toxic, corrosive, and pyrophoric gases must remain in their exhausted enclosures until shipped back to the supplier.

- Changing Cylinders - Special procedures are required for changing toxic, corrosive, and pyrophoric gases and liquids. A proper cylinder purge panel is needed for high hazard gases, along with an adequate purge procedure. Persons changing gas cylinders requiring SCBA must work with a partner who is identically equipped.

- Changing Pump Oil - Hazardous gases may be absorbed into vacuum pump oils. Personnel performing vacuum pump oil changes on pumps used with highly toxic gases must use SCBA for pump oil change. Hot pump oil should be allowed to cool prior to c hanging.

- Other Equipment Maintenance Considerations - Consider equipment maintenance needs in advance. Consider reaction byproducts (e.g. use proper skin and eye protection when cleaning process chambers or vacuum pumps). "Low hazard" gases, such as freons, will generate chlorine and fluorine decomposition products. Be sure to LOCK OUT upstream gas lines leading to equipment prepared for maintenance. Compressed gases are a hazardous energy source requiring lockout procedure. Be sure to adequately purge lines following lockout procedures and before beginning maintenance.

- General Work Practices - Never use a cylinder that cannot be identified positively. Do not use compressed gas or compressed air to blow away dust or dirt (unless specifically equipped with a 30 psi or less diffuser for this application as used in machine shops). Flying dust and debris, as well as high-pressure air itself, can cause significant injury. When not in use, close cylinder valves. The main cylinder valve should be tightly closed, but needle valves should only be finger tight to avoid ruining the valve and/or valve stem.

- Emergency Procedures - Leaking cylinders should not be removed from their exhausted enclosures. Actuate remote emergency gas shutoff valve/button, if present. (Installed highly toxic gases, if properly installed, will have flow limiting devices and/or automatic cylinder shutoff valves in place to limit and shutoff the gas supply.) Close the main cylinder valve if a leak is stopped or slow, hazardous gases are contained in their enclosure, and it is clearly safe to approach. Do not extinguish a flame involving a highly combustible gas until the source of gas has been shut off, otherwise, it can re-ignite, causing an explosion. Cylinders leaking at the cylinder valve should be reported to Public

Safety (this should be reported as a "non-emergency" if the cylinder and gas are contained in an exhausted enclosure). If a hazardous gas is released into an unexhausted enclosure and the gas supply cannot be promptly cutoff, actuate the emergency evacuation procedure in your area and contact Public Safety. This procedure will also be initiated automatically if gas monitors trigger the building evacuation alarm. The Superfund Amendments and Re-authorization Act of 1986 (SARA Title III) states that releases of extremely hazardous substances must be reported to EPA.

Accidental discharge of cylinder contents is to be promptly reported to the Safety Department and area supervisor. Cylinders found to be leaking upon gas delivery should not be accepted from the gas supplier.

Gases for Welding and Cutting

OSHA lists requirements for oxygen-fuel gas welding and cutting in 29 CFR 1910 .253. Cylinder handling precautions, materials of construction, and additional requirements are listed. Persons who will be using acetylene, oxygen, and other fuel gases or those who are designing facilities and equipment for this purpose should review this information. Please see the Personal

Protective Equipment section of this manual for information on eye protection for welding and cutting operations. Be sure that all fuel gases are shut off at the cylinder valve after each use.

Cryogenic Liquids

All cryogenic liquids should be used with caution due to the potential for skin or eye damage due to the low temperature, and the hazards associated with pressure buildups in enclosed piping or containers. Portable containers should only be used where there is sufficient ventilation. Do not place containers in a closet or other enclosed space where there is no ventilation supply to the area. The buildup of inert gas in such an area could generate an oxygen deficient atmosphere.

A full face shield, loose fitting cryogenic handling gloves, apron, and cuff less slacks are the recommended equipment for transferring cryogenic fluids. Special vacuum jacket containers with loose fitting lids should be used to handle small quantities. Vacuum jacketed containers provided by the gas supplier will have overpressure relief devices in place. When plumbing cryogenic liquids, it is very important to include a pressure relief valve between any two-shutoff valves. Also, any space where cryogenic fluids may accumulate (consider leakage into enclosed equipment as well) must be protected by overpressure relief devices. Tremendous pressures can be obtained in enclosed spaces as the liquid converts to gas. For example, one cubic centimeter of liquid nitrogen will expand to 700 times this volume as it converts (warms) to its gaseous state. Lines carrying liquid should be well insulated. Containers to be filled with cryogenic liquids should be filled slowly to avoid splashing. Cryogenic containers showing evidence of loss of vacuum in their outer jacket (ice buildup on the outside of the container) should not be accepted from the gas supplier. Contact with air (or gases with a higher boiling point) can cause an ice plug in a cryogenic container. Should ice plugs be noted, contact the Safety department to obtain assistance.

Compressed Air Systems & Usage

Use compressed air as a cleaning method only when absolutely necessary. It involves a significant number of hazards not present with other methods.

Authorized uses include:

- Paint spraying pneumatic controls

- Pneumatic tools

- Siphons

Compressed Air Usage

Only machinery that cannot be cleaned in any other way should be cleaned by compressed air.  Never use compressed air to clean equipment or parts that are contaminated by toxic materials.

Compressed air used for cleaning machinery or shop areas and/or operated from a hand-held nozzle or similar device must have a nozzle pressure of less than 30 psig, if the nozzle is deadened. This may be accomplished by the use of a pressure-reducing valve in the airline or by the use of air guns designed to reduce or relieve nozzle airline pressure to less than 30 psig. Wear eye protection when you must use compressed air for cleaning. Ensure people working around you are shielded from the air blast and flying chips.

Air Receivers and Compressors

All air receivers or tanks (this does not include compressed gas cylinders, which must not be employed as air receivers) used for the storage of l cubic foot or more of compressed air at a pressure in excess of 50 psig. must be constructed in accordance with the American Society of  Mechanical Engineers (ASME) Boilers and Pressure Code.

- All safety valves must be installed and maintained in accordance with the ASME code.  Air receivers and tanks are to be installed so that all drains handholds, and personnel access openings are easily accessible, and should be supported so as to allow sufficient clearance for complete external inspection.

- Each air compressor system must be provided with a connection of the appropriate size for attaching an inspector's test gauge when the system is in service.

- Nothing must obstruct the connection of the inspector's test gauge.

- Provisions must be made for the removal of oil and water from the tanks. Drain valves must be located at the lowest point possible and a draining schedule established to prevent the accumulation of excessive amounts of liquid in the receiver.

- Readily visible pressure gauges must be installed. Spring loaded safety devices with a total relieving capacity sufficient to prevent a rise in pressure of more than l0 percent above the maximum allowable working pressure of the receiver must also be installed.

- At least one safety valve in each system must be set to operate at or below the maximum allowable working pressure.

- Valves must not be installed between the air receiver and any of its safety valves. Daily testing of controlling and safety valves is required.

- All safety appliances such as safety valves, indicating devices, and controlling devices must be constructed, located, and installed so that they cannot readily be made inoperative by any means, including weathering.

- Hoses and lines used in any compressed air system must be rated to meet the maximum operating pressure (both static and transient) of the equipment or apparatus.

- Hoses and lines should be properly assembled; incorrect fittings should be avoided.

- A system should be designed with the least number of bends and the largest diameter feasible.

- Additionally, hoses and lines should be protected from external damage, e.g., heat, abrasion and corrosion. To this end, they should not be placed where they can be trod on, tripped over, or driven over by personnel or equipment.

- Vent pressure relief valves and rupture discs to a safe area, where personnel will not be affected, e.g. toward a wall.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

CONFINED SPACE ENTRY

Purpose

The Hutchinson Public Schools Confined Space Entry Program is provided to protect authorized employees that will enter confined spaces and may be exposed to hazardous atmospheres, engulfment in materials, conditions which may trap or asphyxiate due to converging or sloping walls, or contains any other safety or health hazards.

Responsibilities

Management

- Ensure proper training for entry and rescue teams

- Provide proper equipment for entry and rescue teams

- Ensure confined space assessments have been conducted

- Ensure all permit required confined spaces are posted

- Annually review this program and all Entry Permits

- Evaluate Rescue Teams/Service to ensure they are adequately trained and prepared

- Ensure rescue team at access during entry into spaces with IDLH atmospheres

Employees

- Follow Hutchinson Public Schools program requirements

- Report any previously unidentified hazards associated with confined spaces

Entry Supervisor

Entry supervisors are responsible for the overall permit space entry and must coordinate all entry procedures, tests, permits, equipment, and other relevant activities. The following entry supervisor duties are required:

- Know the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure

- Verify, by checking that the appropriate entries have been made on the permit, that all tests specified by the permit have been conducted and that all procedures and equipment specified by the permit are in place before endorsing the permit and allowing entry to begin

- Terminate the entry and cancel the permit when the entry is complete and there is a need for terminating the permit

- Verify that rescue services are available and that the means for summoning them are operable

- Remove unauthorized persons who enter or attempt to enter the space during entry operations

- Whenever responsibility for a permit space entry operation is transferred, and at intervals dictated by the hazards and operations performed within the space, determine that entry operations remain consistent with the permit terms and that acceptable entry conditions are maintained

The entry supervisor for Hutchinson Public Schools will be the Confined Space Entry Program Manager, «Confined_Space», unless otherwise designated.

Entry Attendants

At least one attendant is required outside the permit space into which entry is authorized for the duration of the entry operation. Responsibilities include:

- To know the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure

- To be aware of possible behavioral effects of hazard exposure on entrants

- To continuously maintain an accurate count of entrants in the permit space and ensures a means to accurately identify authorized entrants

- To remain outside the permit space during entry operations until relieved by another attendant (once properly relieved, s/he may participate in other permit space activities, including rescue if they are properly trained and equipped)

- To communicate with entrants as necessary to monitor their status as well as alert entrants of the need to evacuate

- To monitor activities inside and outside the space to determine if it is safe for entrants to remain in the space

- To order the entrants to immediately evacuate if the attendant:

  - Detects a prohibited condition,

  - Detects entrant behavioral effects of hazard exposure

  - Detects a situation outside the space that could endanger the entrants, or

  - Cannot effectively and safely perform all the attendant duties.

- To summon rescue and other emergency services as soon as the attendant determines the entrants need assistance to escape the permit space hazards

- To perform non-entry rescues as specified by that rescue procedure and entry supervisor

- Not to perform duties that might interfere with the attendant’s primary duty to monitor and protect the entrants

- To take the following action when unauthorized persons approach or enter a permit space while entry is under way:

  - Warn the unauthorized persons that they must stay away from the permit space,

  - Advise unauthorized persons that they must exit immediately if they have entered the space, and

  - Inform the authorized entrants and the entry supervisor if unauthorized persons have entered the permit space.

Entrants

All entrants must be authorized by the entry supervisor to enter permit spaces, have received the required training, use the proper equipment, and observe the entry procedures and permit. The following entrant duties are required:

- Know the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure

- Properly use the equipment required for safe entry

- Communicate with the attendant as necessary to enable the attendant to monitor the status of the entrants and to enable the attendant to alert the entrants of the need to evacuate the space if necessary

- Alert the attendant whenever the entrant recognizes any warning signs or symptoms of exposure to a dangerous situation, or any prohibited condition is detected

- Exit the permit space as quickly as possible whenever the attendant or entry supervisor gives an order to evacuate the permit space, the entrant recognized any warning signs or symptoms of exposure to a dangerous situation, the entrant detects a prohibited condition, or an evacuation alarm activated.

Hazards

- Explosive / Flammable Atmospheres

- Toxic Atmospheres

- Engulfment

- Asphyxiation

- Entrapment

- Slips and falls

- Chemical Exposure

- Electric Shock

- Thermal/Chemical Burns

- Noise and Vibration

Hazard Control

Engineering Controls

- Locked entry points

- Temporary ventilation

- Temporary lighting

Administrative Controls

- Signs

- Employee training

- Entry procedures

- Atmospheric monitoring

- Rescue procedures

- Use of prescribed PPE

Definitions

Confined space

A confined space:

- Is large enough or so configured that an employee can bodily enter and perform work

- Has limited or restricted means for entry or exit (e.g., tanks, vessels, silos, storage bins, hoppers, vaults, and pits)

- Is not designed for continuous employee occupancy

Permit-required confined space (permit space)

A permit-required confined space is a confined space that has one or more of the following characteristics:

- Contains or has a potential to contain a hazardous atmosphere

- Contains a material that has the potential for engulfing an entrant

- Has an internal configuration such that an entrant could be trapped or asphyxiated by inwardly covering walls or by a floor that slopes downward and tapers to a smaller cross-section

- Contains any other recognized serious safety or health hazard

Each permit-required confined space will be marked "Confined Space—Entry Permit Required".

Entry Standard Operating Procedures

A Standard Operating Procedure (SOP) has been developed for each space to standardize the entry procedure. The SOP outlines:

- Hazards

- Hazard Control and Abatement

- Acceptable Entry Conditions

- Means of Entry

- Entry Equipment Required

- Emergency Procedures

Permit-Required Confined Space Entry General Rules

During all permit-required confined space entries, the following safety rules must be strictly enforced:

- Only authorized and trained employees may enter a confined space or act as Entry Attendants.

2.	No smoking is permitted in a confined space or near entrance/exit area.

3.	During confined space entries, an Entry Attendant must be present at all times.

4.	Constant visual or voice communication will be maintained between the Entry Attendant and Entrants.

5.	No bottom or side entry will be made or work conducted below the level any hanging material or material which could cause engulfment.

6.	Air and oxygen monitoring is required before entering any permit-required confined space.

--	Oxygen levels in a confined space must be between 19.5% and 23.5%.

--	Levels above or below will require the use of an SCBA or other approved air supplied respirator.

--	Additional ventilation and oxygen level monitoring is required when welding is performed.

--	The monitoring will check oxygen levels, explosive gas levels, and carbon monoxide levels.

--	Entry will not be permitted if explosive gas is detected above one-half the Lower Explosive Limit (LEL).

7.	To prevent injuries to others, all openings to confined spaces will be protected  by a barricade when covers are removed.

Confined Space Entry Procedures

Each employee who enters or is involved in the entry must:

  - Understand the procedures for confined space entry;

  - Know the hazards of the specific space;

  - Review the specific procedures for each entry; and

  - Understand how to use entry and rescue equipment.

Confined Space Entry Permits

Confined Space Entry Permits must be completed before any employee enters a permit-required confined space. The permit must be completed and signed by an authorized member of management before entry.

- Permits will expire before the completion of the shift or if any pre-entry conditions change.

- Permits will be maintained on file for 12 months.

Contractor Entry

All work by non-school employees that involves the entry into confined spaces will follow the procedures of this program. The information of this program and specific hazards of the confined spaces to be entered will be provided to Contractor Management prior to commencing entry or work.

Training

Training for confined space entry includes:

1.	Duties of Entry Supervisor, Entrant, and Attendants

2.	Confined Space Entry Permits

3.	Hazards of Confined Spaces

4.	Use of Air Monitoring Equipment

5.	First Aid and CPR Training

6.	Emergency Action and Rescue Procedures

7.	Confined Space Entry and Rescue Equipment

8.	Rescue training, including entry and removal from representative spaces

Confined Space Hazards

Flammable Atmospheres

A flammable atmosphere generally arises from enriched oxygen atmospheres, vaporization of flammable liquids, byproducts of work, chemical reactions, concentrations of combustible dusts, and desorption of chemical from inner surfaces of the confined space.

An atmosphere becomes flammable when the ratio of oxygen to combustible material in the air is neither too rich nor too lean for combustion to occur. Combustible gases or vapors will accumulate when there is inadequate ventilation in areas such as a confined space. Flammable gases such as acetylene, butane, propane, hydrogen, methane, natural or manufactured gases, or vapors from liquid hydrocarbons can be trapped in confined spaces, and since many gases are heavier than air, they will seek lower levels as in pits, sewers, and various types of storage tanks and vessels. In a closed top tank, it should also be noted that lighter than air gases may rise and develop a flammable concentration if trapped above the opening.

The byproducts of work procedures can generate flammable or explosive conditions within a confined space. Specific kinds of work such as spray painting can result in the release of explosive gases or vapors. Welding in a confined space is a major cause of explosions in areas that contain combustible gas.

Chemical reactions forming flammable atmospheres occur when surfaces are initially exposed to the atmosphere, or when chemicals combine to form flammable gases. This condition arises when dilute sulfuric acid reacts with iron to form hydrogen or when calcium carbide makes contact with water to form acetylene. Other examples of spontaneous chemical reactions that may produce explosions from small amounts of unstable compounds are acetylene-metal compounds, peroxides, and nitrates. In a dry state, these compounds have the potential to explode upon percussion or exposure to increased temperature. Another class of chemical reactions that form flammable atmospheres arises from deposits of pyrophoric substances (e.g., carbon, ferrous oxide, ferrous sulfate, iron, etc.) that can be found in tanks used by the chemical and petroleum industry. These tanks containing flammable deposits will spontaneously ignite upon exposure to air.

Combustible dust concentrations are usually found during the process of loading, unloading, and conveying grain products, nitrated fertilizers, finely ground chemical products, and any other combustible material. High charges of static electricity, which rapidly accumulate during periods of relatively low humidity (below 50%) can cause certain substances to accumulate electrostatic charges of sufficient energy to produce sparks and ignite a flammable atmosphere. These sparks may also cause explosions when the right air- or oxygen-to-dust or gas mixture is present.

Toxic Atmospheres

The substances to be regarded as toxic in a confined space can cover the entire spectrum of gases, vapors, and finely divided airborne dust in industry. The sources of toxic atmospheres encountered may arise from the following:

- The manufacturing process (e.g., in producing polyvinyl chloride, hydrogen chloride is used as well as vinyl chloride monomer, which is carcinogenic)

- The product stored [removing decomposed organic material from a tank can liberate toxic substances, such as hydrogen sulfide (H2S)]

- The operation performed in the confined space (for example, welding or brazing with metals capable of producing toxic fumes)

During loading, unloading, formulation, and production, mechanical and/or human error may also produce toxic gases that are not part of the planned operation. Carbon monoxide (CO) is a hazardous gas that may build up in a confined space. This odorless, colorless gas that has approximately the same density as air is formed from incomplete combustion of organic materials such as wood, coal, gas, oil, and gasoline; it can also be formed from microbial decomposition of organic matter in sewers, silos, and fermentation tanks. Carbon monoxide is an insidious toxic gas because of its poor warning properties. Early stages of CO intoxication are nausea and headache. Carbon monoxide may be fatal at 1000 ppm in air, and is considered dangerous at 200 ppm, because it forms carboxyhemoglobin in the blood that prevents the distribution of oxygen in the body.

Carbon monoxide is a relatively abundant colorless, odorless gas; therefore, any untested atmosphere must be suspect. It must also be noted that a safe reading on a combustible gas indicator does not ensure that CO is not present. Carbon monoxide must be tested for specifically.

The formation of CO may result from chemical reactions or work activities; therefore fatalities due to CO poisoning are not confined to any particular industry. There have been fatal accidents in sewage treatment plants due to decomposition products and lack of ventilation in confined spaces. Another area where CO results as a product of decomposition is in the formation of silo gas in grain storage elevators. In another area, the paint industry, varnish is manufactured by introducing the various ingredients into a kettle, and heating them in an inert atmosphere, usually town gas, which is a mixture of carbon dioxide and nitrogen. In welding operations, oxides of nitrogen and ozone are gases of major toxicologic importance, and incomplete oxidation may occur and carbon monoxide can form as a byproduct.

Another poor work practice, which has led to fatalities, is the recirculation of diesel exhaust emissions. Increased CO levels can be prevented by strict control of the ventilation and the use of catalytic converters.

Irritant (Corrosive) Atmospheres

Irritant or corrosive atmospheres can be divided into primary and secondary groups. The primary irritants exert no systemic toxic effects (effects on the entire body). Examples of primary irritants are chlorine, ozone, hydrochloric acid, hydrofluoric acid, sulfuric acid, nitrogen dioxide, ammonia, and sulfur dioxide. A secondary irritant is one that may produce systemic toxic effects in addition to surface irritation. Examples of secondary irritants include benzene, carbon tetrachloride, ethyl chloride, trichloroethane, trichloroethylene, and chloropropene.

Irritant gases vary widely among all areas of industrial activity. They can be found in plastics plants, chemical plants, the petroleum industry, tanneries, refrigeration industries, paint manufacturing, and mining operations.

Prolonged exposure at irritant or corrosive concentrations in a confined space may produce little or no evidence of irritation. This may result in a general weakening of the defense reflexes from changes in sensitivity. The danger in this situation is that the worker is usually not aware of any increase in his/her exposure to toxic substances.

Asphyxiating Atmospheres

The normal atmosphere is composed approximately of 20.9% oxygen and 78.1% nitrogen, and 1% argon with small amounts of various other gases. Reduction of oxygen in a confined space may be the result of either consumption or displacement.

The consumption of oxygen takes place during combustion of flammable substances, as in welding, heating, cutting, and brazing. A more subtle consumption of oxygen occurs during bacterial action, as in the fermentation process. Oxygen may also be consumed during chemical reactions as in the formation of rust on the exposed surface of the confined space (iron oxide). The number of people working in a confined space and the amount of their physical activity will also influence the oxygen consumption rate.

A second factor in oxygen deficiency is displacement by another gas. Examples of gases that are used to displace air, and therefore reduce the oxygen level, are helium, argon, and nitrogen. Carbon dioxide may also be used to displace air and can occur naturally in sewers, storage bins, wells, tunnels, wine vats, and grain elevators. Aside from the natural development of these gases, or their use in the chemical process, certain gases are also used as inerting agents to displace flammable substances and retard pyrophoric reactions. Gases such as nitrogen, argon, helium, and carbon dioxide are frequently referred to as non-toxic inert gases but have claimed many lives. The use of nitrogen to inert a confined space has claimed more lives than carbon dioxide. The total displacement of oxygen by nitrogen will cause immediate collapse and death. Carbon dioxide and argon, with specific gravities greater than air, may lie in a tank or manhole for hours or days after opening. Since these gases are colorless and odorless, they pose an immediate hazard to health unless appropriate oxygen measurements and ventilation are adequately carried out.

Oxygen deprivation is one form of asphyxiation. While it is desirable to maintain the atmospheric oxygen level at 21% by volume, the body can tolerate deviation from this ideal. When the oxygen level falls to 17%, the first sign of hypoxia is deterioration to night vision that is not noticeable until a normal oxygen concentration is restored. Physiologic effects are increased breathing volume and accelerated heartbeat. Between 14% and 16%, physiologic effects are increased breathing volume, accelerated heartbeat, very poor muscular coordination, rapid fatigue, and intermittent respiration. Between 6% and 10%, the effects are nausea, vomiting, inability to perform, and unconsciousness. When the body’s oxygen level is less than 6%, the results are spasmatic breathing, convulsive movements, and death in minutes.

Mechanical Hazards

If activation of electrical or mechanical equipment would cause injury, each piece of equipment should be manually isolated to prevent inadvertent activation before workers enter or while they work in a confined space. The interplay of hazards associated with a confined space, such as the potential of flammable vapors or gases being present and the build-up of static charge due to mechanical cleaning (such as abrasive blasting) all influence the precautions that must be taken.

To prevent vapor leaks, flashbacks, and other hazards, workers should completely isolate the space. To completely isolate a confined space, the closing of valves is not sufficient. All pipes must be physically disconnected or isolation blanks bolted in place. Other special precautions must be taken in cases where flammable liquids or vapors may re-contaminate the confined space. The pipes blanked or disconnected should be inspected and tested for leakage to check the effectiveness of the procedure. Other areas of concern are steam valves, pressure lines, and chemical transfer pipes. A less apparent hazard is the space referred to as a void, such as double-walled vessels, which must be given special consideration in blanking off and inerting.

Thermal Effects

Four factors influence the interchange of heat between people and their environment. They are:

    - air temperature

    - air velocity

    - moisture contained in the air

    - radiant heat.

Because of the nature and design of most confined spaces, moisture content and radiant heat are difficult to control. As the body temperature rises progressively, workers will continue to function until the body temperature reaches approximately 102o F. When this body temperature is exceeded, the workers are less efficient and are prone to heat exhaustion, heat cramps, or heat stroke.

In a cold environment, certain physiologic mechanisms come into play, which tend to limit heat loss and increase heat production. The most severe strain in cold conditions is chilling of the extremities so that activity is restricted. Special precautions must be taken in cold environments to prevent frostbite, trench foot, and general hypothermia.

Protective insulated clothing for both hot and cold environments will add additional bulk to the worker and must be considered in allowing for movement in the confined space and exit time. Therefore, air temperature of the environment becomes an important consideration when evaluating working conditions in confined spaces.

Noise

Noise problems are usually intensified in confined spaces because the interior tends to cause sound to reverberate and thus expose the worker to higher sound levels than those found in an open environment. This intensified noise increases the risk of hearing damage to workers, which could result in temporary or permanent loss of hearing. Noise in a confined space that may not be intense enough to cause hearing damage may still disrupt verbal communication with the emergency standby person on the exterior of the confined space. If the workers inside are not able to hear commands or danger signals due to excessive noise, the probability of severe accidents can increase.

Vibration

Whole body vibration may affect multiple body parts and organs depending upon the vibration characteristics. Segmental vibration, unlike whole body vibration, appears to be more localized in creating injury to the fingers and hands of workers using tools, such as pneumatic hammers, rotary grinders, or other hand tools that cause vibration.

Other Hazards

Some physical hazards cannot be eliminated because of the nature of the confined space or the work to be performed. These hazards include such items as scaffolding, surface residues, and structural hazards. The use of scaffolding in confined spaces has contributed to many accidents caused by workers or materials falling, improper use of guardrails, and lack of maintenance to insure worker safety. The choice of material used for scaffolding depends upon the type of work to be performed, the calculated weight to be supported, the surface on which the scaffolding is placed, and the substance previously stored in the confined space.

Surface residues in confined spaces can increase the already hazardous conditions of electrical shock, reaction of incompatible materials, liberation of toxic substances, and bodily injury due to slips and falls. Without protective clothing, additional hazards to health may arise due to surface residues.

Structural hazards within a confined space such as baffles in horizontal tanks, trays in vertical towers, bends in tunnels, overhead structural members, or scaffolding installed for maintenance constitute physical hazards, which are exacerbated by the physical surroundings. In dealing with structural hazards, workers must review and enforce safety precautions to assure safety.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

EMERGENCY ACTION PLANNING

Purpose

The purpose of this program is to provide the needed tools to respond to emergencies that may occur in the school setting. Hutchinson Public Schoolshas developed a specific response plan for use to prevent and/or respond to emergencies that could occur. The plan is based on the requirements established by Minnesota Executive Order 93-27 and Model Crisis Management Plan. The plan was developed in coordination and cooperation of community leaders, local units of government, and State of Minnesota agencies.

A copy of the plan may be obtained from the school principal or

| PLAN REVIEW |
| --- |
| Reviewer | Date |

EMPLOYEE RIGHT-TO-KNOW/HAZARD COMMUNICATION

Purpose

This document serves as a guide the Hazard Communication Program for Hutchinson Public Schools. It provides detailed safety guideline and instructions for receipt, use and storage of chemicals at our facility by employees and contractors. Reference: OSHA Standard 1910.1200.   Questions regarding this document should be directed to «ERK_Contact» who is the District’s Program Manager.

Responsibilities:

- Management

  - Ensure compliance with this program

  - Conduct immediate corrective action for deficiencies found in the program

  - Maintain an effective Hazard Communication training program

  - Make this plan available to employees or their designated representative

- Shipping & Receiving Manager

  - Ensure all received containers are properly labeled and that labels are not removed or defaced

  - Ensure all shipped containers are properly labeled

  - Ensure shipping department employees are properly trained in spill response

  - Ensure Material Safety Data Sheets (MSDS) are properly distributed

- Purchasing Agent

  - Obtain, from the manufacturer, MSDS for chemicals purchased from retail sources

- Safety Manager

  - Maintain a list of hazardous chemicals using the identity that is referenced on the MSDS

  - Monitor the effectiveness of the program

  - Conduct annual audit of the program

  - Monitor employee training to ensure effectiveness

  - Keep management informed of necessary changes

  - Ensure MSDSs are available as required

  - Monitor facility for proper use, storage and labeling of chemicals

- School Nurse

  - Ensure MSDS are available for emergency medical personnel when treating exposed employees

  - Provide information, as requested, concerning health effects and exposure symptoms listed on MSDSs

- Supervisors

  - Comply with all specific requirements of the program

  - Provide specific chemical safety training for assigned employees

  - Ensure chemicals are properly used stored & labeled

  - Ensure only the minimum amount necessary is kept at work stations

  - Ensure up to date MSDS are readily accessible to all employees on all shifts

- Employees

  - Comply with chemical safety requirements of this program

  - Report any problems with storage or use of chemicals

  - Immediately report spills of suspected spills of chemicals

  - Use only those chemicals for which they have been trained

  - Use chemicals only for specific assigned tasks in the proper manner

- Contractors

  - Comply will all aspects of this program

  - Coordinate information with the Safety Manager

  - Ensure Contractor employees are properly trained

  - Notify the ERTK Contact Person before bringing any chemicals onto school property or facilities

  - Monitor and ensure proper storage and use of chemicals by Contractor employees

General Program Information

This written Hazard Communication Plan (HAZCOM) has been developed based on OSHA Hazard Communication Standard and consists of the following elements:

- Identification of Hazardous Materials

- Product Warning Labels

- Material Safety Data Sheets (MSDS)

- Written Hazard Communication Program

- Effective Employee Training

Some chemicals are explosive, corrosive, flammable, or toxic. Other chemicals are relatively safe to use and store but may become dangerous when they interact with other substances. To avoid injury and/or property damage, persons who handle chemicals in any area of the School must understand the hazardous properties of the chemicals. Before using a specific chemical, safe handling methods and health hazards must always be reviewed. Supervisors are responsible for ensuring that the equipment needed to work safely with chemicals is accessible and maintained for all employees on all shifts.

Employee Training

- Initial Orientation Training

  - All new employees shall receive safety orientation training covering the elements of the HAZCOM and Right to Know Program. This training will consist of general training covering:

    - Location and availability of the written Hazard Communication Program

    - Location and availability of the List of Chemicals used in the workplace

    - Methods and observation used to detect the presence or release of a hazardous chemical in the workplace.

    - The specific physical and health hazard of all chemicals in the workplace

    - Specific control measures for protection from physical or health hazards

    - Explanation of the chemical labeling system

    - Location and use of MSDS

- Job Specific Training

  - Employees will receive on the job training from their supervisor. This training will cover the proper use, inspection and storage of necessary personal protective equipment and chemical safety training for the specific chemicals they will be using or will be working around.

- Annual Refresher Training

  - Annual Hazard Communication refresher training will be conducted as part of the school's continuing safety training program.

- Immediate On-the-Spot Training

  - This training will be conducted by supervisors for any employee that requests additional information or

  - exhibits a lack of understanding of the safety requirements.

Non-Routine Tasks

Non-routine tasks are defined as working on, near, or with unlabeled piping, unlabeled containers of an unknown substance, confined space entry where a hazardous substance may be present and/or a one-time task using a hazardous substance differently than intended (example: using a solvent to remove stains from tile floors).

Steps for Non-Routine Tasks

Step 1: Hazard Determination

Step 2: Determine Precautions

Step 3: Specific Training & Documentation

Step 4: Perform Task

The Department Supervisor and ERTK Contact Person will evaluate all non-routine tasks to determine all hazards present. This determination will be conducted with quantitative/qualitative analysis (air sampling, substance identification/analysis, etc., as applicable).  Once the hazard determination is made, the Department Supervisor and Safety Department will determine the necessary precautions needed to remove the hazard, change to a non-hazard, or protect from the hazard (use of personal protective equipment) to safeguard the Employees present. In addition, the Department Supervisor or Safety Department will provide specific safety training for Employees present or affected and will document the training using the Chemical Safety Training Checklist form that shall be marked "Non-Routine Task Training".

Off-site use or transportation of chemicals

An MSDS will be provided to employees for each chemical and each occurrence of use or transport away from the school facilities. All State and Federal DOT Regulations will be followed including use of certified containers, labeling & marking, securing of containers and employee training.

General Chemical Safety

Assume all chemicals are hazardous. The number of hazardous chemicals and the number of reactions between them is so large that prior knowledge of all potential hazards cannot be assumed. Use chemicals in as small quantities as possible to minimize exposure and reduce possible harmful effects.

The following general safety rules shall be observed when working with chemicals:

- Read and understand the Material Safety Data Sheets.

- Keep the work area clean and orderly.

- Use the necessary safety equipment.

- Carefully label every container with the identity of its contents and appropriate hazard warnings.

- Store incompatible chemicals in separate areas.

- Substitute less toxic materials whenever possible.

- Limit the volume of volatile or flammable material to the minimum needed for short operation periods.

- Provide means of containing the material if equipment or containers should break or spill their contents.

Task Evaluation

Each task that requires the use of chemicals should be evaluated to determine the potential hazards associated with the work. This hazard evaluation must include the chemical or combination of chemicals that will be used in the work, as well as other materials that will be used near the work. If a malfunction during the operation has the potential to cause serious injury or property damage, a Safe Operational Procedure (SOP) should be prepared and followed. Operations must be planned to minimize the generation of hazardous wastes.

Chemical Storage

The separation of chemicals (solids or liquids) during storage is necessary to reduce the possibility of unwanted chemical reactions caused by accidental mixing. Explosives should be stored separately outdoors. Use either distance or barriers (e.g., trays) to isolate chemicals into the following groups:

- Flammable Liquids: store in approved flammable storage lockers.

- Acids: treat as flammable liquids

- Bases: do not store bases with acids or any other material

- Other liquids: ensure other liquids are not incompatible with any other chemical in the same storage location.

Lips, strips, or bars are to be installed across the width of storage shelves to restrain the chemicals in case of earthquake.

Chemicals will not be stored in the same refrigerator used for food storage. Refrigerators used for storing chemicals must be appropriately identified by a label on the door.

Container Labels

It is extremely important that all containers of chemicals are properly labeled. This includes every type of container from a 5000-gallon storage tank to a spray bottle of degreaser. The following requirements apply:

- All containers will have the appropriate label; tag or marking prominently displayed that indicates the identity, safety and health hazards.

- Portable containers that contain a small amount of chemical need not be labeled if they are used immediately that shift, but must be under the strict control of the employee using the product.

- All warning labels, tags, etc., must be maintained in a legible condition and not be defaced. Facility weekly supervisor inspections will check for compliance of this rule.

- Incoming chemicals are to be checked for proper labeling.

Emergencies and Spills

In case of an emergency, implement the proper Emergency Action Plan

- Evacuate people from the area.

- Isolate the area.

- If the material is flammable, turn off ignition and heat sources.

- Only personnel specifically trained in emergency response are permitted to participate in chemical emergency procedures beyond those required to evacuate the area.

- Call for Emergency Response Team assistance if required.

Housekeeping

- Maintain the smallest possible inventory of chemicals to meet immediate needs.

- Periodically review stock of chemicals on hand.

- Ensure that storage areas, or equipment containing large quantities of chemicals, are secure from accidental spills.

- Rinse emptied bottles that contain acids or inflammable solvents before disposal.

- Recycle unused laboratory chemicals wherever possible.

- DO NOT Place hazardous chemicals in salvage or garbage receptacles.

- DO NOT Pour chemicals onto the ground.

- DO NOT Dispose of chemicals through the storm drain system.

- DO NOT Dispose of highly toxic, malodorous chemicals down sinks or sewer drains.

Contractors

All outside contractors working inside School Facilities are required to follow the requirements of this program.

The School will provide Contractors information on:

- Location of MSDS

- Precautions to be taken to protect contractor employees

- Potential exposure to hazardous substances

- Chemicals used in or stored in areas where they will be working

- Location and availability of Material Safety Data Sheets

- Recommended Personal Protective Equipment

- Labeling system for chemicals

Definitions

Chemical: Any element, chemical compound or mixture of elements and/or compounds.

Combustible liquid: Means any liquid having a flash point at or above 100 deg. F (37.8 deg. C), but below 200 deg. F (93.3 deg. C), except any mixture having components with flash points of 200 deg. F (93.3 deg. C), or higher, the total volume of which make up 99 percent or more of the total volume of the mixture.

Compressed gas: Any compound that exhibits:

(i) A gas or mixture of gases having, in a container, an absolute pressure exceeding 40 psi at 70 deg.F.

(ii) A gas or mixture of gases having, in a container, an absolute pressure exceeding 104 psi at 130 deg. F. regardless of the pressure at 70 deg. F.

(iii) A liquid having a vapor pressure exceeding 40 psi at 100 deg. F.

Container: Any bag, barrel, bottle, box, can, cylinder, drum, reaction vessel, storage tank, or the like that contains a hazardous chemical. For purposes of this section, pipes or piping systems, and engines, fuel tanks, or other operating systems in a vehicle, are not considered to be containers.

Designated representative: Any individual or organization to whom an employee gives written authorization to exercise such employee's rights under this section. A recognized or certified collective bargaining agent shall be treated automatically as a designated representative without regard to written employee authorization.

Employee: a worker who may be exposed to hazardous chemicals under normal operating conditions or in foreseeable emergencies. Workers such as office workers or bank tellers who encounter hazardous chemicals only in non-routine, isolated instances are not covered.

Employer: A person engaged in a business where chemicals are either used, distributed, or are produced for use or distribution, including a contractor or subcontractor.

Explosive: A chemical that causes a sudden, almost instantaneous release of pressure, gas, and heat when subjected to sudden shock, pressure, or high temperature.

Exposure or exposed: An employee is subjected in the course of employment to a chemical that is a physical or health hazard, and includes potential (e.g. accidental or possible) exposure. Subjected in terms of health hazards includes any route of entry (e.g. inhalation, ingestion, skin contact or absorption.)

Flammable: A chemical that falls into one of the following categories:

          - "Aerosol, flammable" means an aerosol that yields a flame projection exceeding 18 inches at full valve opening, or a flashback (a flame extending back to the valve) at any degree of valve opening;

          - "Gas, flammable" means: (A) A gas that, at ambient temperature and pressure, forms a flammable mixture with air at a concentration of thirteen (13) percent by volume or less; or (B) A gas that, at ambient temperature and pressure, forms a range of flammable mixtures with air wider than twelve (12) percent by volume, regardless of the lower limit;

          - "Liquid, flammable" means any liquid having a flash point below 100 deg. F., except any mixture having components with flash points of 100 deg. F. or higher, the total of which make up 99 percent or more of the total volume of the mixture.

          - "Solid, flammable" means a solid, other than a blasting agent or explosive as defined in 910.109(a), that is liable to cause fire through friction, absorption of moisture, spontaneous chemical change, or retained heat from manufacturing or processing, or which can be ignited readily and when ignited burns so vigorously and persistently as to create a serious hazard. A chemical shall be considered to be a flammable solid if it ignites and burns with a self-sustained flame at a rate greater than one-tenth of an inch per second along its major axis.

Flash point: The minimum temperature at which a liquid gives off a vapor in sufficient concentration to ignite.

Hazardous chemical: Any chemical that is a physical hazard or a health hazard.

Hazard warning: Any words, pictures, symbols, or combination appearing on a label or other appropriate form of warning which convey the specific physical and health hazard(s), including target organ effects, of the chemical(s) in the container(s). (See the definitions for "physical hazard" and "health hazard" to determine the hazards which must be covered.)

Health hazard: A chemical for which there is evidence that acute or chronic health effects may occur in exposed employees. The term "health hazard" includes chemicals that are carcinogens, toxic or highly toxic agents, reproductive toxins, irritants, corrosives, senstizers, hepatotoxins, nephrotoxins, neurotoxins, agents which act on the hematopoietic system, and agents which damage the lungs, skin, eyes, or mucous membranes.

Identity: Any chemical or common name that is indicated on the material safety data sheet (MSDS) for the chemical. The identity used shall permit cross-references to be made among the required list of hazardous chemicals, the label and the MSDS.

Immediate use: The hazardous chemical will be under the control of and used only by the person who transfers it from a labeled container and only within the work shift in which it is transferred.

Label: Any written, printed, or graphic material displayed on or affixed to containers of hazardous chemicals.

Material safety data sheet (MSDS): Written or printed material concerning a hazardous chemical that is prepared in accordance with OSHA Standard 1910.1200 requirements.

Mixture: Any combination of two or more chemicals if the combination is not, in whole or in part, the result of a chemical reaction.

Oxidizer: Means a chemical other than a blasting agent or explosive as defined in 1910.109(a), that initiates or promotes combustion in other materials, thereby causing fire either of itself or through the release of oxygen or other gases.

Physical hazard: A chemical that it is a combustible liquid, a compressed gas, explosive, flammable, an organic peroxide, an oxidizer, pyrophoric, unstable (reactive) or water-reactive.

Pyrophoric: A chemical that will ignite spontaneously in air at a temperature of 130 deg. F. or below.

Specific chemical identity: The chemical name, Chemical Abstracts Service (CAS) Registry Number, or any other information that reveals the precise chemical designation of the substance.

Unstable (reactive): A chemical that in the pure state, or as produced or transported, will vigorously polymerize, decompose, condense, or will become self-reactive under conditions of shocks, pressure or temperature.

Use: To package, handle, react, emit, extract, generate as a byproduct, or transfer.

Water-reactive: A chemical that reacts with water to release a gas that is either flammable or presents a health hazard.

Work area: A room or defined space in a workplace where hazardous chemicals are produced or used, and where employees are present.

Workplace: An establishment, job site, or project, at one geographical location containing one or more work areas.

MSDS Information

Material Safety Data Sheets are provided by the chemical manufacturer to provide additional information concerning safe use of the product. Each MSDS provides:

- Common Name and Chemical Name of the material

- Name, address and phone number of the manufacturer

- Emergency phone numbers for immediate hazard information

- Date the MSDS was last updated

- Listing of hazardous ingredients

- Chemical hazards of the material

- Information for identification of chemical and physical properties

Information Chemical Users must know

- Fire and/or Explosion Information

  - Material Flash Point, auto-ignition temperature and upper/lower flammability limits

  - Proper fire extinguishing agents to be used

  - Fire fighting techniques

  - Any unusual fire or explosive hazards

- Chemical Reaction Information

  - Stability of Chemical

  - Conditions and other materials which can cause reactions with the chemical

  - Dangerous substances that can be produced when the chemical reacts

- Control Measures

  - Engineering Controls required for safe product use

  - Personal protective equipment required for use of product

  - Safe storage requirements and guidelines

  - Safe handling procedures

- Health Hazards

  - Permissible Exposure Limit (PEL) and Threshold Limit Value (TLV)

  - Acute or Chronic symptoms of exposure

  - Main routes of entry into the body

  - Medical conditions that can be made worse by exposure

  - Cancer causing properties if any

  - Emergency and First Aid treatments

- Spill & Leak Procedures

  - Clean up techniques

  - Personal Protective Equipment to be used during cleanup

  - Disposal of waste & cleanup material

Employee Use of MSDS

For MSDS use to be effective, employees must:

- Know the location of the MSDS

- Understand the major points for each chemical

- Check MSDS when more information is needed or questions arise

- Be able to quickly locate the emergency information on the MSDS

Follow the safety practices provided on the MSDS

| PLAN REVIEW |
| --- |
| Reviewer | Date |

FIRST AID/CPR

Introduction

Medical advice and consultation on work-related health matters and first aid services to treat work related injuries must be readily available to employees. In addition, if the workplace contains materials that may be corrosive or injurious to the eyes or the body, a method of quickly drenching or flushing the eyes or body must be provided in the work area.  This program assists Hutchinson Public Schools in meeting those requirements.

References

OSHA Subpart K 1910.151

MN OSHA Instruction CPL 2-2.53

Applicability

Do any situations arise that require advice or consultation on matters of workplace health?

Could any situations arise that may result in injuries requiring first aid in the workplace?

Does the workplace contain materials that could injure the eyes or body?

Regulatory Requirements

- The employer shall ensure the availability of medical personnel for advice and consultation on matters of workplace health.

- A person or persons shall be adequately trained to render first aid in the absence of an infirmary, clinic or hospital in near proximity to the workplace.

First aid

- supplies approved by the consulting physician shall be readily available.

- Suitable facilities for quick drenching or flushing of the eyes and body shall be provided within the work area for immediate emergency use where the eyes or body of any person may be exposed to injurious corrosive materials.  ANSI Standard Z358.1-1990 gives additional details on emergency eyewash and shower station requirements.

- MN OSHA Instruction CPL 2-2.53 suggests that these guidelines be followed:

--	Near proximity to the workplace means four to eight minutes. If there is no hospital or clinic within this distance, the employer must designate a first aid provider on site.

--	If medical services are available within four to eight minutes, and the employer decides to use these services, a determination must be made as to whether or not a special agreement needs to be made with the medical facility in order to ensure the ready availability of medical personnel.

--	First aid training needs to be evaluated in relation to workplace hazards.

--	A recommended first aid kit list follows (employer still needs to seek a physician’s opinion).  Contact the First Aid program manager, «First_Aid», for kits and replacement supplies

A first aid kit shall contain sufficient quantities of individually sealed packages of at least the following types of items:

Purpose

The purpose of this plan is to provide fundamental information to enable employees to protect themselves from various hazards and provide basic emergency procedures.  Questions regarding this plan should be addressed to the Program Manager.

Elements--First Aid/CPR

NOTE: Rescue breathing and CPR should be performed ONLY by qualified personnel.

There are many situations which occur during the work/school day that could potentially require first aid, including:

1.	Abdominal pain;

2.	Breathing emergencies and choking;

3.	Blisters and burns;

4.	Cuts, scrapes, and bruises;

5.	Drug-induced crisis;

6.	Earache;

7.	Exposure to the elements;

8.	Eye injuries;

9.	Head and spine injuries;

10.	Heart problems;

11.	Injury to muscles, bones, and joints;

12.	Nose injuries;

13.	Poisoning;

14.	Shock;

15.	Slivers;

16.	Sudden illnesses;

17.	Tooth problems;

18.	Throat problems; and

19.	Unconsciousness.

Hutchinson Public Schools will notify the parent or guardian of the student, or a designated contact of an employee, whenever there has been an accident, injury, or illness that requires either further medical attention or home rest. Typically, the first aid provider (school nurse/health aide) will make the decision to contact the above-mentioned persons.

There are some basic procedures to follow in each type of emergency situation. These procedures are designed for children and adults. Following are some basic steps to take in different emergency situations.

Procedures (in Alphabetical Order)

Abdominal Pain

Causes

Abdominal pain can be the result of a number of things like menstrual cramps, food poisoning, etc.

Care

1.  Have patient rest on cot; get the history of the illness (how, when, and where illness began).

2.  Take temperature.

3.  Attempt to locate area of pain. Ask if pain followed an injury. If pain is due to menstruation, offer hot water bottle. DO NOT give hot water bottle for any other kind of abdominal pain.

4.  Consider emotional reason for discomfort.

5.  Notify guardian or other contact person if pain persists or seems severe. If in doubt, always call the guardian of a child.

Breathing Emergencies and Choking

Detection

Some signs of emergency breathing situations include:

1.	Unusually slow or rapid breathing;

2.	Unusually deep or shallow breaths;

3.	Gasping for breath;

4.	Wheezing, gurgling, or high-pitched noises;

5.	Unusually moist skin;

6.	Flushed, pale, or bluish appearance to skin;

7.	Shortness of breath;

8.	Dizziness or light-headedness; and

9.	Pain in chest or tingling in hands and feet.

Care

Emergency breathing situations may include victims who are choking, hyperventilating, or unconscious. For choking victims, determine if the victim is able to cough or speak; encourage him/her to continue coughing. If object does not come up, call for emergency medical assistance. Be prepared to initiate rescue breathing and/or CPR (if trained).

Asthma Attack

1.	Call 911 if attack is severe (person has feeling of suffocation, pale bluish lips, skin, or fingernails).

2.	As soon as symptoms appear, have person rest in quiet area, seated with shoulders relaxed. Encourage person to slow his/her breathing down. Provide prescribed medicine or inhaler, if possible.

3.	Anxiety will increase breathing difficulty; comfort and relax the person.

4.	Notify parents of child’s significant asthma episode.

Blisters and Burns

Care for Blisters

1.	Apply sterile non-adhesive bandage.

2.	Do not puncture blisters.

3.	Notify guardian to observe area if infection is noted.

Determining Severity of Burns

First Degree—reddened

Second Degree—blistered

Third Degree—white or charred

Critical burns include those burns:

1.	Involving breathing difficulty;

2.	Covering more than one body part;

3.	To the head, neck, hands, feet, or genitals;

4.	To a child or an elderly person; or

5.	Resulting from chemicals, explosions, or electricity.

Care for Mild Burns

1.	Do not use ointments or salves.

2.	Stop the burning.

3.	Immerse in cold water (not ice water) for 10 to 15 minutes or until pain subsides.

4.	Cover burn with dry, clean dressings to help prevent infection; bandage loosely. Do not break any blisters or remove tissue.

5.	Raise area of burn above heart, if possible.

Care for Deep or Extensive Burns

1.	Treat for shock (except for facial burns).

2.	Have victim lie down with legs elevated; keep him/her warm and quiet. (Facial burn—sit or prop victim up; observe continuously for breathing difficulty.)

3.	Call 911.

4.	Do not immerse an extensively burned area or apply ice water over it as the cold may intensify shock reaction. Apply cold pack to face, hands, or feet if necessary.

5.	Cover burn with dry, clean dressings to help prevent infection; bandage loosely.

6.	Don’t put ointment on burn; don’t put pressure on burn.

7.	Don’t break blisters or remove pieces of cloth stuck to burn.

Care for Chemical Burns

1.	Call 911.

2.	For chemicals burns to the skin or eyes, flush burn with large amounts of water for 15 to 20 minutes.

3.	If only one eye has been affected, flush from the nose outward to prevent contaminating the other eye.

4.	Have the victim take off clothes with chemicals on them.

5.	Apply sterile dressing.

6.	If extensive, refer to Care for Deep or Extensive Burns.

Care for Electrical Burns

1.	Never go near a victim whom you think has been injured by electricity until you are sure the power is turned off. Electrical burns are often deep and tissues beneath them may be severely damaged.

2.	If there is a downed power line, wait for the fire department and/or the power school. If there are people in a car with a downed wire across it, tell them not to move and to stay in the car.

3.	Check breathing and pulse if victim is unconscious. Check for possible fractures.

- Cover an electrical burn with a dry, clean dressing, but do not cool the burn.

- Keep victim from getting chilled.

Cuts, Scrapes, and Bruises

Explanation

These types of injuries generally damage the soft tissue of the body. This tissue includes skin, fat, and muscles.

Types of Injuries That Generally Require Stitches

The following injuries generally require stitches:

1.	Bleeding from an artery or uncontrolled bleeding;

2.	Wounds that show muscle or bone, involve joints, gape widely, or involve hands or feet;

3.	Large or deep puncture wounds;

4.	Large or deeply embedded objects;

5.	Human or animal bites; and

6.	Wounds that, if left unattended, could leave conspicuous scars, such as those on the face.

Care for Bruises

1.	Apply direct pressure to reduce bleeding under the skin.

2.	Elevate the injured area to reduce swelling.

3.	Apply cold to control pain and swelling.

Internal Bleeding

Some closed wounds can be very serious and need immediate medical attention. If a victim is in severe pain or can’t move a body part without hurting, this may indicate a serious wound. While waiting for medical help, watch for signs of shock and keep the victim from getting chilled or overheated.

Care for Minor and Small Scratches

1.	Wash with soap and water.

2.	Apply sterile dressing as needed.

3.	If the wound is a result of an animal bite, notify police. When circumstances indicate, animal should be confined and tested for rabies.

Care for a Major Open Wound

1.	Have victim lie down to prevent fainting.

2.	Control bleeding by placing a clean covering over the wound and applying direct pressure.

3.	If you don’t think the wound involves a broken bone, elevate injured area.

4.	Apply a bandage snugly over wound.

5.	If bleeding cannot be controlled, call 911.

6.	Apply pressure on nearby artery (pressure point).

7.	Treat for shock; keep warm and quiet.

8.	Wash hands immediately after providing care.

Care for a Major Wound with Minimal Bleeding

1.	DO NOT use antiseptics or salves.

2.	Apply Steri-strip or butterfly dressing after bleeding stops.

3.	Notify guardian; advise medical care. Advise if tetanus booster is indicated.

Drug-Induced Crisis

Care

1.	In all suspected cases notify school administrator.

2.	If school nurse determines emergency care is unnecessary, student should be referred to the principal.

3.	If emergency care is necessary, call 911 and notify guardian.

4.	Check level of consciousness. If person is unconscious, call 911 for emergency medical assistance.

5.	Observe for breathing difficulty or respiratory arrest; be prepared to initiate rescue breathing or CPR (if trained) if person is not breathing.

6.	Check for high (greater than 120 beats per minute) or low (less than 60 beats per minute) pulse.

7.	If person is vomiting or semi-conscious, provide appropriate first aid.

8.	Observe for hallucinations.

9.	Observe for hyperactivity, aggressiveness, and paranoid delusions.

Important Points of Emergency Care

1.	Maintain an open airway.

2.	If convulsions are present, DO NOT try to restrain the individual. Remove nearby objects and place a soft towel, pillow under the head. DO NOT put anything in mouth.

3.	Get the person to relax physically and emotionally.

4.	Develop a positive attitude with the person. If there is no physical damage, reassure the person that the drug experience will subside and they will return to a normal state.

5.	Do not hesitate to contact a person in the school designated to deal with drug-induced crises.

Earache

Care

1.	Take temperature.

2.	If fever is present or pain is intense, call guardian and advise medical care.

3.	If a foreign body is inside the ear, notify guardian and advise medical care if object cannot be removed easily.

Exposure to the Elements

Heat-related Illnesses

Heat-related illnesses include heat cramps, heat exhaustion, and heat stroke. Heat cramps are painful muscle spasms. Heat cramps are the least severe of these illnesses and should be thought of as warning signs of a possible emergency. Cramps usually occur in the legs and abdomen.

Heat exhaustion is more severe than heat cramps and signs include cool, moist, pale, or flushed skin; headache; nausea; dizziness; weakness; and exhaustion.

Heat stroke is the most uncommon but most severe heat emergency, with signs including hot, dry skin; changes in consciousness; rapid, weak pulse; and rapid, shallow breathing.

Care for Heat-related Illnesses

1.	Get the victim out of the heat.

2.	Loosen tight clothing.

3.	Remove perspiration-soaked clothing.

4.	Apply cool, wet cloths to the skin.

5.	Fan the victim.

6.	If the victim is conscious, give cool water.

7.	Call for an ambulance if victim refuses water, vomits, or starts to lose consciousness.

Cold-related Illnesses

Cold-related illnesses include frostbite and hypothermia. Frostbite can cause the loss of fingers, hands, arms, toes, feet, and legs. Signs of frostbite include lack of feeling in the affected area and skin that appears waxy, is cold to the touch, or is discolored (flushed, white, yellow, or blue).

Care for Frostbite

1.	Handle area gently; never rub affected area.

2.	Warm the area gently by soaking the affected part in water, no warmer than 105º F.

3.	Keep the frostbitten part in the water until it looks red and feels warm.

4.	Loosely bandage the area with a dry sterile dressing.

5.	If fingers or toes are frostbitten, place cotton or gauze between them.

6.	Don’t break any blisters.

7.	Notify guardian and refer for medical care if swelling and blisters are present.

Care for Hypothermia

1.	Care for any life-threatening problems.

2.	Call local emergency number.

3.	Remove any wet clothing and dry the victim.

4.	Warm body gradually by wrapping victim in blankets or by putting on dry clothing, and then moving him/her to a warm place.

5.	Apply other sources of heat if available (chemical heat packs or hot water bottles, keeping a barrier between extra heat source and body).

6.	If victim is alert, give warm liquids to drink.

To Avoid Heat or Cold Emergencies:

1.	Avoid being outdoors on the hottest or coldest part of the day.

2.	Change your activity level according to the temperature.

3.	Take frequent breaks.

4.	Dress appropriately for the environment.

5.	Drink large amounts of fluids.

Eye Injuries

Care for Inflamed or Discharging Eyes

1.	Exclude from school, if student, until condition is improved or until physician gives permission to return.

Care for Foreign Body Embedded in Lid or Eyeball

1.	Do not attempt to remove object or to wash eye.

2.	Cover affected eye(s) loosely with clean dressing; avoid pressure on the eyes.

3.	Notify guardian and advise prompt medical care.

4.	Keep person lying down.

Care for Foreign Body on the Eye

1.	Have person blink eye several times.

2.	Flush the eye with large amounts of water.

3.	Attempt to remove with a moistened applicator.

4.	If not removed by these methods, apply dry protective dressing.

5.	Call guardian and advise prompt medical care.

Care for Injury to the eyeball (if the eyeball has been cut or injured)

1.	Have the person lie down to keep fluid from running out of the eye.

2.	Cover both eyes loosely with dry, sterile dressing.

3.	Notify guardian and advise medical care.

4.	Call 911 for assistance if severe pain is present or guardian cannot be reached.

Care for Sties in the Eye

1.	If draining, send person home.

2.	If sties occur frequently, suggest medical care.

Head and Spine Injuries

Detection

Some signals of head or spine injuries may include:

1.	Changes in consciousness;

2.	Severe pain or pressure in the head, neck, or back;

3.	Tingling or loss of sensation in the hands, fingers, feet, and toes;

4.	Partial or complete loss of movement of any body part;

5.	Unusual bumps or depressions on the head or over the spine;

6.	Blood or other fluids in the ears or nose;

7.	Heavy external bleeding of the head, neck, or back;

8.	Seizures;

9.	Impaired breathing or vision resultant of injury;

10.	Nausea or vomiting;

11.	Persistent headache;

12.	Loss of balance; and

13.	Bruising of the head, especially around the eyes and behind the ears.

Care for Spine Injuries

1.	Call 911.

2.	Minimize movement of head and spine.

3.	Maintain an open airway.

4.	Check consciousness and breathing.

5.	Control any external bleeding.

6.	Keep the victim from getting chilled or overheated.

Care for Headaches

1.	Take temperature.

2.	If there is history of recent head injury, call guardian.

3.	Instruct person to rest on cot; apply cold pack if comforting.

4.	If headache persists or if attacks occur frequently, advise medical care.

5.	DO NOT give aspirin or any other medication.

Care for Head Injuries--Minor

1.	Have person rest on cot for 30 minutes or longer.

2.	Apply cold pack to area.

3.	If no symptoms of nausea, vomiting, dizziness, unequal pupils, or blurred vision, person may return to normal activities.

4.	In the case of a child, notify guardian of all head injuries regardless of how minor they may seem.

Care for Head Injuries--Severe or Unconsciousness

1.	Call 911.

2.	Do not move person; minimize movement of head and spine.

3.	Maintain an open airway.

4.	Check consciousness and breathing.

5.	Apply cold pack to injured area and control any external bleeding.

6.	Treat for shock.

Heart Problems

Detection and General Care

The signals of potential heart problems include pain or discomfort in the chest that does not go away (ranging from discomfort to an unbearable crushing sensation), difficulty in breathing, pale skin, and/or sweaty face. Any chest pain that is severe, lasts longer than 10 minutes, or persists even during rest requires medical care at once.

When a victim shows signs of a possible heart attack, the victim should be told to sit down. Try to determine what problems the victim is having. Some victims will have medication and you can assist the person by getting the medicine. It is important to be calm and reassuring to the victim. If the victim is conscious, loosen tight clothing, keep the person quiet (do not allow them to walk), and do not give them liquids.

When the heart stops beating or beats too poorly to circulate blood properly, it is called cardiac arrest. A person in cardiac arrest is unconscious, not breathing, and has no pulse. When this happens, the victim needs cardiopulmonary resuscitation (CPR) immediately. This includes rescue breathing and chest compressions.

Care When the Heart Stops Beating and Breathing and Pulse are Non-Existent

1.	Send a responsible person to get the school nurse or other CPR-qualified person.

2.	Send responsible person to call 911 - give operator exact location of injured person.

Injuries to Muscles, Bones and Joints

Detection and General Classification

The four basic types of injuries to muscles, bones and joints are:

1.	Fractures,

2.	Dislocation,

3.	Strains, and

4.	Sprains.

Signs of these types of injuries may include pain, swollen, red, or bruised skin. The area may be twisted or bent strangely. There may be abnormal lumps, ridges, or hollows. The victim may hear a snap or pop or grating bones. Hands and fingers or feet and toes may feel numb or tingly.

Care for Injuries to Muscles, Bones, and Joints

1.	Treat for shock.

2.	Call 911 for emergency medical assistance if the victim’s head, neck, or back is injured; if the victim has any problem breathing; or if the victim is unable to move or use injured part without pain.

3.	Check for life-threatening conditions first.

4.	Make victim more comfortable, possibly supporting injured area with a pillow.

5.	If moving or transporting victim, immobilize injured part with a splint if possible.

6.	Apply ice and raise injured part.

7.	Make no attempt to reduce dislocation.

Care for Sprains and Strains

1.	For a strained or sprained back, apply cold periodically to injury for 72 hours.

2.	For sprains or strains (other than the back) elevate injured area and apply cold pack.

3.	Next, apply heat (this will help speed up chemical reactions needed to repair tissue).

4.	Apply elastic bandage for support if desired.

Nose Injuries

Care for Nosebleeds

1.	Seat person erect with head slightly forward. If person must recline, elevate head and shoulders.

2.	Instruct person to press firmly on middle partition of bleeding nostril(s).

3.	If bleeding persists (more than 15 minutes), call guardian and advise medical care.

4.	Instruct person not to blow nose or resume vigorous activity immediately.

Care for foreign body in the nose

1.	Call guardian and advise medical care if object cannot be removed easily.

Poisoning

Causes

Poisoning can be caused by many items, including foods, alcohol, medications, cleaning products, pesticides, plants, toxic fumes, fertilizers, insects, spiders, ticks, some marine life, snakes, and other animals.

There are four ways in which poisons may enter the body:

1.	Ingestion,

2.	Inhalation,

3.	Injection, and

4.	Absorption.

Detection

Some signs of poisoning may include:

1.	Nausea,

2.	Vomiting,

3.	Diarrhea,

4.	Chest or abdominal pain,

5.	Breathing difficulty,

6.	Sweating,

7.	Seizures, or

8.	Burns around the lips or tongue or on skin.

Care when you suspect someone has swallowed a poison

1.	Call your Poison Control Center or local emergency number.

2.	Try to find out what type of poison it was.

3.	Try to find out how much was taken.

4.	Try to find out when it was taken.

5.	Check the scene to make sure it is safe to approach and to gather clues about what happened.

6.	Remove the victim from the source of the poison if necessary.

7.	Check the victim’s level of consciousness, breathing, and pulse.

8.	Care for any life-threatening conditions.

9.	If the victim is conscious, ask questions to get more information.

10.	Look for any containers and take them with you to the telephone.

Care for Insect Bites and Stings

Serious collapse can occur within just five minutes; be prepared.

1.	Check health records to determine if individual is allergic or sensitive.

2.	Remove stinger by scraping it away with your fingernail or a credit card or use tweezers.

3.	Wash the site with soap and water.

4.	Cover to keep clean.

5.	Apply a cold pack to the area.

- If allergic symptoms develop, call 911 and guardian.

Care for Food Poisoning, Reactions, or Allergies

Food reactions and allergies usually occur within one hour of eating, and the most common reactions will be respiratory difficulty or hives.

1.	Notify guardian and recommend immediate medical attention.

2.	If unable to reach guardian, contact family physician.

3.	If severe allergic reaction, call 911—this could be a life-threatening situation.

Care for Poison Ivy or Poison Oak

1.	After immediate contact, wash area gently with soap and water.

2.	If weeping or broken skin areas are present, call guardian and advise medical care.

Recognizing Lyme’s Disease

Lyme’s disease is commonly carried by the deer tick, and the risk of contracting the disease is greatest between May and late August. Signs of an infection may appear a few days or weeks after a tick bite. It starts as a rash at the small red area at the site of the bite. It may spread up to 7 inches across. Sometimes the appearance may be like a bulls-eye.  In dark-skinned people, the area may look black and blue like a bruise. Other signs include fever, headache, weakness, and joint and muscle pain similar to the pain of flu. In advanced stages, it may cause arthritis, numbness, memory loss, problems in seeing or hearing, high fever and stiff neck.

Care for Ticks

1.	Do not try to burn off a tick or remove it by applying Vaseline or nail polish.

2.	Do not prick it with a pin.

Shock

Detection

Signs of shock include:

1.	Restlessness or irritability;

2.	Altered consciousness;

3.	Pale, cool moist skin;

4.	Rapid breathing;

5.	Rapid pulse;

6.	Low and falling blood pressure; and

7.	Dilated pupils.

Care

1.	Treat any severely injured person for shock.

2.	Call 911.

3.	Have the victim lie down; this may help minimize pain.

4.	Control any external bleeding.

5.	Help victim maintain normal body temperature.

6.	Try to reassure the victim.

7.	Elevate legs about 12 inches unless you suspect head, neck, or back injuries, or possible broken bones involving hip or legs. If you are unsure, leave victim lying flat.

8.	Do not give victim anything to eat or drink.

Slivers

Care

1.	Do not attempt to remove if deeply embedded; refer to physician.

2.	Treat as a puncture wound.

3.	Wash area with soap and water.

4.	Remove sliver if near the surface of the skin.

5.	Notify guardian if necessary.

Sudden Illnesses

Detection

Although there are many types of sudden illnesses, they often have similar signals.  Some of these signs include:

1.	Feeling light-headed, dizzy, confused, or weak;

2.	Changes in skin color (pale or flushed skin) and sweating;

3.	Nausea or vomiting; and

4.	Diarrhea.

Some sudden illnesses may also include:

1.	Changes in consciousness,

2.	Seizure,

3.	Paralysis or inability to move,

4.	Slurred speech,

5.	Difficulty seeing,

6.	Severe headache,

7.	Breathing difficulty, and

8.	Persistent pressure or pain.

Care

1.	Help the victim rest comfortably.

2.	Keep victim from getting chilled or overheated.

3.	Reassure the victim.

4.	Watch for changes in consciousness and breathing.

5.	Do not give anything to eat or drink unless victim is fully conscious.

6.	Obtain history of illness (what, when, and where).

7.	Take temperature. If the temperature is 100º F or more, make arrangements for the victim to get home or to a medical facility.

NOTE:  Maximum stay in the health office is one hour unless home contact cannot be made, and no child shall be sent home to be alone unless the legal guardian assumes full responsibility.

Care for Vomiting

1.	Place the victim on his/her side and isolate person.

2.	Exclude them from school.

3.	Advise medical care if symptoms persist.

Care for Fainting

1.	Position him/her on the back and elevate the legs 8 to 10 inches if you do not suspect a head or back injury.

2.	Loosen clothing, provide fresh air, and keep person quiet.

3.	Be prepared for vomiting; turn head to the side.

4.	If the person does not feel better within the hour, call guardian.

NOTE:  If a person feels faint, have him/her sit and lower head between the knees.

Care for a Diabetic Emergency

Every person with diabetes should be known to nurse, or health service aid, and teacher so that emergency treatment can be carried out.

1.	Check health service for specific treatment of individual.

2.	Give the victim some form of sugar i.e., two large sugar cubes, half a cup of fruit juice, or half a can of pop (NOT diet).

3.	The person should improve within 10 minutes; give the person additional food and allow them to resume normal activities.

4.	Notify guardian after any insulin reaction.

5.	If person does not improve, call guardian or physician.

6.	Call 911 if person is losing consciousness or convulsing.

Care for a Seizure

1.	Do not hold or restrain the person or place anything between the victim’s teeth.

2.	Remove any nearby objects that might cause injury.

3.	Cushion the victim’s head using folded clothing or a small pillow.

4.	Remove glasses and loosen any tight clothing.

5.	Call 911 if:

a.  The person does not start breathing after the seizure; begin rescue breathing or CPR (if trained);

b.  The person has repeated seizures; or

c.  The person is injured during the seizure.

6.	After the seizure:

a.  Turn the person to one side to allow saliva to drain from mouth;

b.  Permit person to rest or sleep in health office if drowsy; and

c.  Notify guardian of each seizure and advise medical care when indicated.

Tooth Problems

Care for Toothache

1.	Rinse mouth with warm water.

2.	Notify guardian and advise dental care.

Care for an Abscess

1.	Notify guardian and advise dental care.

Care for a Chip or Fracture

1.	Save chipped part of tooth and put in water in small container.

2.	Notify guardian and advise dental care; send portion of tooth with person.

Throat Problems

Care for a Sore Throat

1.	Take temperature.

2.	Notify guardian and exclude from school if temperature is elevated.

3.	Advise medical care if sore throat persists.

Unconsciousness

Causes

Unconsciousness can be the result of asphyxia, deep shock, poisoning, head injury, heat stroke, heart attack, stroke, epilepsy, and chemical intoxication.

Care for Unconsciousness

1.	If breathing and pulse are present, treat for shock and call 911.

2.	If breathing and/or pulse are absent, proceed with either rescue breathing or CPR (if trained).

- CPR requires special training. If you have not had this training, immediately seek the assistance of someone who has been trained.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

HAZARDOUS WASTE MANAGEMENT

Introduction

This document serves as a guide to the Hazardous Waste Management Program for Hutchinson Public Schools.  It combines rules, regulations and guidelines set forth by a number of state and federal regulatory agencies and will be used to ensure that hazardous waste produced by Hutchinson Public Schools is handled, stored and disposed of properly.  Our program manager for hazardous waste is «Hazardous_Waste».

Regulatory Overview

The Resource Conservation Recovery Act (RCRA) laws were enacted to monitor and regulate the generation and disposal of hazardous, non-hazardous (solid), and medical wastes, and to develop underground storage tank standards. Nationally, the Environmental Protection Agency (EPA) is authorized by RCRA to regulate activities relating to waste management, develop waste minimization policies, and enforce underground storage tank standards.

In Minnesota, the Minnesota Pollution Control Agency (MPCA) has received authorization from the EPA to enforce the state’s hazardous, non-hazardous, medical waste management, and underground storage tank laws. The MPCA, in turn, has authorized each county in the seven-county metropolitan (Minneapolis-St. Paul) area to license hazardous waste generators. All hazardous waste generators must be licensed regardless of the quantity produced. Minnesota regulations include all the EPA regulations plus additional limitations, restrictions, and requirements.

References

40 Code of Federal Regulations (CFR) 260 to 270

MR Chapter 7045

MR Chapter 7046

Definitions

(F—Degrees Fahrenheit

EPA—Environmental Protection Agency

Generator—A person or organization that produces hazardous waste. Information concerning the determination of generator status can be found in “Generator Size” below.

MNDOT—Minnesota Department of Transportation

MPCA—Minnesota Pollution Control Agency

NPDES—National Pollution Discharge Elimination System

POTW—Publicly Owned Treatment Works

RCRA Solid Waste—Any unwanted material that is not discharged through exhaust stacks to the atmosphere or municipal sewer. NOTE: Intentionally discharging hazardous wastes to the atmosphere or sewer does not change the material’s hazardous classification and is illegal.

RCRA Hazardous Waste—Any material that poses a threat to human health or the environment. Waste materials are hazardous if they can be placed into one of the categories listed in “Waste Evaluation” below.

RCRA Acutely Hazardous Waste—Hazardous materials that are listed in regulations under 40 CFR 261.33(e).

TCLP—Toxic Characteristic Leaching Procedure; determines the quantity of hazardous material that is leachable.

TDSF—Treatment, Disposal, and Storage Facility

Waste—Unwanted material. Non-hazardous waste typically includes garbage, refuse, etc. The generator of the waste is responsible for determining if waste components are hazardous or non-hazardous. Methods for determining if the waste is hazardous are located in the “Hazardous Waste Classification” section of this program.

Hazardous Waste Compliance Overview

In general, a waste is a hazardous waste if it exhibits one or more of the following characteristics:

1.	Ignitability (flash point less than 140º F);

2.	Oxidizer (adds oxygen to a fire or chemical reaction);

3.	Corrosive (pH equal to or less than 2.5 or a pH equal to or greater than 12.5);

4.	Reactive (unstable or explosive);

5.	Lethal (materials which cause death in low concentrations);

6.	Toxic (materials which release toxic substances);

7.	Listed (substances listed by name in MR 7045.0135);

8.	PCBs (materials containing more than 50 ppm PCB);

9.	Waste oil that is not recycled; or

10.	Fluorescent and HID lamps not recyclable.

Procedure

- Evaluate all waste streams from the facility.

- If waste is hazardous, determine the amount of hazardous waste produced per month.

- Obtain an EPA Identification Number.

- Obtain a MPCA license or county license if located in the seven-county metro area.

- Place hazardous waste in an approved container and properly label.

- Accumulate and store waste properly.

- When ready for shipment off-site, prepare a shipping manifest.

- Assure that the hazardous waste is transported and disposed of properly.

- Develop and implement an emergency action plan.

- Train personnel on how to handle hazardous waste properly.

- Maintain all records relating to the hazardous waste for the minimum required time. The MPCA recommends that these records be maintained for the life of the business.

Waste Evaluation

In order to determine if any hazardous waste is produced, all wastes will need to be inventoried and then evaluated for certain characteristics that make it hazardous.  Examples of wastes that may be produced by a facility and should be evaluated include:

1.	Solid wastes -- wastes not discharged through exhaust stacks or sewered;

2.	Wastes that are discharged to the sewer;

3.	Byproducts from a manufacturing process;

4.	Products that do not meet quality control specifications and are discarded;

5.	Materials that are discharged through an exhaust stack; and

6.	Materials that are recycled such as degreasing or cleaning solvents recycled by another school;

Information needed to evaluate a waste can be obtained from the following sources:

1.	A list or formula for the raw materials that went into the material to be discarded;

2.	Material Safety Data Sheets (MSDSs) listing the hazardous ingredients contained in a product;

3.	Knowledge and published information of the processes and materials that make up the waste material;

4.	Lab analysis (a waste material may need to be analyzed by a laboratory to determine if it exhibits one or more of the characteristics of a hazardous waste; the lab must be familiar with EPA testing and sampling methods); or

5.	Hazardous Waste Rules (the material or processed waste may be listed in the hazardous waste rules as a hazardous waste).

Exemptions

Certain wastes are exempted from the hazardous waste rules. Therefore, the first step in evaluating a waste should be to determine if a particular waste is exempt. The following list gives most of the wastes that are exempted from the hazardous waste rules:

1.	Normal household refuse;

2.	Approved sewer discharges to a POTW;

3.	Waste discharged under a NPDES permit;

4.	Non-household refuse such as cardboard, paper, untreated wood, and plastic (many of these materials can and should be recycled);

5.	Recycled used oil not contaminated with a listed hazardous waste;

6.	Most demolition debris;

7.	All emissions permitted by the MPCA;

8.	Fly ash and related wastes from the burning of fossil fuels;

9.	Mining overburden and certain ore processing wastes;

10.	Samples of hazardous waste collected and transported to a laboratory for analysis;

11.	Certain wastes containing chromium III;

12.	Hazardous waste generated in storage tanks, transport vehicles, and pipelines while the waste remains in the vessel; and

13.	Residues in empty containers and empty inner liners per MR 7045.0127 (see next section).

For additional details on wastes that are exempted from the hazardous waste rules, see MR 7045.0120. If the waste that is being evaluated is not exempt, then proceed to evaluate the waste for any hazardous characteristics.

Residues in Empty Containers and Empty Inner Liners (MR 7045.0127)

Hazardous wastes remaining in an empty container or empty container liner are exempt from MR parts 7045.102 to 7045.1030 and 7045.1300 to 7045.1380 if the following conditions have been met.

Hazardous Waste Containers

1.	All waste that can be removed has been removed;

2.	No more than 2.5 centimeters (one inch) of residue remains;

3.	If the container size is less than or equal to 110 gallons, no more than 3% by weight of the total capacity remains; and

4.	If the container size is more than 110 gallons, no more than 0.3 % by weight of the total capacity remains.

Acutely Hazardous Waste Containers

1.	The container or liner has been triple rinsed using an appropriate solvent;

2.	The container or liner has been cleaned by another method shown to be effective in scientific literature or through testing; and

3.	For a container, only when a liner protected the interior of the container from contact with the acutely hazardous waste, and the liner has been removed.

Empty Compressed Gas Cylinders

1.	The pressure in the cylinder is approaching atmospheric pressure.

Listed Wastes

A waste is a hazardous waste if it is listed under MR 7045.0135 Subparts 2 through 5.

F-listed wastes (subpart 2)

These are wastes that are listed by name from nonspecific sources.

K-listed wastes (subpart 3)

These are wastes from specific sources such as wastewater treatment sludge from wood preserving processes using creosote and/or pentachlorophenol.

P-listed wastes (subpart 4)

This list includes chemicals that are discarded chemical products, off-spec products, spill residues, and materials remaining in containers.

U-listed wastes [subpart 4(F)]

This list includes hazardous wastes from commercial chemical products that are listed alphabetically by chemical name.

PCB wastes (subpart 5)

Wastes containing PCBs at a concentration of 50 ppm or higher are hazardous wastes.

Ignitable Wastes (MR 7045.131 subpart 2)

A waste is an ignitable hazardous waste if a representative sample has any of the following properties:

1.	Is a liquid having a flash point of less than 140º F as determined by a Pensky-Martens or Setaflash closed cup tester;

2.	Is not a liquid but will burn vigorously when ignited or subject to moisture, friction, or spontaneous chemical changes;

3.	Is an ignitable compressed gas as defined by 49 CFR 173.300; or

4.	Has an ignitable hazardous waste number of D001.

Oxidizers (MR 7045.131 subpart 3)

A waste is an oxidizing hazardous waste if it exhibits the following properties:

1.	Is an oxidizer as defined by 49 CFR 173.151;

2.	Supplies oxygen to a reaction in the absence of air (a partial list of oxidizers includes chlorates, nitrates, peroxides, chromic acid, nitric acid, and nitric oxide); or

- Has an oxidizing hazardous waste number of D001.

Corrosive Wastes (MR 7045.131 subpart 4)

A waste is a corrosive hazardous waste if a representative sample has any of the following properties:

1.	Is an aqueous solution which has a pH less than or equal to 2.0 or a pH greater than or equal to 12.5;

2.	Is a liquid which will corrode steel at a rate greater than 0.25 inches per year at a temperature of 130º F; or

3.	Has a corrosive hazardous waste number of D002.

Reactive Wastes (MR 7045.131 subpart 5)

A waste is a reactive hazardous waste if a representative sample has any of the following properties:

1.	Is normally unstable and readily undergoes a violent change without detonation;

2.	Reacts violently with water;

3.	Forms potentially explosive mixtures with water;

4.	Is capable of detonation or explosive reaction when subject to a strong initiating source or if heated under confinement;

5.	Is capable of detonation or explosive reaction under standard temperature and pressure;

6.	Is an explosive listed in 49 CFR 173.51, 173.53, or 173.88;

7.	Contains cyanides or sulfides capable of generating toxic gases, vapors, or fumes; or

- Has a reactive hazardous waste number of D003.

Lethal Wastes (MR 7045.131 subpart 6)

A waste is a lethal hazardous waste if a representative sample causes death to half of the test animals exposed to the following amounts:

1.	Ingestion—a dose of less than 500 milligrams of material per kilogram of body weight);

2.	Skin absorption—a dose of less than 1,000 milligrams of material (applied to the skin) per kilogram of body weight; or

3.	Inhalation—a concentration of less than 2,000 milligrams of material per cubic meter of air for dusts or mists (a concentration of less than 1,000 milligrams of material per cubic meter of air for gases or vapors).

A waste is also classified as a lethal hazardous waste if its lethal hazardous waste number is MN01.

Toxic Wastes (MR 7045.131 subpart 7)

A waste is toxic hazardous waste if it releases (leachable) toxic metals, pesticides, or volatile organic chemicals above specified limits as determined by test methods described in 40 CFR 261 appendix II (TCLP) or alternate methods approved by the MPCA.

If the waste material contains any of the contaminants in the TCLP List, the waste is a hazardous waste if:

1.	TCLP test methods show that the waste can release the contaminant at concentrations equal to or greater than the corresponding concentration listed in the table;

2.	The contaminate makes up a major portion of the waste; or

3.	100% of the contaminate is assumed to be released and calculations show that the concentration is equal to or exceeds the corresponding listed concentration.

Used Oil

Used oil is exempt from hazardous waste regulations if it does not contain a listed hazardous waste and if it is recycled or reclaimed in an approved manner.

Used oil filters must be recycled or disposed of as hazardous waste.

Lead-acid Batteries

Used lead-acid batteries are banned from deposit into sanitary landfills and must be recycled. Retailers and wholesalers are required to exchange lead-acid batteries.

Polychlorinated Biphenyls (PCBs)

A waste material containing PCBs at a concentration greater than 50 ppm is a hazardous waste.

Fluorescent and High-intensity Discharge (HID) Lamps

Fluorescent and HID lamps contain small amounts of mercury, lead, and cadmium.  Therefore, these lamps must be recycled or disposed of as hazardous waste.

Generator Size (MR 7045.0206)

All hazardous waste generators must determine how much hazardous waste is produced per month. This is usually done by totaling the amount of hazardous waste produced for the year and then dividing by 12. The following wastes should not be used when determining generator size:

1.	Exempted waste;

2.	Recycled waste such as lead-acid batteries and fluorescent lights;

3.	Properly managed used oil;

4.	Properly treated, sewered hazardous waste;

5.	Non-hazardous mixture of hazardous and non-hazardous wastes (as long as the hazardous portion of the waste is counted); and

6.	Spent materials that are reclaimed or reused on site that have been counted once already.

Large Quantity Generator (LQG)

A LQG:

- Produces more than 100 kilograms (220 lbs.) and less than 1,000 kilograms (2,200 lbs.) of hazardous waste per month; and/or

2.	Produces less than 1 kilogram (2.2 lbs.) of acutely hazardous waste per month; or

3.	Generates less than 100 kilograms (220 lbs.) of soil, water, debris, or residue contaminated with an acutely hazardous waste.

Very Small Quantity Generator (VSQG)

1.	Produces less than 100 kilograms (220 lbs.) of hazardous waste per month; and/or

2.	Produces less than 1 kilogram (2.2 lbs.) of acutely hazardous waste per month; or

3.	Generates less than 100 kilograms (220 lbs.) of soil, water, debris, or residue contaminated with an acutely hazardous waste.

Hazardous waste quantity determinations must include the amount of acutely hazardous waste generated.

Generator Requirements

The amount of hazardous waste generated by a facility determines the level of regulation that pertains to the generator. For example, a LQG is required to develop and implement a hazardous waste training program whereas a VSQG is not required to have a training program. However, employees of VSQGs should be familiar with safe hazardous waste handling procedures and spill response.

General Requirements

All generators are required to comply with certain hazardous waste regulations. These requirements are listed as follows:

Generator Identification Number (MR 7045.0221)

All generators must obtain an identification number from the U.S. Environmental Protection Agency. The completed form should be mailed to:

U.S. EPA, Region 5

RCRA Activities

P.O. Box A-3587

Chicago, IL 60604

Generator License (MR 7045.0225)

All generators of hazardous waste must be licensed regardless of the quantity produced.  Since the license is only good for one year, it must be renewed annually.

Generators located within the Twin Cities seven-county metro area should obtain the license from their respective county hazardous waste staff. Besides licensing, these county staffs also monitor and regulate hazardous waste generation.

The telephone numbers for the seven-county hazardous waste staffs are provided below:

Anoka County	422-7064

Carver County	361-1800

Dakota County	891-7020

Hennepin County	348-4919

Ramsey County	292-7898

Scott County	496-8177

Washington County	430-6655

Generators located in Greater Minnesota (outside the seven-county metro area) must obtain their license from the MPCA.  To apply for a license, call the MPCA at (612) 296-6300 or (800) 657-3864.

Hazardous Waste Containers (MR 7045.0626)

Hazardous wastes must be placed in appropriate containers. The containers must meet the following requirements:

1.	Meet DOT specifications for materials and construction;

2.	Be constructed of materials that are compatible with waste;

3.	Be in good condition (not rusted or damaged);

4.	Be constructed so that they are leak-proof and able to withstand shock without impairing the ability to remain leak-proof;

5.	Capable of containing wastes in the event the container is dropped or overturned;

6.	Be closed and secure except when adding or removing hazardous waste; and

7.	Be inspected at least weekly to check for leakage and the condition of the containers (the inspections must be documented on a weekly inspection form).

Container Marking and Labeling

- Containers must be labeled when hazardous waste is first placed into the container. The label must display the following information:

      - “Hazardous Waste”

      - Description of the waste that clearly identifies the contents to employees and emergency

      - Accumulation start date

- Containers must be documented on a weekly inspection form.

- Prior to shipping the hazardous waste, the Department of Transportation (DOT) and MPCA require the following labels to be placed on the side of the container:

- Hazard Labels—DOT labels (4” x 4”) that display the particular hazard (flammable, corrosive, etc.) associated with the hazardous waste

- DOT Shipping Name—identifies the contents of the containers to DOT (an example of a DOT name would be “Waste Flammable Liquid, NOS”)

- DOT I.D. Number—indicates what material is in the container so appropriate actions can be taken in case of an accident. The number contains 4 digits with a prefix of either NA for North American shipments of UN for international shipments. For example, a shipment of petroleum distillates remaining in the U.S. would display the number “NA 1255.”

- NOTE: For additional information, see table in 49 CFR 172.101.

      - Hazardous Waste Label—could be used when the hazardous waste is first placed into the container to reduce the duplication of labeling work. The label has blanks for the DOT name and I.D. number, generator’s name and address, EPA I.D. and manifest numbers, and accumulation start date.

- All markings and labels must be legible. To protect labels from spills during filling, the MPCA recommends that the labels not be placed directly below the bung or fill point.

Transport Vehicle Placards

The generator is responsible for supplying or assuring that the transporter’s vehicle displays the proper DOT hazard placard. For additional information on DOT labels and placards, contact MNDOT at (612) 296-7109.

Hazardous Waste Storage Area

Hazardous wastes must be stored in designated areas. These storage areas must be designed according to EPA, MPCA, county, and municipal requirements. The EPA and MPCA requirements are listed as follows:

- Storage areas with containers holding free liquids must have provisions for containment of spills or leaks.

1.	The base or floor of the storage area must be impervious to leaks or spills.

2.	The base or floor of the storage area must be sloped or curbed to contain at least 10 percent of the area’s storage capacity or the volume of the largest container, whichever is larger.

- Storage areas must be inspected weekly to check for leakage and the condition of containers. The inspections must be documented on a weekly inspection form.

- Incompatibles, such as an oxidizer and a flammable, must not be stored together. These materials must be separated by a distance of 20 feet or with a barrier such as a dike, berm, or wall within the storage area.

- Containers in the storage area must be arranged to allow for easy access and inspection. Containers should be arranged so that labels and markings are readable.

- Aisle space in storage areas must allow unobstructed movement of personnel and equipment.

- Outside storage areas have the following additional requirements:

1.	Must be protected from vandalism, unauthorized entry, and damage from vehicles and other equipment.

2.	Ignitable wastes must be protected from direct sunlight.

3.	Wastes affected by sunlight or moisture must have an overhead covering.

Hazardous Waste Storage Time

The length of time a generator may store hazardous waste is dependent upon the generator’s size as determined by “Generator Size” above. The storage time limitations are provided below:

VSQGs

- VSQGs may accumulate up to 1,000 kilograms (2,200 lbs.) of hazardous waste.

- The date the container is filled must be written on the container.

- Hazardous waste must be shipped within 180 days of the date when 1,000 kilograms has been accumulated. If the TSDF is located more than 200 miles from the generation site, an additional 90 days is allowed.

SQGs

- SQGs may accumulate up to 3,000 kilograms (6,600 lbs.) of hazardous waste.

- The date (accumulation start date) when hazardous waste is first placed into the container must be written on the container.

- Hazardous waste must be shipped within 180 days of the accumulation start date. An additional 90 days is allowed if the TSDF is located more than 200 miles from the generation site.

LQGs

- No limitation is placed on the amount of hazardous waste that may accumulate.

- The date (accumulation start date) when hazardous waste is first placed into the container must be written on the container.

- Hazardous waste must be shipped within 90 days of the accumulation start date.

Satellite Accumulation

Under certain conditions, a generator may completely fill a container with waste before the storage time limit “start date” begins. The conditions under which satellite accumulation is allowed are:

1.	Hazardous waste collection container is located at or near the point of generation;

2.	The floor on which the satellite accumulation container is located must be impervious to the waste;

3.	Maximum quantity of satellite accumulation cannot exceed 55 gallons of hazardous waste or one quart of acutely hazardous waste;

4.	Container is marked with fill date after it is full;

5.	Container must meet same requirements as for non-satellite accumulation containers;

6.	Container is moved to storage area within 3 days after it is filled; and

7.	Container is inspected by the person or persons operating the process.

Exceeding Accumulation Limits

Exceeding accumulation time and quantity limitations will result in losing current status and require licensing at a higher (more restrictive) level.

Transportation and Disposal of Hazardous Waste

Transporting Hazardous Waste

The hazardous waste transporter does not assume ownership of the hazardous waste when it is loaded for shipment. The generator is responsible to make sure the hazardous waste is transported and disposed of properly. To ensure that the waste is handled properly, the generator must choose a transporter that fulfills the requirements listed as follows:

- Licensed by the Department of Transportation,

- Has an EPA I.D. number,

- Registered to haul hazardous waste in the destination state,

- Carries a minimum of $1,000,000 liability insurance,

- Carries a minimum of $5,000,000 liability insurance if transporting over 3,500 gallons of bulk hazardous waste,

- Drivers are trained in emergency response and carry spill clean-up kits on each trip,

- Has a written contingency plan, and

- Displays appropriate decals or placards.

VSQGs

A VSQG may transport its own hazardous waste to a collection site (MR 7045.0320). The collection site must be licensed by the MPCA and the generator must comply with the following requirements:

- Use appropriate containers and label properly,

- Separate incompatible waste and secure waste adequately in vehicle,

- Transport the waste in a business vehicle,

- Transport only the waste produced by the business,

- Use a regular shipping paper, and

- Other requirements per MPCA fact sheet 1.25.

Treatment, Storage, or Disposal Facilities (TSDF)

The generator of the hazardous waste must ensure that the waste is delivered to a TSDF that meets the following requirements:

- Has an EPA I.D. number,

- Permitted as a TSDF in its state of operation,

- Carries $5,000,000 liability insurance,

- Trains employees in waste handling and emergency response procedures,

- Has an emergency response contingency plan, and

- Properly manages hazardous waste.

The generator should contact the TSDF to ensure that the waste was received and treated and/or disposed of properly.

In addition, the generator should check with regulatory agencies in the TSDF’s state for fines or citations against the TSDF. Information about a Minnesota TSDF can be obtained from the MPCA.

Shipment Manifest

A school or generator who transports or offers for transportation hazardous waste for off-site treatment, storage, or disposal must prepare manifest before transporting the waste off-site. This requirement also includes hazardous waste shipped for recycling or reclamation. The manifest is a shipping form that must be filled out for all off-site shipments of hazardous waste. This document originates with the generator and must accompany the hazardous waste en route to its final destination. The manifest form can be obtained from the state, transportation school, or the TSDF.

The manifest is a one-page form with several carbon copies. Each party handling the waste must sign and keep a copy of the manifest form. The manifest provides a way of “tracking” the waste and ensures that the waste is handled properly. Requirements for preparing a manifest are listed below:

1.  Minnesota generators who ship hazardous waste to another location in Minnesota or a state without its own manifest must use Minnesota’s manifest (MPCA Form PQ-00371-04).

2.  Minnesota generators who ship hazardous waste to a TSDF in a state with its own manifest form must use that state’s manifest.

The Minnesota manifest has 8 copies. These copies are to be distributed as follows:

--	Copies 1-5 are given to the transporter.

--	Copy 6 is sent to the state where the TSDF is located if not in Minnesota.

--	Copy 7 is sent to the MPCA within 5 days of shipment.

--	Copy 8 is retained by the generator.

--	Copy 3 is returned to the generator by the TSDF.

If the generator does not receive a copy back from the TSDF within 35 days, check with the TSDF to check on status of the shipment. If the copy is not received within 45 days, notify the MPCA in writing that the TSDF copy has not been received and what efforts have been made in resolving the issue.

Manifests from Other States

When a generator in Minnesota uses another state’s manifest, the generator must provide the MPCA photocopies of the following manifest copies:

1.  Two-signature (generator and transporter) manifest copy.

2.  Three-signature (generator, transporter and TSDF) manifest copy.

Emergency Planning and Response

The extent to which a generator must comply with emergency planning and response requirements depends upon the generator’s size.

LQGs

Large quantity generators are required to have a written Contingency Plan, formal Emergency Response Plan, and a designated Emergency Response Coordinator. These plans must contain the following elements:

- Name, address, and telephone number of Emergency Response Coordinator.

- Telephone numbers of agencies that provide emergency services.

- Arrangements with local emergency response agencies such as fire and police departments, local hospital, and hazmat teams.

- A list of hazardous wastes, amount generated, and quantity stored. The plan should also include a list of other hazardous materials.

- Site plan showing hazardous waste storage areas.

6.	Fire protection and spill containment equipment list and locations.

7.	Procedures detailing responses to emergency situations.

8.	Notification to local authorities such as fire and police departments and hospitals regarding the type of wastes that are being stored.

9.	An Evacuation Plan must be included in the Contingency Plan. Evacuation Plan requirements are discussed in the “Employee Emergency and Fire Prevention Plan” model.

10.	A description of preventative measures such as inspections, training, and emergency response equipment must be included in the Plan.

11.	Other requirements:

--	A copy of the Contingency Plan must be sent to fire and police departments, local hospital, hazmat team, and MPCA.

--	The Emergency Response Coordinator must notify the National Response Center, MPCA, and local authorities when the plan has been implemented.

--	A copy of the plan must be located on-site for review by personnel at any time.

--	The Contingency Plan must be updated when the rules change, the plan fails in an emergency, the Emergency Coordinator changes, the emergency equipment changes, or the facility’s construction, design, operation, or maintenance changes.

--	The name and telephone number of the Emergency Coordinator, other emergency numbers, and the location of emergency response equipment must be posted by the telephone located near the hazardous waste storage area.

--	The Emergency Response Coordinator must notify the National Response Center (800) 424-8802, Minnesota Duty Officer (612) 649-5451, and local authorities in the event a spill threatens human health or the environment.

SQGs

Small quantity generators are required to have a formal Emergency Response Plan and an Emergency Response Coordinator. The emergency response plan must include the following information:

1.	Instructions on how to reach the Emergency Response Coordinator.

- Telephone numbers of agencies that provide emergency services.

- Documentation that affected employees are thoroughly familiar with proper waste handling and emergency procedures.

4.	Emergency response and spill procedures.

5.	Notification of the National Response Center (800) 424-8802, Minnesota Duty Officer (612) 649-5451, and local authorities in the event a spill threatens human health or the environment.

The following information must be posted next to the telephone on the premises:

- Name and telephone number of emergency coordinator.

- Telephone number of fire department or other outside emergency response agencies.

3.	Location of fire extinguishers and spill control material.

VSQGs

Very small quantity generators must comply with the following emergency response requirements.

1.	Internal communications or alarm system capable of alerting personnel.

2.	Telephone or 2-way radio capable of contacting outside emergency agencies such as the fire department.

3.	Fire extinguishers, spill control equipment, decontamination equipment, etc., as needed.

4.	Adequate water volume and pressure to supply fire hoses, sprinklers, etc.

5.	Notification of the National Response Center (800) 424-8802, Minnesota Duty Officer (612) 649-5451, and local authorities in the event a spill threatens human health or the environment.

Very small quantity generators are not required to have an Emergency Response Plan or Emergency Response Coordinator. However, personnel working with hazardous waste should know the proper handling techniques, what personal protection is needed, and the proper response to a spill or other emergency. Telephone numbers of emergency response agencies must be posted.

Contingency Plans

VSQGs are not required to have a designated Emergency Response Coordinator or a formal contingency plan, but are required to have the necessary emergency response equipment, comply with hazardous waste storage requirements, develop accident prevention procedures, and notify local authorities of hazardous waste activities.

Contingency plans are written documents that describe how a facility will respond to an emergency situation. These plans must contain procedures and step-by-step instructions that are designed to protect human health and the environment in the event of an explosion, fire, natural disaster, or spill which may result in releasing hazardous materials and/or waste to the environment.

Contingency plans and Emergency Response Plans are closely related. However, contingency plans address the issues and concerns surrounding hazardous materials or wastes. A contingency plan must contain the following minimum information:

--	Instructions to follow in the event an emergency situation involves a hazardous material or waste

--	A listing of hazardous materials and wastes and the potential hazards associated with these materials

--	Arrangements with emergency response agencies

--	Name and telephone numbers of the Emergency Response Coordinator

--	Names and telephone numbers of the members of the emergency response team, if applicable

--	A list and location of emergency and spill response equipment

--	Evacuation plan including methods of notification and escape routes

--	Emergency phone numbers and emergency response equipment list and locations must be posted by a telephone(s) that will be used in the event of an emergency

Contingency plans must be submitted to:

- MPCA

- Local fire department

- Local police department

- Local hospital

- Local emergency response teams

Once the contingency plan has been implemented, the Emergency Coordinator must notify the National Response Center, MPCA, and the local authorities listed above.

Hazardous Waste Personnel Training

Training requirements for employees handling hazardous waste vary according to generator size. LQGs’ training requirements are much more comprehensive than the requirements for SQGs and VSQGs.

Training must be documented and the training records kept for five years.

NOTE:  Hazardous waste training can be combined with OSHA’s Right-To-Know training if the requirements of MR 7045.0558 are met.

Large Quantity Generators

- LQGs must have a designated hazardous waste training coordinator.

- Training must be designed for the particular site and waste streams.

- Personnel must be trained in the procedures applicable to tasks they perform or according to job description.

- Personnel handling hazardous wastes and personnel working in areas where hazardous waste is present must be trained in the pertinent emergency responses outlined in the Contingency Plan.

- Hazardous waste training must be done annually and within 6 months of initial job assignment involving hazardous waste.

- LQGs must document training and maintain records for five years.

- Small Quantity Generators

- SQGs must ensure that all personnel involved in handling waste are thoroughly familiar with handling the waste properly and the emergency procedures relevant to their responsibilities.

- SQGs must document training and maintain records for five years.

- Very Small Quantity Generators

- No training is required but is strongly recommended for those who handle hazardous waste. These personnel should know the following:

- Hazards associated with the waste

- How to safely handle the waste

- How to protect themselves in the event of a spill

- If assigned, how to clean up spills

Record Keeping

Hazardous waste generators must maintain the records listed below for a minimum of three years. However, since the liability associated with the hazardous waste never ceases, the generator should maintain the following records for an indefinite period of time:

- Manifests

- Manifest exception reports

- Licenses

- Disclosures

- Hazardous waste test and analytical reports

- Training documents

- Annual reports

- Biennial reports

- Inspection logs

- Material Safety Data Sheets

- All correspondence relating to the hazardous waste

Land Disposal Rules

All hazardous wastes destined for land disposal must be pretreated so that any toxins present in the waste are destroyed or degraded. All generators, transporters, and TSDFs who want to dispose of hazardous waste on or in the land must comply with MR 7045.1300.

Exceptions

Small Quantity Generators

Small quantity generators are required to prepare and submit the same paperwork as the large quantity generators. However, SQGs may use an alternate manifest system as specified in MR 7045.0075 subpart 5.

Very Small Quantity Generators

Very small quantity generators may use an alternate manifest system as specified in MR 7045.0075. Also, a VSQG may transport hazardous waste without a manifest if transportation is in the generator’s vehicle and if the waste is transported to a very small quantity waste collection program under MR 7045.0320.

Annual Reports

All generators must renew their hazardous waste license each year. When the license application is prepared, generators must report on their hazardous waste activities for the past year.

Other Requirements

Fees

The MPCA requires generators to pay annual fees to recover the costs associated with administering the hazardous waste program. The fees are based on the generator’s size, the volume of hazardous waste, and the method of waste management.

Miscellaneous

- The generator must possess adequate financial resources to ensure that the hazardous waste will be managed properly.

- Hazardous spills and releases must be reported to the Minnesota Duty Officer system at 649-5451.

- Recover any hazardous waste that has spilled or leaked as soon as possible. Take any other action necessary to protect human health and the environment.

- Develop waste minimization programs.

Forms

In addition to the forms mentioned previously in this regulation, the Hazardous Waste Emergency Response and Contingency Plan consists of the following six forms which must also be completed and kept on file to maintain compliance with this regulation:

1.	Emergency Contacts List

2.	Hazardous Wastes Generated On-Site

3.	Site Plan

4.	Emergency Response Procedures

5.	Hazardous Waste Generator - Local Authority Notification

6.	Required Emergency Equipment

| PLAN REVIEW |
| --- |
| Reviewer | Date |

HEARING CONSERVATION

General Plan

Purpose

Conservation of hearing is an important preventative measure at Hutchinson Public Schools. To reduce occupational hearing loss, all employees, who work in potentially noisy areas, are provided hearing protection, training and annual hearing tests. OSHA's hearing conservation standard is covered in 29 CFR 1910.95.

Responsibilities

Management

Use Engineering and Administrative controls to limit employee exposure

Provide adequate hearing protection for employees

Post signs and warnings for all high noise areas

Conduct noise surveys annually or when new equipment is added

Conduct annual hearing tests for all employees

Conduct hearing conservation training for all new employees

Conduct annual hearing conservation training for all employees

Employees

Use school provided, approved hearing protection in designated high noise areas

Request new hearing protection when needed

Exercise proper care of issues hearing protection

Training

At time of hire and annually thereafter, all affected Employees must attend Hearing Conservation Training. The initial training is conducted as part of the New Hire Orientation Program by the Human Resource Department and consists of:

1. Rules and procedures

2. Where hearing protection is required

3. How to use and care for hearing protectors

4. How noise affects hearing and hearing loss

Engineering Controls

After it is determined that noise exposure above 85 dB(A) are present, engineering controls should be evaluated and implemented to reduce the noise exposure before administrative controls are initiated. Some examples of engineering controls include:

1. Noise reducing baffles

2. Compartmentalization

3. Installing noise reducing gears

4. Installing rubber pads under machinery

When new equipment or machinery are evaluated for purchase, «Hearing», the District’s Hearing Conservation contact, should be consulted to conduct an evaluation from a safety and health standpoint. One criteria of the evaluation should include the amount of noise the equipment will produce and how it will affect the overall noise exposure.

Administrative Controls

After engineering controls are evaluated for effectiveness or feasibility, administrative controls should be considered to reduce noise exposure. Administrative controls include restricting exposure time or using personal protective equipment (PPE).

Personal Protective Equipment, such as earplugs or muffs, may be used to reduce the      amount of noise exposure. Each plug or muff has a noise reductions factor (NR) as evaluated by ANSI Standards (S3.19 - 1974 or Z24.22 - 1957). For example, if a work area has an ambient noise exposure of 96 dB(A), the hearing protectors should be rated 6 NR or better to be effective.

According to OSHA Regulations, each location with noise exposures of 85 to 89 dB(A) will provide hearing protectors for the Employee's optional use. Noise exposures at 90 dB(A) or above require the mandatory use of hearing protection. Further, OSHA requires that a variety of hearing protectors be available for Employees to choose (both a variety of plug and muff type hearing protectors).

Types of Hearing Protectors

Hearing protection devices are the first line of defense against noise in environments where engineering controls have not reduced employee exposure to safe levels. Hearing protective devices can prevent significant hearing loss, but only if they are used properly. The most popular hearing protection devices are earplugs which are inserted into the ear canal to provide a seal against the canal walls. Earmuffs enclose the entire external ears inside rigid cups. The inside of the muff cup is lined with acoustic foam and the perimeter of the cup is fitted with a cushion that seals against the head around the ear by the force of the headband.

Use of Hearing Protectors

Management, Supervision and Employees shall properly wear the prescribed hearing protectors while working in or traveling through any section of a Location that is designated a High Noise Area. (excluding offices, break rooms, and rest facilities). The following rules will be enforced:

Personal stereos, such as Walkmans, etc., will not be permitted in any operating area of school property.

Hearing protectors, at least two types of plugs and one type of muffs, will be provided    and maintained by the School.

- Hearing protectors and replacements will be provided free of charge

- Hearing protectors will be properly worn at all times, except in offices, break rooms, rest facilities.

Pre-formed earplugs and earmuffs should be washed periodically and stored in a clean area, and foam inserts should be discarded after each use. It is important to wash hands before handling pre-formed earplugs and foam inserts to prevent contaminants from being placed in the ear that may increase your risk of developing infections.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

INDOOR AIR QUALITY

Purpose

The purpose of this program is to provide the needed tools to maintain or restore the air quality of the working and learning environment of school facilities. The step-by-step process includes investigation, response, communication, and training.

Policy of School

Hutchinson Public Schools’s Indoor Air Quality Plan is based on the US EPA’s “Tools For Schools” packet.  This packet is available for review upon request.  Please contact The Indoor Air Quality Contact Person, or Musser Environmental, Inc. for more information.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

###### INTEGRATED PEST MANAGEMENT PLAN

School Pest Management Policy Statement

Structural and landscape pests can pose significant problems to people, property, and the environment.

Pesticides can also pose risks to people, property, and the environment. It is therefore the policy of this school District to incorporate Integrated Pest Management (IPM) procedures for control of structural and landscape pests.

# Pests

Pests are a population of living organisms (animal, plant, or microorganisms) that interfere with use of the school site for human purposes. Strategies for managing pests may be influenced by the pest species and whether that species poses a threat to people, property, or the environment.

##### Pest Management

Approved pest management plans should be developed for the site and should be incorporated into any proposed pest management measures.

Pests will be managed to:

- Reduce any potential human health hazard or to protect against a significant threat to public safety.

- Prevent loss of or damage to school structures or property.

- Prevent pests from spreading into the community, or to plant and animal populations beyond the site.

- Enhance the quality of life for students, staff, and others

## Integrated Pest Management Procedures

IPM procedures will determine when to control pests and whether to use mechanical, physical, chemical, cultural, or biological means. IPM practitioners depend on current, comprehensive information on the pest and its environment and the best available pest control methods. Applying IPM principles prevent unacceptable levels of pest activity and damage by the most economical means and with the least possible hazard to people, property, and the environment.

The choice of using a pesticide will be based on a review of all available options and a determination that these options are not acceptable or are not feasible. Cost or staffing considerations alone will not be adequate justification for use of chemical control agents. Selected non-chemical pest management methods will be implemented whenever possible to provide the desired control. It is the policy of Hutchinson Public Schoolsto utilize IPM principles to manage pest populations adequately. The full range of alternatives, including no action, will be considered.

When it is determined that a pesticide must be used in order to meet important management goals, the least hazardous material will be chosen. The application of pesticides is subject to the Federal Insecticide, Fungicide and Rodenticide Act (7 United States Code 136 et seq.), School District policies and procedures, Environmental Protection Agency in 40 Code of Federal Regulations, Occupational Safety and Health Administration regulations, and state and local regulations.

### Education

Staff, students, pest manages, and the public will be educated about potential school pest problems and the IPM policies and procedures to be used to achieve the desired pest management objective.

## Notification

The School District takes the responsibility to notify the school staff and students of upcoming pesticide treatments. Notices will be posted in designated areas and sent home to parents who wish to be informed in advance of pesticide applications.

## Pesticide Storage and Purchase

Pesticide purchases will be limited to the amount authorized for use during the year. Pesticides will be stored and disposed of in accordance with the EPA-registered label directions and state regulations. Pesticides must be stored in an appropriate, secure site not accessible to students or unauthorized personnel.

#### Pesticide applicators

Pesticide applicators must be educated and trained in the principals and practices of IPM and the use of pesticides by this School District, and must follow regulations and label precautions. Applicators should be certified and comply with this School District IPM policy and Pest Management Plan.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

LABORATORY STANDARD/CHEMICAL HYGIENE PROGRAM

Purpose

The Occupational Safety and Health Administration's (OSHA) laboratory health standard (Occupational Exposures to Hazardous Chemicals in Laboratories (CFR 1910.1450)) requires employers of laboratory employees to implement exposure control programs and convey chemical health and safety information to laboratory employees working with hazardous materials. Specific provisions of the standard require:

1.	Chemical fume hood evaluations;

2.	Establishment of standard operating procedures for routine and "high hazard"  laboratory operations

3.	Research protocol safety reviews

4.	Employee exposure assessments

5.	Medical consultations/exams

6.	Employee training

7.	Labeling of chemical containers and,

8.	The management of chemical safety information sheets (Material Safety Data Sheets) and other safety reference materials.

The standard's intent is to ensure that laboratory employees are apprised of the hazards of chemicals in their work area, and that appropriate work practices and procedures are in place to protect laboratory employees from chemical health and safety hazards. The standard operating procedures (laboratory practices and engineering controls) recommended in this manual identify the safeguards that should be taken when working with hazardous materials.

These safeguards will protect laboratory workers from unsafe conditions in the vast majority of situations. There are instances, however, when the physical and chemical properties, the proposed use, the quantity used for a particular purpose o toxicity of a substance will be such that either additional, or fewer, controls might be

appropriate to protect the laboratory worker. Professional judgment is essential in the interpretation of these standard operating procedures, and individual laboratories may modify these procedures to meet their specific uses and operational needs.

This document outlines how Hutchinson Public Schools is complying with each of the elements in OSHA's Laboratory Standard.

CHEMICAL HYGIENE PLAN RESPONSIBILITIES

Responsibility for chemical health and safety rests, at all levels, with Wade Nelson, who has ultimate responsibility for chemical hygiene within all Hutchinson Public Schools buildings and must, along with other officials, provide continuing support for chemical safety.

Office of Environmental Health and Safety

A.) Responsibility:

The Chemical Hygiene Officer is charged with the responsibility for control, review, monitoring and advise with respect to exposure to chemical, radiological, and biological agents used in research and teaching. The office does oversight and control of physical hazards in the workplace, including general and laboratory safety, and chemical waste disposal.

B.) Authority:

The Chemical Hygiene Officer or Lab Safety Contact Person has the authority to stop any activity that is immediately hazardous to life or health. The primary function however, is to act in an advisory capacity to the individual departments, and help them provide a safe and healthful workplace.

The Chemical Hygiene Officer, who oversees and manages chemical hygiene for the labs has the following duties:

Develop and implement components of the Chemical Hygiene Plan to ensure consistent   and well-documented program procedures and policy decisions. Components will typically exclude specific departmental components such as laboratory standard operating procedures, training schedules, and other responsibilities given to department chemical hygiene officer/laboratory supervisors.

Work with department managers and supervisors to develop specific components of the Chemical Hygiene Plan. Special attention will be given to the safe procurement, use, and disposal of chemicals.

Assist department chemical hygiene officers/laboratory supervisors with conducting training sessions for all laboratory workers including supervisors, faculty, principal investigators, etc.

Assist department chemical hygiene officers/laboratory supervisors with required safety audits and the documentation (record keeping) of audits and all employee-training sessions.

Advise department chemical hygiene officer/laboratory supervisors on implementation of all components of the Chemical Hygiene Plan and any specific concerns regarding the appropriate use of audits and all employee-training sessions.

In addition, the Chemical Hygiene Officer will be responsible for knowing the contents of the relevant regulation (Occupational Exposures to Hazardous Chemicals in Laboratories, 29 CFR 1910.145) and conduct any required updating of the Chemical Hygiene Plan as regulations require.

Departments that will be required to implement the Chemical Hygiene Plan are as follows:

- Biology

- Chemistry

- Life Sciences

Each of these departments conduct laboratory work as defined in the OSHA Laboratory Standard.

Laboratory: means a facility where the laboratory use of hazardous chemicals occurs. It is a workplace where relatively small quantities of hazardous chemicals are used on a non-production basis.

Any department not listed here will also be required to implement the Chemical Hygiene Plan if laboratory work is conducted.

Department Chemical Hygiene Officer/Laboratory Supervisor, has the responsibility as defined in the OSHA Laboratory Standard and the Chemical Hygiene Plan, to implement the Chemical Hygiene Plan thus ensuring compliance with the regulatory requirements and maintaining a safe work environment.

The Department Chemical Hygiene Officer has the following duties:

- Ensure that all work is conducted in accordance with the department Chemical Hygiene Plan.

- Work with principal investigator to define the location of work areas where toxic substances potential carcinogens will be used, and ensure that the inventory of these substances is properly maintained.

- Work with the Office of Environmental Health and Safety and principal investigator to obtain, review, and approve standard operating procedures, detailing all aspects of proposed research activities that involve hazardous agents or practices not covered under the General Standard Operating Procedures For Working With Chemicals.

- Ensure that program and support staff receive instructions and training in safe work practices, use of personal protective equipment, and in procedures for dealing with accidents involving toxic substances.

  - Ensure that employees understand the training received.

  - Act as chair for those departments that have committees as noted above.

- Monitor the safety performance of the staff to ensure that the required safety practices and techniques are being employed.

- Work with principal investigators to arrange for workplace air samples, swipes or other tests to determine the amount and nature of airborne and/or surface contamination, inform employees of the results, and use data to aid in the evaluation and maintenance of appropriate laboratory conditions.

          - Assist OEHS when necessary.

          - Investigate accidents and report them to the Chemical Hygiene Officer.

          - Include procedures that will minimize the repetition of that type of accident.

- Report to the Chemical Hygiene Officer incidents that cause (1) personnel to be seriously exposed to hazardous chemicals or materials, such as through the inoculation of a chemical through cutaneous penetration, ingestion of a chemical, or probable inhalation of a chemical, or that (2) constitute a danger of environmental contamination.

- Make copies of the approved Chemical Hygiene Plan available to the program and support staff.

The Principal Investigator has the primary responsibility for chemical hygiene in the laboratory.

He/she is responsible for:

- Acquiring the knowledge and information needed to recognize and control chemical hazards in the laboratory.

- Selecting and employing laboratory practices and engineering controls that reduce the potential for exposure to hazardous chemicals to the appropriate level.

- Informing employees working in their laboratory of the potential hazards associated with the use of chemicals in the laboratory and instructing them in the safe laboratory practices, adequate controls, and procedures for dealing with accidents involving hazardous chemicals.

- Prepare a Standard Operating Procedure (SOP) for use of test substances when this use involves alternate procedures not specified in these guidelines.

- The SOP shall include a description of the alternate controls that will be used.

- Ensure that all personnel obtain the medical examinations and protective equipment necessary for the safe performance of their jobs.

- Ensure that action is taken to correct work practices and conditions that may result in the release of toxic chemicals.

- Supervising the performance of their staff to ensure the required chemical hygiene rules are adhered to in the laboratory.

- Defining hazardous operations, designating safe practices and selecting protective equipment.

- Ensuring appropriate controls (engineering and personal protective equipment) are used and in good working order.

- Obtaining approval, when required, prior to using particularly hazardous substances.

- Developing an understanding of the current legal requirements regulating hazardous substances used in his/her laboratory.

- Conducting formal laboratory inspections routinely to ensure compliance with existing laboratory SOP's.

- Preparing procedures for dealing with accidents that may result in the unexpected exposure of personnel, or the environment, to toxic substances.

- Properly disposing of unwanted and/or hazardous chemicals and materials.

- Documenting and maintaining compliance with all local, state, and federal requirements.

Laboratory workers are responsible for:

- Being aware of the hazards of the materials she/he is around or working with, and handling those chemicals in a safe manner;

- Planning and conducting each operation in accordance with established chemical hygiene procedures;

- Developing good chemical hygiene habits (chemical safety practices and procedures);

- Reporting unsafe conditions to his/her supervisor, or the department chemical hygiene officer.

The principal investigator and laboratory workers share responsibility for collecting, labeling and storing chemical hazardous waste properly, as well as informing visitors entering their laboratory of the potential hazards and safety rules/precautions.

Employees and Students are responsible for:

- Attending required training sessions and following all standard operating procedures of working in a laboratory.

- Wearing personal protective equipment as directed by the principal investigator.

- At a minimum, wearing safety glasses at all times when in the laboratory.

- Reporting to the teaching assistant, faculty member, or department chemical hygiene officer/laboratory supervisor any accidents that result in the exposure to toxic chemicals, and any action or condition that may exist which could result in an accident.

DEFINITIONS

Laboratory Definition

For the purposes of this OSHA standard a laboratory is defined as a facility in which hazardous chemicals (defined below) are handled or manipulated in reactions, transfers, etc. in small quantities (containers that are easily manipulated by one person) on a non-production basis. Typically multiple chemical procedures are used.

Hazardous Chemical Definition

The OSHA Laboratory Health Standard defines a hazardous chemical as any element, chemical compound, or mixture of elements and/or compounds that is a physical hazard or a health hazard.

The standard applies to all hazardous chemicals regardless of the quantity.

A chemical is a physical hazard if there is scientifically valid evidence that it is a combustible liquid, a compressed gas, an explosive, an organic peroxide, an oxidizer or pyrophoric, flammable, or reactive.

A chemical is a health hazard if there is statistically significant evidence, based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees. Classes of health hazards include:

- carcinogens

- irritants

- reproductive toxins

- corrosives

- sensitizers

- neurotoxins (nerve)

- hepatotoxins (liver)

- nephrotoxins (kidney)

- agents that act on the hematopoietic system (blood)

- agents that damage the lungs, skin, eyes, or mucus membranes

A chemical is considered a carcinogen or potential carcinogen if it is listed in any of the following publications (OSHA uses the term "select" carcinogen):

National Toxicology Program, Annual Report on Carcinogens (latest edition)

International Agency for Research on Cancer, Monographs (latest edition)

OSHA, 29 CFR 1910.1001 to 1910.1101, Toxic and Hazardous Substances

A chemical is considered hazardous according to the OSHA standard, if it is listed in any of the following:

OSHA, 29 CFR 1910.1000 Table Z-1 through Z-3

Threshold Limit Values for Chemical Substances and Physical Agents in the Work Environment, ACGIH (latest edition)The Registry of Toxic Effects of Chemical Substances, NIOSH (latest edition).

Over 600,000 chemicals are considered hazardous by the OSHA definition.

In most cases, the chemical container's original label will indicate if the chemical is hazardous. Look for key words like caution, hazardous, toxic, dangerous, corrosive, irritant, carcinogen, etc.  Containers of hazardous chemicals acquired or manufactured before 1985 may not contain appropriate hazard warnings.

If you are not sure a chemical you are using is hazardous, review the Material Safety Data Sheet for the substance or contact your supervisor.

HAZARD IDENTIFICATION

Some laboratories may synthesize or develop new chemical substances on occasion. If the composition of the substance is known and will be used exclusively in the laboratory, the laboratory worker must label the substance and determine, to the best of his/her abilities, the hazardous properties (e.g. corrosive, flammable, reactive, toxic, etc.) of the substance. This can often be done by comparing the structure of the new substance with the structure of similar materials with known hazardous properties. If the chemical produced is of unknown composition, it must be assumed to be hazardous, and appropriate precautions taken. If a chemical substance is produced for another user outside this facility, the laboratory producing the substance is required to provide as much information as possible regarding the identify and known hazardous properties of the substance to the receiver of the material.

TRAINING & INFORMATION

Chemical Safety Training

All employees exposed, or potentially exposed, to hazardous chemicals while performing their laboratory duties must receive information and training regarding the standard, the chemical hygiene plan and laboratory safety. Our training program for laboratory workers consists of two parts: 1) introduction to the standard and to information not specific to the individual worksite to be conducted by the Office of Environmental Health and Safety, and 2) site specific elements of training to be conducted by the Principal Investigator or department chemical hygiene officer/laboratory supervisor. The training and information will be provided when an employee is initially assigned to a laboratory where hazardous chemicals are present, and also prior to assignments involving new hazardous chemicals and/or new laboratory work procedures.

The training and information program will describe the:

- Physical and health hazards of various classes of laboratory chemicals handled;

- Methods/procedures for safely handling and detecting the presence or release of hazardous chemicals present in the laboratory;

- Appropriate response in the event of a chemical emergency (spill, overexposure, etc.);

- Chemical safety policies; and

- Applicable details of the Chemical Hygiene Plan (such as the standard operating procedures for using chemicals).

When an employee is to perform a non-routine task presenting hazards for which he or she has not already been trained, the employee's supervisor will be responsible for discussing with the employee the hazards of the task and any special measures (e.g. personal protective equipment or engineering controls) that should be used to protect the employee.

Every laboratory worker should know the location and proper use of available protective clothing and equipment, and emergency equipment/procedures. Information on protective clothing and equipment is contained further in this program.

Chemical Safety Information Sources

There are numerous sources of chemical safety information. These sources include:

- Special health and safety reference literature available in the Office of Environmental Health and Safety

- The labels found on containers of hazardous chemicals

- The substance's Material Safety Data Sheet and laboratory signs.

In addition, your supervisor is available to provide safety information. Each of these sources is now discussed in greater detail.

Safety Reference Literature

The Office of Environmental Health and Safety maintains a library of reference materials addressing chemical health and safety issues. One of the references contains all applicable chemical workplace exposure standards and recommended exposure levels. Another reference contains a copy of OSHA's laboratory safety standard and its appendices. Material safety data sheets received from suppliers are available in your laboratory or a central area designated by your department.

Container Labeling

All containers of hazardous chemicals that could pose a physical or health hazard to an exposed employee must have a label attached. Labels on purchased hazardous chemicals must include:

- The common name of the chemical.

- The name, address and emergency phone number of the school responsible for the product.

- An appropriate hazard warning.

The warning may be a single word - "danger", "warning" and "caution" - or may identify the primary hazard, both physical (i.e., water reactive, flammable or explosive) and health (i.e., carcinogen, corrosive, or irritant).

Most labels will provide you with additional safety information to help you protect yourself while working with this substance. This includes protective measures to be used when handling the material, clothing that should be worn, first aid instructions, storage information and procedures to follow in the event of a fire, leak or spill.

If you find a container with no label, report it to your supervisor. You should also report labels that are torn or illegible so that the label can be replaced immediately. Existing labels on new containers of hazardous chemicals should never be removed or defaced, except when empty! If you use secondary working containers that will take more than one work shift to empty, or if there is a chance that someone else will handle the container before you finish it, you must label it. This is part of your responsibility to help protect co-workers.

Read the label each time you use a newly purchased chemical. It is possible the manufacturer may have added new hazard information or reformulated the product since your last purchase, and thus altered the potential hazards you face while working with the product.

All employees involved in unpacking chemicals are responsible for inspecting each incoming container to insure that it is labeled with the information outlined above. The principal investigators or department chemical hygiene officer/laboratory supervisors should be notified if containers do not have proper labels.

Laboratory Signs

Prominent signs of the following types should be posted in each laboratory:

- Telephone numbers of emergency personnel/facilities, supervisors, and laboratory workers.

- Signs identifying locations for safety showers, eyewash stations, other safety and first aid equipment, and exits

- Warnings at areas or equipment where special or unusual hazards exist.

CHEMICAL EXPOSURE ASSESSMENT

Regular environmental or employee exposure monitoring of airborne concentrations is not usually warranted or practical in laboratories because chemicals are typically used for relatively short time periods and in small quantities. However, sampling may be appropriate when a highly toxic substance is used regularly (3 or more separate handling sessions per week), used for an extended period of time (greater than 3 to 4 hours at a time), or used in especially large quantities.

Notify the Chemical Hygiene Officer if you are using a highly toxic substance in this manner.

The exposures to laboratory employees who suspect and report that they have been over exposed to a toxic chemical in the laboratory, or are displaying symptoms of overexposure to toxic chemicals, will also be assessed. The assessment will initially be qualitative and, based upon the professional judgment of the Chemical Hygiene Officer, may be followed up by specific quantitative monitoring. A memo, or report, documenting the assessment will be sent to the employees involved and their supervisors within fifteen days of receipt of the results. A copy will be stored in a central exposure records file maintained by the Office of Environmental Health and Safety.

Individual concerns about excessive exposures occurring in the laboratory should be brought to the attention of your supervisor or the Chemical Hygiene Officer immediately.

MEDICAL CONSULTATION & EXAMINATION

Employees who work with hazardous chemicals will be provided with an opportunity to receive medical attention, including any follow-up examinations which the examining physician determines to be necessary, whenever an employee:

- Develops signs or symptoms associated with excessive exposure to a hazardous chemical used in their laboratory

- Exposed routinely above the action level (or in the absence of an action level, the applicable OSHA work place exposure limit) for an OSHA regulated substance;

- May have been exposed to a hazardous chemical during a chemical incident such as a spill, leak, explosion or fire and referred for medical follow up by the Chemical Hygiene Officer.

Individuals with life threatening emergencies should dial ______________ for emergency transport to the hospital. All accidents resulting in injuries that require medical treatment (including first aid) should be reported immediately to the Chemical Hygiene Officer. Medical examination/consultation visits (non-life threatening) will be handled by ____________________________.  Appointments can be arranged by contacting ______. Medical exams and consultations shall be done by or under direct supervision of a licensed physician at no cost to the employee. Where medical consultations or examinations are provided, the examining physician shall be provided with the following information:

- The identity of the hazardous chemical(s) to which the employee may have been exposed.

- The exposure conditions; and

- The signs and symptoms of exposure the laboratory employee is experiencing, if any.

CHEMICAL FUME HOOD EVALUATION

Every laboratory ventilation hood used for the control of air contaminants shall be tested once per year to assure that adequate airflow is being maintained to provide continued protection against employee over-exposure. The Office of Environmental Health and Safety is responsible for performing this testing. Laboratory hood airflow shall be considered adequate when the average face velocity equals a minimum of a 100 feet/minute with the hood sash at a working height (14 to 20 inches). Other local exhaust ventilation, such as instrument vents, will also be tested. The criteria for minimal acceptable flow shall be determined by the Office of Environmental Health and Safety. Results of laboratory ventilation tests shall be recorded and maintained by the Office of Environmental Health and Safety.

RESPIRATORY PROTECTION PROGRAM

Hutchinson Public Schools attempts to minimize employee respiratory exposure to potentially hazardous chemical substances through engineering methods (such as local exhaust ventilation) or administrative control. It is recognized, however, that for certain situations or operations, the use of these controls may not be feasible or practical. Under these circumstances, or while such controls are being instituted, or in emergency situations, the use of personal respiratory protective equipment may be necessary. A sound and effective program is essential to assure that the personnel using such equipment are adequately protected.

The District has adopted a written plan for using respirators. This plan outlines organizational responsibilities for the following respirator program components:

- Exposure assessment

- Respirator selection

- Medical approval and surveillance

- Fit testing

- User training;

- Inspection/repair

- Cleaning/disinfection and storage.

Each of these program components is required by OSHA's respiratory protection standard (29 CFR 1910.134) in all situations where respirators are used. If you are using a respirator and are not included in the respirator protection program, or have questions concerning the use of respirators or any of the program components, contact your Chemical Hygiene Officer.

RECORDKEEPING

All exposure assessments and occupational medical consultation/examination reports will be maintained in a secure area in accordance with OSHA's medical records rule (29 CFR 1910.20).  Individuals may obtain copies or read their reports by making a request in writing to the Office of Environmental Health and Safety.

STANDARD OPERATING PROCEDURES AND GOOD WORK PRACTICES/PROCEDURES FOR CHEMICAL HANDLING

General Guidelines:

- Carefully read the label before using a chemical. The manufacturer's or supplier's Material Safety Data Sheet (MSDS) will provide special handling information.

- Be aware of the potential hazards existing in the laboratory and the appropriate safety precautions.

- Know the location and proper use of emergency equipment, the appropriate procedures for responding to emergencies, and the proper

methods for storage, transport and disposal of chemicals within the facility.

- Do not work alone in the laboratory. If you must work alone or in the evening, let someone else know and have them periodically check on you.

- Label all secondary chemical containers with appropriate identification and hazard information (See Section I, Container Labeling).

- Use only those chemicals for which you have the appropriate exposure controls and administrative programs/procedures (training, restricted access, etc.).

- Always use adequate ventilation with chemicals. Operations using large quantities (500 milliliters) of volatile substances with workplace standards at or below 50 ppm should be performed in a chemical fume hood.

- Use hazardous chemicals and all laboratory equipment only as directed or for their intended purpose.

- Inspect equipment or apparatus for damage before adding a hazardous chemical. Do not use damaged equipment.

- Inspect personal protective apparel and equipment for integrity or proper functioning before use.

- Malfunctioning laboratory equipment should be labeled or tagged "out of service" so that others will not inadvertently use it before repairs are made.

- Handle and store laboratory glassware with care. Do not use damaged glassware. Use extra care with Dewar flasks and other evacuated glass apparatus. Shield or wrap them to contain chemicals or fragments should implosion occur.

- Do not dispense more of a hazardous chemical than is needed for immediate use.

Personal Hygiene

- Remove contaminated clothing and gloves before leaving laboratory.

- Avoid direct contact with any chemical. Keep chemicals off your hands, face and clothing, including shoes.

- Never smell, inhale or taste a hazardous chemical.

- Wash thoroughly with soap and water after handling any chemical.

- Smoking, drinking, eating and the application of cosmetics is forbidden in laboratories where hazardous chemicals are used.

- Never pipet by mouth. Use a pipet bulb or other mechanical pipet filling device.

Housekeeping

- Keep floors clean and dry.

- Keep all aisles, hallways, and stairs clear of all chemicals. Stairways and hallways should not be used as storage areas.

- Keep all work areas, and especially work benches, clear of clutter and obstructions.

- All working surfaces should be cleaned regularly.

- Access to emergency equipment, utility controls, showers, eyewashes and exits should never be blocked.

- Wastes should be kept in the appropriate containers and labeled properly.

- Any unlabeled containers are considered wastes at the end of each working day.

WHEN NOT TO PROCEED WITHOUT REVIEWING SAFETY PROCEDURES

Sometimes laboratory workers should not proceed with what seems to be a familiar task. Hazards may exist that are not fully recognized. Certain indicators (procedural changes) should cause the employee to stop and review the safety aspects of their procedure. These indicators include:

- A new procedure, process or test, even if it is very similar to older practices.

- A change or substitution of any of the ingredient chemicals in a procedure.

- A substantial change in the amount of chemicals used (scale up of experimental procedures) usually one should review safety practices if the volume of chemicals used increases by 200%.

- A failure of any of the equipment used in the process, especially safeguards such as chemical fume hoods.

- Unexpected experimental results (such as a pressure increase, increased reaction rates, unanticipated byproducts). When an experimental result is different from the predicted, a review of how the new result impacts safety practices should be made.

- Chemical odors, illness in the laboratory staff that may be related to chemical exposure or other indicators of a failure in engineered safeguards.

- The occurrence of any of these conditions should cause the laboratory employee to pause, evaluate the safety implications of these changes or results, make changes as necessary and proceed cautiously.

PROTECTIVE CLOTHING AND LABORATORY SAFETY EQUIPMENT

General Considerations:

Personal protective clothing and equipment should be selected carefully and used in situations where engineering and administrative controls cannot be used or while such controls are being established.

These devices are viewed as less protective than other controls because they rely heavily on each employee's work practices and training to be effective. The engineering and administrative controls that should always be considered first when reducing or eliminating exposures to hazardous chemicals include:

- Substitution of a less hazardous substance

- Scaling down size of experiment

- Substitution of less hazardous equipment or process (e.g., safety cans for glass bottles).

- Isolation of the operator or the process.

- Local and general ventilation (e.g., use of fume hoods)

The Material Safety Data Sheet (MSDS) will list the personal protective equipment recommended for use with the chemical. The MSDS addresses worst-case conditions. Therefore, all the equipment shown may not be necessary for a specific laboratory scale task.

Your supervisor, other sections of this manual or the Chemical Hygiene Officer can assist you in determining which personal protective devices are required for each task.  Remember, there is no harm in being overprotected. Appropriate personal protective equipment will be provided to employees.

Protection of Skin and Body

Skin and body protection involves wearing protective clothing over all parts of the body that could become contaminated with hazardous chemicals. Personal protective equipment (PPE) should be selected on a task basis, and checked to ensure it is in good condition prior to use (e.g. no pinholes in gloves).

Normal clothing worn in the laboratory

Where there is no immediate danger to the skin from contact with a hazardous chemical it is still prudent to select clothing to minimize exposed skin surfaces. Employees should wear long sleeved/long legged clothing and avoid short sleeved shirts, short trousers or skirts. A laboratory coat should be worn over street clothes and be laundered regularly. Laboratory coats are intended to prevent contact with dirt, chemical dusts and minor chemical splashes or spills. If it becomes contaminated, it should be removed immediately and affected skin surface washed thoroughly. Shoes should be worn in the laboratory at all times. Sandals and perforated shoes are not appropriate. In addition, long hair and loose clothing should be confined.

Protective clothing

Additional protective clothing may be required for some types of procedures or with specific substances (such as when carcinogens or large quantities of corrosives, oxidizing agents or organic solvents are handled). This clothing may include impermeable aprons and gloves as well as plastic coated coveralls, shoe covers, and arm sleeves. Protective sleeves should always be considered when wearing an apron. These garments can either be washable or disposable in nature. They should never be worn outside the laboratory. The choice of garment depends on the degree of protection required and the areas of the body which may become contaminated. Rubberized aprons, plastic coated coveralls, shoe covers, and arm sleeves offer much greater resistance to permeation by chemicals than laboratory coats and, therefore, provide additional time to react (remove the garment and wash affected area) if contaminated.

For work where contamination is possible, special attention must be given to sealing all openings in the clothing. Tape can be utilized for this purpose. In these instances caps should be worn to protect hair and scalp from contamination.

Chemical resistant gloves should be worn whenever the potential for contact with corrosive or toxic substances and substances of unknown toxicity exists. Gloves should be selected on the basis of the materials being handled, the particular hazard involved, and their suitability for the operation being conducted. Before each use, gloves should be checked for integrity. Gloves should be washed prior to removal whenever possible to prevent skin contamination. Non-disposable gloves should be replaced periodically, depending on frequency of use and their resistance to the substances handled.

Protective garments are not equally effective for every hazardous chemical. Some chemicals will "break through" the garment in a very short time. Therefore, garment and glove selection is based on the specific chemical utilized. General selection criteria is as follows:

GLOVE TYPE SELECTION GUIDE

| Chemical Family | Butyl Rubber | Neoprene | PVC (Vinyl) | Nitrile | Natural Latex |
| --- | --- | --- | --- | --- | --- |
| Acetates | G | NR | NR | NR | NR |
| Acids, inorganic | G | E | E | E | E |
| Acids, organic | E | E | E | E | E |
| Acetonitrile, Acrylonitrile | G | E | G | S | E |
| Alcohols | E | E | NR | E | E |
| Aldehydes | E | G | NR | S* | NR |
| Amines | S | NR | NR | F | NR |
| Bases, inorganic | E | E | E | E | E |
| Ethers | G | F | NR | E | NR |
| Halogens (liquids) | G | NR | F | E | NR |
| Inks | G | E | E | S | F |
| Ketones | E | G | NR | NR | G |
| NitroCompounds (Nitrobenzene,Nitromethane) | G | NR | NR | NR | NR |
| Oleic Acid | E | E | F | E | NR |
| Phenols | E | E | NR | NR | G |
| Quinones | NR | E | G | E | E |
| Solvents, Aliphatic | NR | NR | F | F | NR |
| Solvents, Aromatic | NR | NR | F | F | NR |

*Not recommended for Acetaldehyde, use Butyl Rubber

S – Superior

E – Excellent

G – Good

F – Fair

NR - Not Recommended

Contact the Chemical Hygiene Officer for personal protection equipment selection assistance or information.

Protection of the Eyes

- Eye protection is required for all personnel and any visitors present in locations where chemicals are handled and a chemical splash hazard exists.

- Safety glasses, goggles and goggles with face shield should be worn in the laboratory based upon the physical state, the operation or the level of toxicity of the chemical used. Safety glasses effectively protect the eye from solid materials (dusts and flying objects) but are less effective at protecting the eyes from chemical splash to the face.

- Goggles should be worn in situations where bulk quantities of chemicals are handled and chemical splashes to the face are possible. Goggles form a liquid proof seal around the eyes, protecting them from a splash.

- When handling highly reactive substances or large quantities of hazardous chemicals, corrosives, poisons, and hot chemicals, goggles with face shield should be worn.

- Contact lenses can increase the risk of eye injury if worn in the laboratory - particularly if they are of the gas permeable variety. Gases and vapors can be concentrated under such lenses and cause permanent eye damage. Chemical splashes to the eye can get behind all types of lenses. Once behind a lens the chemical is difficult to remove with a typical eye wash. For these reasons it is recommended that contact lenses not be worn in laboratories.

Eye and face injuries are prevented by the use of the following:

COMPARISON CHART -- EYE PROTECTION DEVICES

| TYPE | Front splash | Side splash | Front flying object | Side impact | Neck Face | Comfort | User Acceptance |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Goggles | E | E | E | E | P | F | P |
| Glasses (no shields) | G | P | E | P | P | G | VG |
| Glasses (shields) | G | G | G | F | P | G | G |
| Face shields(various sizes) | G | G | G | F | P | G | G |

E- Excellent

F- Fair

G-Good

P- Poor

VG- Very Good

SOURCE: ANSI Z87.1(1979) Occupational and Educational Eye and Face Protection, available from American National Standards Institute, Inc., 1430 Broadway, New York, N.Y. 10018

Protection Of The Respiratory System

Inhalation hazards can be controlled using ventilation or respiratory protection. Check the label and MSDS for information on a substance's inhalation hazard and special ventilation requirements. When a potential inhalation hazard exists, a substance's label or MSDS contains warnings such as:

- Use with adequate ventilation

- Avoid inhalation of vapors

- Use in a fume hood

- Provide local ventilation

Take appropriate precautions before using these substances. Controlling inhalation exposures via engineering controls (ventilation) is always the preferred method (See Section 2.3.5.1). As with other personal protective equipment, respiratory protection relies heavily on employee work practices and training to be effective.

Use of Respirators

Respirators are designed to protect against specific types of substances in limited concentration ranges. Respirators must be selected based on the specific type of hazard (toxic chemical, oxygen deficiency, etc.), the contaminant's anticipated airborne concentration, and required protection factors.

Types of respiratory protective equipment include:

- Particle-removing air purifying respirators

- Gas and vapor-removing air purifying respirators

- Atmosphere supplying respirators

Respirators are not to be used except in conjunction with a complete respiratory protection program as required by OSHA. If your work requires the use of a respirator, contact your supervisor or the Chemical Hygiene Officer. See Section 1.9 for additional information.

Laboratory Safety Equipment

Chemical Fume Hoods

In the laboratory the chemical fume hood is the primary means of controlling inhalation exposures. Hoods are designed to retain vapors and gases released within them, protecting the laboratory employee's breathing zone from the contaminant. This protection is accomplished by having a curtain of air (approximately 100 linear feet per minute) move constantly through the face (open sash) of the hood. Chemical fume hoods can also be used to isolate apparatus or chemicals that may present physical hazards to employees. The closed sash on a hood serves as an effective barrier to fires, flying objects, chemical splashes or spattering and small implosions and explosions. Hoods can also effectively contain spills that might occur during dispensing procedures particularly if trays are placed in the bottom of the hoods.

When using a chemical fume hood keep the following principles of safe operation in mind:

- Keep all chemicals and apparatus at least six inches inside the hood (behind sash).

- Hoods are not intended for storage of chemicals. Materials stored in them should be kept to a minimum. Stored chemicals should not block vents or alter air flow patterns.

- Keep the hood sash at a minimum height (4 to 6 inches) when not manipulating chemicals or adjusting apparatus within the hood.

- When working in front of a fume hood, make sure the sash opening is appropriate. This can be achieved by lining up to arrows placed on the sash door and hood frame. This sash opening will ensure an adequate air velocity through the face of the hood.

- Do not allow objects such as paper to enter the exhaust ducts. This can clog ducts and adversely affect their operation.

Follow the chemical manufacturer's or supplier's specific instructions for controlling inhalation exposures with ventilation (chemical fume hood) when using their products. These instructions are located on the products MSDS and/or label. However, it should be noted that these ventilation recommendations are often intended for non-laboratory work environments and must be adapted to suit the laboratory environment as well as the specific procedure or process.

If specific guidance is not available from the chemical manufacturer or supplier, or if the guidance is inappropriate for the laboratory environment, contact the  Chemical Hygiene Officer and/or review the hood use guidelines in the table below. These guidelines are based on information readily available on a chemical's MSDS:

1.	applicable workplace exposure standards [Threshold Limit Values (TLV) or Permissible Exposure Limits (PEL)];

2.	acute and chronic toxicity data (LD50 and specific organ toxicity); and

3.	potential for generating airborne concentrations (vapor pressure).

Eyewashes and safety showers

Whenever chemicals have the possibility of damaging the skin or eyes, an emergency supply of water must be available. All laboratories in which bulk quantities of hazardous chemicals are handled and could contact the eyes or skin resulting in injury should have access to eyewash stations and safety showers. As with any safety equipment, these can only be useful if they are accessible, therefore:

- Keep all passageways to the eyewash and shower clear of any obstacle (even a temporarily parked chemical cart).

- Eyewashes should be checked routinely to be certain that water flows through it.

- Showers should be checked routinely to assure that access is not restricted and that the start chain is within reach.

- The flow through the safety showers should be tested periodically to ensure sufficient flow (approximately 60 gallons per minute).

The Office of Environmental Health and Safety will check eyewashes and showers twice yearly to supplement the above work that is to be conducted by lab personnel.

Fire Safety Equipment

Fire safety equipment easily accessible to the laboratory must include a fire extinguisher (type ABC) and may include fire hoses, fire blankets, and automatic extinguishing systems.

CHEMICAL PROCUREMENT, DISTRIBUTION, AND STORAGE

Procurement

Before a new substance that is known or suspected to be hazardous is received, information on proper handling, storage, and disposal should be known to those who will handle it. It is the responsibility of the supervisor to ensure that the laboratory facilities in which the substance will be handled are adequate and that those who will handle the substance have received the proper training. The necessary information on proper handling of hazardous substances can be obtained from the Material Safety Data Sheets that are provided by the vendor. Because storage in laboratories is restricted to small containers, order small-container lots to avoid hazards associated with repackaging. No container should be accepted without an adequate identifying label as outlined in

Section 1.5.2.2 of this manual.

Distribution

When hand-carrying open containers of hazardous chemicals or unopened containers with corrosive or highly acutely or chronically toxic chemicals, place the container in a secondary container or a bucket. Rubberized buckets are commercially available and provide both secondary containment as well as "bump" protection. If several bottles must be moved at once, the bottles should be transported on a small cart with a substantial rim to prevent slippage from the cart. Wherever available, a freight elevator should be used to transport chemicals from one floor to another.

Chemical Storage in the Laboratory

Carefully read the label before storing a hazardous chemical. The MSDS will provide any special storage information as well as information on incompatibilities. Do not store unsegregated chemicals in alphabetical order. Do not store incompatible chemicals in close proximity to each other.

Separate hazardous chemicals in storage as follows:

Solids:

- oxidizers

- flammable solids (red phosphorus, magnesium, lithium)

- water reactives

- others

Liquids:

- acids

- oxidizers

- flammable/combustible

- caustics

- perchloric acid

Gases:

- toxic

- oxidizers and inert

- flammable

Once separated into the above hazard classes, chemicals may be stored alphabetically.

Use approved storage containers and safety cans for flammable liquids. It is preferable to store flammable chemicals in flammable storage cabinets. Flammable chemicals requiring refrigeration should be stored only in the refrigerators and freezers specifically designed for flammable storage.

A good place to store hazardous chemicals is a vented cabinet under the hood. Chemicals of different classes can be segregated by placing them in trays. Do not store chemicals on bench tops or in hoods. Liquids (particularly corrosives or solvents) should not be stored above eye level.

Use secondary containers (one inside the other) for especially hazardous chemicals (carcinogens, etc.). Use spill trays under containers of strong reagents.

Avoid exposure of chemicals while in storage to heat sources (especially open flames) and direct sunlight.

Conduct periodic inventories of chemicals stored in the laboratory (annually) and dispose of old or unwanted chemicals promptly in accordance with the facilities hazardous chemical waste program.

Assure all containers are properly labelled.

Chemical Storage - Chemical Stability

Stability refers to the susceptibility of a chemical to dangerous decomposition. The label and MSDS will indicate if a chemical is unstable.

Special note: peroxide formers- Ethers, liquid paraffins, and olefins form peroxides on exposure to air and light. Peroxides are extremely sensitive to shock, sparks, or other forms of accidental ignition (even more sensitive than primary explosives such as TNT). Since these chemicals are packaged in an air atmosphere, peroxides can form even though the containers have not been

opened. Unless an inhibitor was added by the manufacturer, sealed containers of ethers should be discarded after one (1) year. Opened containers of ethers should also be discarded within one (1) year of opening. All such containers should be dated upon receipt and upon opening.

See Section 3.2, Highly Reactive Chemicals and High energy Oxidizers for additional information and examples of materials which may form explosive peroxides.

For additional information on chemical stability, contact your supervisor or the

Chemical Hygiene Officer.

Chemical Storage - Incompatible Chemicals

Certain hazardous chemicals should not be mixed or stored with other chemicals because a severe reaction can take place or an extremely toxic reaction product can result. The label and MSDS will contain information on incompatibilities. The following table contains examples of incompatible chemicals:

CHEMICAL	 KEEP OUT OF CONTACT WITH:

Acetic Acid

Chromic acid, nitric acid hydroxyl compounds, ethylene, glycol, perchloric acid, peroxides, permanganates

Acetone

Concentrated nitric and sulfuric acid mixtures

Acetylene

Chlorine, bromine, copper, fluorine, silver, mercury

Alkali Metals

Water, carbon tetrachloride or other chlorinated hydrocarbons, carbon dioxide, the halogens

Ammonia, anhydrous

Mercury, chlorine, calcium hypochlorite, iodine, bromine,

hydrofluoric acid

Ammonium Nitrate

Acids, metal powders, flammable liquids, chlorates, nitrites, sulfur, finely divided organic or combustible materials

Aniline

Nitric acid, hydrogen peroxide, Arsenical materials, Any reducing agent

Azides

Acids

Bromine

Same as chlorine

Calcium Oxide

Water

Carbon (activated)

Calcium hypochlorite, all oxidizing agents.

Carbon tetrachloride

Sodium

Chlorates

Ammonium salts, acids, metal powders, sulfur, finely divided organic or combustible materials

Chromic Acid

Acetic acid, naphthalene, camphor, glycerin, turpentine, alcohol,

flammable liquids in general

Chlorine

Ammonia, acetylene, butadiene, butane, methane, propane (or other petroleum gases), hydrogen, sodium carbide, turpentine, benzene, finely  divided metals

Chlorine Dioxide

Ammonia, methane, phosphine, hydrogen sulfide

Copper

Acetylene, hydrogen peroxide

Cumene Hydroperoxide

Acids, organic or inorganic

Cyanides

Acids

Flammable Liquids

Ammonium nitrate, chromic acid, hydrogen peroxide, nitric acid, sodium peroxide, halogens

Hydrocarbons

Fluorine, chlorine, bromine, chromic acid, sodium peroxide

Hydrocyanic Acid

Nitric acid, alkali

Hydrofluoric Acid

Ammonia, aqueous or anhydrous

Hydrogen Peroxide

Copper, chromium, iron, most metals or their salts, alcohols, acetone, organic materials, aniline, nitromethane, flammable liquids, oxidizing gases

Hydrogen Sulfide

Fuming nitric acid, oxidizing gases, acetylene, ammonia (aqueous or

anhydrous), hydrogen

Hypochlorites

Acids, activated carbon

Iodine

Acetylene, ammonia (aqueous or anhydrous), hydrogen

Mercury

Acetylene, fulminic acid, ammonia

Nitrates

Sulfuric acid

Nitric Acid (concentrated)

Acetic acid, aniline, chromic acid, hydrocyanic acid, hydrogen sulfide, flammable liquids, flammable gases

Nitrites

Acids

Nitroparaffins

Inorganic bases, amines

Oxalic Acid

Silver, mercury

Oxygen

Oils, grease, hydrogen; flammable liquids, solids, or gases

Perchloric Acid

Acetic anhydride, bismuth and its alloys, alcohol, paper, wood

Peroxides, organic

Acids (organic or mineral), avoid friction, store cold

Phosphorus (white)

Air, oxygen, alkalies, reducing agents

Potassium

Carbon tetrachloride, carbon dioxide, water

Potassium Chlorate

Sulfuric and other acids

Potassium Permanganate

Glycerin, ethylene glycol, benzaldehyde, sulfuric acid

Selenides

Reducing agents

Silver

Acetylene, oxalic acid, tartaric acid, ammonium compounds

Sodium

Carbon tetrachloride, carbon dioxide, water

Sodium nitrite

Ammonium nitrate and other ammonium salts

Sodium Peroxide

Ethyl or methyl alcohol, glacial acetic acid, acetic anhydride,

benzaldehyde, carbon disulfide, glycerin, ethylene glycol, ethyl acetate, methyl acetate, furfural

Sulfides

Acids

Sulfuric Acid

Potassium chlorate, potassium perchlorate, potassium permanganate (or compounds with similar light metals, such as sodium, lithium, etc.)

Tellurides

Reducing agents

Source: Manufacturing Chemists' Association, Guide for Safety in the Chemical Laboratory pp.215-217.

CHEMICAL SPILLS & ACCIDENTS

General Information

Try to anticipate the types of chemical spills that can occur in your laboratory and obtain the necessary equipment (spill kits and personal protective equipment) to respond to a minor spill. Learn how to clean up minor spills of the chemicals you use regularly safely. A MSDS contains special spill clean-up information and should also be consulted. Chemical spills should only be cleaned up by

knowledgeable and experienced personnel.

If the spill is too large for you to handle, is a threat to laboratory personnel or the public, or involves a highly toxic, or reactive chemical, call for assistance immediately.

Cleaning Up Chemical Spills

If you are cleaning up a small spill yourself, make sure that you are aware of the hazards associated with the materials spilled, have adequate ventilation (open windows, chemical fume hood on) and proper personal protective equipment (minimum - gloves, goggles, and lab coat). Consider all residual chemical and cleanup materials (adsorbent, gloves, etc.) as hazardous waste. Place these

materials in a sealed container (plastic bags) and store in a chemical fume hood. Contact the Office of Environmental Health and Safety for disposal instructions.

Minor Chemical Spill

- Alert people in immediate area of spill.

- Increase ventilation in area of spill (open windows, turn on hoods).

- Wear protective equipment, including safety goggles, gloves, and long-sleeve lab coat.

- Avoid breathing vapors from spill

- Use appropriate kit to neutralize and absorb inorganic acids and bases. Collect residue, place in container, and dispose as hazardous chemical waste.

- For other chemicals, use appropriate kit or absorb spill with vermiculite, dry sand, diatomaceous earth or paper towels. Collect residue, place in container, and dispose as chemical waste.

- Clean spill area with water.

Major Chemical Spill

- Attend to injured or contaminated persons and remove them from exposure.

- Alert people in the laboratory to evacuate.

- If spilled material is flammable, turn off ignition and heat sources. Place other device (plastic bag) over spilled material to keep substance from volatilizing.

- Call Chemical Spill Emergency Response number ________________Close doors to affected area.

- Have a person with knowledge of the incident and laboratory available to answer question from responding emergency personnel.

Mercury Spills

Use a vacuum line with an in-line dry trap attached to a tapered glass tube similar to a medicine dropper to pick up mercury droplets. Do not use a domestic or commercial vacuum cleaner. Cover small droplets in inaccessible areas with one of the following:

Powdered sulfur

Powdered zinc

Place residue in a labeled container and dispose of as hazardous chemical waste.

Alkali Metal Spills

Smother with powdered graphite, sodium carbonate, calcium carbonate or "Met-L-X", call the Chemical Hygiene Officer for assistance.

White Phosphorus

Smother with wet sand or wet "noncombustible" absorbent, call the Chemical Hygiene Officer for assistance.

PERSONAL CONTAMINATION AND INJURY

General Information

Know the locations of the nearest safety shower and eye wash fountain. Report all incidents and injuries to your supervisor.  If an individual is contaminated or exposed to a hazardous material in your laboratory, do what is necessary to protect their life and health as well as your own. Determine what the individual was exposed to. The MSDS will contain special first aid information.

- Do not move an injured person unless they are in further danger (from inhalation or skin exposure).

- A blanket should be used immediately to protect the victim from shock and exposure.

- Get medical attention promptly by dialing ________

Chemicals Spills on the Body

- Quickly remove all contaminated clothing and footwear.

- Immediately flood the affected body area in cold water for at least 15 minutes.

- Remove jewelry to facilitate removal of any residual material.

- Wash off chemical with water only. Do not use neutralizing chemicals, unguents, creams, lotions or salves.

- Get medical attention promptly.

It should be noted that some chemicals (phenol, aniline,) are rapidly adsorbed through the skin. If a large enough area of skin is contaminated, an adverse health effect (systemic toxicological reaction) may occur immediately to several hours after initial exposure depending on the chemical. If more than 9 square inches of skin area has been exposed to a hazardous chemical, seek medical attention after washing the material off the skin. If the incident involves hydrofluoric acid (HF), seek immediate medical attention. Provide the physician with the chemical name.

Chemical Splash in the Eye

- Irrigate the eyeball and inner surface of eyelid with plenty of cool water for at least 15 minutes.

- Use eyewash or other water source. Forcibly hold eyelids open to ensure effective wash.

- Check for and remove contact lenses.

- Get medical attention promptly.

Ingestion of Hazardous Chemicals

- Identify the chemical ingested.

- Call for an ambulance by dialing ________

- Call the Poison Information Center by dialing __________

- Cover the injured person to prevent shock.

- Provide the ambulance crew and physician with the chemical name and any other relevant information.

- If possible, send the container, MSDS or the label with the victim.

Inhalation of Smoke, Vapors and Fumes

- Anyone overcome with smoke or chemical vapors or fumes should be removed to uncontaminated air and treated for shock.

- Do not enter the area if you expect that a life threatening condition still exists - oxygen depletion, explosive vapors or highly toxic gases (cyanide gas, hydrogen sulfide, nitrogen oxides, carbon monoxide).

- If CPR certified, follow standard CPR protocols.

- Get medical attention promptly.

Burning Chemicals on Clothing

- Extinguish burning clothing by using the drop-and-roll technique or by dousing with cold water, or use an emergency shower if it is immediately available.

- Remove contaminated clothing; however, avoid further damage to the burned area. If possible, send clothing with the victim.

- Remove heat with cool water or ice packs until tissue around burn feels normal to the touch.

- Cover injured person to prevent shock.

- Get medical attention promptly.

Actions to be Avoided During Emergencies

There are some actions that must not be taken when handling emergencies. These include:

- Do not force any liquids into the mouth of an unconscious person.

- Do not handle emergencies alone, especially without notifying someone that the accident has occurred.

- Do not linger at the accident scene if you are not one of the emergency responders.

FIRE AND FIRE RELATED EMERGENCIES

If you discover a fire or fire-related emergency such as abnormal heating of material, a flammable gas leak, a flammable liquid spill, smoke, or odor of burning, immediately follow these procedures:

- Notify the Fire Department dialing _______.

- Activate the building alarm (fire pull station). If not available or operational, verbally notify people in the building.

- Isolate the area by closing windows and doors and evacuate the building.

- Shut down equipment in the immediate area, if possible.

- Use a portable fire extinguisher to:

1. assist oneself to evacuate

2. assist another to evacuate and  control a small fire, if possible.

Provide the fire/police teams with the details of the problem upon their arrival.  Special hazard information you might know is essential for the safety of the emergency responders.

If the fire alarms are ringing in your building

- You must evacuate the building and stay out until notified to return.  Move up wind from the building and stay clear of streets, driveways, sidewalks and other access ways to the building.

- If you are a supervisor, try to account for your employees, keep them together and report any missing persons to the emergency personnel at the scene.

CHEMICAL WASTE DISPOSAL PROGRAM

Laboratory chemical waste must be disposed of in accordance with local, state, federal and requirements. These waste management practices are designed to ensure maintenance of a safe and healthful environment for laboratory employees and the surrounding community without adversely affecting the environment. This is accomplished through regular removal of chemical waste and disposal of these wastes in compliance with all regulations and policies. Specific guidance on how to identify, handle, collect, segregate, store and dispose of chemical waste is available from your supervisor or the Office of Environmental Health and Safety.

Remember:

- Hoods should not be used for storing of volatile chemicals.

- Drains should not be used for disposal of chemicals.

- Laboratory waste shall be disposed of in a timely manner.

- Waste materials should be accumulated in a designated storage area consistent with applicable regulations.

HEALTH AND SAFETY INFORMATION FOR WORK WITH CHEMICALS OF SPECIFIC HAZARD CLASS

FLAMMABLE LIQUIDS

General Information

Flammable liquids are among the most common of the hazardous materials found in laboratories They are usually highly volatile (have high vapor pressures at room temperature) and their vapors, mixed with air at the appropriate ratio, can ignite and burn. By definition, the lowest temperature at which they can form an ignitable vapor/air mixture (the flash point) is less then 37.8 oC (100oF) and for several common laboratory solvents (ether, acetone, toluene, acetaldehyde) the flash point is well below that. As with all solvents, their vapor pressure increases with temperature and, therefore, as temperatures increase they become more hazardous.

For a fire to occur, three distinct conditions must exist simultaneously:

1. 	The concentration of the vapor must be between the upper and lower flammable limits of the substance (the right fuel/air mix).

2. 	An oxidizing atmosphere, usually air, must be available; and

3. 	A source of ignition must be present.

Removal of any of these three conditions will prevent the start of a fire. Flammable liquids may form flammable mixtures in either open or closed containers or spaces (such as refrigerators), when leaks or spills occur in the laboratory, and when heated.

Control strategies for preventing ignition of flammable vapors include removing all sources of ignition or maintaining the concentration of flammable vapors below the lower flammability limit by using local exhaust ventilation such as a hood. The former strategy is more difficult because of the numerous ignition sources in laboratories. Ignition sources include: open flames, hot surfaces,

operation of electrical equipment, and static electricity.

The concentrated vapors of flammable liquids are heavier than air and can travel away from a source a considerable distance (across laboratories, into hallways, down elevator shafts or stairways). If the vapors reach a source of ignition, a flame can result that may flash back to the source of the vapor.

The danger of fire and explosion presented by flammable liquids can usually be eliminated or minimized by strict observance of safe handling, dispensing, and storing procedures.

Special Handling Procedures

    - While working with flammable liquids you should wear gloves, protective glasses, and long sleeved lab coats. Wear goggles if dispensing solvents or performing an operation which could result in a splash to the face.

    - Large quantities of flammable liquids should be handled in a chemical fume hood or under some other type of local exhaust ventilation. Five gallon containers must be dispensed to smaller containers in a hood or under local exhaust ventilation. When dispensing flammable solvents into small storage containers, use metal or plastic containers or safety cans (avoid glass containers).

    - Make sure that metal surfaces or containers through which flammable substances are flowing are properly grounded, discharging static electricity. Free flowing liquids generate static electricity which can produce a spark and ignite the solvent.

    - Large quantities of flammable liquids must be handled in areas free of ignition sources (including spark emitting motors and equipment) using non-sparking tools. Remember that vapors are heavier than air and can travel to a distant source of ignition.

    - Flammable substances should never be heated by using an open flame. Instead, use any of the following heat sources: steam baths, water baths, oil baths, heating mantles or hot air baths.

    - Do not distill flammable substances under reduced pressure.

    - Store flammable substances away from ignition sources. The preferred storage location is in flammable storage cabinets. If no flammable storage cabinet is available, store these substances in a cabinet under the hood or bench. Five gallon containers should only be stored in a flammable storage cabinet or under a hood. You can also keep the flammable liquids inside the hood for a short period of time. Storage in chemical fume hood is not preferred because it reduces hood performance by obstructing air flow.

    - The volume of flammable liquids dispensed in small containers (not including safety cans) in the open areas of laboratories should not exceed 10 gallons in most laboratories.  Never store glass containers of flammable liquids on the floor.

    - Oxidizing and corrosive materials should not be stored in close proximity to flammable liquids.

    - Flammable liquids should not be stored or chilled in domestic refrigerators and freezers but in units specifically designed for this purpose. It is acceptable to store or chill flammable in ultra-temperature units.

    - If flammable liquids will be placed in ovens, make sure they are appropriately designed for flammable liquids (no internal ignition sources and/or vented mechanically).

HIGHLY REACTIVE CHEMICALS & HIGH ENERGY OXIDIZERS

General Information

Highly reactive chemicals include those which are inherently unstable and susceptible to rapid decomposition as well as chemicals which, under specific conditions, can react alone, or with other substances in a violent uncontrolled manner, liberating heat, toxic gases, or leading to an explosion. Reaction rates almost always increase dramatically as the temperature increases. Therefore, if heat evolved from a reaction is not dissipated, the reaction can accelerate out of control and possibly result in injuries or costly accidents.

Air, light, heat, mechanical shock (when struck, vibrated or otherwise agitated), water, and certain catalysts can cause decomposition of some highly reactive chemicals, and initiate an explosive reaction. Hydrogen and chlorine react explosively in the presence of light. Alkali metals, such as sodium, potassium and lithium, react violently with water liberating hydrogen gas. Examples of shock

sensitive materials include acetylides, azides, organic nitrates, nitro compounds, and many peroxides.

Organic peroxides are a special class of compounds that have unusual stability problems, making them among the most hazardous substances normally handled in the laboratories. As a class, organic peroxides are low powered explosives. Organic peroxides are extremely sensitive to light, heat, shock, sparks, and other forms of accidental ignition; as well as to strong oxidizing and reducing materials. All organic peroxides are highly flammable.

Peroxide formers can form peroxides during storage and especially after exposure to the air (once opened). Peroxide forming substances include: aldehydes, ethers (especially cyclic ether), compounds containing benzylic hydrogen atoms, compounds containing the allylic structure (including most alkenes), vinyl and vinylidine compounds.

Examples of shock sensitive chemicals, high energy oxidizers and substances which can form explosive peroxides are listed at the end of this section.

Special Handling Procedures

Before working with a highly reactive material or high energy oxidizer, review available reference literature to obtain specific safety information. The proposed reactions should be discussed with your supervisor. Always minimize the amount of material involved in the experiment.  The smallest amount sufficient to achieve the desired result should be used. Scale-ups should be handled with great care, giving consideration to the reaction vessel size and cooling, heating, stirring and equilibration rates.

Excessive amounts of highly reactive compounds should not be purchased, synthesized, or stored in the laboratories. The key to safely handling reactive chemicals is to keep them isolated from the substances that initiate their violent reactions. Unused peroxides should not be returned to the original container.

Do not work alone. All operations where highly reactive and explosive chemicals are used should be performed during the normal work day or when other employees are available either in the same laboratory or in the immediate area.

Perform all manipulations of highly reactive or high energy oxidizers in a chemical fume hood. (Some factors to be considered in judging the adequacy of the hood include its size in relation to the reaction and required equipment, the ability to fully close the sash, and the composition of the sash.)

Make sure that the reaction equipment is properly secured. Reaction vessels should be supported from beneath with tripods or lab jacks. Use shields or guards which are clamped or secured.

If possible, use remote controls for controlling the reaction (including cooling, heating and stirring controls). These should be located either outside the hood or at least outside the shield.

Handle shock sensitive substances gently, avoid friction, grinding, and all forms of impact. Glass containers that have screw-cap lids or glass stoppers should not be used. Polyethylene bottles that have screw-cap lids may be used. Handle water-sensitive compounds away from water sources. Light-sensitive chemicals should  be used in light-tight containers. Handle highly reactive chemicals away from the direct light, open flames, and other sources of heat. Oxidizing agents should only be heated with fiberglass heating mantles or sand baths.

High energy oxidizers, such as perchloric acid, should only be handled in a wash down hood if the oxidizer will volatilize and potentially condense in the ventilation system. Inorganic oxidizers such as perchloric acid can react violently with most organic materials.

When working with highly reactive compounds and high energy oxidizers, always wear the following personal protection equipment: lab coats, gloves, and protective glasses/goggles. During the reaction, a face shield long enough to give throat protection should be worn.

Labels on peroxide forming substances should contain the date the container was received, first opened and the initials of the person who first opened the container. They should be checked for the presence of peroxides before using, and quarterly while in storage (peroxide test strips are available). If peroxides are found, the materials should be decontaminated, if possible, or disposed

of. The results of any testing should be placed on the container label. Never distill substances contaminated with peroxides. Peroxide forming substances that have been opened for more than one year should be discarded. Never use a metal spatula with peroxides. Contamination by metals can lead to explosive decompositions.

Store highly reactive chemicals and high energy oxidizers in closed cabinets segregated from the materials with which they react and, if possible, in secondary containers. You can also store them in the cabinet under a hood. Do not store these substances above eye level or on open shelves.

Store peroxides and peroxide forming compounds at the lowest possible temperature. If you use a  refrigerator, make sure it is appropriately designed for the storage of flammable substances. Store  light-sensitive compounds in the light-tight containers. Store water-sensitive compounds away from water sources.

Shock sensitive materials should be discarded after one year if in a sealed container and within six months of opening unless an inhibitor was added by the manufacturer.

List of Shock Sensitive Chemicals

Shock sensitive refers to the susceptibility of the chemical to rapidly decompose or explode when struck, vibrated or otherwise agitated. The following are examples of materials that can be shock sensitive:

Acetylides of heavy metals

Heavy metal azides

Picramic acid

Aluminum ophrite explosive

Hexanite

Picramide

Amatol

Hexanitrodiphenylamine

Picratol

Ammonal

Hexanitrostilbene

Picric acid

Ammonium nitrate

Hexogen

Picryl chloride

Ammonium perchlorate

Hydrazinium nitrate

Picryl fluoride

Ammonium picrate

Hyrazoic acid

Polynitro aliphatic compounds

Ammonium salt lattice

Lead azide

Potassium nitroaminotetrazole

Butyl tetryl

Lead mannite

Silver acetylide

Calcium nitrate

Lead mononitroresorcinate

Silver azide

Copper acetylide

Lead picrate

Silver styphnate

Cyanuric triazide

Lead salts

Silver tetrazene

Cyclotrimethylenetrinitramine

Lead styphnate

Sodatol

Cyclotetramethylenetranitramine

Trimethylolethand

Sodium amatol

Dinitroethyleneurea

Magnesium ophorite

Sodium dinitro-orthocresolate

Dinitroglycerine

Wannitol hexanitrate

Sodium nitrate-potassium

Dinitrophenol

Mercury oxalate

Sodium picramate

Dinitrophenolates

Mercury tartrate

Styphnic acid

Dinitrophenyl hydrazine

Mononitrotoluene

Tetrazene

Dinitrotoluene

Nitrated carbohydrate

Tetranitrocarbazole

Dipicryl sulfone

Nitrated glucoside

Tetrytol

Dipicrylamine

Nitrated polyhydric alcohol

Trimonite

Erythritol tetranitrate

Nitrogen trichloride

Trinitroanisole

Fulminate of mercury

Nitrogen tri-iodide

Trinitrobenzene

Fulminate of silver

Nitroglycerin

Trinitrobenzoic acid

Fulminating gold

Nitroglycide

Trinitrocresol

Fulminating mercury

Nitroglycol

Trinitro-meta-cresol

Fulminating platinum

Nitroguanidine

Trinitronaphtalene

Fulminating silver

Nitroparaffins

Trinitrophenetol

Gelatinized nitrocellulose

Nitronium perchlorate

Trinitrophloroglucinol

Germane

Nitrourea

Trinitroresorcinol

Guanyl nitrosamino

Organic amine nitrates

Tritonal

guanyl-tetrazene

Organic nitramines

Urea nitrate

Guanyl nitrosaminoguanylidene-hydrazine

Organic peroxides

List of High Energy Oxidizers

The following are examples of materials that are powerful oxidizing reagents:

Ammonium permaganate

Fluorine

Potassium perchlorate

Barium peroxide

Hydrogen peroxide

Potassium peroxide

Bromine

Magnesium perchlorate

Propyl nitrate

Calcium chlorate

Nitric acid

Sodium chlorate

Calcium hypochlorite

Nitrogen peroxide

Sodium chlorite

Chlorine trifluoride

Perchloric acid

Sodium perchlorate

Chromium anhydride or chromic acid

Potassium bromate

Sodium Peroxide

List of Peroxide Formers

The following are examples of the materials commonly used in laboratories which may for explosive peroxides:

Acetal

Dimethyl ether

Sodium amide

Cyclohexene

Dioxane

Tetrahydrofuran

Decahydronaphthalene

Divinyl acetylene

Tetrahydronaphthalene

Diacetylene

Ether (glyme)

Vinyl ethers

Dicyclopentadiene

Ethylene glycol dimethyl ether

Vinylidene chloride

Diethyl ether

Isopropyl ether

Diethylene glycol

Methyl acetylene

COMPRESSED GASES

General Information

Compressed gases are unique in that they represent both a physical and a potential chemical hazard (depending on the particular gas). Gases contained in cylinders may be from any of the hazard classes described in this section (flammable, reactive, corrosive, or toxic). Because of their physical state (gaseous), concentrations in the laboratory can increase instantaneously if leaks develop at the regulator or piping systems, creating the potential for a toxic chemical exposure or a fire/explosion hazard. Often there is little or no indication that leaks have or are occurring. Finally, the large amount of potential energy resulting from compression of the gas makes a compressed gas cylinder a potential rocket or fragmentation bomb if the tank or valve is physically broken.

Special Handling Procedures

The contents of any compressed gas cylinder should be clearly identified. No cylinder should be accepted for use that does not legibly identify its contents by name. Color coding is not a reliable means of identification and labels on caps have no value as caps are interchangeable.

Carefully read the label before using or storing compressed gas. The MSDS will provide any special hazard information.

Transport gas cylinders in carts one or two at a time only while they are secured and capped. All gas cylinders should be capped and secured when stored. Use suitable racks, straps, chains or stands to support cylinders. All cylinders, full or empty, must be restrained and kept away from heat sources.

    - Store as few cylinders as possible in your laboratory.

    - Use only Compressed Gas Association standard combinations of valves and fittings for compressed gas installations. Always use the correct pressure regulator. Do not use a regulator adaptor.

    - All gas lines leading from a compressed gas supply should be clearly labeled identifying the gas and the laboratory served.

    - Place gas cylinders in such a way that the cylinder valve is accessible at all times. The main cylinder valve should be closed as soon as the gas flow is no longer needed. Do not store gas cylinders with pressure on the regulator. Use the wrenches or other tools provided by the cylinder supplier to open a valve if available. In no case should pliers be used to open a cylinder valve.

    - Use soapy water to detect leaks. Leak test the regulator, piping system and other couplings after performing maintenance or modifications which could affect the integrity of the system.

    - Oil or grease on the high pressure side of an oxygen cylinder can cause an explosion. Do not lubricate an oxygen regulator or use a fuel/gas regulator on an oxygen cylinder.

    - Never bleed a cylinder completely empty. Leave a slight pressure to keep contaminants out (1 kPa or 25 psi). Empty cylinders should not be refilled in the laboratories unless equipped to prevent overfilling.

    - All gas cylinders should be clearly marked with appropriate tags indicating whether they are in use full, or empty. Empty and full cylinders should not be stored in the same place.

    - Cylinders of toxic, flammable or reactive gases should be purchased in the smallest quantity possible and stored/used in a fume hood or under local exhaust ventilation. If at all possible, avoid the purchase of lecture bottles. These cylinders are not returnable and it is extremely difficult and costly to dispose of them. Use the smallest returnable sized cylinder.

    - Wear safety goggles when handling compressed gases which are irritants, corrosive or toxic.

Special Precautions for Hydrogen

Hydrogen gas has several unique properties which make it potentially dangerous  to work with. It has an extremely wide flammability range (LEL 4%, UEL 74.5%) making it easier to ignite than most other flammable gases. Unlike most other gases, hydrogen's temperature increases during expansion.  If a cylinder valve is opened too quickly, the static charge generated by the escaping gas may cause

it to ignite. Hydrogen burns with an invisible flame. Caution should therefore be exercised when approaching a suspected hydrogen flame. A piece of paper can be used to tell if the hydrogen is burning. Hydrogen embrittlement can weaken carbon steel, therefore cast iron pipes and fittings shall not be used. Those precautions associated with other flammable substances also apply to Hydrogen

(see Section 3.1).

CORROSIVE CHEMICALS

General Information

The major classes of corrosive chemicals are strong acids and bases, dehydrating agents, and oxidizing agents. These chemicals can erode the skin and the respiratory epithelium and are particularly damaging to the eyes. Inhalation of vapors or mists of these substances can cause severe bronchial irritation. If your skin is exposed to a corrosive, flush the exposed area with water for at least fifteen minutes. Then seek medical treatment.

Strong acids. All concentrated acids can damage the skin and eyes and their burns are very painful.  Nitric, chromic, and hydrofluoric acids are especially damaging because of the types of burns they inflict. Seek immediate medical treatment if you have been contaminated with these materials (particularly hydrofluoric acid).

Strong alkalis. The common strong bases used in the labs are potassium hydroxide, sodium hydroxide, and ammonia. Burns from these materials are often less painful than acids. However, damage may be more severe than acid burns because the injured person, feeling little pain, often does not take immediate action and the material is allowed to penetrate into the tissue. Ammonia is a severe bronchial irritant and should always be used in a well-ventilated area, if possible in a hood.

Dehydrating agents. This group of chemicals includes concentrated sulfuric acid, sodium hydroxide, phosphorus pentoxide, and calcium oxide. Because much heat is evolved on mixing these substances with water, mixing should always be done by adding the agent to water, and not the reverse, to avoid violent reaction and spattering. Because of their affinity for water, these substance can cause severe burns on contact with skin. Affected areas should be washed promptly with large

volumes of water.

Oxidizing agents. In addition to their corrosive properties, powerful oxidizing agents such as perchloric and chromic acids (sometimes used as cleaning solutions), present fire and explosion hazards on contact with organic compounds and other oxidizable substances. The hazards associated with the use of perchloric acid are especially severe. It should be handled only after thorough familiarization with recommended operating procedures (see section on reactives & high energy oxidizers).

Special Handling Procedures

Corrosive chemicals should be used in the chemical fume hood, or over plastic trays when handled in bulk quantities (> 1 liter) and when dispensing.

When working with bulk quantities of corrosives, wear gloves, face shields, laboratory coats, and rubber aprons.

If you are handling bulk quantities on a regular basis, an eyewash should be immediately available and a shower close by. Spill materials - absorbent pillows, neutral absorbent materials or neutralizing materials (all commercially available) should be available in the laboratory.

Store corrosives in cabinets, under the hood or on low shelves, preferably in the impervious trays to separate them physically from other groups of chemicals. Keep containers not in use in storage areas and off bench tops.

If it is necessary to move bulk quantities from one laboratory to another or from the stockroom, use a safety carrier (rubber bucket for secondary containment and protection of the container).

CHEMICALS OF HIGH ACUTE & CHRONIC TOXICITY

General Information

Substances that possess the characteristic of high acute toxicity can cause damage after a single or short term exposure. The immediate toxic effects to human health range from irritation to illness and death. Hydrogen cyanide, phosgene, and nitrogen dioxide are examples of substances with high acute toxicity. The lethal oral dose for an average human adult for highly toxic substances range from one ounce to a few drops. The following procedures should be used when the oral LD50 of a substance in the rat or mouse is less then 50 milligrams per kilogram body weight for solid materials or non-volatile liquids and 500 mg/kg body weight for volatile liquids or gases.  Oral LD50 data for the rat or mouse is listed in the substance's MSDS. The LD50 toxicity test is usually the first toxicological test performed and is a good indicator of a substance's acute toxicity.

Substances that possess the characteristic of high chronic toxicity cause damage after repeated exposure or exposure over long periods of time. Health effects often do not become evident until after a long latency period - twenty to thirty years. Substances that are of high chronic toxicity may be toxic to specific organ systems - hepatotoxins, nephrotoxins, neurotoxins, toxic agents to the hematopoietic system and pulmonary tissue or carcinogens, reproductive toxins, mutagens, teratogens or sensitizers. Specific acute and chronic toxicity information on the substances used in your laboratory can be found on these substances' MSDS.  If you have additional questions, contact the [FACILTIY NAME] Chemical Hygiene Officer.

Special Handling Procedures

Avoid or minimize contact with these chemicals by any route of exposure. Protect the hands and forearms by wearing gloves and laboratory coat. Rinse gloves prior to removing them.

Use these chemicals in a chemical fume hood or other appropriate containment device if the material is volatile or the procedure may generate aerosols (See guidelines for chemical fume hood use in (Section 2.3.5.1). If a chemical fume hood is used, it should be evaluated to confirm that it is performing adequately (a face velocity of at least 100 linear feet per minute (±20%)) with the sash at the operating height.

Store volatile chemicals of high acute or chronic toxicity in the cabinet under the hood or other vented area. Volatile chemicals should be stored in unbreakable primary or secondary containers or placed in chemically resistant trays (to contain spills). Nonvolatile chemicals should be stored in cabinets or in drawers. Do not store these chemicals on open shelves or counters.

Decontaminate working surfaces with wet paper towels after completing procedures. Place the towels in plastic bags and secure. Dispose of them in the normal trash.

Volatile chemicals should be transported between laboratories in durable outer containers.

Vacuum pumps used in procedures should be protected from contamination with scrubbers or filters.

If one or more of these substances are used in large quantities, on a regular basis (three or more separate handling sessions per week), or for long periods of time (4-6 hours) a qualitative and potentially quantitative exposure assessment should be performed. Contact the Chemical Hygiene Officer to perform this assessment.

Lab personnel of childbearing age should be informed of any known male and female reproductive toxins used in the laboratory. An employee who is pregnant, or planning to become pregnant, and who is working with potential reproductive toxins that might affect the fetus, should contact the Chemical Hygiene Officer  to evaluate their exposure and inform her personal physician. The Chemical Hygiene Officer can assess potential exposures and work with the employee and laboratory supervisor, if necessary, to adjust work practices to minimize the potential risk.

REGULATED CHEMICALS

General Information

This section establishes supplemental work procedures to control the handling of substances that are known to exhibit unusual acute or long-term chronic health hazards (carcinogens, reproductive toxin and highly acutely toxic substances). This set of procedures applies (as indicated in Appendix A) to chemical carcinogens listed and regulated by the Department of Labor, Occupational Safety and Health Administration (OSHA), and of human carcinogens listed by the International Agency for Research on Cancer (IARC) and the National Toxicology Program (NTP).

Appendix A identifies under what conditions and for what substances the special handling procedures listed below should be used. Please note that a key component in controlling the most hazardous substances is the controlled distribution and use of these substances. In some instance special authorization is required before purchasing and using these substances.

Special Handling Procedures

Use these chemicals only in a chemical fume hood or other appropriate containment device (glove box). If a chemical fume hood is used, it should be evaluated to confirm that it is performing adequately (a face velocity of at least 100 linear feet per minute with the sash at the operating height).

Volatile chemicals should be stored in a vented storage area in an unbreakable, primary or secondary container or placed in a chemically resistant tray (to contain spills). Nonvolatile chemicals should be stored in cabinets or in drawers. Do not store these chemicals on open shelves or counters. Access to all of these chemicals should be restricted.

Volatile chemicals should be transported between laboratories in durable outer containers.

All procedures with these chemicals should be performed in designated areas. Other employees working in the area should be informed of the particular hazards associated with these substances and the appropriate precautions that are necessary for preventing exposures. All designated areas should be posted with a sign that reads:

WARNING

DESIGNATED AREA FOR HANDLING THE FOLLOWING

SUBSTANCES WITH HIGH ACUTE OR CHRONIC TOXICITY:

[list of substances - identify acute or chronic hazard]

[Example: Benzene - carcinogen]

AUTHORIZED PERSONNEL ONLY

Vacuum pumps used in procedures should be protected from contamination with scrubbers or filters.

Analytical instruments or other laboratory equipment generating vapors and/or aerosols during their operation, should be locally exhausted or vented in a chemical fume hood.

Skin surfaces which might be exposed to these substances during routine operations or foreseeable accidents should be covered with appropriate protective clothing. Gloves should be worn whenever transferring or handling these substances. Consider using full body protection (disposable coveralls) if the potential for extensive personal contamination exists.

All protective equipment should be removed when leaving the designated area and decontaminated (washed) or, if disposable, placed in a plastic bag and secured. Call the Chemical Hygiene Officer for disposal instructions. Skin surfaces, hands, forearms, and face and neck should be washed immediately.

Work surfaces on which these substances will be handled should be covered with an easily decontaminated surface (such as stainless steel) or protected from contamination with plastic trays or plastic backed paper. Call the Chemical Hygiene Officer for decontamination and disposal procedures; these will be substance specific. Materials that will be disposed of should be placed in plastic bags and secured.

Chemical wastes from procedures using these substances should be placed in containers and disposed of as hazardous chemical waste. The wastes should be stored in the designated area (defined above) until picked up. If it is possible to safely chemically decontaminate all toxic substances to nontoxic materials during or at the end of the procedure, this should be done.

Normal laboratory work should not be conducted in a designated area until it has been decontaminated or determined to be acceptable by the principal investigator or Chemical Hygiene Officer.

If one or more of these substances are used in large quantities, on a regular basis (three or more separate handling sessions per week), or for long periods of time (4-6 hours), a qualitative and potentially quantitative exposure assessment should be performed. Contact the Chemical Hygiene Officer to have this assessment performed. The Chemical Hygiene Officer in conjunction with a Health Center Physician will determine if it is appropriate to establish an ongoing medical surveillance program.

Lab personnel of childbearing age should be informed of any known male and female reproductive toxins used in the laboratory. An employee who is pregnant, or planning to become pregnant, and who is working with potential reproductive toxins that might affect the fetus, should contact the Chemical Hygiene Officer to evaluate their exposure and inform her personal physician. The Chemical Hygiene Officer can assess potential exposures and work with the employee and laboratory supervisor, if necessary, to adjust work practices to minimize the potential risk.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

LEAD-IN-WATER AND PAINT MANAGEMENT

# Purpose

Lead is a highly toxic metal that was used for many years in products in and around our schools.  Exposure to lead may cause a range of health effects, from behavioral problems and learning disabilities, to, in cases of high level exposure, seizures and death.  The Hutchinson Public Schools has implemented a Lead-in-Water and Lead-in-Paint Management program to reduce the potential for exposure in District buildings.

# Background

Since the 1980’s, EPA and its federal and state partners have phased out lead in gasoline, reduced lead in drinking water, reduced lead in industrial air pollution, and banned or limited lead used in consumer products, including paint.  States and municipalities have set up programs to identify and treat lead poisoned children and to rehabilitate deteriorated housing.

Parents, too, have greatly helped to reduce lead exposures to their children by cleaning and maintaining homes, having their children’s blood levels checked, and promoting proper nutrition.  The EPA’s Lead Awareness Program continues to work to protect human health and the environment against the dangers of lead by developing regulations, conducting research, and designing educational outreach efforts and materials.  Other agencies including OSHA, CDC, and the Minnesota Department of Health have all been active in the ongoing attempt to reduce lead exposure in this country.

# How does lead get into the school environment?

Lead exists throughout the physical environment.  We are exposed to small amounts each day, usually with no bad health effects.  The major source of lead exposure among U.S. children is lead-based paint and lead-contaminated dust found in deteriorating buildings.  Lead-based paints were banned for use in housing in 1978.  However, approximately 24 million housing units in the United States have deteriorated leaded paint and elevated levels of lead-contaminated house dust.  More than 4 million of these dwellings are homes with one of more young children.

Other sources of lead poisoning are related to:

- hobbies (making stained-glass windows)

- work (recycling or making automobile batteries)

- drinking water (lead pipes, solder, brass fixtures, valves can all leach lead)

- home health remedies (arzacon and greta, which are used for upset stomach or indigestion; pay-loo-ah, which is used for rash or fever).

Lead-based paint also exists in non-residential buildings including, of course, schools.  Even buildings built since 1978 have been found to contain lead paint since the bans implemented by the EPA initially affected only residential use of lead in paint.  Accordingly, all paint in the District is considered to contain lead until we test it and confirm it to be lead free.

Pipes and other components in the school plumbing may contain lead.  If they do, lead may dissolve into the water from both pipes and the components.  The longer the water stands idle in the plumbing pipes and components, the more lead can dissolve into the water.

# Why is lead a health risk?

Lead is a common metal, which has been used over the years in many consumer products.  It can still be found in lead-based paint and under some conditions in air, soil, household dust, pottery, plumbing pip sand fixtures, and drinking water.  If it is inhaled or swallowed, lead can build up in the body over time.  If too much lead enters the body, it can damage the brain, nervous system, and red blood cells.  Pregnant women and nursing mothers also need to be concerned about lead levels in drinking water since it can be passed on to the unborn child and breast fed baby and formula made from contaminated tap water.

Lead can enter the body in two ways:

- It can be inhaled (breathed in)

- It can be ingested (swallowed) by getting it on the hands, clothes, or beard, or in food, drinks, or cigarettes.

Once lead gets into the body, it can stay there for a long time.  It is stored in three places:  the blood, body organs, and bones.  Lead stays in the blood for about a month, in body organs for several months, but can remain in the bones for years.  If affects the brain and nervous system, reproductive capabilities, the kidneys, the digestive system, and the body’s ability to make blood.

Early signs of lead poisoning:

- Tiredness

- Headache

- Metallic taste

- Poor appetite

Later signs are:

- Aches or pains in stomach

- Constipation

- Muscle and joint pains

- Memory problems

These symptoms may be confused with everyday aches and pains.  It is important to remember that lead may be causing injury to the body even if these symptoms are not felt.

# Who is at risk?

- Children under the age of 6 years because they are growing so rapidly and because they tend to put their hands or other objects into their mouths.

- Children from all social and economic levels can be affected by lead poisoning, although children living at or below the poverty line who live in older housing are at greatest risk.

- Children of some racial and ethnic groups living in older housing are disproportionately affected by lead.  For example, 22% of black children and 13% of Mexican-American children living in housing built before 1946 have elevated blood lead levels compared with 6% of white children living in comparable types of housing.

- Pregnant women.

- Adults who are exposed to lead on a frequent basis at work.

# Can lead poisoning be prevented?

Lead poisoning is entirely preventable.  They key is stopping people from coming into contact with lead and treating those who have been poisoned by lead.

- Lead hazards in an environment must be removed.

- Public and health care professionals need to be educated about lead poisoning and how to prevent it.

- Children who are at risk of lead poisoning need to be tested, and, if necessary, treated.

- Workers who are exposed to, or working in proximity to, lead hazards must be monitored to ensure that their blood lead levels are not elevated.

# Student/building occupant lead exposure

Paint that is peeling or chipping poses an immediate safety hazard for young children, since eating even one paint chip can lead poison a child.  Intact lead paint is still a potential problem, because eventually it will deteriorate, and in the meantime it may be releasing lead dust.  Removal of intact paint, however, could release higher levels of lead inside the school than leaving the paint in place.

To address the potential problem, the district has trained personnel monitoring the situation.  The goal of the District is to ensure that lead-based paint is not deteriorating.  As long as lead-based paint is not damaged or deteriorated, interim control measures should adequately protect children and other building occupants from exposure to lead hazards.  However, the District does have clear policies for monitoring and reevaluation of the paint, dust removal, and other forms of maintenance.  Constant vigilance can be an effective short-term approach, but the District does strive to remove of permanently remediate lead-based paint whenever possible.

# What is considered to be a potentially hazardous level of lead?

Lead-based paint is defined by the Environmental Protection Agency as any paint that contains more than 0.5 percent lead by weight (or about 1 milligram per square centimeter of painted surface).  This is the “action level” at which the EPA recommends removal of lead paint if it is deteriorating and chipping.  The Occupational Safety and Health Administration defines lead-containing paint as paint with any detectable level of lead.

Drinking water is considered a risk if it contains greater than 15 ppb which is the EPA “action level” for lead in water.  Most studies show that exposure to lead-contaminated water alone would not be likely to elevate blood lead levels in most adults, even exposure to water with a lead content close to the Environmental Protection Agency’s (EPA’s) “action level” for lead of 15 parts per billion (ppb).  Risk will vary, however, depending upon the individual, the circumstances, and the amount of water consumed.  For example, infants who drink formula prepared with lead-contaminated water may be at a higher risk because of the large volume of water they consumer relative to their body size.

# District Procedures for Reducing Exposure

Currently, the district performs periodic monitoring and testing of potential lead sources in the District.  The procedures vary depending upon the situation:

# Lead-in-Paint prior to paint disturbance

Painted surfaces are tested prior to disturbance to determine lead content.  If lead is present, engineering controls are implemented to reduce the release of lead dust into the school environment.  These controls can include, but are not limited to, the following:

- Containment of the work area

- Negative pressurization of the work area

- Ventilation of the work area

- Wetting of the painted surface prior to disturbance

- Specialized removal equipment

- Work performed only during non-school hours

In all cases, the District strives to follow Lead Safe Work guidelines as established by the EPA.

# Damaged or Deteriorated Painted Surfaces

# When damaged or deteriorated paint is identified, the District will follow Lead Safe Work and Lead Hazard Control guidelines.  In general, paint that is peeling, chipping, or otherwise loose will be removed from the substrate and replaced with lead free paint.  The remaining surface will be stabilized with an approved lead-based paint encapsulant.  If the damage is considered extensive, the District will hire a licensed lead remediation contractor to remove and dispose the damaged material.

# Smaller areas of damaged may be addressed with Interim Controls.  Actual response actions will be determined on a case-by-case basis.

# Elevated Lead in Water

# When drinking water sources are found to contain 15 ppb of lead or greater, the District will implement a flushing program until the source of the lead can be found and remediated.  Drinking water sources will be flushed individually on a daily basis.  At each source, the water will be allowed to run for a minimum of 10 minutes at the start of each day.

Prohibited Activities

Many traditional methods of preparing a painted surface for repainting, refinishing, or restaining are prohibited since these methods are known to poison both children and workers.  Prohibited methods of paint removal include:

- Open-flame burning or torching

- Machine sanding or grinding without a HEPA vacuum exhaust tool

- Uncontained hydroblasting or high-pressure washing

- Abrasive blasting or sandblasting without a HEPA vacuum exhaust tool

- Heat guns operating above 1,100 degrees F.  Dry scraping (except for limited areas) and methylene chloride paint strippers are also not recommended.

General Guidelines for reducing lead exposure

Reduce the use of lead containing materials

- Substitute other materials whenever possible

Control exposure through appropriate local exhaust ventilation

- Be aware of how these systems work, and make sure they are working correctly

Use good housekeeping practices

- Do NOT use compressed air to remove lead-based dust or paint

- Clean up dust and debris on a regular schedule.  Do NOT dry sweep.

- Use a vacuum with a high efficiency filter (HEPA) and/or wet cleaning methods

Provide employees with a clean lunchroom separate from the lead abatement work areas

- Do NOT allow eating, drinking, smoking, or storage of food, drinks, cigarettes, or cosmetics in lead abatement work areas

- Have employees wash hands and face before eating

- Clean the lunchroom regularly after each shift

Provide exposed employees with respirators

- Medical evaluations for employees should be provided

- Fit-testing must be conducted

- Provide employees with training about the proper use and maintenance of respirators

Furnish exposed employees with protective clothing

- Work clothing and shoes should NOT be worn home

- Supply gloves

Training

The District may conduct annual training sessions.  This training is designed to inform workers of:

- The hazards of lead exposure

- Effective control measures such as engineering controls and safe work practices

- Correct methods of using respiratory protection and limitations of respirators

- Good personal hygiene

- Understanding the blood lead levels

- The dangers of bringing lead home from work to their families

Employee Blood Lead Testing

Blood lead levels can rise quickly.  With frequent monitoring of blood lead levels, dangerous exposures can be quickly identified and corrected, workers can be protected, and the need for OSHA-mandated medical removal of workers can be avoided.  A blood lead level over 25 ug/dL shows that substantial exposure to lead is occurring.  There is also increasing evidence that health effects may occur at this blood lead level.

Many federal and state agencies encourage employers to consider more frequent testing than required by OSHA, and the tracking of blood lead levels over time to identify trends.  The district follows a set of guidelines developed in response to those recommendations.  The guidelines meet the OSHA standards and provide more information to the employer and employees to help control dangerous exposures.

Public Schools Guidelines for Employee Medical Monitoring

- First, test each worker before they begin any work involving lead

- Then test that worker every month:

  - For the first 3 months of testing, and

  - Whenever the previous blood lead level was greater than 25 ug/dL (If the previous blood lead level was at least 50 ug/dL, a follow-up test within 2 weeks and medical removal is required), or

  - Whenever and increase of at least 10 ug/dL from the previous test is observed

    - After the first three months, continues testing every 2 months:

      - When the blood lead levels have remained below 25 ug/dL for 3 months, and

      - If an increase of less than 10 ug/dL from the previous test is observed

        - Test every 6 months:

          - When the blood lead levels remain below 25 ug/dL for 6 months, and

          - If an increase of less than 10 ug/dL from the previous test is observed

Results of each test should be provided to the worker.  Graphing the test results can help the employer and the worker identify whether blood lead levels are dropping, remaining stable, or increasing.  The employer should also review the test results for all workers to help identify jobs where problems may be occurring.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

LOCKOUT/TAGOUT

General Plan

Purpose

Control of Hazardous energy is the purpose of the Lockout-Tagout Program for Hutchinson Public Schools. This program establishes the requirements for isolation of both kinetic and potential electrical, chemical, thermal, hydraulic and pneumatic and gravitational energy prior to equipment repair, adjustment or removal. Reference: OSHA Standard 29 CFR 1910.147, the control of hazardous energy.

Definitions

Authorized (Qualified) Employees are the only ones certified to lock and tagout equipment or machinery.  Whether an employee is considered to be qualified will depend upon various circumstances in the workplace. It is likely for an individual to be considered "qualified" with regard to certain equipment in the workplace, but "unqualified" as to other equipment. An employee who is undergoing on-the-job training and who, in the course of such training, has demonstrated an ability to perform duties safely at his or her level of training and who is under the direct supervision of a qualified person, is considered to be "qualified" for the performance of those duties.

Affected Employees are those employees who operate machinery or equipment upon which lockout or tagging out is required under this program. Training of these individuals will be less stringent in that it will include the purpose and use of the lockout procedures.

Other Employees are identified as those that do not fall into the authorized, affected or qualified employee category. Essentially, it will include all other employees. These employees will be provided instruction in what the program is and not to touch any machine or equipment when they see that it has been locked or tagged out.

Training

Authorized Employees Training

All Maintenance Employees, Department Supervisors and Janitorial employees will be trained to use the Lock and Tag Out Procedures. The training will be conducted by the Maintenance Supervisor or the LOTO Coordinator, «LOTO», at time of initial hire. Retraining shall be held at least annually. The training will consist of the following:

1. Review of General Procedures

2. Review of Specific Procedures for machinery, equipment and processes

3. Location and use of Specific Procedures

4. Procedures when questions arise

Affected Employee Training

- Only trained and authorized Employees will repair, replace or adjust machinery, equipment or processes.

- Affected Employees may not remove Locks, locking device, or tags from machinery, equipment or circuits.

- Purpose and use of the lockout procedures.

Other Employee Training

- Only trained and authorized Employees will repair, replace or adjust machinery or Equipment.

- Other Employees may not remove Locks, locking devices or tags from machinery, equipment or circuits

Preparation for Lock and Tag Out Procedures

A Lockout - Tagout survey has been conducted to locate and identify all energy sources to verify which switches or valves supply energy to machinery and equipment. Dual or redundant controls have been removed.

A Tagout Schedule has been developed for each piece of equipment and machinery. This schedule describes the energy sources, location of disconnects, type of disconnect, special hazards and special safety procedures. The schedule will be reviewed each time to ensure employees properly lock and tag out equipment and machinery. If a Tagout Schedule does not exist for a particular piece of equipment, machinery and process, one must be developed prior to conducting a Lockout - Tagout. As repairs and/or renovations of existing electrical systems are made, standardized controls will be used.

Routine Maintenance & Machine Adjustments

Lock and Tag Out procedures are not required if equipment must be operating for proper adjustment. This rare exception may be used only by trained and authorized Employees when specific procedures have been developed to safely avoid hazards with proper training. All consideration shall be made to prevent the need for an employee to break the plane of a normally guarded area of the equipment by use of tools and other devices.

Locks, Hasps and Tags

All Qualified Maintenance Personnel will be assigned a lock with one key, hasp and tag. All locks will be keyed differently, except when a specific individual is issues a series of locks for complex lockout-tagout tasks. In some cases, more than one lock, hasp and tag are needed to completely de-energize equipment and machinery.

Additional locks may be checked out from the Department or Maintenance Supervisor on a shift-by-shift basis.

All locks and hasps shall be uniquely identifiable to a specific employee.

SOP: General Lock and Tagout Procedures

Before working on, repairing, adjusting or replacing machinery and equipment, the following procedures will be utilized to place the machinery and equipment in a neutral or zero mechanical state.

- Preparation for shutdown before authorized or affected employees turn off a machine or piece of equipment, the authorized employee will have knowledge of the type and magnitude of the energy, the hazards of the energy to be controlled, and the means to control the energy.

- Notify all affected Employees that the machinery, equipment or process will be out of service

Machine or Equipment Shutdown.

- The machine or equipment will be turned or shut down using the specific procedures for that specific machine.

- An orderly shutdown will be utilized to avoid any additional or increased hazards to employees as a result of equipment de-energization.

- If the machinery, equipment or process is in operation, follow normal stopping procedures (depress stop button, open toggle switch, etc.). Move switch or panel arms to "Off" or "Open" positions and close all valves or other energy isolating devices so that the energy source(s) is disconnected or isolated from the machinery or equipment.

Machine or Equipment Isolation.

All energy control devices that are needed to control the energy to the machine or equipment will be physically located and operated in such a manner as to isolate the machine or equipment from the energy source.

Lockout or Tagout Device Application.

- Lockout or tagout devices will be affixed to energy isolating devices by authorized employees.

- Lockout devices will be affixed in a manner that will hold the energy isolating devices from the "safe or "off" position.

- Where tagout devices are used they will be affixed in such a manner that will clearly state that the operation or the movement of energy isolating devices from the "safe" or "off" positions is prohibited.

- The tagout devices will be attached to the same point a lock would be attached. If the tag cannot be affixed at that point, the tag will be located as close as possible to the device in a position that will be immediately obvious to anyone attempting to operate the device.

- Lock and tag out all energy devices by use of hasps, chains and valve covers with an assigned individual locks.

Stored Energy

Following the application of the lockout or tagout devices to the energy isolating devices, all potential or residual energy will be relieved, disconnected, restrained, and otherwise rendered safe.

Where the re-accumulation of stored energy to a hazardous energy level is possible, verification of isolation will be continued until the maintenance or servicing is complete.

Release stored energy (capacitors, springs, elevated members, rotating fly wheels, and hydraulic/air/gas/steam systems) must be relieved or restrained by grounding, repositioning, blocking and/or bleeding the system.

Verification of Isolation

Prior to starting work on machines or equipment that have been locked or tagged out, the authorized employees will verify that isolation or de-energization of the machine or equipment have been accomplished.

After assuring that no Employee will be placed in danger, test all lock and tag outs by following the normal start up procedures (depress start button, etc.).

Caution: After Test, place controls in neutral position.

Extended Lockout – Tagout

Should the shift change before the machinery or equipment can be restored to service, the lock and tag out must remain. If the task is reassigned to the next shift, those Employees must lock and tag out before the previous shift may remove their lock and tag.

SOP: Release from LOCKOUT/TAGOUT

Before lockout or tagout devices are removed and the energy restored to the machine or equipment, the following actions will be taken:

- The work area will be thoroughly inspected to ensure that nonessential items have been removed and that machine or equipment components are operational.

- The work area will be checked to ensure that all employees have been safely positioned or removed.

- Before the lockout or tagout devices are removed, the affected employees will be notified that the lockout or tagout devices are being removed.

- Each lockout or tagout device will be removed from each energy isolating device by the employee who applied the device.

SOP: LOTO Procedure for Electrical Plug-Type Equipment

This procedure covers all Electrical Plug-Type Equipment such as Battery Chargers, some Product Pumps, Office Equipment, Powered Hand Tools, Powered Bench Tools, Lathes, Fans, etc.

When working on, repairing, or adjusting the above equipment, the following procedures must be utilized to prevent accidental or sudden startup:

1. 	Unplug Electrical Equipment from wall socket or in-line socket.

2. 	Attach "Do Not Operate" Tag and Plug Box & Lock on end of power cord.

An exception is granted to not lock & tag the plug is the cord & plug remain in the exclusive control of the Employee working on, adjusting or inspecting the equipment.

3.	Test Equipment to assure power source has been removed by depressing the "Start" or  “On" Switch.

4. 	Perform required operations.

5. 	Replace all guards removed.

6. 	Remove Lock & Plug Box and Tag.

7. 	Inspect power cord and socket before plugging equipment into power source.

Any defects must be repaired before placing the equipment back in service.

NOTE: Occasionally used equipment may be unplugged from power source when not in    use.

SOP: LOTO Procedures Involving More Than One Employee

In the preceding SOPs, if more than one Employee is assigned to a task requiring a lock    and tag out, each must also place his or her own lock and tag on the energy isolating       device(s).

SOP: Management's Removal of Lock and Tag Out

Only the Employee that locks and tags out machinery, equipment or processes may          remove his/her lock and tag.  However, should the Employee leave the facility before     removing his/her lock and tag, the Maintenance Manager may remove the lock and tag.   The Maintenance Manager must be assured that all tools have been removed, all guards have been replaced and all Employees are free from any hazard before the lock and tag are removed and the machinery, equipment or process are returned to service. Notification of the employee who placed the lock is required prior to lock removal.

Contractors

Contractors, working on school property and equipment must use this Lockout -Tagout procedure while servicing or maintaining equipment, machinery or processes.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

## MACHINE GUARDING

### PURPOSE

Hutchinson Public Schools recognizes that the proper guarding and use of machines is essential to the safety of the instructors and students.  This policy is intended to comply with OSHA standard 29 CFR 1910.219 “Machinery and Machine Guarding”, and the Minnesota Department of Education Best Practices Guidelines for use of stationary machinery.

The contact person(s) in Hutchinson Public Schools for the shop safety and machine-guarding program is:

###### PROGRAM DESCRIPTION

All mechanical action or motion is hazardous.  Rotating members, reciprocating arms, moving belts, meshing gears, cutting teeth, robotic movements, and parts in impact or shear are some examples of the type of action requiring protection.  When the operation of a machine or accidental contact with it can injure the operator or others in the vicinity, the hazards must be either controlled or eliminated.

Eliminating or controlling hazards will be accomplished by using engineering controls (guards), personal protective equipment and training in the rules of the shop and safe behavioral practices.

Areas in Hutchinson Public Schoolswhere shop safety and machine guarding rules apply include:

- Instructional Shops

- Maintenance Shops

- Bus Maintenance Shop

#### GENERAL SAFETY RULES

Only tools, equipment and machinery that are properly maintained and adjusted may be used.  Inspection and maintenance records will be kept on all stationary equipment.

Safety guards and devices furnished by the school district shall be used.  Removal or non-use will not be authorized.

Before performing maintenance or major adjustments to moving parts that require panels and guards be removed, all machine energy sources or energy isolating devices must be locked out and tested.  (Refer to the district’s lockout/tagout plan for more information.)

Approved personal protective equipment shall be worn when the exposure indicates the need for it, i.e., head and ear protection, face and eye protection, respiratory equipment, protective footwear, etc.

Stationary machinery will have non-skid flooring placed in the operator’s working area.

All machinery will be secured to prevent tipping, walking or excessive vibration while operating.

All knives and cutting heads shall be kept sharp, properly adjusted, and firmly secured.  Dull, badly set, improperly filed, or improperly tensioned saws shall be immediately removed from service.  Cracked saw blades shall be removed from service.

Arbors of all circular saws shall be free from play.  Bearings shall be kept free from lost motion and shall be well lubricated.

Push sticks or push blocks shall be provided at the work place in several sizes and types suitable for the work to be done.

Floors will be kept free of debris or substances that might constitute a tripping or slipping hazard.  The area under and around machines will be kept free of sawdust accumulation.

Employees and students will wear clothing appropriate to the type of work to be performed.  Clothing shall not have loose or flowing appendages.  Shoes shall completely cover the foot.  Jewelry such as rings, pendants, necklaces, earrings, and watches shall not be worn when they constitute a hazard.  Long hair (longer than collar length) must be restrained to preclude the possibility of entanglement.

Horseplay, running, practical jokes and disruptive behavior are prohibited.

A first aid log will be kept in each shop area.

###### ENGINEERING CONTROLS

##### General Requirements

Each stationary machine will be installed and equipped as described below:

1.	All machinery must be installed according to the National Electrical Code

(NEC).  Machines with exposed non-current carrying metal components, have the potential to become energized and shall be grounded.

2.	Control switches shall be within reach of the operator.  On/Off switches

should be lockout capable in the off position.  Also, machine controls must         not be wedged for continuous operation.

3.	An emergency stop button will be installed within reach of the operator.    The emergency stop will be red with a yellow background.

- Machines that are not adequately safeguarded to protect the worker during an under voltage situation or a power failure must have a UL listed under voltage protective device installed.  This device prevents the machine from starting up after a power interruption, which may expose staff and students to the hazards of moving parts.

- Machines shall be color-coded according to ANSI and NFPA 79 standards.

- Each machine will have an adequate dust collection system.

- Each machine will have a safety placard posted so that it is easily visible to the operator.

- Each machine shall have all its appropriate guards, according to the OSHA standards 29 CFR 1910.211 to 1910.219.

- When a guard cannot be used in a circular saw operation (such as dadoing, jointing, molding or rabbeting), feather boards or other suitable jigs will be used.

#### Guards

Areas where guarding is required are:

  - Point of Operation – cutting, shearing, punching, bending.

  - Power Transmission – gears, drive belts & chains, in-running nip points.

  - Rotating Parts – collars, couplings, cams, clutches, flywheels, shaft ends, spindles, rotating bar stock, lead screws, and horizontal or vertical shafting.

  - Flying Particles – grinding, chemical spraying.

  - Hot/Cold extremes.

Types of guarding include:

- Fixed enclosures

- Interlock enclosures

- Presence sensing devices

- Two Hand controls

- Guard by location

- Hand restraints and pullbacks

Guards shall be considered a permanent part of a machine or equipment and will be:

- Strong enough to resist normal wear and shock.

- Will not interfere with efficient operation of the machine.

- Will prevent access to danger zones or point of operation.

- Shall not weaken the equipment structure.

- Afford maximum protection for the operator and for surrounding employees.

- Shall not be a source of additional hazards, such as: splinters, pinch points, and sharp corners.

******* Checklists for each machine will be completed on a regular basis to

ensure the proper function of each machine.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

PERSONAL PROTECTIVE EQUIPMENT

Purpose

Hutchinson Public Schools provides all Employees with required PPE to suit the task and known hazards. This section covers the requirements for Personal Protective Equipment with the exception of PPE used for hearing conservation and respiratory protection or PPE required for hazardous material response to spills or releases that are covered under separate programs.

General Policy

Engineering controls shall be the primary methods used to eliminate or minimize hazard exposure in the workplace.  When such controls are not practical or applicable, personal protective equipment shall be employed to reduce or eliminate personnel exposure to hazards.  Personal protective equipment (PPE) will be provided, used, and maintained when it has been determined that its use is required and that such use will lessen the likelihood of occupational injuries and/or illnesses.

General Rules

Design

All personal protective clothing and equipment will be of safe design and construction for the work to be performed. Only those items protective clothing and equipment that meet National Institute of Occupational Safety and Health (NIOSH) or American National Standards Institute (ANSI) standards will be procured or accepted for use.

Hazard assessment and equipment selection.

Hazard analysis procedures shall be used to assess the workplace to determine if hazards are present, or are likely to be present, which necessitate the use of personal protective equipment (PPE). These procedures will be carried out by the PPE Program Contact Person or Musser Environmental, Inc.

If such hazards are present, or likely to be present, the following actions will be taken:

- Select, and have each affected Employee use, the proper PPE

- Communicate selection decisions to each affected Employee

- Select PPE that properly fits each affected employee.

Defective and damaged equipment.

Defective or damaged personal protective equipment shall not be used.

Training

All Employees who are required to use PPE shall be trained to know at least the following:

- When PPE is necessary;

- What PPE is necessary;

- How to properly don, remove, adjust, and wear PPE;

- The limitations of the PPE

- The proper care, maintenance, useful life and disposal of the PPE.

Each affected Employee shall demonstrate an understanding of the training and the ability to use PPE properly, before being allowed to perform work requiring the use of PPE.

Certification of training for PPE is required by OSHA and shall be accomplished by using the Job Safety Checklist to verify that each affected Employee has received and understood the required PPE training.

PPE Selection

Controlling hazards

PPE devices alone should not be relied on to provide protection against hazards, but should be used in conjunction with guards, engineering controls, and sound manufacturing practices.

Selection guidelines

The general procedure for selection of protective equipment is to:

a) Become familiar with the potential hazards and the type of protective equipment that is available, and what it can do; i.e., splash protection, impact protection, etc.;

b) Compare the hazards associated with the environment; i.e., impact velocities, masses, projectile shape, radiation intensities, with the capabilities of the available protective equipment;

c) Select the protective equipment that ensures a level of protection greater than the minimum required to protect employees from the hazards

d) Fit the user with the protective device and give instructions on care and use of the PPE. It is very important that end users be made aware of all warning labels for and limitations of their PPE.

Fitting the Device

Careful consideration must be given to comfort and fit. PPE that fits poorly will not afford the necessary protection. Continued wearing of the device is more likely if it fits the wearer comfortably. Protective devices are generally available in a variety of sizes. Care should be taken to ensure that the right size is selected.

Devices with adjustable features

Adjustments should be made on an individual basis for a comfortable fit that will maintain the protective device in the proper position. Particular care should be taken in fitting devices for eye protection against dust and chemical splash to ensure that the devices are sealed to the face. In addition, proper fitting of helmets is important to ensure that it will not fall off during work operations. In some cases a chinstrap may be necessary to keep the helmet on an employee's head. (Chinstraps should break at a reasonably low force, however, so as to prevent a strangulation hazard). Where manufacturer's instructions are available, they should be followed carefully.

Eye and Face Protection

The majority of occupational eye injuries can be prevented by the use of suitable/approved safety spectacles, goggles, or shields. Approved eye and face protection shall be worn when there is a reasonable possibility of personal injury.

- Each employee shall use appropriate eye or face protection when exposed to eye or face hazards from flying particles, molten metal, liquid chemicals, acids or caustic liquids, chemical gases or vapors, or potentially injurious light radiation.

- Each employee shall use eye protection that provides side protection when there is a hazard from flying objects. Detachable side protectors are acceptable.

- Each employee who wears prescription lenses while engaged in operations that involve eye hazards shall wear eye protection that incorporates the prescription in its design, or shall wear eye protection that can be worn over the prescription lenses without disturbing the proper position of the prescription lenses or the protective lenses.

- Eye and face PPE shall be distinctly marked to facilitate identification of the manufacturer.

- Each employee shall use equipment with filter lenses that have a shade number appropriate for the work being performed for protection from injurious light radiation.

Typical hazards that can cause eye and face injury are:

- Splashes of toxic or corrosive chemicals, hot liquids, and molten metals

- Flying objects, such as chips of wood, metal, and stone dust

- Fumes, gases, and mists of toxic or corrosive chemicals; and

- Aerosols of biological substances

Prevention of eye accidents requires that all persons who may be in eye hazard areas wear protective eyewear. This includes employees, visitors, contractors, or others passing through an identified eye hazardous area. To provide protection for these personnel, activities shall procure a sufficient quantity of heavy-duty goggles and/or plastic eye protectors which afford the maximum amount of protection possible. If these personnel wear personal glasses, they shall be provided with a suitable eye protector to wear over them.

Eye / Face Protection Specifications

Eye and face protectors procured, issued to, and used by employees, contractors and visitors must conform to the following design and performance standards:

a) Provide adequate protection against the particular hazards for which they are designed

b) Fit properly and offer the least possible resistance to movement and cause minimal discomfort while in use.

c) Be durable.

d) Be easily cleaned or disinfected for or by the wearer.

e) Be clearly marked to identify the manufacturer.

f) Persons who require corrective lenses for normal vision, and who are required to wear eye protection, must wear goggles or spectacles of one of the following types:

1) Spectacles with protective lenses that provide optical correction

2) Goggles that can be worn over spectacles without disturbing the adjustment of the spectacles

3) Goggles that incorporate corrective lenses mounted behind the protective lenses

Eye & Face Protector Use

Safety Spectacles. Protective eyeglasses are made with safety frames, tempered glass or plastic lenses, temples and side shields that provide eye protection from moderate impact and particles encountered in job tasks such as carpentry, woodworking, grinding, scaling, etc.

Single Lens Goggles. Vinyl framed goggles of soft pliable body design provide adequate eye protection from many hazards. These goggles are available with clear or tinted lenses, perforated, port vented, or non-vented frames. Single lens goggles provide similar protection to spectacles and may be worn in combination with spectacles or corrective lenses to insure protection along with proper vision.

Welders/Chippers Goggles. These goggles are available in rigid and soft frames to accommodate single or two eye piece lenses.

1) Welders goggles provide protection from sparking, scaling or splashing metals and harmful light rays. Lenses are impact resistant and are available in graduated shades of filtration.

2) Chippers/grinders goggles provide eye protection from flying particles. The dual protective eye cups house impact resistant clear lenses with individual cover plates.

Face Shields. These normally consist of an adjustable headgear and face shield of tinted/transparent acetate or polycarbonate materials, or wire screen. Face shields are available in various sizes, tensile strength, impact/heat resistance and light ray filtering capacity. Face shields will be used in operations when the entire face needs protection and should be worn to protect eyes and face against flying particles, metal sparks, and chemical/ biological splash.

Welding Shields. These shield assemblies consist of vulcanized fiber or glass fiber body, a ratchet/button type adjustable headgear or cap attachment and a filter and cover plate holder. These shields will be provided to protect workers' eyes and face from infrared or radiant light burns, flying sparks, metal spatter and slag chips encountered during welding, brazing, soldering, resistance welding, bare or shielded electric arc welding and oxyacetylene welding and cutting operations.

Head Protection

Hats and caps have been designed and manufactured to provide workers protection from impact, heat, electrical and fire hazards. These protectors consist of the shell and the suspension combined as a protective system. Safety hats and caps will be of nonconductive, fire and water resistant materials. Bump caps or skull guards are constructed of lightweight materials and are designed to provide minimal protection against hazards when working in congested areas. Head protection will be furnished to, and used by, all employees and contractors engaged in construction and other miscellaneous work in head-hazard areas. Head protection will also be required to be worn by engineers, inspectors, and visitors at construction sites. Bump caps/skull guards will be issued to and worn for protection against scalp lacerations from contact with sharp objects. They will not be worn as substitutes for safety caps/hats because they do not afford protection from high impact forces or penetration by falling objects.

Selection guidelines for head protection.

All head protection is designed to provide protection from impact and penetration hazards caused by falling objects. Head protection is also available which provides protection from electric shock and burn. When selecting head protection, knowledge of potential electrical hazards is important. Class A helmets, in addition to impact and penetration resistance, provide electrical protection from low-voltage conductors (they are proof tested to 2,200 volts). Class B helmets, in addition to impact and penetration resistance, provide electrical protection from high-voltage conductors (they are proof tested to 20,000 volts). Class C helmets provide impact and penetration resistance (they are usually made of aluminum which conducts electricity), and should not be used around electrical hazards.

Where falling object hazards are present, helmets must be worn. Some examples include: working below other workers who are using tools and materials which could fall; working around or under conveyor belts which are carrying parts or materials; working below machinery or processes which might cause material or objects to fall; and working on exposed energized conductors.

Foot Protection

General requirements

Each affected employee shall wear protective footwear when working in areas where there is a danger of foot injuries due to falling or rolling objects, or objects piercing the sole, and where employee's feet are exposed to electrical hazards.

Selection guidelines for foot protection.

Safety shoes and boots provide both impact and compression protection. Where necessary, safety shoes can be obtained which provide puncture protection. In some work situations, metatarsal protection should be provided, and in other special situations electrical conductive or insulating safety shoes would be appropriate. Safety shoes or boots with impact protection would be required for carrying or handling materials such as packages, objects, parts or heavy tools, which could be dropped; and, for other activities where objects might fall onto the feet.

Safety shoes or boots with compression protection would be required for work activities involving skid trucks (manual material handling carts) around bulk rolls (such as paper rolls) and around heavy pipes, all of which could potentially roll over an employee's feet. Safety shoes or boots with puncture protection would be required where sharp objects such as nails, wire, tacks, screws, large staples, scrap metal etc., could be stepped on by employees causing a foot injury.

Hand Protection

General Requirements

Hand protection is required when employees' hands are exposed to hazards such as those from skin absorption of harmful substances; severe cuts or lacerations; severe abrasions; punctures; chemical burns; thermal burns; and harmful temperature extremes.

Skin contact is a potential source of exposure to toxic materials; it is important that the proper steps be taken to prevent such contact. Gloves should be selected on the basis of the material being handled, the particular hazard involved, and their suitability for the operation being conducted. One type of glove will not work in all situations.

Most accidents involving hands and arms can be classified under four main hazard categories: chemicals, abrasions, cutting, and heat. There are gloves available that can protect workers from any of these individual hazards or combination of hazards.

Gloves should be replaced periodically, depending on frequency of use and permeability to the substance(s) handled. Gloves overtly contaminated should be rinsed and then carefully removed after use.

Gloves should also be worn whenever it is necessary to handle rough or sharp-edged objects, and very hot or very cold materials. The type of glove materials to be used in these situations include leather, welder's gloves, aluminum-backed gloves, and other types of insulated glove materials.

Careful attention must be given to protecting your hands when working with tools and machinery. Power tools and machinery must have guards installed or incorporated into their design that prevent the hands from contacting the point of operation, power train, or other moving parts. To protect the hands from injury due to contact with moving parts, it is important to:

- Ensure that guards are always in place and used.

- Always lock out machines or tools and disconnect the power before making repairs.

- Treat a machine without a guard as inoperative; and

- Do not wear gloves around moving machinery, such as drill presses, mills, lathes, and grinders.

Selection guidelines for hand protection

Selection of hand PPE shall be based on an evaluation of the performance characteristics of the hand protection relative to the task(s) to be performed, conditions present, duration of use, and the hazards and potential hazards identified. Gloves are often relied upon to prevent cuts, abrasions, burns, and skin contact with chemicals that are capable of causing local or systemic effects following dermal exposure. There is no glove that provides protection against all potential hand hazards, and commonly available glove materials provide only limited protection against many chemicals. Therefore, it is important to select the most appropriate glove for a particular application and to determine how long it can be worn, and whether it can be reused. It is also important to know the performance characteristics of gloves relative to the specific hazard anticipated; e.g., chemical hazards, cut hazards, flame hazards, etc. Before purchasing gloves, request documentation from the manufacturer that the gloves meet the appropriate test standard(s) for the hazard(s) anticipated. Other factors to be considered for glove selection in general include:

(A) As long as the performance characteristics are acceptable, in certain circumstances, it may be more cost effective to regularly change cheaper gloves than to reuse more expensive types.

(B) The work activities of the employee should be studied to determine the degree of dexterity required, the duration, frequency, and degree of exposure of the hazard, and the physical stresses that will be applied.

Selection of gloves for chemical hazards

The first consideration in the selection of gloves for use against chemicals is to determine, if possible, the exact nature of the substances to be encountered. Read instructions and warnings on chemical container labels and MSDSs before working with any chemical. Recommended glove types are often listed in the section for personal protective equipment.

All glove materials are eventually permeated by chemicals. However, they can be used safely for limited time periods if specific use and glove characteristics (i.e., thickness and permeation rate and time) are known. The safety office can assist is determining the specific type of glove material that should be worn for a particular chemical.

(A) The toxic properties of the chemical(s) must be determined; in particular, the ability of the chemical to cause local effects on the skin and/or to pass through the skin and cause systemic effects.

(B) Generally, any "chemical resistant" glove can be used for dry powders;

(C) For mixtures and formulated products (unless specific test data are available), a glove should be selected on the basis of the chemical component with the shortest breakthrough time, since it is possible for solvents to carry active ingredients through polymeric materials.

(D) Employees must be able to remove the gloves in such a manner as to prevent skin contamination.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

# PLAYGROUND SAFETY PLAN

## PURPOSE

The following plan has been developed as a guide for the implementation of and compliance with ASTM F1487 Standard Consumer Safety Performance Specification for Playground Equipment for Public Use.  The American Society for Testing and Materials (ASTM) published its playground safety standard in response to playground injuries reported by the U.S. Consumer Product Safety Commission.  The standard is intended to reduce the potential for injuries in playground areas.  The plan is to provide written guidelines for an effective playground safety program and to increase the safety for children using the playground.

### GOALS

- Reduce playground area safety hazards.

- Provide checklists and training for staff to perform routine safety inspections.

- Increase the protection of individuals using the playground facilities.

- Maintain appropriate documents of training, inspections, and accidents.

### POLICY

It is the goal of the district to provide and maintain safer parks and facilities for the public.  In order to meet this goal, the district has developed standard operating procedures to help maintain their facilities and protect the users.  These procedures will not eliminate risk, but will make all attempts to reduce hazards and injuries.  District personnel will follow the following guidelines:

- Manufacturers’ specifications shall be followed when installing all equipment.

- The district shall provide adequate resources for maintenance, repairs, and inspections.

- Inspections, repairs, and maintenance done by trained employees shall be documented and in accordance with current standards.

- All accidents shall be documented and retained for future reference.

### TRAINING

To ensure proper and consistent inspections and maintenance, training sessions for staff involved in the playground safety program are conducted.  The training includes current standards and guidelines put forth by the CPSC and ASTM.  Staff or consultants who perform the playground audits and monthly inspections are Certified Playground Safety Inspectors (CPSI’s) as authorized by the National Playground Safety Institute while the staff responsible for the weekly inspections are trained in the playground safety plan.  All training is documented and retained by the school district.

### ACCIDENTS/INJURIES

The purpose of the Playground Safety Management Plan is to reduce playground accidents and injuries and provide the safest environment possible.  When accidents occur, it is necessary to document the nature of the accident to determine its cause, obtain a site report, witness documentation, and any repairs made to the equipment.

### AUDITS/INSPECTIONS

Audits and inspections are an important part of the playground safety management plan.  In order to reduce the number of injuries on the playground, the district must inspect the playground environment to identify hazards based on ASTM and CPSC standards.

- The safety AUDIT is a one-time initial inspection that performs an in-depth analysis of the playground in its entirety.  It helps to prioritize repair or removal of equipment and will assist in the development of a long-term strategy for playground safety.  The Department of Education requires the audit to be performed by a Certified Playground Safety Inspector in order to use and maintain health and safety funding.

- Safety inspections are done routinely as a method of preventive maintenance.  The two types of inspections are monthly and weekly.

  - The monthly inspection is more in-depth and includes a comprehensive look at the entire playground and its equipment.

  - The weekly inspection is a quick once-over to locate any immediate playground hazards such as vandalism, broken glass, broken equipment, or surface issues.

****  All audit and inspection forms will be completed and retained in the PLAYGROUND SAFETY file or CUSTODIAL MANUAL.  Contact the Play Ground Contact Person or Musser Environmental, Inc. for more information.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

RADON GAS SAFETY

Introduction

The United States Environmental Protection Agency (EPA) and other major national and international scientific organizations have concluded that radon is a human carcinogen and a serious environmental health problem. Early concern about indoor radon focused primarily on the hazard posed in the home. More recently, the EPA has conducted extensive research on the presence and measurement of radon in schools. Initial reports from some of those studies prompted the Administrator in 1989 to recommend that schools nationwide be tested for the presence of radon. Based on more recent findings, EPA continues to advise U. S. schools to test for radon and to reduce levels to below 4 pCi/L.

Accordingly, Hutchinson Public Schools has implemented this program to assist in the management of radon issues.  The Program Manager for Radon Gas Safety is the Radon Contact Person.

Health Effects

Radon is a known human carcinogen. Prolonged exposure to elevated radon concentrations causes an increased risk of lung cancer. Like other environmental pollutants, there is some uncertainty about the magnitude of radon health risks. However, scientists are more certain about radon risks than risks from most other cancer-causing environmental pollutants. This is because estimates of radon risk are based on studies of cancer in humans (underground miners). Additional studies on more typical populations are underway.

Not everyone who breathes radon decay products will develop lung cancer. An individual’s risk of getting lung cancer from radon depends mostly on three factors: the level of radon, the duration of exposure, and the individual’s smoking habits. Risk increases as an individual is exposed to higher levels of radon over a longer period of time. Smoking combined with radon is an especially serious health risk. The risk of dying from lung cancer caused by radon is much greater for smoker than it is for non-smokers.

Children have been reported to have greater risk than adults for certain types of cancer from radiation, but there are currently no conclusive data on whether children are at greater risk than adults from radon.

Placing Detectors in a Room

- Do not place detectors near drafts resulting from heating, ventilating vents, air conditioning vents, fans, doors, and windows.

- Place detectors where they are least likely to be disturbed or covered up.

- Do not place detectors in direct sunlight or in areas of high humidity.

- Place detectors at least approximately 50 centimeters (20 inches) from the floor and 10 centimeters (4 inches) from other objects and away from the exterior walls of the building.

- Place detects about every 2,000 square feet for large spaces.

- Do not disturb the test device at any time during the test.

When to Conduct Radon Measurements

Recommendations

The purpose of initial testing is to identify rooms that have a potential for elevated radon levels (e.g., levels of 4 pCi/L or greater) during the school year. To achieve this purpose, EPA recommends that initial measurements be conducted:

- Under closed conditions (closed windows/doors except for normal exit/entry).

- After 12 hours of closed conditions when using a 2- to 5-day test (e.g., initiate testing after a weekend).

- During colder months (October through March, depending on geographical location).

- During weekdays with HVAC systems operating normally when conducting a 2- to 5-day test.

Summary of EPA Recommendations

- Initial short-term tests should be made in all frequently occupied, ground-contact rooms.

- Initial testing should be conducted during the coldest months when the heating system is operating and windows and doors are closed (except for normal exit/entry).

- If a school uses a short-term test of 2 to 5 days, the tests should be conducted on weekdays with the HVAC system operating normally.

- If the short-term test shows that the radon level in a room is 4 pCi/L or greater, schools should conduct either a second short-term test or a long-term test to confirm the presence of an elevated radon level.

- EPA does not recommend that schools use a single short-term test result as the basis for determining if action needs to be taken to reduce radon levels.

- Duplicates and blanks should accompany all testing programs (conducted by school personnel or a measurement firm) to provide assurance of the quality of measurement.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

RESPIRATORY PROTECTION

Purpose

In the Respiratory Protection program, hazard assessment and selection of proper respiratory PPE is conducted in the same manner as for other types of PPE. In the control of those occupational diseases caused by breathing air contaminated with harmful dusts, fogs, fumes, mists, gases, smokes, sprays, or vapors, the primary objective at Hutchinson Public Schools is to prevent atmospheric contamination. This shall be accomplished as far as feasible by accepted engineering control measures (for example, enclosure or confinement of the operation, general and local ventilation, and substitution of less toxic materials). When effective engineering controls are not feasible, or while they are being instituted, appropriate respirators shall be used. References: OSHA Standards Respiratory Protection (29 CFR 1910.134)

Responsibilities

All Employees shall follow the requirements of the Respiratory Protection Program.

Management

- Implement the requirements of this program

- Provide a selection of respirators as required

- Enforce all provisions of this program

- Appoint a Specific Designated individual to conduct the respiratory protection program

Program Administrator

Hutchinson Public Schools has designated the Respirator Program Contact Person as Respiratory Program Manager.  The Program Manager is qualified by appropriate training or experience that is commensurate with the complexity of the program to administer or oversee the respiratory protection program and conduct the required evaluations of program effectiveness including:

- Review sanitation/storage procedures.

- Ensure respirators are properly, stored, inspected and maintained

- Monitor compliance for this program

- Provide training for affected Employees

- Review compliance and ensure monthly inspection of all respirators

- Provide respirator fit testing

Designated Occupational Health care Provider

Conduct medical aspects of program

Voluntary Use of Respirators

OSHA requires that voluntary use of respirators, when not required by the school, must be controlled as strictly as under required circumstances. To prevent violations of the Respiratory Protection Standard Employees are not allowed voluntary use of their own or school supplied respirators of any type. Exception: Employees whose only use of respirators involves the voluntary use of filtering (non-sealing) face pieces (dust masks).

Program Evaluation

Evaluations of the workplace are necessary to ensure that the written respiratory protection program is being properly implemented; this includes consulting with employees to ensure that they are using the respirators properly. Evaluations shall be conducted as necessary to ensure that the provisions of the current written program are being effectively implemented and that it continues to be effective.

Program evaluation will include discussions with employees required to use respirators to assess the employees' views on program effectiveness and to identify any problems. Any problems that are identified during this assessment shall be corrected. Factors to be assessed include, but are not limited to:

- Respirator fit (including the ability to use the respirator without interfering with effective workplace performance).

- Appropriate respirator selection for the hazards to which the employee is exposed

- Proper respirator use under the workplace conditions the employee encounters

- Proper respirator maintenance

Record Keeping

The District will retain written information regarding medical evaluations, fit testing, and the respirator program. This information will facilitate employee involvement in the respirator program, assist Hutchinson Public Schools in auditing the adequacy of the program, and provide a record for compliance determinations by OSHA.

Training and Information

Effective training for employees who are required to use respirators is essential. The training must be comprehensive, understandable, and recur at least annually and more often if necessary. Training will be provided prior to requiring the employee to use a respirator in the workplace. The training shall ensure that each employee can demonstrate knowledge of at least the following:

- Why the respirator is necessary and how improper fit, usage, or maintenance can compromise the protective effect of the respirator

- Limitations and capabilities of the respirator

- How to use the respirator effectively in emergency situations, including situations in which the respirator malfunctions

- How to inspect, put on and remove, use, and check the seals of the respirator

- What the procedures are for maintenance and storage of the respirator

- How to recognize medical signs and symptoms that may limit or prevent the effective use of respirators

The general requirements of this program

Retraining shall be conducted annually and when:

- Changes in the workplace or the type of respirator render previous training obsolete

- Inadequacies in the employee's knowledge or use of the respirator indicate that the employee has not retained the requisite understanding or skill

- Other situation arises in which retraining appears necessary to ensure safe respirator use.

Training is divided into the following sections:

Classroom Instruction

1.	Overview of the School Respiratory Protection Program & OSHA Standard

2.	Respiratory Protection Safety Procedures

3.	Respirator Selection

4.	Respirator Operation and Use

5.	Why the respirator is necessary

6.	How improper fit, usage, or maintenance can compromise the protective    effect

7.	Limitations and capabilities of the respirator.

8.	How to use the respirator effectively in emergency situations, including respirator malfunctions

9.	How to inspect, put on and remove, use, and check the seals of the respirator.

10.	What the procedures are for maintenance and storage of the respirator.

11.	How to recognize medical signs and symptoms that may limit or prevent the effective use of respirators.

12.	Change out schedule and procedure for air purifying respirators.

Fit Testing

Hands-on respirator Training

1.	Respirator Inspection

2.	Respirator cleaning and sanitizing

3.	Record Keeping

4.	Respirator Storage

5.	Respirator Fit Check

6.	Emergencies

Basic Respiratory Protection Safety Procedures

- Only authorized and trained Employees may use Respirators. Those Employees may use only the Respirator that they have been trained on and properly fitted to use.

- Only Physically Qualified Employees may be trained and authorized to use respirators. A pre-authorization and annual certification by a qualified physician will be required and maintained. Any changes in an Employees health or physical characteristics will be reported to the Occupational Health Department and will be evaluated by a qualified physician.

- Only the proper prescribed respirator or SCBA may be used for the job or work levels range environment. Air cleansing respirators may be worn in work environments when oxygen from 19.5 percent to 23.5 percent and when the appropriate air-cleansing canister, as determined by the Manufacturer and approved by NIOSH or MESA, for the known hazardous substance is used. SCBAs will be worn in oxygen deficient and oxygen rich environments (below 19.5 percent or above 23.5 percent oxygen).

      - Employees working in environments where a sudden release of a hazardous substance is likely will wear an appropriate respirator for that hazardous substance (example: Employees working in an ammonia compressor room will have an ammonia APR respirator on their person.).

- Only SCBAs will be used in oxygen deficient environments, environments with an unknown hazardous substance or unknown quantity of a known hazardous substance or any environment that is determined "Immediately Dangerous to Life or Health" (IDLH).

- Employees with respirators loaned on "permanent check out" will be responsible for the sanitation, proper storage and security. Respirators damaged by normal wear will be repaired or replaced by the School when returned.

- The last Employee using a respirator and/or SCBA that are available for general use will be responsible for proper storage and sanitation. Monthly and after each use, all respirators will be inspected with documentation to assure its availability for use.

- All respirators will be located in a clean, convenient and sanitary location.

- In the event that Employees must enter a confined space, work in               environments with hazardous substances that would be dangerous to life or health should an RPE fail (a SCBA is required in this environment), and/or   conduct a HAZMAT entry, a "buddy system" detail will be used with a Safety Watchman with constant voice, visual or signal line communication. Employees will follow the established Emergency Response Program and/or Confined Space Entry Program when applicable.

- Management will establish and maintain surveillance of jobs and work place conditions and degree of Employee exposure or stress to maintain the proper procedures and to provide the necessary RPE.

- Management will establish and maintain safe operation procedures for the safe use of RPE with strict enforcement and disciplinary action for failure to follow all general and specific safety rules. Standard Operation Procedures for General RPE use will be maintained as an attachment to the Respiratory Protection Program and Standard Operation Procedures for RPE use under emergency response situations will be maintained as an attachment to the Emergency Response Program.

Respirator User Policies

Adherence to the following guidelines will help ensure the proper and safe use of

Respiratory equipment

- Wear only the respirator you have been instructed to use. For example, do not wear a self-containing breathing apparatus if you have been assigned and fitted for a half-mask respirator.

- Wear the correct respirator for the particular hazard. For example, some situations, such as chemical spills or other emergencies, may require a higher level of protection than your respirator can handle. Also, the proper cartridge must be matched to the hazard ( a cartridge designed for dusts and mists will not provide protection for chemical vapors)

- Check the respirator for a good fit before each use. Positive and negative fit checks should be conducted.

- Check the respirator for deterioration before and after use. Do not use a defective respirator.

- Recognize indications that cartridges and canisters are at their end of service. If in doubt, change the cartridges or canisters before using the respirator.

- Practice moving and working while wearing the respirator so that you can get used to it.

- Clean the respirator after each use, thoroughly dry it and place the cleaned respirator in a sealable plastic bag.

- Store respirators carefully in a protected location away from excessive heat, light, and chemicals.

Selection of Respirators

The School has evaluated the respiratory hazard(s) in each workplace, identified relevant workplace and use factors and has based respirator selection on these factors. Also included are estimates of employee exposures to respiratory hazard(s) and an identification of the contaminant's chemical state and physical form. This selection has included appropriate protective respirators for use in IDLH atmospheres, and has limited the selection and use of air-purifying respirators. All selected respirators are NIOSH-certified.

Filter Classifications - These classifications are marked on the filter or filter package

N-Series: Not Oil Resistant

Approved for non-oil particulate contaminants

Examples: dust, fumes, mists not containing oil

R-Series: Oil Resistant

Approved for all particulate contaminants, including those containing oil

Examples: dusts, mists, fumes

Time restriction of 8 hours when oils are present

P-Series: Oil Proof

Approved for all particulate contaminants including those containing oil

Examples: dust, fumes, mists

See Manufacturer's time use restrictions on packaging

Respirators for IDLH atmospheres.

The following respirators will be used in IDLH atmospheres:

A full-face piece pressure demand SCBA certified by NIOSH for a minimum service life of thirty minutes, or a combination full-face piece pressure demand supplied-air respirator (SAR) with auxiliary self-contained air supply.

Respirators provided only for escape from IDLH atmospheres shall be NIOSH-certified for escape from the atmosphere in which they will be used.

Respirators for atmospheres that are not IDLH.

The respirators selected shall be adequate to protect the health of the employee and ensure compliance with all other OSHA statutory and regulatory requirements, under routine and reasonably foreseeable emergency situations. The respirator selected shall be appropriate for the chemical state and physical form of the contaminant.

Identification of Filters & Cartridges

All filters and cartridges shall be labeled and color-coded with the NIOSH approval label and that the label is not removed and remains legible. A change out schedule for filters and canisters has been developed to ensure these elements of the respirators remain effective.

Respirator Filter & Canister Replacement

An important part of the Respiratory Protection Program includes identifying the useful life of canisters and filters used on air-purifying respirators. Each filter and canister shall be equipped with an end-of-service-life indicator (ESLI) certified by NIOSH for the contaminant; or

If there is no ESLI appropriate for conditions a change schedule for canisters and cartridges that is based on objective information or data that will ensure that canisters and cartridges are changed before the end of their service life.

Filter & Cartridge Change Schedule

Stock of spare filers and cartridges shall be maintained to allow immediate change when required or desired by the employee

Cartridges shall be changed based on the most limiting factor below:

- Prior to expiration date

- Manufacturer's recommendations for use and environment

- After each use

- When requested by employee

- When contaminate odor is detected

- When restriction to air flow has occurred as evidenced by increase effort by user to breathe normally

- Cartridges shall remain in their original sealed packages until needed for immediate use

Filters shall be changed based on the most limiting factor below

- Prior to expiration date

- Manufactures recommendations for the specific use and environment

- When requested by employee

- When contaminate odor is detected

- When restriction to air flow has occurred as evidenced by increase effort by user to breathe normally

- When discoloring of the filter media is evident

- Filters shall remain in their original sealed package until needed for immediate use.

Respiratory Protection Schedule by Job and Working Condition

The School maintains a Respiratory Protection Schedule by Job and Working Condition. This schedule is provided to each authorized and trained Employee. The Schedule provides the following information:

1.	Job/Working Conditions

2.	Work Location

3.	Hazards Present

4.	Type of Respirator or SCBA Required

5.	Type of Filter/Canister Required

6.	Location of Respirator or SCBA

7.	Filter/Cartridge change out schedule

The schedule will be reviewed and updated at least annually and whenever any changes are made in the work environments, machinery, equipment, or processes or if respirator different respirator models are introduced or existing models are removed.

Permanent respirator schedule assignments are:

Physical and Medical Qualifications

Records of medical evaluations must be retained and made available in accordance with 29 CFR 1910.1020.

Medical evaluation required

Using a respirator may place a physiological burden on employees that varies with the type of respirator worn, the job and workplace conditions in which the respirator is used, and the medical status of the employee. The school provides a medical evaluation to determine the employee's ability to use a respirator, before the employee is fit tested or required to use the respirator in the workplace.

Medical evaluation procedures

The designated Respiratory Protection Contact Person will provide the employee a medical questionnaire.

Follow-up medical examination

The school shall ensure that a follow-up medical examination is provided for an employee who gives a positive response to any question among questions in Part B of the questionnaire or whose initial medical examination demonstrates the need for a follow-up medical examination. The follow-up medical examination shall include any medical tests, consultations, or diagnostic procedures that the Physician deems necessary to make a final determination.

Administration of the medical questionnaire and examinations

The medical questionnaire and examinations shall be administered confidentially during the employee's normal working hours or at a time and place convenient to the employee. The medical questionnaire shall be administered in a manner that ensures that the employee understands its content. The school shall provide the employee with an opportunity to discuss the questionnaire and examination results with the Physician.

Supplemental information for the Physician

The following information must be provided to the Physician before the Physician makes a recommendation concerning an employee's ability to use a respirator

1.	The type and weight of the respirator to be used by the employee

2.	The duration and frequency of respirator use (including use for rescue and escape)

3.	The expected physical work effort

4.	Additional protective clothing and equipment to be worn

5.	Temperature and humidity extremes that may be encountered

6.	Any supplemental information provided previously to the Physician regarding an employee need not be provided for a subsequent medical evaluation if the information and the Physician remain the same.

The School has provided the Physician with a copy of the written respiratory protection program and a copy of the OSHA Standard 1910.134

Medical determination

In determining the employee's ability to use a respirator, the School shall:

Obtain a written recommendation regarding the employee's ability to use the respirator from the Physician. The recommendation shall provide only the following information:

  - Any limitations on respirator use related to the medical condition of the employee, or relating to the workplace conditions in which the respirator will be used, including whether or not the employee is medically able to use the respirator

  - The need, if any, for follow-up medical evaluations

  - A statement that the Physician has provided the employee with a copy of the Physician's written recommendation

If the respirator is a negative pressure respirator and the Physician finds a medical condition that may place the employee's health at increased risk if the respirator is used, the School shall provide a APR if the Physician's medical evaluation finds that the employee can use such a respirator; if a subsequent medical evaluation finds that the employee is medically able to use a negative pressure respirator, then the School is no longer required to provide a APR.

Additional Medical Evaluations

At a minimum, the School shall provide additional medical evaluations that 	comply with the requirements of this section if:

1.	An employee reports medical signs or symptoms that are related to ability to use a respirator

2.	A Physician, supervisor, or the respirator program administrator informs the School that an employee needs to be reevaluated

3.	Information from the respiratory protection program, including observations made during fit testing and program evaluation, indicates a need for employee reevaluation

4.	A change occurs in workplace conditions (e.g., physical work effort, protective clothing, temperature) that may result in a substantial increase in the physiological burden placed on an employee.

Respirator Fit Testing

Before an employee is required to use any respirator with a negative or positive pressure tight-fitting face piece, the employee must be fit tested with the same make, model, style, and size of respirator that will be used. The School shall ensure that an employee using a tight-fitting face piece respirator is fit tested prior to initial use of the respirator, whenever a different respirator face piece (size, style, model or make) is used, and at least annually thereafter.

The School has established a record of the qualitative and quantitative fit tests administered to employees including:

1.	The name or identification of the employee tested

2.	Type of fit test performed

3.	Specific make, model, style, and size of respirator tested

4.	Date of test

5.	The pass/fail results for QLFTs or the fit factor and strip chart recording or other recording of the test results for QNFTs

Additional fit tests will be conducted whenever the employee reports, or the School, Physician, supervisor, of program administrator makes visual observations of, changes in the employee's physical condition that could affect respirator fit. Such conditions include, but are not limited to, facial scarring, dental changes, cosmetic surgery, or an obvious change in body weight.

If after passing a QLFT or QNFT, the employee notifies the School, program administrator, supervisor, or Physician that the fit of the respirator is unacceptable, the employee shall be given a reasonable opportunity to select a different respirator face piece and to be retested.

Types of Fit Tests

The fit test shall be administered using an OSHA-accepted QLFT or QNFT protocol. The OSHA-accepted QLFT and QNFT protocols and procedures are contained in Appendix A of OSHA Standard 1910.134.

QLFT may only be used to fit test negative pressure air-purifying respirators that must achieve a fit factor of 100 or less.

If the fit factor, as determined through an OSHA-accepted QNFT protocol, is equal to or greater than 100 for tight-fitting half face pieces, or equal to or greater than 500 for tight-fitting full face pieces, the QNFT has been passed with that respirator.

Fit testing of tight-fitting atmosphere-supplying respirators and tight-fitting powered air-purifying respirators shall be accomplished by performing quantitative or qualitative fit testing in the negative pressure mode, regardless of the mode of operation (negative or positive pressure) that is used for respiratory protection.

- Qualitative fit testing of these respirators shall be accomplished by temporarily converting the respirator user's actual face piece into a negative pressure respirator with appropriate filters, or by using an identical negative pressure air-purifying respirator face piece with the same sealing surfaces as a surrogate for the atmosphere-supplying or powered air-purifying respirator face piece.

- Quantitative fit testing of these respirators shall be accomplished by modifying the face piece to allow sampling inside the face piece in the breathing zone of the user, midway between the nose and mouth. This requirement shall be accomplished by installing a permanent sampling probe onto a surrogate face piece, or by using a sampling adapter designed to temporarily provide a means of sampling air from inside the face piece.

Any modifications to the respirator face piece for fit testing shall be completely removed, and the face piece restored to NIOSH approved configuration, before that face piece can be used in the workplace.

Fit test records shall be retained for respirator users until the next fit test is administered. Written materials required to be retained shall be made available upon request to affected employees.

Respirator Operation and Use

Respirators will only be used following the respiratory protection safety procedures established in this program.

The Operations and Use Manuals for each type of respirator will be maintained by the Program Administrator and be available to all qualified users.

Surveillance by the direct supervisor shall be maintained of work area conditions and degree of employee exposure or stress. When there is a change in work area conditions or degree of employee exposure or stress that may affect respirator effectiveness, the School shall reevaluate the continued effectiveness of the respirator.

For continued protection of respirator users, the following general use rules apply:

- Users shall not remove respirators while in a hazardous environment

- Respirators are to be stored in sealed containers out of harmful atmospheres

- Store respirators away from heat and moisture

- Store respirators such that the sealing area does not become distorted or warped

- Store respirator such that the face piece is protected

Face piece seal protection

The School does not permit respirators with tight-fitting face pieces to be worn by employees who have:

- Facial hair that comes between the sealing surface of the face piece and the face or that interferes with valve function; or any condition that interferes with the face-to-face piece seal or valve function.

- If an employee wears corrective glasses or goggles or other personal protective equipment, the School shall ensure that such equipment is worn in a manner that does not interfere with the seal of the face piece to the face of the user.

Continuing Effectiveness of Respirators

The School shall ensure the following that employees leave the respirator use area:

- To wash their faces and respirator face pieces as necessary to prevent eye or skin irritation associated with respirator use

- If they detect vapor or gas breakthrough, changes in breathing resistance, or leakage of the face piece

- To replace the respirator or the filter, cartridge, or canister elements.

If the employee detects vapor or gas breakthrough, changes in breathing resistance, or leakage of the face piece the School will replace or repair the respirator before allowing the employee to return to the work area.

Procedures for IDLH atmospheres

For all IDLH atmospheres, the School shall ensure that:

1.	One employee or, when needed, more than one employee is located outside the IDLH atmosphere

2.	Visual, voice, or signal line communication is maintained between the employee(s) in the IDLH atmosphere and the employee(s) located outside the IDLH atmosphere

3.	The employee(s) located outside the IDLH atmosphere are trained and equipped to provide effective emergency rescue

4.	The School or designee is notified before the employee(s) located outside the IDLH atmosphere enter the IDLH atmosphere to provide emergency rescue

5.	The School or designee authorized to do so by the School, once notified, provides necessary assistance appropriate to the situation

Employee(s) located outside the IDLH atmospheres will be equipped with:

Pressure demand or other positive pressure SCBAs, or a pressure demand or other positive pressure supplied-air respirator with auxiliary SCBA; and either Appropriate retrieval equipment for removing the employee(s) who enter(s) these hazardous atmospheres where retrieval equipment would contribute to the rescue of the employee(s) and would not increase the overall risk resulting from entry; or

Equivalent means for rescue where retrieval equipment is not required.

Cleaning and Disinfecting

The School shall provide each respirator user with a respirator that is clean, sanitary, and in good working order. The School shall ensure that respirators are cleaned and disinfected using the Standard Operating Procedure SOP: Cleaning and Disinfecting.

The respirators shall be cleaned and disinfected when:

1.	Respirators issued for the exclusive use of an employee shall be cleaned and disinfected as often as necessary to be maintained in a sanitary condition

2.	Respirators issued to more than one employee shall be cleaned and disinfected before being worn by different individuals

3.	Respirators maintained for emergency use shall be cleaned and disinfected after each use

4.	Respirators used in fit testing and training shall be cleaned and disinfected after each use.

Cleaning and Storage of respirators assigned to specific employees is the responsibility of each employee.

Respirator Inspection

All respirators/SCBAs, both available for "General Use" and those on "Permanent Check-out", will be inspected after each use and at least monthly. Should any defects be noted, the respirator/SCBA will be taken to the program Administrator. Damaged Respirators will be either repaired or replaced. The inspection of respirators loaned on "Permanent Check-out" is the responsibility of that trained Employee.

Respirators shall be inspected as follows:

      - All respirators used in routine situations shall be inspected before each use and during cleaning

      - All respirators maintained for use in emergency situations shall be inspected at least monthly and in accordance with the manufacturer's recommendations, and shall be checked for proper function before and after each use

      - Emergency escape-only respirators shall be inspected before being carried into the workplace for use

Respirator inspections include the following:

- A check of respirator function, tightness of connections, and the condition of the various parts including, but not limited to, the face piece, head straps, valves, connecting tube, and cartridges, canisters or filters check of elastomeric parts for pliability and signs of deterioration.

- Self-contained breathing apparatus shall be inspected monthly. Air and oxygen cylinders shall be maintained in a fully charged state and shall be recharged when the pressure falls to 90% of the manufacturer's recommended pressure level. The School program contact person shall determine that the regulator and warning devices function properly

For Emergency Use Respirators the additional requirements apply:

- Certify the respirator by documenting the date the inspection was performed, the name (or signature) of the person who made the inspection, the findings, required remedial action, and a serial number or other means of identifying the inspected respirator.

- Provide this information on a tag or label that is attached to the storage compartment for the respirator, is kept with the respirator, or is included in inspection reports stored as paper or electronic files. This information shall be maintained until replaced following a subsequent certification.

Respirator Storage

Respirators are to be stored as follows:

1.	All respirators shall be stored to protect them from damage, contamination, dust, sunlight, extreme temperatures, excessive moisture, and damaging chemicals, and they shall be packed or stored to prevent deformation of the face piece and exhalation valve.

- Emergency Respirators shall be kept accessible to the work area

- Stored in compartments or in covers that are clearly marked as containing emergency respirators; and

- Stored in accordance with any applicable manufacturer instructions.

Repair of Respirators

Respirators that fail an inspection or are otherwise found to be defective will be removed from service to be discarded, repaired or adjusted in accordance with the following procedures:

1.	Repairs or adjustments to respirators are to be made only by persons appropriately trained to perform such operations and shall use only the respirator manufacturer's NIOSH-approved parts designed for the respirator

- Repairs shall be made according to the manufacturer's recommendations and specifications for the type and extent of repairs to be performed and

3.	Reducing and admission valves, regulators, and alarms shall be adjusted or repaired only by the manufacturer or a technician trained by the manufacturer.

Breathing Air Quality and Use

The School shall ensure that compressed air, compressed oxygen, liquid air, and liquid oxygen used for respiration accords with the following specifications:

- Compressed and liquid oxygen shall meet the United States Pharmacopoeia requirements for medical or breathing oxygen; and

- Compressed breathing air shall meet at least the requirements for Grade D breathing air described in

- ANSI/Compressed Gas Association Commodity Specification for Air, G-7.1-1989, to include:

        - Oxygen content (v/v) of 19.5-23.5%;

        - Hydrocarbon (condensed) content of 5 milligrams per cubic meter of air or less;

        - Carbon monoxide (CO) content of 10 ppm or less;

        - Carbon dioxide content of 1,000 ppm or less; and

        - Lack of noticeable odor.

Compressed oxygen will not be used in atmosphere-supplying respirators that have previously use compressed air  oxygen concentrations greater than 23.5% are used only in equipment designed for oxygen service or distribution cylinders used to supply breathing air to respirators meet the following requirements  cylinders are tested and maintained as prescribed in the Shipping Container Specification Regulations of the Department of Transportation (49 CFR part 173 and part 178)  cylinders of purchased breathing air have a certificate of analysis from the supplier that the breathing air meets the requirements for Grade D breathing air moisture content in breathing air cylinders does not exceed a dew point of -50 deg.F (-45.6 deg.C) at 1 atmosphere pressure breathing air couplings are incompatible with outlets for non-respirable worksite air or other gas systems.

No asphyxiating substance shall be introduced into breathing airlines.  Breathing gas containers shall be marked in accordance with the NIOSH respirator certification standard, 42 CFR part 84.

| PLAN REVIEW |
| --- |
| Reviewer | Date |

UNDERGROUND AND ABOVEGROUND STORAGE TANKS

Purpose

The Underground Storage Tank (UST) and Aboveground Storage Tank (AST) Management Program is designed to assist Hutchinson Public Schools administration and/or the Program Contact Person (in assuring all USTs and ASTs are managed so that damage to the environment and the financial losses associated with liquid petroleum are prevented or minimized. This program will assure the school and responsible regulatory agencies that the underground and aboveground storage of liquid fuels will be managed in a responsible fashion.

Underground Storage Tanks

Regulatory Requirements

- Only heating oil tanks larger than 1,100 gallons capacity are regulated by the Minnesota Pollution Control Agency.

- Because heating oil tanks contain a combustible material, the State Fire Marshall under the Uniform Fire Code also regulates them.

Tank Registration

- Regulated heating oil tanks must be registered with the MPCA. To obtain the required forms call 1(800) 657-3864.)

Tank Installation

- Contractors who install regulated heating oil tanks must be certified by the MPCA. To obtain a list of certified contactors call (800) 657-3864.

- The MPCA must be informed at least ten days in advance of a new tank to be installed.

- The MPCA must be notified of the installation of a regulated heating oil tank within thirty days of completion of the project by use of a notification form.

- If the installation start date changes by more than two days from the original start date, the MPCA must be notified of the new start date.

Tanks Removal

- Contractors that remove heating oil tanks must be certified by the MPCA. Again information on certified contactors may be obtained by calling (800 657-3864).

- The MPCA requests notification ten days prior to tank removal.

- Provisions must be made for disposal of the tank and any leftover contents.

- Once the tank has been removed the school must notify the MPCA within thirty days.

- A site assessment (soil or ground water sampling) is not required, however strongly recommended.

- If the removal start date changes by more than two days from the original start date, MPCA must be notified of the new start date.

Abandoned Tanks

- Heating oil tanks that have been out of service for more than one year are considered abandoned and must be properly closed. Proper closure involves either removing the tank from the ground or closing in place. Closure in place requires prior approval from the local fire official or the State Fire Marshall.

Leak Detection

- There are no leak detection requirements for consumptive-use heating oil tanks in Minnesota. For further information, call the MPCA at (800) 657-3864.

- Owners/operators must report a known or suspected release from a heating oil tank system of any size by calling (800) 422-0798.

Corrosion Protection

- Heating oil systems smaller than 1,100 gallons capacity are unregulated and are not required to have corrosion protection, regardless of the date of installation.

- Heating oil tanks larger than 1,100 gallons capacity are regulated, but must have corrosion protection only if they were installed on or after August 1, 1985. However, there are no corrosion protection testing requirements for such heating oil tanks.

- Regulated heating oil tank systems installed before August 1, 1985 are exempt from corrosion protection requirements for the life of the tank system.

Spill Containment

- Heating oil tanks are not required to be equipped with a spill containment device. Tanks smaller than 1,100 gallons capacity are unregulated and are not requir3d to have corrosion protection, regardless of the date of installation.

Overfill Prevention

- Heating oil tanks are not required to be equipped with an overfill prevention device.

Insurance

- The MPCA does not require owners to have pollution liability insurance for heating oil tanks.

Aboveground Storage Tanks

Introduction

The use by public and private schools of aboveground storage fuel tank systems is generally of limited application. However, from time to time aboveground tanks can offer the district a convenient means of petroleum storage. Several criteria exist for establishment and use of above ground tanks. Existing facilities not previously converted, temporary storage, and tanks that may serve as a source of fuel containment for grounds keeping, bussing vehicles, and as a source of fuel to fire boiler facilities to mention a few.

Regulatory Requirements

Notification

- MPCA must be notified about all ASTs with a capacity of greater than 110 gallons with a capacity of greater than 110 gallons within 30 days of installation or change in tank status ( Minnesota Statute, Chapter 116.48).

- Owners and operators must complete and submit the AST Notification Form to the MPCA. This form can be obtained on the Internet at http://www.pcs.state.mn.us/cleanup/ast.

Tanks that do not have to be registered include:

- Farm and residential heating oil tanks less than 1,100 gallons capacity

- Tanks used for storing agricultural chemicals

- Tanks that store liquids that are in gas form at atmospheric temperature and pressure (compressed gas tanks)

- Tote tanks

- Temporary tanks

- Tanks less than 110 gallons

Exemptions

- Tanks of 500 gallons or less

- Farm tanks

- Residential tanks less than 1,100 gallons used for noncommercial purposes

- Equipment or machinery containing substances for operational purposes such as hydraulic lift tanks, electrical equipment, and heating and cooling equipment

- Vehicles designed and used to transport substances if they don’t remain at the same location for more than 30 consecutive days or refill at the same site after dispensing the tank’s contents; wastewater treatment facility equipment

- Tote tanks; tanks with greater capacity than 500 gallons capacity, but les than or equal to 1,100 gallons capacity

- Tanks that store liquids that are in gas form at atmospheric temperature and pressure (compressed gas tanks)

- Tote tanks

- Tanks with greater than 500 gallons capacity, but less than or equal to 1,100 gallons capacity that are not within 500 feet of surface water;

- Septic tanks

- A surface impoundment, pit, pond, or lagoon;

- Storm water collection systems;

- Temporary tanks (tanks at a site less than 30 days);and

- Storage tanks with drinking water,

All AST’s greater than 110 gallons must still be registered with the MPCA unless specifically listed under the Notification exemption section above.

REQUIREMENTS for Regulated Tanks with capacity greater than 1,100 gallons.

- Be registered

- Be labeled

- Constructed using appropriate industry standards

- Have secondary containment

- Have a facility posted sign

- Have substance transfer area safeguards

- Have internal and/or external corrosion protection

- Have overfill protection

- Be monitored for leaks and regularly inspected

- Be properly maintained

- Have monitoring and inspection records on site;

- Assess releases during operations or at tank removal and report them to the State duty Officer at (800) 422-0798

- Label lines so connections can be identified during substance transfer

- Have underground piping safeguards if utilized and

- Be properly closed if no longer used

Requirements for Temporary Tanks

Tanks larger than 1,100 gallons that store product for longer than 30 days, but less than one year must:

- Label tanks

- Post a facility sign

- Provide secondary containment and

- Perform site maintenance on tanks

| PLAN REVIEW |
| --- |
| Reviewer | Date |

Welding, Cutting and Brazing

Purpose

Introduction

This plan is designed to help the Hutchinson Public Schools comply with the requirements of the Minnesota Department of Education with regards to protecting the health and safety of students and employees who weld, cut, and braze in their curriculum or work activity.  Based on OSHA Standards 1910.251-1910.255, this plan has been developed to provide for a safe healthy place for students and staff to learn and work.  It is important to note that this plan is written in conjunction with the Compressed Gas Cylinder Plan and is considered to be supportive of that plan.  Topic items related to oxygen-fuel gas welding and cutting will be included in this plan by reference.

Given the complexity of the process involved in this plan, 1910.251 is the reference point for resolution of all safety related issues.

As written, this plan is intended to guide the School District in its efforts to provide safe equipment, work practices and safety procedures, but will need to be reviewed and modified on a regular basis.  The School District is responsible for the enforcement and updating of the plan.  Actual use of this plan is limited to Resource Training and Solutions and to the school districts which it represents.

Overview of OSHA Standard 1910.251

OSHA has developed this standard to list the basic precautions required for proper work processes, fire protection and prevention responsibilities for individuals involved in welding, cutting, and brazing activity.  Special considerations are delineated for individuals assigned supervisory responsibilities under the standard, which the School District interprets to be the responsible instructor in the curriculum being presented.  The School District has also designated a person who will be held to the highest standards of training, preparation, and competence in this area.

As written, this plan will provide emphasis in the following areas:

- Fire prevention and protection

- Safe work practices and procedures

- Health protection and ventilation

- Program review

It is the intent of this plan to prevent accidents and injuries through recognition and the reduction of hazards, proper training, safe work practices, staff training, and program review.

Definitions

Designated Person-Instructor responsible for administering the safety plan including authorizing welding in the area, safety reviews, and working within defined safe work practices.

Energy Source-Any source of electrical, mechanical, hydraulic, pneumatic, chemical, thermal, or other energy.  Electrical switches are not the only devices that need to be locked out.  Sources of air pressure, chemicals, steam, etc. must also be effectively isolated.

Eye Protection-Helmets, goggles, glasses, handheld shields designed to protect the welder or others from the affects of adverse exposure to radiant energy, especially the high yellow spectrum or sodium line.

Lock Box-A box which holds keys that have been used to lock energy isolating devices.  The lock box is in turn locked shut by authorized employee’s locks.  It is used to simplify a group lockout.

Job Lock-An extra lock that is placed on an energy isolating device or a lock box to insure lockout continuity between shifts.

Protective Clothing-Personal protective equipment to protect the welder from effects of heat and sparks; may vary with the size, nature, and location of work being performed.

Safe Work Practices-Policies and procedures developed to ensure that welding and related activity are conducted within the safety precautions established by 1910.251 for each welding activity.

Shade-Amount of protection provided by filter lenses selected according to work being performed and welding, cutting, brazing method in use.

Ventilation-A minimum rate of 2,000 cubic feet per minute per welder; can be varied depending upon local conditions such as where local exhaust hoods are provided.

Welder-Any operator of electric or gas welding and cutting equipment.

NOTE:  Additional definitions and hazards are referred to in the School District Compressed Gas Cylinder Plan.

Designated Person

The school district has designated the metals shop instructor to be the responsible person for carrying out the requirements of the plan.  Responsibilities include, but are not limited to:

- Ensure that good housekeeping methods are practiced, including the immediate removal and proper storage of combustible materials, elimination of trip and fall hazards;

- During welding operations, ensure no combustible materials are present in the area;

- Ensure that guards are used if the object to be welded or cut be moved and if all of the combustible materials cannot be moved;

- Develop and implement safety training in the class curriculum so that students are provided in-depth training prior to operating welding or cutting equipment;

- Ensure that students and others follow safe operating procedures, including wearing the appropriate PPE; and,

- Review this plan regularly and at least annually recommend updates or changes to the plan forwarding the plan with recommendations to the Administrator for review by the School Board.

General Requirements

  - Fire Prevention and Protection

In all instances, welding, cutting, and brazing activity will be undertaken when the designated person has given permission for such activity to commence.  Such permission will ensure that the precautions have been taken to eliminate or minimize the possibility of fire or explosion in the immediate work air.  General fire safety practices are followed to ensure that combustible materials are not present in the area where the work activity is scheduled to take place.  In all instances, all combustible materials will be removed from the immediate vicinity and properly stored away from any possible exposure to heat or sparks.  In the event that it is not possible to remove all combustible materials, guards should be used prevent heat, sparks, and slag from radiating away from the heat source and into the surrounding area.  Some areas will require that special precautions be taken to ensure that sparks do not enter closed areas, cracks in floors, holes in walls, or other incidental openings where combustibles might be accidentally ignited.

Fire extinguishers are required to be maintained in the area and in readiness for instant use.  It is assumed that the staff supervising these operations will be trained in the safe use of fire extinguishers or will direct that the area be immediately evacuated in the event of a fire emergency.  Only staff trained in the use of fire extinguishers shall use them if the situation warrants.  The prime directive is to evacuate the area and summon the fire department per district emergency procedures for fire.

2.	Personal Protective Equipment

Personal protective equipment will be provided to students and staff at no cost.  Personal protective equipment will include welding helmets, gloves, and aprons.  This equipment will be provided to the shop in sufficient quantity to protect all students and staff engaged in activity covered by this plan.  Any other personal protective equipment preferred or requested by student or staff will be provided on an exception only basis and then only with the recommendation of the designated person and approval of the Superintendent or designee.

At the end of each school day in which this personal protective equipment was used, the class instructor will provide time for the proper cleaning and storage of each piece of personal protective equipment, inspecting each piece daily for cleanliness and integrity.  All personal protective equipment will be stored in cabinets, with welding masks hung on provided hooks to prevent them from possible incidental damage.

3.	Health Protection and Ventilation

Arc and gas welding create contamination to which students and instructors are readily exposed.  The three factors which govern the amount of exposure include:

- Dimensions of the space in which the welding activity will be completed and is directly related to the height of the ceiling

- Number of welders or amount of welding activities taking place

- Possible dusts, gases, and fumes generated by the material being welded

4.	Outside or Contractor Coordination

When an outside contractor or party is used to provide services in the shop areas, the shop instructor will ensure that they are made aware of safe work procedures and combustible hazards present in the area in which they will work.

Oxygen-Fuel Gas Welding and Cutting

1.  Ventilation

Maximum allowable concentration can be determined by referring to 1910.1000 which is included as Appendix B of this plan.  In general welding situations, the minimum ventilation shall be at the minimum rate of 2,000 cubic feet per minute per welder.  This exception is where local exhaust hoods and booths with adequate ventilation are provided for each welder.

Ventilation hoods used by welders need to supply a minimum of 100 cubic feet per minute of air flow.  The ventilation requirements will vary depending on the material or size of space in which the material is being addressed.

2.  Precautionary Labels

Potentially hazardous materials are frequently include in fluxes, coatings, coverings, and filler metals used in the welding and cutting processes or are frequently released into the atmosphere.  The hazardous materials most commonly used include:  fluorine compounds, zinc, lead, beryllium, cadmium, and mercury.  In instances where these materials may be present, it is the responsibility of the supplier to determine the hazard and to notify the designated person that it exists.  If so notified, the designated person will be responsible for posting appropriate warning labels and ensuring that the lesson plan provides for adequate protection for the students and staff to avoid inhalation hazards.

Arc Welding and Cutting

1.  Equipment

Arc welding equipment shall be selected and maintained in compliance with industry standards, including ANSI and NEMA.  Applications need to take into consideration environmental conditions, voltage, and design ensuring maximum safety and least possible exposure to hazards by students and staff.  Terminals should be protected from accidental contact.  Barrier protection will be provided between welding stations to protect students from burns created by sparks and slag.  When the welding operation has been completed, the welding rod shall be removed from the holder and the holder placed in a non-conductive sleeve or other apparatus to provide protection in the event of an accidental activation of the welder.

2.  Maintenance and Inspection

Arc welding equipment will be inspected regularly by staff to ensure that the cables and holders are in good working condition.  Defective equipment will be removed from service until repairs have been completed.

Resistance Welding

1.  Guarding

All welders shall be equipped with emergency stops and power outage protection in the immediate vicinity of the operator along with lock-out/tag-out procedures established and equipment provided.  A welding-spark splash guard will also be provided along with guards on foot switches to prevent accidental operation.

Training Program

The School District personnel whose job functions include welding, cutting, and/or brazing, whether actually working in the activity or providing student instruction, shall receive training prior to any initial use or work assignments and an annual refresher thereafter.  This training may be combined with the district’s Employee Right-to-Know training program as well with other job related training programs.

Specific topics to be covered during training for employees shall include:

- Fire prevention practices

- Personal Protective Equipment-proper selection, use, and maintenance

- Health Protection

- Proper ventilation

- Labeling

- Equipment-proper selection, use, and maintenance

A sample training log can be found in Appendix A.

Recordkeeping

The school district will retain training records for each employee for a period of five years (minimum).  Training records will include the date the training took place, a copy of the agenda and outline of the training, and a log signed with legible signatures.

Annual Review

This plan will be presented annually to the school board for review and approval.