| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE 1/9/2012 LEA Hutchinson Public Schools Building Name High School |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Brian Parrie | Training: Building Inspector | Cert. #AI11154 | Page 1 of 1 |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |
|  |  | Visually Inspected? Yes No | Assumed ACBM? Yes No | Friable ACBM? Yes No | Change in condition. Yes No | Damage Condition No D SD | Recommendation: Repair/O&M/ Remove |
| 9X9 floor tile& mastic | Through out | X |  | ( x | ( x | ( x | x ( ( | O&M |
| 9X9 floor tile& mastic | Throughout | X |  | ( x | ( x | ( x | x ( ( | O&M |
| Hard pipe fittings | KOA-F | X |  | ( x | ( x | ( x | x ( ( | O&M |
| Millboard Insulation | KOD | X |  | x ( | ( x | ( x | x ( ( | O&M |
| Preformed lagging |  | X |  | ( x | x ( | ( x | x ( ( | O&M |
| Preformed lagging |  | X |  | x ( | ( x | ( x | x ( ( | O&M |
| TSI |  |  | X | x ( | ( x | ( x | x ( ( | O&M |
| Joints and fittings |  |  | X | x ( | ( x | ( x | x ( ( | O&M |
| Spray-on acoustic |  |  | X | x ( | ( x | ( x | x ( ( | O&M |

Note: