| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE: 1-5-2011 LEA: St. Bernard’s Elementary School Building Name: St. Bernard’s School |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Lee Carlson | Training: Building Inspector | Cert. #AI3706 | Page 1 of 1 |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |
|  |  | Visually Inspected? Yes No | Assumed ACBM? Yes No | Friable ACBM? Yes No | Change in condition. Yes No | Damage Condition No D SD | Recommendation: Repair/O&M/ Remove |
| Throughout building | 9”X9” Floor Tile | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
| Boiler TSI | TSI |  |  | ( ( | ( ( | ( ( | ( ( ( | Removed |
| Pipe Lagging | TSI Throughout | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
| Baseboards and Mastic | Throughout | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |

Note: Damage to an elbow was noted in the North West corner of the dining hall. Damaged ACBM has been removed from custodial closet.