| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE: 5-27-2010 LEA: St. Bernard’s Elementary School Building Name: St. Bernard’s School |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Lee Carlson | Training: Building Inspector | Cert. #AI3706 | Page 1 of 1 |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |
|  |  | Visually Inspected? Yes No | Assumed ACBM? Yes No | Friable ACBM? Yes No | Change in condition. Yes No | Damage Condition No D SD | Recommendation: Repair/O&M/ Remove |
| Throughout building | 9”X9” Floor Tile | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
| Boiler TSI | TSI |  |  | ( ( | ( ( | ( ( | ( ( ( | Removed |
| Pipe Lagging | TSI Throughout | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
| Baseboards and Mastic | Throughout | X |  | ( ( | ( ( | ( ( | ( ( ( | O&M |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |
|  |  |  |  | ( ( | ( ( | ( ( | ( ( ( |  |

Note: Damage to an elbow was noted in the North West corner of the dining hall. Damage also to TSI located below steps in custodial storage room.  Recommend repair or removal of identified items.