| AHERA 3 Year Re-inspection Report – 2013 | Due |
| --- | --- |
| GENERAL INFORMATION AND INSTRUCTIONS: The information contained on this form will allow Musser Environmental Consulting, Inc. to access and record current status of asbestos containing building materials in schools. The actual U.S. Environmental Protection Agency (EPA) required reinspection date might differ from the due date of this form. According to the Federal Asbestos Hazard Emergency Response Act (AHERA) the reinspection must occur within three years of the implementation of effective date of the plan. Information contained on this form will be used for reports to the U.S. EPA. A separate form must be completed for each Local Education Authority (LEA)’s building. If more space is required than is provided on this form, please copy appropriate page and report additional data. Subsequent additional pages must be appropriately numbered in the space provided. Where it is determined necessary to collect samples of previously assumed or newly identified Asbestos Containing Materials (ACM) sampling, analysis must be completed in accordance with 40 CFR Part 763.86 and 763.87. Required information not provided on this form must be prepared in acceptable format and included in the management plan. The LEA’s designated person should coordinate the completion of this form with appropriate sections completed by an accredited building inspector and management planner. |
| IDENTIFICATION INFORMATION |
| District/LEA Name: St. Mary’s Mission School | Public School (Yes (No |  | District Type Private School |
| Building Name: St. Mary’s Mission school | Reinspection Date 12/3/2013 |
| Name of Designated Person – Al Branchard | Company Name: St. Mary’s Mission School | Telephone # 218-679-3388 |
| Name of Building Inspector – (Please print name, including middle initial) Brian Parrie | Company Name: Advanced Health, Safety and Security | Accreditation No. AI11154 |
| Complete Address: |
| Name of Management Planner (Please print name, including middle initial) Brian Parrie | Company Name: Advanced Health, Safety and Security | Accreditation No. AM11154 |
| Complete Address: |
| VERIFICATION OF DATA |
| I, the LEA Designated Person, by my signature, agree that information contained in this report is accurate and complete to the best of my knowledge. | Signature – Designated Person: | Date: |
| I hereby verify that the inspection information shown on this report is true and correct and reflects the actual condition of all asbestos-containing building materials in this building, at the time of the inspection. | Signature – State of MN Accredited Building Inspector: | Date: |
| I hereby verify that the Management Planner’s information shown on this report is true and correct and reflects the appropriate recommended response action for all asbestos-containing building materials in this building that are appropriately changed or amended at the time of the inspection. | Signature – State of MN Accredited Management Planner | Date: |
| AHERA 3 YEAR RE-INSPECTION REPORT – 2013 | Page #: 2 |
| RE-INSPECTION STATUS |
| According to the AHERA some buildings may not require a 3-year reinspection by the due date on this form. If the building does not require “Reinspection” (verified by the LEA) designated person), please check one of the following reasons or otherwise explain and return this report to the address listed on the top of page one. |
| ( 1. Building was not constructed using asbestos-containing building materials (validated documentation sighted in Management Plan.) ( 2. All asbestos-containing building material has been removed from the facility. ( 3. Built after October 12, 1988 and verified as constructed without asbestos (validating documentation sighted in Management Plan.) ( 4. Original inspection completed after July 9, 1989 – latest inspection was conducted / / (date). ( 5. Other: (Please explain)____________________________________________________________________________________________________________________________ |
| 3-Year REINSPECTION FINDINGS AND ASSESSMENT BY HOMOGENEOUS AREA (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| LEA Name: St. Mary’s Mission School | Building Name: Mission School | Reinspection Date 12/3/2013 | Page of |
| Homog. Area Code | Homogeneous Area | Asbestos Containing Building Material | Type & Condition (check one per column) |
| Elementary Building |  | ACBM? Area Yes/No Linear Feet | Assumed ACBM? Yes ((No | Friable ACBM? Yes No | Material Type TSI S Misc. | Damage Condition No D SD | Potential For Damage PD PSD |
| 9”X 9” floor tile | Staff restroom | Yes | 4’X5’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room/storage area | Yes | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Convent Building |  |  |  |  |  |  |  |  |
| 9”X 9” F. T. Grey/red | Entry area | Yes | 9’X6’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Stair tread | South entry steps | Yes | 8 steps | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room | Suspect | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Pipe fittings | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Lagging | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |

NOTE:(	(Either response requires that inspectors SEE and TOUCH the material, as required by AHERA 40 CFR Part 763.85(b)(3)(U)

((	(A response of “NO” indicates the material is confirmed ACBM and that adequate and proper sampling has been done)

| AHERA 3 YEAR REINSPECTION REPORT |  |
| --- | --- |
|  | Page 3 |
| INSPECTOR’S COMMENTS AND MANAGEMENT PLANNER’S RECOMMENDATIONS |
| PLEASE MAKE ADDITIONAL COPIES OF THIS PAGE FOR BUILDINGS WITH MORE HOMOGENEOUS AREA COMMENTS THAN SPACES PROVIDED. PLEASE NUMBER ADDITIONAL PAGES BELOW. |
| COMPANY: Advanced Health, Safety and Security | BUILDING NAME: St. Mary’s Mission School | Reinspection Date: 12/3/2013 | PAGE__3__OF __3__ |
| HOMOGENEOUS AREA OR SALIENT ID | Provide a written explanation of changes, corrections, updates, or extent of damage as compared to data contained in original inspection findings. | Recommended Response Action* |
| Boiler room | Most ACBM has been removed The boiler jacket appears to consist of fiberglass. A sample was taken to determine is suspect material on boiler door contained. | O&M |
| Staff lavatory | A small amount of 9”X9” floor tile is present. It was found to be in good condition. | O&M |
| Recommended response action must be determined by an accredited “Management Planner”. Appropriate response actions should be filled in using the following AHERA named response actions: 1) Operations & Maintenance, 2) Encapsulation, 3) Enclose, 4) Repair, 5) Remove |