| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE: 12/3/2013 LEA: Red Lake Mission School Building: Red Lake Elementary Name:_Brian Parrie |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Brian Parrie | Training: Building Inspector | Cert. #AI11154 | Page of |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |

| Elementary Building |  | ACBM? Area Yes/No Linear/Sq. Ft Feet | Assumed ACBM? Yes ((No | Friable ACBM? Yes No | Material Type TSI S Misc. | Damage Condition No D SD | Potential For Damage PD PSD |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9”X9” floor tile | Staff restroom | Yes | 4’X5’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room/storage area | Yes | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Convent Building |  |  |  |  |  |  |  |  |
| 9”X9” F. T. Grey/red | Entry area | Yes | 9’X6’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Stair tread | South entry steps | Yes | 8 steps | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room | Suspect | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Pipe fittings | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Lagging | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |