| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE: 1-5-11 LEA: Red Lake Mission School Building: Red Lake Elementary Name:_Lee Carlson |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Lee Carlson | Training: Building Inspector | Cert. #AI3706 | Page of |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |
| Elementary Building |  | ACBM? Area Yes/No Linear/Sq. Ft Feet | Assumed ACBM? Yes ((No | Friable ACBM? Yes No | Material Type TSI S Misc. | Damage Condition No D SD | Potential For Damage PD PSD |
| 9”X9” floor tile | Staff restroom | Yes | 4’X5’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Elbows/ fittings | Boiler room/storage area | Removed summer 2010 |  |  |  |  |  |  |
| Pipe lagging | Boiler room/storage area | Removed summer 2010 |  |  |  |  |  |  |
| 9”X9” floor tile | Class room | Removed summer 2010 |  |  |  |  |  |  |
| Boiler jacket | Boiler room/storage area | Yes | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Convent Building | Not used for school purposes any longer |  |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| 9”X9” F. T. Grey/red | Entry area | Yes | 9’X6’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Stair tread | South entry steps | Yes | 8 steps | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room | Suspect | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Pipe fittings | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Lagging | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |

Note: Samples were collected from under the stage and gymnasium. It was found to be positive for asbestos. A door to the area has been installed along with signage to restrict access. Asbestos Photos

The pipe with lagging and associated elbows were removed from the boiler room during the summer of 2010. All tested and assume ACBM was also removed from under the gymnasium floor.

9X9 Floor tile was removed from the classroom located across the hall from the main office. Removed summer of 2010.