| AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM |  |
| --- | --- |
| INSPECTION DATE: 10-8-08 LEA: Red Lake Mission School Building: Red Lake Elementary AIName__Lee Carlson__________________________ |
| (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |
| PERIODIC INSPECTION RESULTS |
| Inspectors Name: Lee Carlson | Training: Building Inspector | Cert. #AI3706 | Page of |
| Location and Materials | Homogeneous Area | Asbestos Containing Building Material | Assessment/ Recommendation |
| Elementary Building |  | ACBM? Area Yes/No Linear Feet | Assumed ACBM? Yes ((No | Friable ACBM? Yes No | Material Type TSI S Misc. | Damage Condition No D SD | Potential For Damage PD PSD |
| 9”X9” floor tile | Staff restroom | Yes | 4’X5’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Elbows/ fittings | Boiler room/storage area | Yes | 5 elbows/3 fittings | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Pipe lagging | Boiler room/storage area | Yes | 92 l. ft. | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room/storage area | Yes | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Convent Building | Not used for school purposes any longer |  |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| 9”X9” F. T. Grey/red | Entry area | Yes | 9’X6’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Stair tread | South entry steps | Yes | 8 steps | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Boiler jacket | Boiler room | Suspect | 14’X4’ | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Pipe fittings | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |
| Lagging | Basement area | Yes |  | ( ( | ( ( | ( ( ( | ( ( ( | ( ( |

Note: Samples were collected from under the stage and gymnasium. It was found to be positive for asbestos. A door to the area has been installed along with signage to restrict access. Asbestos Photos