Facility Safety Review

Client Name: __Tracy St. Mary’s School_____________________

| Building | Photo # | Location | Standard | Description | Repair Costs |
| --- | --- | --- | --- | --- | --- |
| Tracy St. Mary’s School |  | Boiler Room Tunnel, 2 | Asbestos | Exposed TSI joint / Repair | 50.00 |
| Tracy St. Mary’s School |  | Boys Bathroom | Asbestos | Ceiling delaminating / remove and paint | 500.00 |
| Tracy St. Mary’s School |  | Faculty Room | Asbestos | Ceiling delaminating / remove and paint | 850.00 |
| Tracy St. Mary’s School |  | Girls Bathroom | Asbestos | Ceiling delaminating / remove and paint | 500.00 |
| Tracy St. Mary’s School |  | Girls Shower Room, 1 | Asbestos | Exposed TSI joint / Repair | Repair 50.00 Remove 250.00 |
| Tracy St. Mary’s School |  | Girls Shower Room 2 | Asbestos | Ceiling delaminating / remove, replace and paint | 800.00 |
| Tracy St. Mary’s School |  | Girls Shower Tunnel | Asbestos | Exposed TSI joint / Repair | 50.00 |
| Tracy St. Mary’s School |  | Janitors Closet, 1 | Asbestos | Exposed TSI joint / Remove | 150.00 |

Inspected by: __Brian Parrie_________________ Date 1-21-2014___________