| # AHERA 3 Year Re-inspection Report – 2016 |  |  |  |  |  |  |  |  |  |  |  | Due 2019 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL INFORMATION AND INSTRUCTIONS: The information contained on this form will allow Advanced Health, Safety and Security, Inc. to access and record current status of asbestos containing building materials in schools. The actual U.S. Environmental Protection Agency (EPA) required reinspection date might differ from the due date of this form. According to the Federal Asbestos Hazard Emergency Response Act (AHERA) the reinspection must occur within three years of the implementation of effective date of the plan. Information contained on this form will be used for reports to the U.S. EPA. A separate form must be completed for each Local Education Authority (LEA)’s building. If more space is required than is provided on this form, please copy appropriate page and report additional data. Subsequent additional pages must be appropriately numbered in the space provided. Where it is determined necessary to collect samples of previously assumed or newly identified Asbestos Containing Materials (ACM) sampling, analysis must be completed in accordance with 40 CFR Part 763.86 and 763.87. Required information not provided on this form must be prepared in acceptable format and included in the management plan. The LEA’s designated person should coordinate the completion of this form with appropriate sections completed by an accredited building inspector and management planner. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # IDENTIFICATION INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| District/LEA Name: New Ulm Diocese |  |  |  |  |  |  |  | Public School Yes No |  |  |  |  |  | District Type Private |  |  |  |  |
| Building Name: Holy Redeemer School |  |  |  |  |  |  |  |  |  |  |  |  |  | Re-inspection Date 2/15/2017 |  |  |  |  |
| Name of Designated Person – (School, Employer, Consultant) LeRoy Sik |  |  |  | Company Name: Holy Redeemer School |  |  |  |  |  |  |  |  |  | Telephone # 507-532-6642 |  |  |  |  |
| Name of Building Inspector – (Please print name, including middle initial) Brian Parrie |  |  |  | Company Name: Advanced Health, Safety and Security |  |  |  |  |  |  |  |  |  | Accreditation No. AI11154 |  |  |  |  |
| Complete Address: 105 3rd Street, Balaton, MN 56115 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Management Planner (Please print name, including middle initial) Brian Parrie |  |  |  | Company Name: Advanced Health, Safety and Security |  |  |  |  |  |  |  |  |  | Accreditation No. AM11154 |  |  |  |  |
| Complete Address: 105 3rd Street, Balaton, MN 56115 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # VERIFICATION OF DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I, the LEA Designated Person, by my signature, agree that information contained in this report is accurate and complete to the best of my knowledge. |  |  |  |  | Signature – Designated Person: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| I hereby verify that the inspection information shown on this report is true and correct and reflects the actual condition of all asbestos-containing building materials in this building, at the time of the inspection. |  |  |  |  | Signature – State of MN Accredited Building Inspector: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| I hereby verify that the Management Planner’s information shown on this report is true and correct and reflects the appropriate recommended response action for all asbestos-containing building materials in this building that are appropriately changed or amended at the time of the inspection. |  |  |  |  | Signature – State of MN Accredited Management Planner |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| ## AHERA 3 YEAR REINSPECTION REPORT – 2016 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Page #: 2 |  |  |
| # REINSPECTION STATUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| According to the AHERA some buildings may not require a 3-year reinspection by the due date on this form. If the building does not require “Re-inspection” (verified by the LEA) designated person), please check one of the following reasons or otherwise explain and return this report to the address listed on the top of page one. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  1. Building was not constructed using asbestos-containing building materials (validated documentation sighted in Management Plan.)  2. All asbestos-containing building material has been removed from the facility.  3. Built after October 12, 1988 and verified as constructed without asbestos (validating documentation sighted in Management Plan.)  4. Original inspection completed after July 9, 1989 – latest inspection was conducted / / (date).  5. Other: (Please explain)____________________________________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3-Year REINSPECTION FINDINGS AND ASSESSMENT BY HOMOGENEOUS AREA (Please make additional copies of this page for buildings with more homogeneous areas than spaces provided. Please number pages in the space below.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LEA Name: __New Ulm Diocese__________________________________ |  |  |  |  |  | Building Name: __Holy Redeemer School___________ |  |  |  |  | Reinspection Date 2/15/2017 |  |  |  |  |  | Page 1 of 3 |  |
| Homog. Area Code | ## Homogeneous Area | Asbestos Containing Building Material |  |  |  |  |  |  | Type & Condition (check one per column) |  |  |  |  |  |  |  |  |  |
|  |  | ACBM? Area Yes/No Linear Ft./Square Ft. |  |  |  | #### Assumed ACBM? Yes No | ## Friable #### ACBM? Yes No |  | ##### Material Type TSI S Misc. | #### Damage Condition No D SD |  |  |  |  | Potential For Damage PD PSD |  |  |  |
| 9X9 Floor tile & mastic | 1st floor classrooms | Yes | 13517 |  |  |  X |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| 9X9 Floor tile & mastic | 2nd Floor Classrooms | Yes | 10975 |  |  |  X |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| 9X9 Floor tile & mastic | Basement | Yes | 4939 |  |  |  X |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| 9X9 Floor tile & mastic | Chapel | Yes | 2156 |  |  |  X |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| Coving and mastic | Throughout the building | Not confirmed |  |  |  | X  |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| Stair tread | East steps to basement | Not confirmed |  |  |  | X  |  X |  |   X | X   |  |  |  |  | X  |  |  |  |
| Boiler Room | Boiler Pipe Insulation | Not confirmed | 180 |  |  | X  | X  |  | X   |  X  |  |  |  |  | X  |  |  |  |
| Throughout | Ceiling Pucks | Not confirmed |  |  |  | X  |  X |  |   X |   X |  |  |  |  | X  |  |  |  |
|  |  |  |  |  |  |   |   |  |    |    |  |  |  |  | -  |  |  |  |
|  |  |  |  |  |  |   |   |  |    |    |  |  |  |  | -  |  |  |  |
|  |  |  |  |  |  |   |   |  |    |    |  |  |  |  |   |  |  |  |

NOTE:(Either response requires that inspectors SEE and TOUCH the material, as required by AHERA 40 CFR Part 763.85(b)(3)(U)

(A response of “NO” indicates the material is confirmed ACBM and that adequate and proper sampling has been done)

| # AHERA 3 YEAR REINSPECTION REPORT |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Page 3 |  |  |
| # INSPECTOR’S COMMENTS AND MANAGEMENT PLANNER’S RECOMMENDATIONS |  |  |  |  |  |  |
| PLEASE MAKE ADDITIONAL COPIES OF THIS PAGE FOR BUILDINGS WITH MORE HOMOGENEOUS AREA COMMENTS THAN SPACES PROVIDED. PLEASE NUMBER ADDITIONAL PAGES BELOW. |  |  |  |  |  |  |
| LEA Name: New Ulm Diocese |  | BUILDING NAME Holy Redeemer School | Reinspection Date 2/15/2017 |  |  | PAGE3 OF ___3_ |
| HOMOGENEOUS AREA OR SALIENT ID | Provide a written explanation of changes, corrections, updates, or extent of damage as compared to data contained in original inspection findings. |  |  |  | Recommended Response Action* |  |
| 9X9 Floor Tile & Mastic | Floor tile remains in good condition. A limited number of tile have been replaced at various locations. 1st. floor RM114, 119 do not contain tile. |  |  |  | The areas of tile should be monitored for damage through an O&M management plan |  |
| Coving and Mastic | Assumed to contain in good condition |  |  |  | O & M |  |
| Stair Treads | Assumed to contain in good condition |  |  |  | O & M |  |
| Boiler Pipe | Damage to pipe wrap above boiler needs to be tested for asbestos. |  |  |  | Repair or Remove |  |
| Ceiling Pucks | Assumed to contain. Needs to be tested. Damage ceiling tile and pucks falling in basement storage area |  |  |  | Repair or Remove |  |
| - Recommended response action must be determined by an accredited “Management Planner”. Appropriate response actions should be filled in using the following AHERA named response actions: 1) Operations & Maintenance, 2) Encapsulation, 3) Enclose, 4) Repair, 5) Remove |  |  |  |  |  |  |