Asbestos Facility Safety Review

Client Name: __Tracy St. Mary’s School_____________________

| Building | Photo # | Location | Standard | Description | Repair Costs |
| --- | --- | --- | --- | --- | --- |
| Holy Redeemer |  | Boiler Room Pipe | Asbestos | Exposed TSI Lagging Needs Tested (repaired) | 20.00 Test 250.00 Repair |
| Holy Redeemer |  | Basement Storage Ceiling Pucks 1,2 | Asbestos | Ceiling Pucks Need tested | 20.00 Test ? Repair |

Inspected by: __Brian Parrie_________________ Date 1-23-2014___________