Facility Safety Review

Client Name: __St. Edward’s Elementary School____________________

| Building | Photo # | Location | Standard | Description | Repair Costs |
| --- | --- | --- | --- | --- | --- |
| St. Edward’s Elementary | Gym Crawl Space Gym Crawl Space 1 | Gym Crawl Space | Asbestos | Pipe lagging on ground, pile of pipe and lagging / Cleanup and Remove | $2500 |
| St. Edward’s Elementary | Boiler room 1,2,3 | Boiler Room | Asbestos | Pipe lagging and manifold Repair | Repair $500 Remove $1500 |
| St. Edward’s Elementary | Kitchen Tunnel | Kitchen Tunnel | Asbestos | Hard Joint Repair or Remove | Repair $150 Remove $300 |
| St. Edward’s Elementary | Gym Tile Gym | Gym | Asbestos | Loss Floor tile Repair or Remove | O & M Removal $3500 |
| St. Edward’s Elementary | Floor Tile Basement Floor Tile Upstairs Custodial Closet | Throughout | Asbestos | Loss Floor tile Repair or Remove | O & M Removal $2000 |

Inspected by: __Brian Parrie_________________ Date 1-28-2014___________