Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Rob Brandel			 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Phillips Heart Smart	Model # M5066A-ABA	

Name of Medical Director? The device was purchased through the community donations.  

Year device was placed into use? September, 2008					

Location(s) of devices:
Building Name                                          Location in Building
	Comfrey Public School
	Foyer Main Gymnasium

	
	

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: N/A

Expiration date of pads? 2/2014                                                     

Expiration date of batteries?  04-2014    		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, the staff was trained September 26, 2008 on the device and CPR. Critical Staff are certified outside of school and carry cards.  

· Most recent date of training: Summer 2008			
                                                                   (date
· Provider of training: 				

		
Location of operators manual: Located in the box with the AED	

[bookmark: _GoBack]Are battery checks documented? 	Not at this time. Checked 10/23/2013bp	
 				
Notes: 

