Checklist of E/OHS Activities for Laboratory Standard/Chemical Hygiene Plan

Program Contact Person: 	Ingrid Wielenberg				, CHO

Is the Laboratory Standard/Chemical Hygiene Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Fume hood was tested on:  Fume Hood Being Repaired

(date)

The results indicate air velocity to be: satisfactory, unsatisfactory.

Chemical inventory:

Date of most recent survey:  2013-14

Location of inventory listing:

Are Safety Data Sheets (SDSs) located with inventory?  Yes No N/A

Are the SDS readily accessible?  Yes No N/A

Has the DCFL Science Lab Checklist been completed?  Yes No N/A (12-7-2009)

Is training for affected personnel complete?  Yes No N/A

Date(s) of instruction: N/A

Roster signed?  Yes No N/A

Lesson plan outline available with roster?  Yes No N/A

Status of Emergency Eye Wash/Deluge Shower:

Is flushing conducted weekly?  Yes No N/A

Is descriptive signage properly posted?  Yes No N/A

Is flushing activity documented?  Yes No N/A