Facility Safety Review

Client Name: _ St. Phillip’s School Litchfield_____________________

| Building | Photo # | Location | Standard | Description | Repair Costs |
| --- | --- | --- | --- | --- | --- |
| Litchfield St. Phillip’s School |  | 1st. Floor Custodial Closet | Asbestos | Exposed TSI joint, Pipe Wrap falling off. Repair/ Remove | 50.00 |
| Litchfield St. Phillip’s School |  | Basement under stairs | Asbestos | Exposed TSI joints. Repair/ Remove | 50.00 |
| Litchfield St. Phillip’s School |  | Basement storage/ tunnels | Asbestos | Exposed TSI joints. Repair/ Remove | 50.00 |
| Litchfield St. Phillip’s School |  | Kitchen / Cafeteria coving | Asbestos | Coving Replace and repair | 50.00 |

Inspected by: __Brian Parrie_________________ Date 2-20-2014___________