Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Barry Gappa /Sue Wear				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Phillips Heart Smart	Model:  Heart Start 

Year device was placed into use?  2006 and 2009

Brand of AED? Defibtech			Model:  Life Line 
[bookmark: _GoBack]
Year device was placed into use?  2012

Name of Medical Director?  Dr. Beecher- St. Peter Clinic. 


Location(s) of devices:
Building Name                                          Location in Building
	Main School Building
	Commons area between doors

	Community Center 
	Commons area  by front door

	Portable 
	AD Office

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 3-1-07, 2/2010, 8/12

Expiration date of pads? Adult pads-10/15, 9/14, 2/14 child pads- 6/13, 7/13                                                   

Expiration date of batteries?  06-2014, 3-2014, 3/17   		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, all school staff have been trained.				

Most recent date of training:			
                                                                   (date
Provider of training: South Central Technical College EMS				

		
Location of operators manual: School nurse office and one at each building	

Are battery checks documented? 	Yes, daily
 				
Notes: The AED’s were purchased through Bound Tree Medical clinic at St. Peter.  
