Facility Safety Review

Client Name: _ St. Anastasia Elementary School_____________________

| Building | Photo # | Location | Standard | Description | Repair Costs |
| --- | --- | --- | --- | --- | --- |
| St. Anastasia Elementary |  | Rm 110 | Asbestos | Exposed TSI joint, Pipe Wrap | 50.00 |
| St. Anastasia Elementary |  | Rm 111 | Asbestos | Exposed TSI joints. Repair/ Remove | 50.00 |
| St. Anastasia Elementary |  | Rm 112 | Asbestos | Exposed TSI joints. Loss and breaking floor tile Repair/ Remove | 50.00 |
| St. Anastasia Elementary |  | Rm 115, 116 | Asbestos | Exposed TSI joints. Repair/ Remove | 50.00 |
| St. Anastasia Elementary |  | Rm 131 | Asbestos | Exposed Ceiling tile pucks .Repair |  |

Inspected by: __Brian Parrie_________________ Date 2-20-2014___________