Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Renee Bullerman				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Heart Start	Model: 9300E 	

Name of Medical Director? The director is yet to be determined. 

Year device was placed into use? 2006					

Location(s) of devices:

Building Name       Location in Building      Exp. Pads			Exp. Batteries
	(2)portable units
	Travel with athletic teams
	8/15(A) / 4/13(A)
6/15(C) / 6/15(C) 
	(2) 10/15

	(1)Exercise room
	Public exercise room (gym entrance)
	8/15(A) 
6/15(C)
	11/2017

	(1)Hall by cafeteria
	Hall by cafeteria
	8/15(A)
6/15(C)
	10/15



Have all software updates been installed?  Yes  No N/A

Date of update installation: 4-18-2008

Expiration date of pads? 8/15 (Adult), 6/15 (Child)                                                     

Expiration date of batteries?  Listed Above
          
Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.		

· [bookmark: _GoBack]Most recent date of training:  2012			
                                                                   (date
· Provider of training: 				

		
Location of operators manual: Renee Bullerman’s office	

Are battery checks documented? 	Yes, a check list is available at each AED station
 				
Notes: 

