Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Melani Wagner

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Heart Start	Model: 9300E

Name of Medical Director? The director is yet to be determined.

Year device was placed into use? 2006

Location(s) of devices:

Building Name       Location in Building      Exp. Pads			Exp. Batteries

| (2)portable units | Travel with athletic teams | 8/15(A) / 4/13(A) 6/15(C) / 6/15(C) | (2) 10/15 |
| --- | --- | --- | --- |
| (1)Exercise room | Public exercise room (gym entrance) | 8/15(A) 6/15(C) | 11/2017 |
| (1)Hall by cafeteria | Hall by cafeteria | 8/15(A) 6/15(C) | 10/15 |

Have all software updates been installed?  Yes  No N/A

Date of update installation: 4-18-2008

Expiration date of pads? 8/15 (Adult), 6/15 (Child)

Expiration date of batteries?  Listed Above

Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.

- Most recent date of training:  2012

(date

- Provider of training:

Location of operators manual: Renee Bullerman’s office

Are battery checks documented? 	Yes, a check list is available at each AED station

Notes: