Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Avera Health/Contracted Nurse/District Office

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Heart Start	Model: 9300E, Powerheart G5

Name of Medical Director? School Nurse

Year device was placed into use? 2006, May 2016

Location(s) of devices:

Building Name       Location in Building      Exp. Pads			Exp. Batteries

| Portable AED #1 (HS-front office) | HS Principal’s Office | Adult Pads-12/2016 Child Pads-8/2017 | Installed-2/2016 Expire-2/2020 |
| --- | --- | --- | --- |
| Portable AED #2 (HS-front office) | Nurse’s Office | Adult Pads-12/2017 Child Pads-8/2017 | Installed-4/2014 Expire-4/2018 |
| HS Exercise room | Outside of HS Gym | Adult Pads-12/2017 Child Pads-8/2017 | Installed-11/2013 Expire-11/2017 |
| Elementary AED | Hall by cafeteria (Found in Commons) | Adult Pads-12/2017 Child Pads-8/2017 | Installed-11/2013 Expire-11/2017 |

Have all software updates been installed?  Yes  No N/A

Date of update installation: 5/12/2016

Expiration date of pads? Listed Above

Expiration date of batteries?  Listed Above

Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.

- Most recent date of training:  February 2016

(date

- Provider of training: 	Sanford Medical

Location of operators manual: Renee Bullerman’s office

Are battery checks documented? 	Yes, a check list is available at each AED station and there is a spreadsheet in the Nurse’s office and Renee’s office.