Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Avera Health/Contracted Nurse/District Office	 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Heart Start	Model: 9300E, Powerheart G5 	

Name of Medical Director? School Nurse

Year device was placed into use? 2006, May 2016				

Location(s) of devices:

Building Name       Location in Building      Exp. Pads			Exp. Batteries
	Portable AED #1 (HS-front office)
	HS Principal’s Office
	Adult Pads-12/2016
Child Pads-8/2017
	Installed-2/2016
Expire-2/2020

	Portable AED #2
(HS-front office)
	Nurse’s Office
	Adult Pads-12/2017
Child Pads-8/2017
 
	Installed-4/2014
Expire-4/2018

	HS Exercise room
	Outside of HS Gym
	Adult Pads-12/2017
Child Pads-8/2017 
	Installed-11/2013
Expire-11/2017

	Elementary AED 

	Hall by cafeteria (Found in Commons)
	Adult Pads-12/2017
Child Pads-8/2017
	Installed-11/2013
Expire-11/2017



Have all software updates been installed?  Yes  No N/A

Date of update installation: 5/12/2016

Expiration date of pads? Listed Above
Expiration date of batteries?  Listed Above
          
Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.		

· Most recent date of training:  February 2016			
                                                                   (date
· Provider of training: 	Sanford Medical			

		
Location of operators manual: Renee Bullerman’s office	

Are battery checks documented? 	Yes, a check list is available at each AED station and there is a spreadsheet in the Nurse’s office and Renee’s office. 
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