Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s): Neal Mulder / Mike Nolte

Primary Contact: Neal Mulder

Metals Shop:  Neal Mulder

Is the Compressed Gas Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the facility been surveyed for compressed gas inventories?  Yes  No

Has training been conducted for affected personnel?  Yes  No

Are records established/maintained for gas inventory?  Yes  No

COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 9/7/16 | Program Contact Person: Neal Mulder |
| --- | --- |
| Department: Industrial Arts | Department Responsible Person: Neal Mulder |
| Location: Metal Shop Area |  |
| Cylinders: - O2 _______7_________ - Acetylene______5____ - NH3_____0_______ | - CO2 _____0_______ - Argon ____0________ - Argon/CO2 _____8______ - Other ____________ |

# Compliance Check List

Yes        No

| 1. Are cylinders in well-ventilated area? | x |  |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammable by at least 20 feet? | x |  |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? | x |  |
| 4. Are cylinders kept away from sources of heat (below 130 F)? | x |  |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) | x |  |
| 6. Are empty cylinders maintained separate from full cylinders? | x |  |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? | x |  |
| 8. Are carts designed specifically for gas cylinders available? | x |  |
| 9. Are damaged cylinders, valves/hoses removed from service? | x |  |
| 10. Are all cylinders properly labeled with the contents? | x |  |

Note: All Cylinders are stored in compress gas rooms which are located in the storage room between the metal shop and wood shop. Mr. Mulder keeps the empty cylinders as well as some full cylinders together, but they are grouped separately.-EC 9/7/16

| Training: Neal Mulder Signature:______________________________ | Trainer: Eileen Carlson |
| --- | --- |