Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Jamie Gravenhof / Mike Nolte

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

Location:  Activities Manual

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

Date of completion: 10/18/2012

New Employee Training: 11/18/2014

Confined Space Inventory

Adrian Schools

Building: High School

Building Contact: Jamie Gravenhof / Mike Nolte

Program Contact: Jamie Gravenhof / Mike Nolte

Completed By: Brian Parrie              Date: 11/18/2014

| Room Identification Name Given Space | Opening Dimension | # Dimension Of Confined Space | ## Potential Hazards | ## Permit/ Non- Permit | Labeled | Photo ID # |
| --- | --- | --- | --- | --- | --- | --- |
| Boiler Room | 36”X36” | 36”X36”X6’ | LE, A | Permit required | No |  |
| Boiler #1 |  |  |  |  |  |  |
| Boiler Room | 36”X36” | 36”X36”X6’ | LE, A | Permit required | No |  |
| Boiler #2 |  |  |  |  |  |  |
| Boiler Room | 4’X4’ | 4’X4’X>200’ | LE, A | Non-Permit | Yes |  |
| Tunnel Access |  |  |  |  |  |  |
| Boiler Room | 4’X5’ | 4’X5’X>200’ | LE, A | Non-Permit | Yes |  |
| Tunnel Access |  |  |  |  |  |  |
| South of HS | 30” round | 30”X6’ | LE, A | Permit Required | No |  |
| Storm Sewer Access |  |  |  |  |  |  |
| South of HS | 30” round | 30”X6’ | LE,A | Permit Required | No |  |
| Storm Sewer Access |  |  |  |  |  |  |
| AHR | 18”round | 24’X4’ | LE, A | Permit Required | No |  |
| Tank access |  |  |  |  |  |  |