


Checklist of E/OHS Activities for Underground and Aboveground Storage Tanks

Program Contact Person: Roger Graff

Is the Underground and Aboveground Storage Tanks Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Have forms for inventory tracking been provided?  Yes  No  N/A

Do existing records accurately reflect purchase use correlation?  Yes  No  N/A

Are all USTs registered with the Minnesota Pollution Control Agency?  Yes  No  N/A

Are removals or additions of tanks anticipated in this facility?  Yes  No  N/A

Notes:

Underground Storage Tank Status

	Tank No.
	Location
	Size
	Contents
	Registered
	Install date

	1
	High School
South of Building
	10,000 gal
	#2 Fuel Oil
	Yes

	


	2
	High School
South of Building
	10,000 gal
	#2 Fuel Oil
	Yes

	


	3
	Elementary
	10,000 gal
	#2 Fuel Oil
	Yes

	


	


	

	

	

	

	




Regulated Tanks:	                     Motor fuel tanks larger than 110 gallons

Non-regulate Tanks:	                 Heating oil tanks

Requirements for All USTs:	      Tank must be registered with MPCA




Requirements for Regulated Tanks:	 Annual tightness testing and inventory                                                                                               control tank must be updated, replaced, or removed by December 22, 1998
Upgrades:
			--Overfill protection
			--Corrosion protection STPIapproved
			--Leak detection

Tightness Testing Results on File:

	Dates of past testing: N/A

	Records on file:N/A

Underground Storage Tank Status
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