Asbestos Facility Safety Review

Client Name: __Bird Island St. Mary’s School_____________________

	Building
	Photo #
	Location 
	Standard
	Description
	Repair Costs

	Bird Island
	
	Basement Storage
	Asbestos
	Exposed TSI Lagging Needs Repaired
	$55.00

	Bird Island
	
	Basement Boys Locker Room
	Asbestos
	Pipe Lagging removal to fix leak
	$150.00

	Bird Island
	
	Basement
	Asbestos
	TSI lagging repair
	$55.00

	Bird Island
	
	Gym Storage
	Asbestos
	TSI Exposed Repair
	$55.00

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


 Inspected by: __Brian Parrie_________________ Date 2-19-2014___________

