	AHERA 3 Year Reinspection Report – 2008
	 Due

	GENERAL INFORMATION AND INSTRUCTIONS:  The information contained on this form will allow Musser Environmental Consulting, Inc. to access and record current status of asbestos containing building materials in schools.  The actual U.S. Environmental Protection Agency (EPA) required reinspection date might differ from the due date of this form.  According to the Federal Asbestos Hazard Emergency Response Act (AHERA) the reinspection must occur within three years of the implementation of effective date of the plan.  Information contained on this form will be used for reports to the U.S. EPA.  A separate form must be completed for each Local Education Authority (LEA)’s building.  If more space is required than is provided on this form, please copy appropriate page and report additional data.  Subsequent additional pages must be appropriately numbered in the space provided.

Where it is determined necessary to collect samples of previously assumed or newly identified Asbestos Containing Materials (ACM) sampling, analysis must be completed in accordance with 40 CFR Part 763.86 and 763.87.  Required information not provided on this form must be prepared in acceptable format and included in the management plan.

The LEA’s designated person should coordinate the completion of this form with appropriate sections completed by an accredited building inspector and management planner.



	IDENTIFICATION INFORMATION

	District/LEA Name: Bird Island St. Mary’s School

	Public School                 
(Yes      (No
	
	District Type

Private

	Building Name: St. Mary’s Catholic School

	Reinspection Date

Feb. 26, 2008

	Name of Designated Person – Mike Jungers
	Company Name: Musser Environmental Consulting, Inc.
	Telephone #

507-829-3030


	Name of Building Inspector – Lee Carlson

	Company Name:

Musser  Environmental Consulting, Inc.
	Accreditation No.

AI3706


	Complete Address:  

	Name of Management Planner (Please print name, including middle initial)

Steve Musser
	Company Name: Musser  Environmental Consulting, Inc.
.
	Accreditation No.



	Complete Address:  

	VERIFICATION OF DATA

	I, the LEA Designated Person, by my signature, agree that information contained in 

this report is accurate and complete to the best of my knowledge.
	Signature – Designated Person:


	Date:



	I hereby verify that the inspection information shown on this report is true and correct and reflects the actual condition of all asbestos-containing building materials in this building, at the time of the inspection.


	Signature – State of MN Accredited Building Inspector:
	Date:



	I hereby verify that the Management Planner’s information shown on this report is true and correct and reflects the appropriate recommended response action for all asbestos-containing building materials in this building that are appropriately changed or amended at the time of the inspection.


	Signature – State of MN Accredited Management Planner
	Date:



	AHERA 3 YEAR REINSPECTION REPORT – 2008
	Page #: 2

	REINSPECTION STATUS

	According to the AHERA some buildings may not require a 3-year reinspection by the due date on this form.  If the building does not require “Reinspection” (verified by the LEA) designated person), please check one of the following reasons or otherwise explain and return this report to the address listed on the top of page one.

	(            1.         Building was not constructed using asbestos-containing building materials (validated documentation sighted in Management Plan.)

(            2.         All asbestos-containing building material has been removed from the facility.

(            3.         Built after October 12, 1988 and verified as constructed without asbestos (validating documentation sighted in Management Plan.)

(            4.         Original inspection completed after July 9, 1989 – latest inspection was conducted         /         /         (date).

(            5.         Other: (Please explain)____________________________________________________________________________________________________________________________



	3-Year REINSPECTION FINDINGS AND ASSESSMENT BY HOMOGENEOUS AREA
(Please make additional copies of this page for buildings with more homogeneous areas than spaces provided.  Please number pages in the space below.)

	LEA Name: St. Mary’s Catholic School Bird Island
	Building Name: St. Mary’s Catholic School
	Reinspection Date

Feb 25, 2008
	

	Homog. Area Code
	Homogeneous

Area
	Asbestos Containing Building Material
	Type & Condition (check one per column)

	
	
	     ACBM?                             Area

      Yes/No                           Linear Feet
	Assumed

ACBM?

Yes    No
	Friable

ACBM?

Yes     No
	Material Type

TSI   S   Misc.
	Damage

Condition

No   D   SD
	Potential For

Damage

PD     PSD

	Water Meter Room
	Hard fittings/TSI 
	Yes

	
	     (           (
	          (      (
	     (   (    (
	       (    (     (
	     (         (

	Music Room
	Hard fittings/TSI 
	Yes
	
	      (         (
	          (      (
	     (   (    (
	       (     (    (
	(         (


	4th-5th grade rooms
	Hard fittings/TSI 
	Yes
	
	      (         (
	          (      (
	     (   (    (
	       (    (    ( 
	(         (


	Art Room
	Hard fittings/TSI 
	Yes
	
	(          (

	          (      (
	     (   (    (
	       (     (    (
	     (         (

	Boys’ locker Room
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (    (

	       (    (    (
	     (         (

	Girl’s locker room
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (     (
	       (    (    (
	(         (


	Basement hall
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (     (
	       (    (    (
	(         (


	Storage room below south stairwell
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (     (
	     (     (    (
	(         (


	Storage room (south stage)
	Hard fittings/TSI 
	Yes
	 
	     (          ( 
	          (      (
	     (   (     (
	    (      (    (
	(         (


	Hall stairway south of stage
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (    (
	    (     (    (
	(         (



 NOTE:
(Either response requires that inspectors SEE and TOUCH the material, as required by AHERA 40 CFR Part 763.85(b)(3)(U)

	AHERA 3 YEAR REINSPECTION REPORT – 2008
	Page #: 2

	REINSPECTION STATUS

	According to the AHERA some buildings may not require a 3-year reinspection by the due date on this form.  If the building does not require “Reinspection” (verified by the LEA) designated person), please check one of the following reasons or otherwise explain and return this report to the address listed on the top of page one.

	(            1.         Building was not constructed using asbestos-containing building materials (validated documentation sighted in Management Plan.)

(            2.         All asbestos-containing building material has been removed from the facility.

(            3.         Built after October 12, 1988 and verified as constructed without asbestos (validating documentation sighted in Management Plan.)

(            4.         Original inspection completed after July 9, 1989 – latest inspection was conducted         /         /         (date).

(            5.         Other: (Please explain)____________________________________________________________________________________________________________________________



	3-Year REINSPECTION FINDINGS AND ASSESSMENT BY HOMOGENEOUS AREA
(Please make additional copies of this page for buildings with more homogeneous areas than spaces provided.  Please number pages in the space below.)

	LEA Name: St. Mary’s Catholic School Bird Island
	Building Name: St. Mary’s Catholic School
	Reinspection Date

Feb 25, 2008
	

	Homog. Area Code
	Homogeneous

Area
	Asbestos Containing Building Material
	Type & Condition (check one per column)

	
	
	     ACBM?                             Area

      Yes/No                           Linear Feet
	Assumed

ACBM?

Yes    No
	Friable

ACBM?

Yes     No
	Material Type

TSI   S   Misc.
	Damage

Condition

No   D   SD
	Potential For

Damage

PD     PSD

	Storage room 8-9, hallway
	Hard fittings/TSI 
	Yes


	
	     (           (
	          (      (
	     (   (    (
	       (    (     (
	     (         (

	Gymnasium
	Hard fittings/TSI 
	Yes
	
	      (         (
	          (      (
	     (   (    (
	       (     (    (
	(         (


	Stage area
	Hard fittings/TSI 
	Yes
	
	      (         (
	          (      (
	     (   (    (
	       (    (    ( 
	(         (


	Stage closet
	Hard fittings/TSI 
	Yes
	
	(          (

	          (      (
	     (   (    (
	       (     (    (
	     (         (

	Janitor’s

closet
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (    (

	       (    (    (
	     (         (

	Class rooms & throughout
	9”X9” floor tile
	Yes
	
	     (          (
	          (      (
	     (   (     (
	       (    (    (
	(         (


	Church basement
	Hard fittings/TSI 
	Yes
	
	     (          (
	          (      (
	     (   (     (
	       (    (    (
	(         (



   
(A response of “NO” indicates the material is confirmed ACBM and that adequate and proper sampling has been done)

	AHERA 3 YEAR REINSPECTION REPORT
	

	
	Page 4

	INSPECTOR’S COMMENTS AND MANAGEMENT PLANNER’S RECOMMENDATIONS

	PLEASE MAKE ADDITIONAL COPIES OF THIS PAGE FOR BUILDINGS WITH MORE HOMOGENEOUS AREA COMMENTS THAN SPACES PROVIDED.  PLEASE NUMBER ADDITIONAL PAGES BELOW.

	COMPANY: Musser Environmental Consulting , Inc.
	BUILDING NAME: St. Mary’s Catholic School
	Reinspection Date:
Feb. 26, 2008
	PAGE__4__OF _4___

	HOMOGENEOUS

AREA OR

SALIENT ID
	Provide a written explanation of changes, corrections, updates, or extent of damage as compared to data contained in original inspection findings.
	Recommended Response Action*

	TSI
	Old areas of TSI that once existed have been removed from this report. This includes a kitchen that no longer exists.
	Non-required

	TSI
	Damage was noted to TSI located in what is referred to as the Title I room
	Repair and maintain in good condition

	Miscellaneous ACBM
	One classroom(203) is now carpeted but the 9X9 floor tile remains below the carpeting.
	O&M

	TSI
	Lagging is damaged in the custodial closet by the gymnasium
	Repair and maintain in good condition

	Miscellaneous ACBM
	9”X9” floor tile was found to be in good condition in all clas rooms and stairways
	O&M

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	· Recommended response action must be determined by an accredited “Management Planner”.  Appropriate response actions should be filled in using the following AHERA named response actions:

1) Operations & Maintenance, 2) Encapsulation, 3) Enclose, 4) Repair, 5) Remove


