Checklist of E/OHS Activities for Radon Gas Safety

Program Contact Person: 	Brian Mohr

Is the Radon Gas Safety Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Testing was last conducted:  1-25-02.

(date)

Results of tests:

| Room Name & No. | Level Tested | Recommendation |
| --- | --- | --- |

Note: Training is not requirement of this program. However if elevated levels are determined awareness training of affected persons is recommended.

Date training complete:  N/A

Testing is / is not now in progress:

Note: All information regarding the results of radon testing has been posted in the Activities Manual. Test results determined no elevated levels for radon gas.