Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Bob Tews				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll AED Plus IP55 	

Name of Medical Director? Morgan EMS (Bob Tews). 

Year device was placed into use? 2009-2010					

Location(s) of devices:
Building Name                                          Location in Building
	(1) Morgan School
	Gym entrance

	(1) Morgan School 
	Principle office

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 2009

Expiration date of pads? 11-22-2014                                                     

Expiration date of batteries?  11-22-2014   		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, 

· [bookmark: _GoBack]Most recent date of training:2013			
                                                                   (date
· Provider of training: 	Life Line Inc.			

		
Location of operators manual: At Gym device location	

Are battery checks documented? 	Yes, monthly checks are recorded online with Life Line Inc.


