Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Bob Tews

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll AED Plus IP55

Name of Medical Director? Morgan EMS (Bob Tews).

Year device was placed into use? 2009-2010

Location(s) of devices:

Building Name                                          Location in Building

| - Morgan School | Gym entrance |
| --- | --- |
| - Morgan School | Principle office |

Have all software updates been installed?  Yes  No N/A

Date of update installation: 2009

Expiration date of pads? 11-22-2014

Expiration date of batteries?  11-22-2014   		                                                 (date)

Has staff been trained on operation of the device?  Yes,

- Most recent date of training:2013

(date

- Provider of training: 	Life Line Inc.

Location of operators manual: At Gym device location

Are battery checks documented? 	Yes, monthly checks are recorded online with Life Line Inc.