Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Roger Voelz			

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

	Location:  Activities Manual	

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

	Date of completion: 9/25/2013	





















Confined Space Inventory

Building: Cedar Mt. High School 

Building Contact: Mike Siemer 	Program Contact: Brian Parrie	

[bookmark: _GoBack]Completed By: _Brian Parrie   Date: 9/25/2013

	
Room Identification
Name Given Space
	
Opening
Dimension

	
Dimension
Of Confined Space

	
Potential
 Hazards

	
Permit/
Non-
Permit
	
Labeled
	
Photo
ID #

	Boiler Room
	44”X47”
	48”X48”X 200’
	Asbestos, heat
electric
	Permit
required
	No
	See AM

	Tunnels
	
	
	
	
	
	

	Boiler Room
	20” diameter
	13’X4’X 5’
	LE, O2 deficient., heat
	Permit
required
	Yes
	

	Boilers
	
	
	
	
	
	

	Gym Lobby
	4”X2”
	8’X3’X4’
	LE, Asbestos, heat
	Permit
required
	Yes
	

	Air handler
	
	
	
	
	
	

	Boiler Room
	16”round
	45”X9’
	Engulfment, heat
	Permit
Required
	Yes
	

	Water Tank
	
	
	
	
	
	

	Boiler room
	45”X35”
	45”X35”X>200’
	LE, Asbestos, heat, electrical
	Permit
Required
	No
	

	Tunnel
	
	
	
	
	
	

	Various Areas
	7’ high X 2’ wide
	18’X20”X11’6” high
	LE,
	Non-Permit
Required
	No
	

	Pipe Chases
	
	
	
	
	
	

	Elevator
	7’X3”
	6”x5’X4”
	Entrapment, electrical, hydraulic pressure
	Permit
	Yes
	

	Pit
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	



