Checklist of E/OHS Activities for Radon Gas Safety

Program Contact Person: Mike Siemer

Is the Radon Gas Safety Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Testing was last conducted:  ___Jan. 28, 2013 ongoing___________
		(date)

	Results of tests: See Attached Pages

	Room Name & No.
	Avg. Radon Conc. pCi/l
	Recommendation

	Custodial RM basement
	4.4      1/28/2013
	Midigation

	Boys Basement Lock Rm
	No reading (unplugged)
	Plug in.

	Boys Basement Lock RM
	1.3       4/28/2013
	

	Custodial RM basement
	No Reading unplugged
	Needs cord

	
	
	

	
	
	




Testing was also previously conducted:  ____May, 1991___________.
		                                  (date)

	Results of tests:

	Room Name & No.
	Avg. Radon Conc. pCi/l
	Recommendation

	
	
	

	
	
	

	
	
	



Training is not requirement of this program. However if elevated levels are determined training of affected persons is recommended.

	Date training complete:  N/A

[bookmark: _GoBack]Testing is / is not now in progress:	
