Checklist of E/OHS Activities for Radon Gas Safety

Program Contact Person: Mike Siemer

Is the Radon Gas Safety Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Testing was last conducted:  ___Jan. 28, 2013 ongoing___________

(date)

Results of tests: See Attached Pages

| Room Name & No. | Avg. Radon Conc. pCi/l | Recommendation |
| --- | --- | --- |
| Custodial RM basement | 4.4 1/28/2013 | Midigation |
| Boys Basement Lock Rm | No reading (unplugged) | Plug in. |
| Boys Basement Lock RM | 1.3 4/28/2013 |  |
| Custodial RM basement | No Reading unplugged | Needs cord |

Testing was also previously conducted:  ____May, 1991___________.

(date)

Results of tests:

| Room Name & No. | Avg. Radon Conc. pCi/l | Recommendation |
| --- | --- | --- |

Training is not requirement of this program. However if elevated levels are determined training of affected persons is recommended.

Date training complete:  N/A

Testing is / is not now in progress: