Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Sue Wear				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Phillips Heart Smart	Model:  Heart Start	

Name of Medical Director?  Dr. Beecher- St. Peter Clinic. Orders were last signed 8-30-07, 2/2010

Year device was placed into use? 2006 and 2009					

Location(s) of devices:
Building Name                                          Location in Building
	Main School Building
	Commons area between doors

	Community Center 
	Commons area  by front door

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 3-1-07, 2/2010

Expiration date of pads? Adult pads-3-12, child pads- 7/11                                                     

Expiration date of batteries?  06-2014    		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, all school staff have been trained.				

Most recent date of training:			
                                                                   (date
Provider of training: South Central Technical College EMS				

		
Location of operators manual: School nurse office and one at each building	

Are battery checks documented? 	Yes, daily
 				
Notes: The AED’s were purchased through Bound Tree Medical clinic at St. Peter.  
