Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Sue Wear

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Phillips Heart Smart	Model:  Heart Start

Name of Medical Director?  Dr. Beecher- St. Peter Clinic.

Year device was placed into use? 2006 and 2009

Location(s) of devices:

Building Name                                          Location in Building

| Main School Building | Commons area between doors |
| --- | --- |
| Community Center | Commons area by front door |

Have all software updates been installed?  Yes  No N/A

Date of update installation: 3-1-07, 2/2010

Expiration date of pads? Adult pads-3-12, child pads- 7/11

Expiration date of batteries?  06-2014    		                                                 (date)

Has staff been trained on operation of the device?  Yes, all school staff have been trained.

Most recent date of training:

(date

Provider of training: South Central Technical College EMS

Location of operators manual: School nurse office and one at each building

Are battery checks documented? 	Yes, daily

Notes: The AED’s were purchased through Bound Tree Medical clinic at St. Peter.