


Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Barry Gappa /Sue Wear				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Phillips Heart Smart	Model:  Heart Start 

Year device was placed into use?  2006 and 2009
Defibtech		
Brand of AED?	Model:  Life Line 

Year device was placed into use?  2012

Name of Medical Director?  Dr. Beecher- St. Peter Clinic. 


Location(s) of devices:
Building Name                                          Location in Building
	Main School Building
	Commons area between doors

	Community Center 
	Commons area  by front door

	Portable 
	AD Office

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 3-1-07, 2/2010, 8/12

Expiration date of pads? Adult pads- 12-18/2-19/7-18   child pads- 5-18, 5-18                                                 

[bookmark: _GoBack]Expiration date of batteries?  2/2019, 7/2019, 9/2023  		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, all school staff have been trained.				

Most recent date of training:		
                                                  (date)
Provider of training: South Central Technical College EMS				

		
Location of operators manual: School nurse office and one at each building	

Are battery checks documented? 	Yes, daily
 				
Notes: The AED’s were purchased through Bound Tree Medical clinic at St. Peter.  
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