Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Barry Gappa /Sue Wear (school nurse)

School policy for use adopted in place?  Yes  No N/A

Brand of AED?     Phillips Heart Smart	   Model:  Heart Start (2007)

Defibtech	Model:  Life Line (2010)

Note: Name of Portable AED  in nurses office -sc

Year device was placed into use?  2012

Name of Medical Director?  Dr. Beecher- St. Peter Clinic.

Location(s) of devices:

Building Name       Location in Building     Installed	    Battery Exp. 	 Pad Exp.

| Main School Building | Commons area between doors | 3/1/2007 | 2/20/2019 | 4/20/2018 A 2/28/2019 A 5/18 C |
| --- | --- | --- | --- | --- |
| Community Center | Commons area by front door | 2/2010 | 7/2019 | 4/20/2018 A |
| Portable | Nurses Office | 8/2012 | 9/2023 | 7/2018 A |

Have all software updates been installed?  Yes  No N/A

Has staff been trained on operation of the device?  Yes, all school staff have been trained.

Most recent date of training:

(date)

Provider of training: South Central Technical College EMS

Location of operators manual: School nurse office and one at each building

Are battery checks documented? 	Yes, daily

Notes: The AED’s were purchased through Bound Tree Medical clinic at St. Peter.