Checklist of E/OHS Activities for Community Right-to-Know

Program Contact Person: 	Barry Gappa

Is the Community Right-to-Know Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Are quantities of stored and used designated hazardous materials documented and verified?  Yes No N/A

Where are the documents stored? Barry’s Office

Have the State Emergency Response Commission and local fire department been notified of hazardous materials on school grounds?  Yes No N/A

When were they notified? Will be notified before March 2017

(date)

Has training been provided?  Yes No N/A

Note: 	Brian Parrie submitted the Tier II on behalf of Barry Gappa on 2/21/17

Inventory Form

Client: Nicolette Public Schools

| Contact Person: Barry Gappa |  |  | Date:1/18/2016 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hazardous Material | Quantity | Location |  | Reported on Tier Two | Installation Date(s) |  |  |
| #2 Fuel Oil | 4,000 gal | North of loading dock |  | Yes |  | 1995-1997 |  |

The Tier Two can be managed on line see web site: http://minnesota.idsimaps.com/submit/T2_Menu.asp

The user name and password for online response is:

User name: nicollet1

Password: 1nicollet2