Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s) Barry Gappa

Primary Contact Barry Gappa

Department Contacts: Pat Kerney

Art 	N/A

Custodial  N/A

Metals Shop/Ag. FFA  Pat Kerney

Science N/A

Transportation N/A

Is the Compressed Gas Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the facility been surveyed for compressed gas inventories?  Yes  No

Has training been conducted for affected personnel?  Yes  No

Are records established /maintained for gas inventory?  Yes  No

# COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 1/22/2013 | Program Contact Person: Barry Gappa |
| --- | --- |
| Department: Ag. FFA | Department Responsible Person: Pat Kerney |
| Location: Metals Shop |  |
| Cylinders: - O2 _2__________ - Acetyl 1____________ - NH4 ____________ | - CO2 ____________ - Argon ____________ - Argon/CO2__________ - Helium ____________ |

# Compliance Check List

Yes  No

| 1. Are cylinders in well-ventilated area? | X |  |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammables by at least 20 feet? | X |  |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? | X |  |
| 4. Are cylinders kept away from sources of heat (below 130 F)? | X |  |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) | X |  |
| 6. Are empty cylinders maintained separate from full cylinders? | X |  |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? | X |  |
| 8. Are carts designed specifically for gas cylinders available? | X |  |
| 9. Are damaged cylinders, valves/hoses removed from service? | X |  |
| 10. Are all cylinders properly labeled with the contents? | X |  |