Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Barry Gappa

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

Location:  Activities Manual

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

Date of completion: 11/5/2014

Employees typically do not enter confined space all work is contracted out.

# Confined Space Inventory

Building: Nicollet Public School

Building Contact: Barry Gappa 	Program Contact: Barry Gappa

Date: 	9/21/2015

| Room Identification Name Given Space | Opening Dimension | # Dimension Of Confined Space | ## Potential Hazards | ## Permit/ Non-Permit/Alternate | Labeled | Photo ID # |
| --- | --- | --- | --- | --- | --- | --- |
| Gym, Upper Mechanical | 32”X24” | 32”X36”X8’ | LE | Non | Yes |  |
| A.H.U. |  |  |  |  |  |  |
| Gym, Upper Mechanical | 30”X30” | 10’X3’X4’ | LE | Non | Yes |  |
| A.H.U. |  |  |  |  |  |  |
| Man hole | 30” round | 30”X6’ deep | LE, A | Permit Required | No |  |
| 90 feet south of elementary playground |  |  |  |  |  |  |
| Man Hole Ag. Shop | 30” round |  | LE, A | Permit Required | No |  |
| Boiler | 18”X18” | 3’x8’ | LE | Permit Required | No |  |

Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A

Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A