Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Mary Carter				 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll	Model # 	

Name of Medical Director?  No one at this time.  Mary will check on.

Year device was placed into use? 2006					

Location(s) of devices:
Building Name                                          Location in Building
	Tracy High School
	(1) Across from Main Office (1) hallway by west side gymnasium

	Tracy Elementary
	Locker Banks by second Grade entry

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: May 2006

Expiration date of pads? 11/28/2014                                                    

Expiration date of batteries?  4/15/2018, or when battery indicator has reached one-half life left    		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.	

· Most recent date of training: March 2013		
                                                                   (date
· Provider of training: Mary Carter				

Location of operators manual: School nurse office at high school , and at the Elementary School nurses office or available online.	

Are battery checks documented? 	Yes, a check list is available at each AED station			

Notes: The AED’s were purchased by the local clinic. The effort was coordinated between the PTO and the clinic. 


Note: Brian Michelson is the instructor and teaches AED and CPR to students in Health class. 
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