Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Mary Carter

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll	Model #

Name of Medical Director?  No one at this time.  Mary will check on.

Year device was placed into use? 2006

Location(s) of devices:

Building Name                                          Location in Building

| Tracy High School | (1) Across from Main Office (1) hallway by west side gymnasium |
| --- | --- |
| Tracy Elementary | Locker Banks by second Grade entry |

Have all software updates been installed?  Yes  No N/A

Date of update installation: May 2006

Expiration date of pads? 11/28/2014

Expiration date of batteries?  4/15/2018, or when battery indicator has reached one-half life left    		                                                 (date)

Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.

- Most recent date of training: March 2013

(date

- Provider of training: Mary Carter

Location of operators manual: School nurse office at high school , and at the Elementary School nurses office or available online.

Are battery checks documented? 	Yes, a check list is available at each AED station

Notes: The AED’s were purchased by the local clinic. The effort was coordinated between the PTO and the clinic.

Note: Brian Michelson is the instructor and teaches AED and CPR to students in Health class.