


Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 	Shannon Wolske			 

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll	Model # Zoll AEDPLUS	

Name of Medical Director?  No one at this time

Year device was placed into use? 2006					

Location(s) of devices:
Building Name                                          Location in Building
	Tracy High School
	(1) Across from Main Office (1) hallway by west side gymnasium

	Tracy Elementary
	Locker Banks by second Grade entry

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: May 2006

Expiration date of pads? 2/16/19                                                    

Expiration date of batteries?  When battery indicator has reached one-half life left. Shannon will check monthly to make sure everything is working.   		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.	

· Most recent date of training: August 2015		
                                                                   (date
· Provider of training: 				

Location of operators manual: School nurse office at high school, at the Elementary school nurses office, and an instruction manual is located inside the AED box.	

Are battery checks documented? 	Yes, a check list is available at each AED station and will be checked monthly by Brittanie. 			

Note: Brian Michelson is the instructor and teaches AED and CPR to students in Health class. 
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