Checklist of E/OHS Activities for Asbestos Management

Program Contact Person: Jo Pyle

Is the Asbestos Management Plan in place? Yes No N/A

Is the Plan current for all buildings?  Yes No N/A

Has the Plan (or Plans) been reviewed this school year?  Yes No N/A

The Plan is located at affected building: the original plans along with updates are located at each building_.

Training for Asbestos Awareness was conducted    5/27/2011                .

New PT employees received training on       N/A                      .

(date)

Annual written notification has been prepared;   Fall of 2012                     .

(date)

Notification appeared in the following publication(s):

Name of publication	Date

Spotlight                                                   August 2012

Three-year re-inspection Surveillance was conducted: 10/11/2010.

6-month Periodic Surveillance was conducted:	10/12

(first date)

02/13

(second date)

All caution labels have been posted.

Label locations:	 Boiler room tunnels

Are supplies of repair materials adequate to meet the requirements of maintenance and repair of ACM?  Yes No N/A

Asbestos Maintenance Supplies on Hand

Duct Tape (15 rolls)

Respirators (3)

Tyvek suits(25)

Glove bags (1)

Is documentation of Operations and Maintenance available?

Location: Yes, High School Boardroom

Status of the Asbestos repair and maintenance Work Order System: N/A   Established, Pending

Comments: All repairs are outsourced. Repair materials are not routinely used.

Supplies on hand are located in the boiler room in the metal gray cabinet. BP 2/14/2013

**For information regarding the medical review and questionnaire, see the

Respiratory Protection Program. **