Checklist of E/OHS Activities for Asbestos Management

Program Contact Person: Jo Pyle					

Is the Asbestos Management Plan in place? Yes No N/A 

Is the Plan current for all buildings?  Yes No N/A

Has the Plan (or Plans) been reviewed this school year?  Yes No N/A

The Plan is located at affected building: the original plans along with updates are located at each building.

Training for Asbestos Awareness was conducted    10/11/16                .

New PT employees received training on       N/A                      .     
		(date)

Annual written notification has been prepared;   Fall of 2016                    .

		                                    (date)
Notification appeared in the following publication(s):

	Name of publication	Date	
         Spotlight                                                   August 2016

Three-year re-inspection Surveillance was conducted: 1/30/2017.

6-month Periodic Surveillance was conducted:	 10/2016 
		(first date)

		1/30/2017
		(second date)

All caution labels have been posted.  

Label locations:      Boiler room tunnels		

Status of the Asbestos repair and maintenance Work Order System: N/A   Established, Pending

Comments: All repairs are outsourced. Repair materials are not routinely used. The surveillance was conducted in October 2016 by Eileen Carlson. Walked around with Jo Pyle and most of the asbestos in this building are in the boiler room tunnels and will not be touched or disturbed. Everything appeared to be in good condition. 
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