Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s) Jo Pyle

Department Contacts:

Maintenance 	Jo Pyle

Metals Shop 	Paul Skoglund

Industrial Tech. 	Karl Campbell

Bus Garage 	Bob Bruder

Is the Compressed Gas Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Has the facility been surveyed for compressed gas inventories?  Yes No N/A

Has training been conducted for affected personnel?  Yes No N/A

Date: April 2013

Are records established/maintained to monitor gas inventory?  Yes No N/A

COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 1/7/2015 | Program Contact Person : Brian Parrie |
| --- | --- |
| Department: Metals Shop | Department Responsible Person: Paul Skoglund |
| Location: Metals Shop Room |  |
| Cylinders: - O2 ___(5)_________ - Acetyl _____(4)_______ - NH4 ____________ | - CO2 ________ - Argon _____(1)_______ - Argon/CO2__(4)__________ - Other( helium) ______(1)______ |
| Date: 1/7/2015 | Program Contact Person : Brian Parrie |
| Department: Chemistry Lab | Department Responsible Person: Amy |
| Location: Chemistry Lab storage |  |
| Cylinders: - O2 ____________ - Acetyl ____________ - NH4 ____________ | - CO2 __(1)______ - Argon ____________ - Argon/CO2____________ - Other( helium) ____________ |

# Compliance Check List

No         Yes

| 1. Are cylinders in well-ventilated area? |  | X |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammable by at least 20 feet? |  | X |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? |  | X |
| 4. Are cylinders kept away from sources of heat (below 130 F)? |  | X |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) |  | X |
| 6. Are empty cylinders maintained separate from full cylinders? |  | X |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? |  | X |
| 8. Are carts designed specifically for gas cylinders available? |  | X |
| 9. Are damaged cylinders, valves/hoses removed from service? |  | X |
| 10. Are all cylinders properly labeled with the contents? |  | X |